## 27062022
| Date: | 2022-06-27 |  |  |  | Weather:
| Observers: | Julia, Madusha, Sree, Sarah, Di |  |  |  | Program: | Hector Commissioning
Field | Run range | Local time |  |  | Read |  |  |  |  | Offset (arcsec) |  |  | Notes | DR Notes
|  |  | Obs. Type | Exp. Time | Speed | ZD (Airmass) | Rotator | Guide stars used | Seeing | N-S | E-W | Rel or Abs.
press "cmd+shift+:" to automatically add timestamp
Blue Arm Central Wavelength =4850, blaze wavelength =4851
220_m22_GC_OM_AprilPos_PQ_zero | [12 empty] | Red Arm Central Wavelength = 6831 , blaze wavelength = 6831
AAOmega Focus (didn't keep going until all 'yes' but the differences are minor): BSpatial=2060.2, BSpectral=2957.6, BFocus=163.8, Rspatial=1310.2, RSpectral=2718.9, Rfocus=534
Robot/Tile files: Robot_FinalFormat_tile_220_m22_GC_OM_AprilPos_PQ_Zero_CONFIGURED_correct_header | 1 | 17:47 | Arc | 50s | normal/normal | 26.19 | [6 empty] | IGNORE, corrector cap was on, we saw a missing hector bundle spectrum
| 2 | 17:53 | Arc | 180s | normal/medium | 26.09 | [6 empty] | IGNORE, corrector cap was on
| 3 | 18:45 | Arc | 50s | normal/medium | 74.59
| 4 | 18:54 | Dome flat | 50s | normal/medium | 21
| 5 | 18:57 | Dome flat | 70s | normal/medium | 21
| 6 | 19:06 | Dome flat | 70/70/70/50s | normal/medium | 20
| 7 | 20:34 | Object | 900s | normal/medium | 9.05 (1.01) | 1070 (after setting to 0) | GS1
| 8 | 20:57 | Object | 900s | normal/medium | 12.06 (1.02) | 1070 (after setting to 0) | GS1 |  |  |  |  | For repeatability tests
| 9 | 21:10 | Object | 900s | normal/medium | 14.39 (1.03) | 1070 (after setting to 0) | GS1 |  |  |  |  | For repeatability tests
| 10 | 21:28 | Object | 900s | normal/medium | 17.63 (1.05) | 1070 | GS1 |  |  |  |  | Drift Check
| 11 | 21:46 | Object | 900s | normal/medium | 21 (1.07) | 1070 | GS1 |  |  |  |  | Drift Check
| 12 | 22:03 | Object | 900s | normal/medium | 25 (1.10) | 1070 | GS1 |  |  |  |  | Drift Check
Robot/Tile files: Robot_FinalFormat_tile_280_m22_GC_OM_AprilPos_PQ_Zero_CONFIGURED_correct_header | 13 | 23:53 | Object | 900s | normal/medium | 10.37 (1.02) | 1070 (after setting to 0) | GS1
| 14 | 0:12 | Dome flat | 70/70/70/50s | normal/medium | 9.32 (1.01) | [6 empty] | Using Upper Dome screen
| 15 | 0:17 | Arc | 50/50/50/30s | normal/medium | 9.34 (1.01) | [6 empty] | CCD_4 is saturated
| 16 | 0:21 | Arc | 50/50/50/15s | normal/medium | 9.62 (1.01)
| 17 | 1:14 | Object | 900s | normal/medium | 16.48 (1.06) | 1070 (after setting to 0) | GS1 |  |  |  |  | Hexabundles D, T, L, K, E rotated position 1
| 18 | 1:56 | Object | 900s | normal/medium | 24.59 (1.1) | 1070 (after setting to 0) | GS1 |  |  |  |  | Hexabundles D, T, L, K, E rotated position 2
| 19 | 2:39 | Object | 900s | normal/medium | 33.65 (1.20) | 1070 (after setting to 0) | GS1 |  |  |  |  | Hexabundles D, T, L, K, E rotated position 3 (P is rotated to make room for T. DO NOT use P as a reference)
| 20 | 3:23 | Object | 900s | normal/medium | 43.09(1.37) | 1070 (after setting to 0) | GS1 |  |  |  |  | Hexabundles D, T, L, K, E rotated position 4 (P is rotated to a different direction. DO NOT use P as a reference)
| 21 | 3:41 | Object | 900s | normal/medium | 47 (1.47) | 1070 | GS1 |  |  |  |  | Hexabundles D, T, L, K, E rotated position 4 (P is rotated to a different direction. DO NOT use P as a reference) Drift Check
| 22 | 3:59 | Object | 900s | normal/medium | 51 (1.58) | 1070 | GS1 |  |  |  |  | Hexabundles D, T, L, K, E rotated position 4 (P is rotated to a different direction. DO NOT use P as a reference) Drift Check
| 23 | 4:33 | Object | 900s | normal/medium | 58 (1.9) | 1070 (after setting to 0) | GS1 |  |  |  |  | Use for 2dF airmass model checks
| 24 | 4:56 | Dome flat | 70/70/70/50s | normal/medium | 35.64 (1.23) | [6 empty] | For calibration
| 25 | 5:00 | Arc | 180/180/180/20s | normal/medium | 37.14 (1.25) | [6 empty] | For calibration
| 26 | 5:22 | Object | 5s | normal/medium | 30.77 (1.16) |  |  |  | 1548.8 S | 95 W |  | Saturn, we capture the planet and part of the ring
| 27 | 5:27 | Object | 10s | normal/medium | 31.58 (1.17) | [6 empty] | Saturn
| 28 | 5:31 | Object | 5s | normal/medium | 32.6 (1.19) |  |  |  |  | shift 10 W |  | Saturn. Try to move Saturn in the Hector bundle, see part of planet and part of the ring
| 29 | 5:31 | Object | 5s | normal/medium | 33.07 (1.19) |  |  |  |  | shift 20 E |  | Saturn. only the ring not the planet

## 28062022
| Date: | 2022-06-28 |  |  |  | Weather:
| Observers: | Julia, Madusha, Sree, Sarah, Di |  |  |  | Program: | Hector Commissioning
Field | Run range | Local time |  |  | Read |  |  | Guide |  | Offset (arcsec) |  |  | Notes | DR Notes
|  |  | Obs. Type | Exp. Time | Speed | ZD (Airmass) | Rotator | stars used | Seeing | N-S | E-W | Rel or Abs.
press "cmd+shift+:" to automatically add timestamp
AAOmega Focus (in spec): BSpatial=2102.7, BSpectral=2923.4, BFocus=160.8, Rspatial=1295.8, RSpectral=2512.9, Rfocus=538.3. Spector focus (auto focus did not record piston movements so could not fit): B=2948.78, R=2343.03. *** CCD_3 is not in focus ***
| 1 | 4:32 PM | Dark | 1800 | normal/medium
| 2 | 18:18 | Arc | 50/50/50/15 | normal/medium | [7 empty] | Spector B2949.6 R2159. B does not look great. R is engineering grade. Suspect that focus is not actually at the focus mechanism control values, since last night's frames looked in focus.
| 3 | 18:30 | Arc | 50/50/50/15 | normal/medium | [7 empty] | Spector B2954 R2543. B is worse and R is now obviously out of focus, so focus mechanism control DID change the focus even though the updated values are NOT showing either there or on the Spector control window. The Hector control task DOES say that the move was completed and that it is at the requested values.
| 4 | 18:40 | Arc | 50/50/50/15 | normal/medium | [7 empty] | Spector B2949 R2159. B as above; R worse !?
| 5 | 18:42 | Arc | 50/50/50/15 | normal/medium | [7 empty] | Spector B2949 R2159 after homing for sanity check; looks same as #4. I don't believe it has returned to these values though as the frames are clearly much worse than #2.
| 6 | 18:53 | Arc | 50/50/50/15 | normal/medium | [7 empty] | Reset Spector control task. Focus mechanism control now does update the focus values. Spector B2954 R2343. R back to acceptable; B still poor.
| 7 | 18:58 | Arc | 50/50/50/15 | normal/medium | [7 empty] | Spector B2950 R2343. "
| 8 | 19:00 | Arc | 50/50/50/15 | normal/medium | [7 empty] | Spector B2000 R2343. B has moved - way out as expected
| 9 | 19:03 | Arc | 50/50/50/15 | normal/medium | [7 empty] | Spector B2949 R2343. B back to #7.
| 10-26 |  | Fibre flat | 20 | normal/medium | [7 empty] | Spector auto focus routine- failed again.
Robot_FinalFormat_tile_220_m22_GC_OM_AprilPos_PQ_NonZero_UT_Correct_CONFIGURED_correct_header | 27 | 20:43 | Object | 900 | normal/medium | 10.9 (1.02) | 1050 | G1 |  | 6S | 35W |  | The guide stars appear to be heavily affected by the atmospheric turbulence. Some of the worst conditions ever seen.
| 28 | 21:03 | Dome flat | 70/70/70/50 | normal/medium
| 29 | 21:10 | Arc | 60/60/60/20 | normal/medium
| 30 | 22:54 | Object | 900 | normal/medium | 31 (1.16) | 1050 (reset to 0 first) | G1 |  | 6S | 45W |  | Hexabundle rotation tests: F, B, H, P, L, I, D, O, C, R, J, G rotated. Position 1
| 31 | 23:55 | Object | 900 | normal/medium | 49 (1.53) | 1050 (reset to 0 first) | G1 |  | 6S | 45W |  | Hexabundle rotation tests: F, B, H, P, L, I, D, O, C, R, J, G rotated. Position 2
| 32 | 0:52 | Object | 600 | normal/medium | 61 (2.06) | 1050 (reset to 0 first) | G1 |  | 6S | 45W |  | Hexabundle rotation tests: F, B, H, P, L, I, D, O, C, R, J, G rotated. Position 3
Robot_FinalFormat_tile_280_m22_GC_OM_AprilPos_PQ_NonZero_UT_Correct_CONFIGURED_correct_header | 33 | 1:58 | Object | 900 | normal/medium | 26 (1.11) | 1050 (reset to 0 first) | G1 |  | 6S | 45W |  | Hexabundles Swapped: Q <--> J, S <--> I
| 34 | 2:17 | Dome flat | 70/70/70/50 | normal/medium | 30 (1.15)
| 35 | 2:22 | Arc | 120/120/120/20 | normal/medium | 31 (1.17)
| 36 | 2:53 | Object | 900 | normal/medium | 38 (1.26) | 1050 (reset to 0 first) | G1 |  | 6S | 45W |  | Hexabundles Swapped: Q <--> J, S <--> I. Rotational tests. Hexabundles rotated (A, K, N, T, S, U, Q, E). Position 1
| 37 | 3:38 | Object | 900 | normal/medium | 47 (1.47) | 1050 (reset to 0 first) | G1 |  | 6S | 45W |  | Hexabundles Swapped: Q <--> J, S <--> I. Rotational tests. Hexabundles rotated (A, K, N, T, S, U, Q, E). Position 2
Robot_FinalFormat_tile_340_m22_GC_OM_AprilPos_PQ_NonZero_UT_Correct_CONFIGURED_correct_header | 38 | 4:56 | Object | 900 | normal/medium | 14 (1.03) | 1050 (reset to 0 first) | G1 |  | 6S | 45W
| 39 | 5:43 | Object | 900 | normal/medium | 22 (1.08) | 1050 (reset to 0 first) | G1 |  | 6S | 45W |  | Hexabundles rotated (E, A, H, L, O, C, D, Q, G, T, I, U)
| 40 | 6:01 | Dome flat | 70/70/70/50 | normal/medium | 26 (1.11)
| 41 | 6:09 | Arc | 100/100/100/30 | normal/medium
| 42-47 | 6:21 | Dark | 900 | normal/medium

## 30062022
| Date: | 2022-06-29 |  |  |  | Weather:
| Observers: | Julia, Madusha, Sree, Sarah, Di |  |  |  | Program: | Hector Commissioning
Field | Run range | Local time |  |  | Read |  |  | Guide |  | Offset (arcsec) |  |  | Notes | DR Notes
|  |  | Obs. Type | Exp. Time | Speed | ZD (Airmass) | Rotator | Stars Used | Seeing | N-S | E-W | Rel or Abs.
press "cmd+shift+:" to automatically add timestamp
AAOmega Focus (in spec): BSpatial=2086.5, BSpectral=3348.3, BFocus=163.4, Rspatial=1322.6, RSpectral=2459.7, Rfocus=538.5. Spector focus (in spec): B=2848.04, R=2382.05.
Robot_FinalFormat_tile_220_m22_GC_OM_AprilPos_PQ_NonZero_UT_Correct_CONFIGURED_correct_header | 1 | 21:38 | Arc | 100/100/100/30 | normal/medium
| 2 | 21:50 | Flappy flat | 20/20/20/10 | normal/medium

## 29062022
| Date: | 2022-06-29 |  |  |  | Weather:
| Observers: | Julia, Madusha, Sree, Sarah, Di |  |  |  | Program: | Hector Commissioning
Field | Run range | Local time |  |  | Read |  |  | Guide |  | Offset (arcsec) |  |  | Notes | DR Notes
|  |  | Obs. Type | Exp. Time | Speed | ZD (Airmass) | Rotator | Stars Used | Seeing | N-S | E-W | Rel or Abs.
press "cmd+shift+:" to automatically add timestamp
AAOmega Focus (in spec): BSpatial=2095.6, BSpectral=3321.8, BFocus=163.5, Rspatial=1301.9, RSpectral=2519.9, Rfocus=538.4. Spector focus (in spec): B=2847.96, R=2383.02.
Robot_FinalFormat_tile_340_m22_GC_OM_AprilPos_PQ_NonZero_UT_Correct_CONFIGURED_correct_header | 1 | 17:23 | Arc | 80/80/80/30 | normal/medium
| 2 | 17:28 | Dome flat | 70/70/70/50 | normal/medium | [7 empty] | screen not in position | ignore
| 3 | 17:36 | Dome flat | 70/70/70/50 | normal/medium | [7 empty] | using new, lower screen
| 4 | 17:42 | Dome flat | 70/70/70/50 | normal/medium | 0 | [6 empty] | using old, upper screen
| 5-24 | 17:46 | Bias | 0 | normal/medium | [7 empty] | dark slides down
| 25 | 18:55 | Dark | 1800 | normal/medium
| 26-33 | 23:27 | Dark | 1800 | normal/medium
| 34 | 4:11 | Detector flat | 30 | normal/medium | [7 empty] | AAOmega Focus: BSpatial=2095.7, BSpectral=3322, BFocus=3164.1, RSpatial=1290.9, RSpectral=2544.7, RFocus=3535.8. Spector focus: B=50.07, R=50.08. NB AAOmega R spatial and spectral are not in spec and did not drive back to requested in spec values after we had requested +4000 piston, which failed due to out of range, and caused spatial and spectral to have incorrect values. 75W AAOmega lamp. CCD_4 ~55k counts.
| 35 | 4:14 | Detector flat | 40/40/40/20 | normal/medium | [7 empty] | CCD_2 saturated
| 36 | 4:19 | Detector flat | 30/30/40/20 | normal/medium | [7 empty] | CCD_2 saturated
| 37 | 4:23 | Detector flat | 20/20/40/20 | normal/medium | [7 empty] | CCD_2 ok but only 400 counts (100 above bias) in blue end of CCD_1
| 38-40 | 4:28 | Detector flat | 30/30/40/20 | normal/medium | [7 empty] | CCD_2 saturated
| 41 | 4:36 | Detector flat | 25/25/40/20 | normal/medium | [7 empty] | CCD_2 ok
| 42-53 | 4:40 | Detector flat | 25/25/40/20 | normal/medium

## 01072022
| Date: | 2022-06-27 |  |  |  | Weather:
| Observers: | Julia, Madusha, Sree, Sarah, Di |  |  |  | Program: | Hector Commissioning
Field | Run range | Local time |  |  | Read |  |  | Guide |  | Offset (arcsec) |  |  | Notes | DR Notes
|  |  | Obs. Type | Exp. Time | Speed | ZD (Airmass) | Rotator | Stars Used | Seeing | N-S | E-W | Rel or Abs.
press "cmd+shift+:" to automatically add timestamp
Robot_FinalFormat_tile_280_m22_GC_OM_AprilPos_PQ_NonZero_UT_Correct_CONFIGURED_correct_header | 1 | 3:38 | Object | 900 | Normal/Medium | 49.65 (1.54) | 1060 (after setting to zero) | GS1 |  |  |  |  | Telescope defocussed observations for centroid fitting tests (focus:39.5)
| 2 | 3:57 | Arc | 80/80/20 | Normal/Medium
| 3 | 3:59 | Dome Flat | 70/70/50 | Normal/Medium | [8 empty] | ignore ccd3 ccd4
| 4 | 4:06 | Object | 900 | Normal/Medium | 55.65(1.77) | 1060 (forgot to set the rotator to zero first) | [5 empty] | Telescope defocussed to 39.7
| 5 | 4:25 | Flap Flat | 20/20/10 | Normal/Medium
| 6 |  | Flap Flat | 70/70/50 | [9 empty] | ignore ccd2 ccd4
| 7 | 4:42 | Dome Flat | 60/60/40 | Normal/Medium | [8 empty] | ignore ccd3
| 8 |  | Dome Flat | 60/50/40 | Normal/Medium | [7 empty] | This is the exposure time from now on
| 9 |  | Standard LTT7987 | [9 empty] | Standard star LTT7987 (12th Magnitude). We fail to position the star in the bundle.offset calculation issue
|  |  | Standard LTT7987 | [9 empty] | same. We fail to put our star in a hexa.
?

## 02072022
m | Date: | 2022-06-27 |  |  |  | Weather:
| Observers: | Julia, Madusha, Sree, Sarah, Di |  |  |  | Program: | Hector Commissioning
Field | Run range | Local time |  |  | Read |  |  | Guide |  | Offset (arcsec) |  |  | Notes | DR Notes
|  |  | Obs. Type | Exp. Time | Speed | ZD (Airmass) | Rotator | Stars Used | Seeing | N-S | E-W | Rel or Abs.
|  |  |  | press "cmd+shift+:" to automatically add timestamp | [8 empty] | AAOmega Focus (unchanged from 30062022): BSpatial=2086.5, BSpectral=3348.3, BFocus=163.4, Rspatial=1322.6, RSpectral=2459.7, Rfocus=538.5. Spector focus (unchanged from 30062022): B=2848.07, R=2382.05.
Robot_FinalFormat_tile_280_m22_GC_OM_AprilPos_PQ_NonZero_UT_Correct_CONFIGURED_correct_header | 1 | 20:36 | Arc | 80/80/80/20 | normal
| 2 | 20:56 | Dome flat | 60/60/50/40 | normal/medium | [7 empty] | There is a frame 11 for CCD2 - ignore this dataframe.

## 03072022
| Date: | 2022-06-27 |  |  |  | Weather:
| Observers: | Julia, Madusha, Sree, Sarah, Di |  |  |  | Program: | Hector Commissioning
Field | Run range | Local time |  |  | Read |  |  | Guide |  | Offset (arcsec) |  |  | Notes | DR Notes
|  |  | Obs. Type | Exp. Time | Speed | ZD (Airmass) | Rotator | Stars Used | Seeing | N-S | E-W | Rel or Abs.
|  |  |  | press "cmd+shift+:" to automatically add timestamp | [8 empty] | AAOmega Focus (in spec): BSpatial=20`6.6, BSpectral=3341.6, BFocus=160.9, Rspatial=1331.4, RSpectral=2495.2, Rfocus=537.9. Spector focus (in spec): B=2850.05, R=2382.98.
Robot_FinalFormat_tile_280_m22_GC_OM_AprilPos_PQ_NonZero_UT_Correct_CONFIGURED_correct_header | 1 | 17:28 | Arc | 80/80/80/20 | normal/medium
| 2 | 17:33 | Dome flat | 60/60/50/40 | normal/medium
| 3 | 21:46 | Object | 900 | normal/medium | 29 (1.14) | 1090 |  |  | 1S | 25W |  | Optimum telescope focus 39.8
| 4-9 | 0:10 | Dark | 1800 | normal/medium | [7 empty] | Dome lights on
| 15 | 5:04 | Arc | 100/100/100/10 | [8 empty] | Arc tests with FeAr1 2 CuAr 1 2 CuHe1
| 16 |  |  | 120/120/120/30
| 17 |  |  | 150/150/150/50
| 18 |  |  | 180/180/180/80
| 19 |  |  | 240/240/240/120
| 20 |  |  | 60/60/60/20 | [8 empty] | Arc lamp set all

## 04072022
| Date: | 2022-06-27 |  |  |  | Weather:
| Observers: | Julia, Madusha, Sree, Sarah, Di |  |  |  | Program: | Hector Commissioning
Field | Run range | Local time |  |  | Read |  |  | Guide |  | Offset (arcsec) |  |  | Notes | DR Notes
|  |  | Obs. Type | Exp. Time | Speed | ZD (Airmass) | Rotator | Stars Used | Seeing | N-S | E-W | Rel or Abs.
press "cmd+shift+:" to automatically add timestamp
Robot_FinalFormat_tile_280_m22_GC_OM_AprilPos_PQ_NonZero_UT_Correct_CONFIGURED_correct_header

## BLANK_LOG
| Date: | 2022-06-27 |  |  |  | Weather:
| Observers: | Julia, Madusha, Sree, Sarah, Di |  |  |  | Program: | Hector Commissioning
Field | Run range | Local time |  |  | Read |  |  | Guide |  | Offset (arcsec) |  |  | Notes | DR Notes
|  |  | Obs. Type | Exp. Time | Speed | ZD (Airmass) | Rotator | Stars Used | Seeing | N-S | E-W | Rel or Abs.
press "cmd+shift+:" to automatically add timestamp