## 25052022
| Date: | 2022-05-25 |  |  |  | Weather: | Completely clouded out
| Observers: | Julia, Sam, Matthew, Katie, Madusha |  |  |  | Program: | Hector Commissioning
Field | Run range | Local time |  |  | Read |  |  | Offset (arcsec) |  |  | Notes | DR Notes
|  |  | Obs. Type | Exp. Time | Speed | ZD | Seeing | N-S | E-W | Rel or Abs.
Cloudy and light rain, No observations were taken
5:31

## 26052022
| Date: | 2022-05-26 |  |  |  | Weather:
| Observers: | Julia, Sam, Matthew, Katie, Madusha |  |  |  | Program: | Hector Commissioning
Field | Run range | Local time |  |  | Read |  |  | Offset (arcsec) |  |  | Notes | DR Notes
|  |  | Obs. Type | Exp. Time | Speed | ZD | Seeing | N-S | E-W | Rel or Abs.
Blue Arm Central Wavelength = 4851, blaze wavelength = 4857
Red Arm Central Wavelength = 6830.37 (6830) , blaze wavelength = 6831
AAOmega spectograph focus (autofocus hartmann) started with using 30s exposures for both, then used 50s(for red only), 180s (for blue only)
220_m22_guides_central_and_around_the edge (plate-1) | [10 empty] | AAOmega Focus (didn't keep going until all 'yes' but the differences are minor): BSpatial=2091.1, BSpectral=3078.1, BFocus=145, Rspatial=1352.8, RSpectral=2520.2, Rfocus=525
Robot file name: Robot_FinalFormat_tile_220_m22_guide_central_and_around_edge_CONFIGURED_correct_header | [10 empty] | Spector Focus: Blue piston =2950.59, Red piston=2159.52 (Note: We did not focus Spector by running 'spector focus' routine on aatliu, Ross focussed Spector and those setting were kept).
Telescope focus=39.59
| 1 | 23:13 | Arc | 50 | Normal/Normal | [6 empty] | IGNORE FRAMES 1--5 - they either have the wrong readout speed and/or the tramlines are off
| 2 | 23:36 | Arc | 180 | Normal/Normal
| 3 | 23:48 | Dome Flat | 40 | Normal/Medium | 16.01 |  |  |  |  | Tramline are falling off
| 4 |  | Dome Flat | 40 | Normal/Medium
| 5 |  | Flap Flat | 40 | Normal/Medium | [5 empty] | CCD4 Saturated
Tramlines look fine for the observations below
| 6 | 12:28 | Arc | 50 | Normal/Medium
| 7 | 12:31 | Arc | 180 | Normal/Medium
| 8 | 12:37 | Dome Flat | 40 | Normal/Medium | 16.1 |  |  |  |  | There is a gradiant across the field plate (telescope is not pointing at the dome flat screen) | IGNORE
| 9 | 12:51 | Dome Flat | 90 | Normal/Medium | [5 empty] | Dome screen was way off | IGNORE
| 10 | 01:51 | Object | 900 | Normal/Medium | 46.1 |  |  |  |  | rotation at 1050 (after setting to 0)
| 11 | 02:18 | Object | 900 | Normal/Medium | 51.8 |  |  |  |  | rotation at 1050 (after setting to 0). Heavily affected by clouds. Guiding was on although the stars were clouded out, so likely also have drifted during the exposure. | USELESS - Ignore

## 27052022
| Date: | 2022-05-27 |  |  |  | Weather:
| Observers: | Julia, Sam, Matthew, Katie, Madusha |  |  |  | Program: | Hector Commissioning
Field | Run range | Local time |  |  | Read |  |  | Offset (arcsec) |  |  | Notes | DR Notes
|  |  | Obs. Type | Exp. Time | Speed | ZD | Seeing | N-S | E-W | Rel or Abs.
|  | press "cmd+shift+:" to automatically add timestamp | [8 empty] | Using the previous night's AAOmega and Spector focus settings
220_m22_guides_central_and_around_the edge (reconfigured with a different optical model) | 1 | 20:34 | Dark | 1800 | Normal/Medium | 26.30 |  |  |  |  | Dome lights (all lights) are on. Checking for light leakage to Spector. | This dark is taken to test the effectiveness of Spector dark shutters. The AAOmeaga dark slides were not in place, so DO NOT use the aaomega darks for data reduction
Robot file name: Robot_FinalFormat_tile_220_m22_GC_PreFeb_OM_CONFIGURED_correct_header | 2 |  | Dome Flat | 40 | Normal/Medium
| 3 | 21:18 | Dome Flat | 90 | Normal/Medium | 17.22 | [5 empty] | ccd3 ccd4 saturated
| 4 | 21:22 | Arc | 50 | Normal/Medium
| 5 | 21:26 | Arc | 180 | Normal/Medium | 15.71
Telescope focus=39.2
| 6 | 21:38 | Object | 900 | Normal/Medium | 13.64 |  |  |  |  | rotator set to 1050 (after setting to zero)
| 7 | 21:57 | Object | 900 | Normal/Medium | 10.92 |  |  |  |  | rotator set to 1050 (after setting to zero, repeatability check)
| 8 |  | Object | 600 | Normal/Medium | 9.25 |  |  |  |  | rotator set to 1050 (not set to zero first - for drift checks)
| 9 | 22:27 | Object | 600 | Normal/Medium | 9.27 |  |  |  |  | rotator set to 1050 (not set to zero first - for drift checks)
| 10 | 23:20 | Objects | 600 | Normal/Medium | 15.69 |  |  |  |  | rotator set to 1050 (not set to zero first - for drift checks). Very heavily affected by clouds. Was not able to guide for most of the exposure
| 11 | 23:39 | Objects | 600 | Normal/Medium | 19.4 |  |  |  |  | rotator set to 1050 (not set to zero first - for drift checks). Lost guiding a few times
| 12 | 23:51 | Object | 600 | Normal/Medium | 21.7 |  |  |  |  | rotator set to 1050 (not set to zero first - for drift checks)
| 13 | 12:04 | Object | 600 | Normal/Medium | 24.23 |  |  |  |  | rotator set to 1050 (not set to zero first - for drift checks)
| 14 | 12:16 | Object | 600 | Normal/Medium | 26.97 |  |  |  |  | rotator set to 1050 (set to zero first - for repeatability checks)
| 15 | 12:30 | Object | 600 | Normal/Medium | 29.72 |  |  |  |  | rotator set to 1050 (set to zero first - for repeatability checks)
| 16 | 12:43 | Object | 600 | Normal/Medium | 32.69 |  |  |  |  | rotator set to 1050 (set to zero first - for repeatability checks)
| 17 | 12:56 | Object | 600 | Normal/Medium | 35.26 |  |  |  |  | rotator set to 1050 (not set to zero first - for drift checks). Clouds came in just as started exposing, lost guiding during
| 18 | 01:12 | Object | 600 | Normal/Medium | 38.67 |  |  |  |  | rotator set to 1100 (set to zero first)
| 19 | 4:22 | Dark | 1800 | Normal/Medium | 74.40 |  |  |  |  | Dome lights are on. Checking for light leakage to Spector.
| 20 | 4:54 | Dark | 1800 | Normal/Medium | 74.39 |  |  |  |  | Dome lights are on. Checking for light leakage to Spector.
| 21 | 5.28 | Dark | 1800 | Normal/Medium | 74.38 |  |  |  |  | Dome lights are on. Checking for light leakage to Spector.
| 22-24 | 6:11 | Dark | 1800 | Normal/Medium | [5 empty] | Dome lights off.

## 28052022
| Date: | 2022-05-28 |  |  |  | Weather:
| Observers: | Julia, Sam, Matthew, Katie, Madusha |  |  |  | Program: | Hector Commissioning
Field | Run range | Local time |  |  | Read |  |  | Offset (arcsec) |  |  | Notes | DR Notes
|  |  | Obs. Type | Exp. Time | Speed | ZD | Seeing | N-S | E-W | Rel or Abs.
|  | press "cmd+shift+:" to automatically add timestamp | [8 empty] | AAOmega spectograph focus (autofocus hartmann) started with 50s (for red only), 180s (for blue only)
Blue Arm Central Wavelength = 4851, blaze wavelength = 4857
Red Arm Central Wavelength = 6830 , blaze wavelength = 6831
AAOmega Focus: BSpatial=1980.1, BSpectral=3386.1, BFocus=134, Rspatial=1308.4, RSpectral=2554.9, Rfocus=511.2
220_m22_GC_OM_AprilPos (reconfigured with a positive optical model) | [10 empty] | Spector Focus: Blue piston =3386.1, Red piston=2554.9 (Note: We did not focus Spector by running 'spector focus' routine on aatliu, Ross focussed Spector and those setting were kept).
Robot file name: Robot_FinalFormat_tile_220_m22_GC_OM_AprilPos_CONFIGURED_correct_header.csv | 1 | 17:16 | Offset Sky | 5 | Normal/Medium | [5 empty] | Twilight flat, 1Hr E. B=15 k R= 15k HB=15 k, HR= 30k (little bit of clouds around) | Check all HR frames for saturation. Check AAOmega red to see if the exposure time matches the blue counterpart - the exposure time may not have updated for ccd2
| 2 | 17:19 | Offset Sky | 12 | Normal/Medium | [5 empty] | Twilight flat, offset 10" W B= 20k R=20 k HB= 30 k, HR=50 k (little bit of clouds around)
| 3 | 17:21 | Offset Sky | 22 | Normal/Medium | [5 empty] | Twilight flat, offset 10" W B= 30k R= 30k HB=30 k, HR= Saturated (little bit of clouds around)
| 4 | 17:24 | Offset Sky | 50 (B,R,HB) / 22(HR) | Normal/Medium | [5 empty] | Twilight flat, offset 10" W B=30 k R= 40k HB=40 k, HR=40 k (little bit of clouds around)
| 5 | 17:27 | Offset Sky | 100 (B,R,HB) / 50 (HR) | Normal/Medium | [5 empty] | Twilight flat, offset 10" W B=30 k R= 40k HB=40 k, HR=50 k (little bit of clouds around)
| 6 | 17:32 | Offset Sky | 200 (B,R,HB) / 100 (HR) | Normal/Medium | [5 empty] | Twilight flat, offset 10" W B=20 k R= 40k HB=20 k, HR= 30k (little bit of clouds around)
| 7 | 19:18 | Dome flat | 40 | Normal/Medium | [5 empty] | Calibrations taken at the field position |  | tlm fail for ccd3
| 8 | 19:22 | Dome flat | 90 | Normal/Medium | 40.11 |  |  |  |  | At the field position | ccd3 ccd4 saturated
| 9 |  | Dome flat | 60 | Normal/Medium | [5 empty] | check headers for the exact exposure time | ccd4 saturated | tlm fail for ccd3
| 10 |  | Arc | 50 | Normal/Medium
| 11 |  | Arc | 30 | Normal/Medium
| 12 | 19:40 | Arc | 180 | Normal/Medium
| 13 | 19:44 | Flap flat | 20 | Normal/Medium
| 14 | 19:50 | Flap flat | 40 | Normal/Medium
| 15 | 23:19 | Dark | 1800 | Normal/Medium | [5 empty] | Forgot to put the AAOmega dark slides down for this exposure
| 16 | 23:56 | Dark | 1800 | Normal/Medium | [5 empty] | Torches were used inside the dome during the exposure
| 17 | 2:17 | Object! | 900 | Normal/Medium | 54 | Pretty okay to be honest |  |  |  | CPU went to 100% during the exposure and everything went very slow. Looks like the file was created okay so continued with another exposure
| 18 | 2:32 | Object! | 900 | Normal/Medium | 56 | Not so great now
| 19 | 2:47 | Bias | 0 | Normal/Medium | 0 |  |  |  |  | Bias to check the CPU usage.... still went to 100%
| 20 | 2:54 | Bias | 0 | Normal/Normal | 0 |  |  |  |  | Another bias to check the CPU usage after restarting the whole control task- looks like it's fine now
| 21-25 |  | Bias |  | Normal/Medium | [5 empty] | Taking 5 biases for calibration data

## 29052022
| Date: | 2022-05-29 |  |  |  | Weather: | Currently looking horrible
| Observers: | Julia, Sam, Madusha |  |  |  | Program: | Hector Commissioning
Field | Run range | Local time |  |  | Read |  |  | Offset (arcsec) |  |  | Notes | DR Notes
|  |  | Obs. Type | Exp. Time | Speed | ZD | Seeing | N-S | E-W | Rel or Abs.
|  |  |  | press "cmd+shift+:" to automatically add timestamp | [6 empty] | We are using the focus settings from the previous night
AAOmega Focus: BSpatial=1980.1, BSpectral=3386.1, BFocus=134, Rspatial=1308.4, RSpectral=2554.9, Rfocus=511.2
Spector Focus: Blue piston =3386.1, Red piston=2554.9 (Note: We did not focus Spector by running 'spector focus' routine on aatliu, Ross focussed Spector and those setting were kept).
Telescope focus=40.01
220_m22_GC_OM_AprilPos (reconfigured with a positive optical model) | 1 | 19:05 | Object | 900 | Normal/Normal | 43.04 |  |  |  |  | lost guiding half-way through the exposure for a minute or so. Rotator is at 1030
Robot/Tile files: Guides_central_and_around_edge_OM_april_positive | 2 | 19:25 | Dome flat | 40 | Normal/Medium
| 3 | 19:31 | Dome flat | 60 | Normal/Medium | [6 empty] | ccd4 saturated
| 4 |  | Arc | 50 | Normal/Medium
| 5 |  | Arc | 180 | Normal/Medium
| 6 | 19:51 | Dome flat | 50 | Normal/Medium | 33.45
| 7 | 21:27 | Object | 600 | Normal/Medium | 14.21 |  |  |  |  | Guiding was lost for most of the exposure. Heavily affected by clouds. rubbish
| 8 | 22:30 | Object | 600 | Normal/Medium | 1.01 |  |  |  |  | Rotator is at 1030. We were not guiding for most of the exposure

## 30052022
| Date: | 2022-05-30 |  |  |  | Weather:
| Observers: | Julia, Sam, Madusha, Jesse, Tom |  |  |  | Program: | Hector Commissioning
Field | Run range | Local time |  |  | Read |  |  | Offset (arcsec) |  |  | Notes | DR Notes
|  |  | Obs. Type | Exp. Time | Speed | ZD | Seeing | N-S | E-W | Rel or Abs.
|  |  |  | press "cmd+shift+:" to automatically add timestamp | [6 empty] | AAOmega spectograph focus (autofocus hartmann) started with 50s for both red and blue (strictly speaking, this exposure time is only suitable for red, however, we do not have time to use 180s exposures for blue focus)
Blue Arm Central Wavelength = 4851, blaze wavelength = 4857
Red Arm Central Wavelength = 6830 , blaze wavelength = 6831
AAOmega Focus: BSpatial=, BSpectral=, BFocus=, Rspatial=, RSpectral=, Rfocus=
Spector Focus: Blue piston =3386.1, Red piston=2554.9 (Note: We did not focus Spector by running 'spector focus' routine on aatliu, Ross focussed Spector on 25/05/2022, and those setting were kept).
220_m22_GC_OM_AprilPos (reconfigured with a positive optical model) | 1 | 17:16 | Offset Sky | 15 | Normal/Medium | [5 empty] | Twilight flat, 1Hr E. B= ~0.6k R=1 k HB= 1k, HR= 2k (MIRROR COVER CLOSED) | Very low counts (MIRROR COVER CLOSED)
Robot/Tile files: Guides_central_and_around_edge_OM_april_positive | 2 | 17:18 | Offset Sky | 25 | Normal/Medium | [5 empty] | Twilight flat, forgot to offset B=<1k R= 1k HB= 1 k, HR= 2k (MIRROR COVER CLOSED) | Low counts, lot of clouds around. (MIRROR COVER CLOSED)
| 3 | 17:21 | Offset Sky | 60 | Normal/Medium | [5 empty] | Twilight flat, offset 60" B=k R= k HB= k, HR= k (MIRROR COVER CLOSED) | CPU is at 100% again. Once the exposure was done, the CPU went back to normal. (MIRROR COVER CLOSED)
| 4 | 17:27 | Bias |  | Normal/Medium
| 5 |  | ?
| 6 | 19:01 | Object | 600 | Normal/Normal | [5 empty] | guiding was lost for most of the exposure.
| 7 |  | Dome Flat | 40 | Normal/Medium
| 8 | 19:21 | Dome Flat | 60 | Normal/Medium
| 9 | 19:25 | Arc | 50 | Normal/Medium
| 10 | 19:29 | Arc | 180 | Normal/Medium | [6 empty] | CCD3 reduction is not good
| 11 | 21:14 | Flap flat | 20 | Normal/Medium | [6 empty] | ccd4 saturated
| 12 | 21:18 | Flap flat | 40 | Normal/Medium
| 13 |  | Dark | 1800 | Normal/Medium
| 14 |  | Dark | 1800 | Normal/Medium
| 15 |  | Dark | 1800 | Normal/Medium
| 16 | 1:08 | Dark | 1800 | Normal/Medium
| 17 | 2:43 | Dome Flat | 50 (B,R), 40 (HB), 25 (HR) | Normal/Medium | [5 empty] | CCD1, CCD3 and CCD4 (spector) Saturated. Using OLD screen, which appear to have paint scraped off. IGNORE. | IGNORE -- we forgot to tumble
| 18 |  | Dome Flat | 50 (B,R), 40 (HB), 25 (HR) | Normal/Medium | [5 empty] | CCD1, CCD3 and CCD4 (spector) Saturated. Using OLD screen, which appear to have paint scraped off. IGNORE
| 19 | [9 empty] | IGNORE
| 20 |  |  | 30 (B,R), 20 (HB), 10 (HR) | [6 empty] | Not saturated -- IGNORE
| 21 | 3:40 | Dome flat | 40 | Normal/Medium | [5 empty] | This exposure might be affected by the power outage. Right after the exposure finished, we got a ccd failure error
| 22 | 3:48 | Dome flat | 90 | Normal/Normal
| 23 | 3:55 | Dome flat | 40 | Normal/Medium | [6 empty] | Tramline fitting fails for the 40s CCD4
| 24 |  | Dome flat | 90 | Normal/Medium
| 25 |  | Dome flat | 90/40/40 | Normal/Medium | [6 empty] | Tramline looks fine for CCD1 and CCD2
| 26 | 4:07 | Dome flat | 90/50/50 | Normal/Medium | [6 empty] | Tramline looks fine for CCD3 and CCD4 FAILED
| 27 |  | Dome flat | 90/60/60 | Normal/Medium | [6 empty] | Tramlines FAILED for CCD4
| 28-30 | 5:37 | Dark | 1800s | Normal/Medium

## 31052022
| Date: | 2022-05-31 |  |  |  | Weather:
| Observers: | Julia, Sam, Madusha, Jesse, Tom |  |  |  | Program: | Hector Commissioning
Field | Run range | Local time |  |  | Read |  |  | Offset (arcsec) |  |  | Notes | DR Notes
|  |  | Obs. Type | Exp. Time | Speed | ZD | Seeing | N-S | E-W | Rel or Abs.
press "cmd+shift+:" to automatically add timestamp
280_m22_GC_OM_AprilPos | 1 |  | Flat (channel-4, spare) | 40 | Normal/Medium | [5 empty] | Dome flat lamp tests for Ashley Anderson.
Robot_FinalFormat_tile_280_m22_GC_OM_AprilPos_CONFIGURED_correct_header.csvShareActions | 2 |  | FLAT (channel-2, UVA) | 40 | Normal/Medium | [5 empty] | Dome flat lamp tests for Ashley. Anderson.
| 3 |  | Arc | 50 | Normal/Medium
| 4 | 2:00 | Arc | 180 | Normal/Medium
| 5 | 2:19 | Dome flat | 40 | Normal/Medium | [5 empty] | Don't use
| 6 | 2:30 | Dome flat | 90 | Normal/Medium | [6 empty] | ccd3 & ccd4 saturated.
| 7 |  | Bias |  | Normal/Normal
| 8 | 2:50 | Dome flat | 40 | Normal/Medium | 1.03
Telescope focus=40.0
The same spectograph focus from the previous night is kept
| 9 | 4:42 | Object | 600 | Normal/Medium | [5 empty] | Affected by clouds. Guiding was lost a few times
| 10 | 5:10 | Object | 600 | Normal/Medium | [5 empty] | Affected by clouds. Guiding was lost a few times
| 11 | 5:39 | Object | 600 | Normal/Medium | [5 empty] | Lost guiding for most of the exposure. Affected by clouds. Probably a useless exposure
| 12 | 5:52 | Dome flat | 40 | Normal/Medium | [5 empty] | IGNORE - screen not aligned.
| 13 | 5:57 | Dome flat | 40 | Normal/Medium
| 14 | 6:01 | Dome flat | 90 | Normal/Medium | [6 empty] | ccd3 & ccd4 saturated.
| 15 | 6:06 | Arc | 50 | Normal/Medium
| 16 | 6:09 | Arc | 180 | Normal/Medium

## 01062022
| Date: | 2022-06-01 |  |  |  | Weather:
| Observers: | Julia, Sam, Madusha, Jesse, Tom |  |  |  | Program: | Hector Commissioning
Field | Run range | Local time |  |  | Read |  |  | Offset (arcsec) |  |  | Notes | DR Notes
|  |  | Obs. Type | Exp. Time | Speed | ZD | Seeing | N-S | E-W | Rel or Abs.
press "cmd+shift+:" to automatically add timestamp
220_m22_GC_OM_AprilPos (reconfigured with a positive optical model) | 1 | 18:17 | Object | 600 | Normal/Medium | 51.12 |  |  |  |  | Affected by clouds. Bad seeing
Robot/Tile files: Robot_FinalFormat_tile_220_m22_GC_OM_AprilPos_CONFIGURED_correct_header | 2 | 18:29 | Object | 900 | Normal/Medium | 48.50 |  |  |  |  | Initial positions for hexabundles E, R, L, P
| 3 | 19:08 | Object | 900 | Normal/Medium | 40.19 |  |  |  |  | hexabundles E, R, L, P rotated
| 4 | 19:39 | Object | 900 | Normal/Medium | 33.31 |  |  |  |  | hexabundles E, R, L, P rotated
| 5 |  | Dome Flat | 40 | Normal/Medium | 23.74
| 6 | 20:27 | Dome Flat | 90 | Normal/Medium | 23.51
| 7 | 20:32 | Arc | 50 | Normal/Medium
| 8 |  | Arc | 180 | Normal/Medium
| 9 | 20:43 | Object | 900 | Normal/Medium | 28.48 |  |  |  |  | hexabundles E, R, L, P rotated
| 10 | 20:59 | Object | 900 | Normal/Medium | 17.09 |  |  |  |  | hexabundles E, R, L, P rotated
280_m22_GC_OM_AprilPos | 11 |  | Object | 900 | Normal/Medium | [5 empty] | Hexabundles swapped E<==>T, L<==>M, P<==>, R<==>C | rotator was set to 1000.15
Robot_FinalFormat_tile_280_m22_GC_OM_AprilPos_CONFIGURED_correct_header.csvShareActions | 12 | 2:57 | Object | 900 | Normal/Medium | [5 empty] | Hexabundles swapped E<==>T, L<==>M, P<==>, R<==>C | 01st_Jun_swaps_280_m22.yaml
| 13 | 3:31 | Object | 600 | Normal/Medium | [5 empty] | Swapped hexabundles rotated1
| 14 |  | Object | 600 | Normal/Medium | [5 empty] | Swapped hexabundles rotated2
| 15 | 4:44 | Object | 600 | Normal/Medium | [5 empty] | Swapped hexabundles rotated3
| 16 | 4:55 | Dome Flat | 40 | Normal/Medium | [5 empty] | Swapped hexabundles rotated3
| 17 | 4:59 | Dome Flat | 90 | Normal/Medium | [5 empty] | Swapped hexabundles rotated3
| 18 | 5:04 | Arc | 50 | Normal/Medium | [5 empty] | Swapped hexabundles rotated3
| 19 | 5:07 | Arc | 180 | Normal/Medium | [5 empty] | Swapped hexabundles rotated3. (AAOmega crashed, so the data may not have written out)
| 20 | 5:44 | Bias |  | Normal/Medium | [5 empty] | Swapped hexabundles rotated4
| 21 |  | Bias | [7 empty] | Swapped hexabundles rotated4. AAOmega broken
| 22 |  | Arc | 180 | Normal/Medium | [5 empty] | Swapped hexabundles rotated4. | Might be an issue with this file. Taking a bias on June 2nd seemed to place the AAOmega files in the folder for the 1st of June with run number 22. Check!!

## 02062022
| Date: | 2022-06-02 |  |  |  | Weather:
| Observers: | Julia, Sam, Matthew, Jesse, Tom |  |  |  | Program: | Hector Commissioning
Field | Run range | Local time |  |  | Read |  |  |  | Offset (arcsec) |  |  | Notes | DR Notes
|  |  | Obs. Type | Exp. Time | Speed | ZD | Rotator | Seeing | N-S | E-W | Rel or Abs.
220_m22_GC_OM_AprilPos (reconfigured with a positive optical model) |  | press "cmd+shift+:" to automatically add timestamp
Robot/Tile files: Robot_FinalFormat_tile_220_m22_GC_OM_AprilPos_CONFIGURED_correct_header
| 1 | 18:26 | Bias | 0 | Normal/Medium | [7 empty] | Run numbers are messed up. Tried to fix it for ~10 mins but gave up
| 23 | 18:41 | Object | 900 | Normal/Medium | 45.2 | 1070 |  |  |  |  | No bundle rotations. Guiding on 5/6
| 24 | 18:58 | Arc | 50 | Normal/Medium | 41.6 | 1070 |  |  |  |  | Red Arc
| 25 | 7:00 | Arc | 180 | Normal/Medium | 40 | 1070
| 26 | 7:08 | Dome Flat | 40 | Normal/Medium | 38.8 | 1070
| 27 | 19:12 | Dome Flat | 90 | Normal/Medium
| 28 | 19:17 | Object | 900 | Normal/Medium |  | 1070 |  |  |  |  | Repeating no bundle rotations. Guiding on 5/6
| 29 | 19:51 | Object | 900 | [7 empty] | Swapping Bundles: E <==> L, P<==>N, R <==> G. Guiding on Bundle 1. rotator is at 1000, DIFFERENT TO EXPOSURES 23 AND 28! | 02nd_Jun_swaps_220_m22.yaml
| 30 | 20:31 | Object | 900 | Normal/Medium | [6 empty] | Rotated bundles E, L, P and R. Rotator went to 0 and then 1060. position 2
| 31 | 21:18 | Object | 900 | Normal/Medium | 13.10 | 1060 |  |  |  |  | Rotated bundles E, L, P and R. position 2
| 32 | 22:04 | Object | 900 | Normal/Medium | 9.2 | 1060 |  |  |  |  | Probably useless- too much cloud. Rotator left as it is- NOT back to 0 first. position 3
| 33 | 22:22 | Object | 900 | Normal/Medium | 10.3 | [5 empty] | Probably Useless. Too much cloud. position 3
280_m22_GC_OM_AprilPos_PQ_zero | 34
Robot_FinalFormat_tile_280_m22_GC_OM_AprilPos_PQ_Zero_CONFIGURED_correct_header

## 03062022
| Date: | 2022-06-03 |  |  |  | Weather:
| Observers: | Julia, Sam, Madusha, Jesse, Tom |  |  |  | Program: | Hector Commissioning
Field | Run range | Local time |  |  | Read |  |  |  | Offset (arcsec) |  |  | Notes | DR Notes
|  |  | Obs. Type | Exp. Time | Speed | ZD | Rotator | Seeing | N-S | E-W | Rel or Abs.
press "cmd+shift+:" to automatically add timestamp
Partial illumination tests - Outer most sky fibre in each slitlet illuminated
280_m22_GC_OM_AprilPos_PQ_zero | 1 | 23:37 | Dome Flat | 40 | Normal/Medium | [6 empty] | B=15K R=15K, HB=20K, HR=40K | Crane lights were on. So re-doing the three tests
Robot_FinalFormat_tile_280_m22_GC_OM_AprilPos_PQ_Zero_CONFIGURED_correct_header | 2 | 23:51 | Dome Flat | AB,AR=80, HB=80, HR=40 | Normal/Medium | [6 empty] | B= 30K R= 30K, HB= 40K, HR= 40K
| 3 | 23:56 | Dome Flat | AB,AR=100, HB=100, HR=50 | Normal/Medium | [6 empty] | B= K R= K, HB= K, HR= K
| 4 | 0:03 | Dome Flat | 40 | Normal/Medium | [6 empty] | B= 15K R= 15K, HB=20 K, HR=40 K | AAOmega Red has some reflections at individual points (at 0.3% level)
| 5 | 0:07 | Dome Flat | AB,AR=80, HB=80, HR=40 | Normal/Medium | [6 empty] | B= 30K R= 30K, HB= 40K, HR= 40K
| 6 | 0:11 | Dome Flat | AB,AR=100, HB=100, HR=50 | Normal/Medium | [6 empty] | B= 40K R= 40K, HB= saturated, HR= 40K
| 7 | 0:15 | Arc | 50 | Normal/Medium
| 8 | 0:19 | Arc | 180 | Normal/Medium
Partial illumination tests - every second sky fibre illuminated
| 9 | 0:37 | Dome Flat | 40 | Normal/Medium | [6 empty] | B= K R= K, HB= K, HR= saurated | Dome lights were on -- ignore -- re-doing the tests
| 10 | 0:44 | Dome Flat | 40 | Normal/Medium
| 11 | 0:46 | Dome Flat | 40 | Normal/Medium | [6 empty] | B= 10K R= 15K, HB= 20K, HR= ~40K
| 12 | 1:01 | Dome Flat | AB,AR=80, HB=80, HR=40 | Normal/Medium | [6 empty] | B= 30K R= 30K, HB= 40K, HR= 40K
| 13 | 1:06 | Dome Flat | AB,AR=100, HB=100, HR=50 | Normal/Medium | [6 empty] | B= 40K R= slightly<40K, HB= Saturated K, HR= 40K
| 14 | 1:12 | Arc | 50 | Normal/Medium
| 15 | 1:16 | Arc | 180 | Normal/Medium
| 16-23 |  | Darks | 1800 | Normal/Medium

## 04062022
| Date: | 2022-06-04 |  |  |  | Weather:
| Observers: | Julia, Sam, Madusha, Tom, Jesse |  |  |  | Program: | Hector Commissioning
Field | Run range | Local time |  |  | Read |  |  |  | Offset (arcsec) |  |  | Notes | DR Notes
|  |  | Obs. Type | Exp. Time | Speed | ZD | Rotator | Seeing | N-S | E-W | Rel or Abs.
|  |  |  | press "cmd+shift+:" to automatically add timestamp | [7 empty] | We have not focussed the telescope/spectograph yet
220_m22_GC_OM_AprilPos_PQ_zero | 1 | 21:40 | Object | 900 | Normal/Medium | 9.41 | 1050 (after setting to 0) |  |  |  |  | Rotator repeatability test (1050)
Telescope focus=40.00
Robot/Tile files: Robot_FinalFormat_tile_220_m22_GC_OM_AprilPos_PQ_Zero_CONFIGURED_correct_header | 2 | 21:58 | Object | 900 | Normal/Medium | 9.34 (1.01 airmass) | 1050 (after setting to 0) |  |  |  |  | Rotator repeatability test (1050)
| 3 | 22:15 | Object | 900 | Normal/Medium | 10.36(1.02 airmass) | 1050 (after setting to 0) |  |  |  |  | Rotator repeatability test (1050). Guiding was lost. The exposure is likely rubbish
| 4 | 22:36 | Arc | 50 | Normal/Medium | 13.2 | 1050
| 5 | 22:39 | Arc | 180 | Normal/Medium | 13.7 | 1050
| 6 | 22:45 | Dome Flat | 40 | Normal/Medium | 14.7 | 1050 |  |  |  |  | Using upper dome screen. "Dome may change position" warning
| 7 | 22:49 | Dome Flat | 90 | Normal/Medium | 15.65 | 1050 | [5 empty] | ccd3, 4 saturated
We did not focus AAOmega, the settings from previous night used. The current setting is: AAOmega Focus: BSpatial=2062.8, BSpectral=3399.2, BFocus=139.5, Rspatial=1291.3, RSpectral=2577.2, Rfocus=511.12
Spector Focus: Blue piston =3386.1, Red piston=2554.9 (Note: We did not focus Spector by running 'spector focus' routine on aatliu, Ross focussed Spector and those setting were kept).
| 8-27 | 23:05 | Bias |  | Normal/Medium | 18.84 | 1050
| 28-31 | 5:33 | Dark | 1800 | Normal/Medium |  | 0

## 05062022
| Date: | 2022-06-05 |  |  |  | Weather:
| Observers: | Julia, Sam, Madusha, Tom, Jesse |  |  |  | Program: | Hector Commissioning
Field | Run range | Local time |  |  | Read |  |  |  | Offset (arcsec) |  |  | Notes | DR Notes
|  |  | Obs. Type | Exp. Time | Speed | ZD | Rotator | Seeing | N-S | E-W | Rel or Abs.
press "cmd+shift+:" to automatically add timestamp
We did not focus AAOmega, the settings from previous night used. The current setting is: AAOmega Focus: BSpatial=2062.8, BSpectral=3399.2, BFocus=139.5, Rspatial=1291.3, RSpectral=2577.2, Rfocus=511.12
Spector Focus: Blue piston =2950.59, Red piston=2159.52 (Note: We did not focus Spector by running 'spector focus' routine on aatliu, Ross focussed Spector and those setting were kept).
220_m22_GC_OM_AprilPos_PQ_zero | 1 | 23:23 | Defocussed detector flats (flap flat system) | 30 | Normal/Medium | [6 empty] | Defocused: Set AAOmega Focus: BFocus=3087.4, Rfocus=3451.4, Spector Focus: BFocus=50, RFocus=59, B=10k R=30k HB=10k, HR=45K | Dome lights were on
| 2 | 23:39 | Defocussed detector flats (flap flat system) | 30 | Normal/Medium | [6 empty] | Defocused: Set AAOmega Focus: BFocus=4100, Rfocus=4211, Spector Focus: BFocus=50, RFocus=59, B=k R=k HB=k, HR=K
Robot/Tile files: Robot_FinalFormat_tile_220_m22_GC_OM_AprilPos_PQ_Zero_CONFIGURED_correct_header | 3-5 | 23:46 | Defocussed detector flats (flap flat system) | 30 | Normal/Medium | [6 empty] | Defocused: Set AAOmega Focus: BFocus=4100, Rfocus=4211, Spector Focus: BFocus=50, RFocus=59, B=10k R=30k HB=8k, HR=45K
| 6-7 | 23:54 | Defocussed detector flats (flap flat system) | AB, AR, HB=40, HR=30 | Normal/Medium | [6 empty] | B=13k R=43k HB=10k, HR=45K
| 8-9 | 0:01 | Defocussed detector flats (flap flat system) | AB, AR, HB=45, HR=30 | Normal/Medium | [6 empty] | B=15k R=45k (reaching 60K right at the edge) HB=13k, HR=45K
| 10-14 | 0:07 | Defocussed detector flats (flap flat system) | AB, AR, HB=40, HR=30 | Normal/Medium
| 15-20 | 0:24 | Defocussed detector flats (flap flat system) | AB, AR, HB=40, HR=30 | Normal/Medium
| 21-25 | 0:44 | Defocussed detector flats (flap flat system) | AB, AR, HB=45, HR=30 | Normal/Medium
| 26 | 2:23 | Arc | 50 | Normal/Medium | [6 empty] | Moving AAOmega and Spector Spectograph settings to the original values
| 27 | 2:25 | Arc | 180 | Normal/Medium

## BLANK_LOG
| Date: | 2022-03-05 |  |  |  | Weather:
| Observers: | Julia, Sam, Matthew, Katie, Madusha |  |  |  | Program: | Hector Commissioning
Field | Run range | Local time |  |  | Read |  |  |  | Offset (arcsec) |  |  | Notes | DR Notes
|  |  | Obs. Type | Exp. Time | Speed | ZD | Rotator | Seeing | N-S | E-W | Rel or Abs.
press "cmd+shift+:" to automatically add timestamp