## 17082022
| Date: | 2022-08-17 |  |  |  | Weather:
| Observers: | Julia, Scott, Tom |  |  |  | Program: | Hector Commissioning
Field name & | Run range | Local time |  | Exp. Time | Read |  |  | Guide | Seeing | Offset (arcsec) |  |  | Notes | DR Notes
Robot file name |  |  | Obs. Type | (sec) | Speed | ZD (Airmass) | Rotator (mdeg) | Stars Used | (arcsec) | N-S | E-W | Rel or Abs.
press "cmd+shift+:" to automatically add timestamp
310_m22_hexas_vertical_PQ_NonZero_CONFIGURED_correct_header(RotPOSNEG)
| 1 |  | Flat | 60/60/50/40 | Normal/Medium
| 2 |  | Arc | 80/80/80/20 | Normal/Medium
| 3 | 21:46 | Object | 1200 | Normal/Medium | 20.8 (1.07) | 1070 | GS1 guide to centre | 2''ish |  |  |  | Testing the rotator arm rotation with negative rotation.
| 4 | 21:53 | Object | 1200 | Normal/Medium | 16.9(1.05) | 1070 | GS1 guide to centre | below 2''ish |  |  |  | Testing the rotator arm rotation with negative rotation.
310_m22_hexas_vertical_PQ_NonZero_CONFIGURED_correct_header(RotPOSPOS)
| 5 | 23:15 | Object | 1200 | Normal/Medium | 10.0(1.02) | 1050 | GS1 guide to centre |  |  |  |  | Testing the rotator arm rotation with positive rotation.
| 2022-06-12 | 23:41 | Object | 900 | Normal/Medium | 13.5(1.03) | 1050 | GS1 guide to centre |  |  |  |  | 7-point dither script
| 13 | 1:44 | Object | 900 | Normal/Medium | 38.5(1.28) | 0 then 1050 | GS1 guide to centre |  |  |  |  | Reset rotator and took image to compare if there had been drift duing previoud dither sequence.
010_m22_hexa_horizontal_PQ_NonZero (RotPOSPOS)
| 14 |  | Object | 900 | Normal/Medium | (~1.0) | 0 then 1050 | GS1 guide to centre
| 15-18 | 4:20 | Object | 900 | Normal/Medium | (~1.0) | see note | GS1 guide to centre |  |  |  |  | Started without resetting the rotator, so first frame can be used for testing rotator drift. Previous field can be used to compare plate rotator drift. 7-point dither.
| 19 | 5:31 | Flat | 60/60/50/40 | Normal/Medium
| 20 | 5:35 | Arc | 80/80/80/20 | Normal/Medium

## 18082022
| Date: | 2022-08-18 |  |  |  | Weather:
| Observers: | Julia, Scott, Tom |  |  |  | Program: | Hector Commissioning
Field name & | Run range | Local time |  | Exp. Time | Read |  |  | Guide | Seeing | Offset (arcsec) |  |  | Notes | DR Notes
Robot file name |  |  | Obs. Type | (sec) | Speed | ZD (Airmass) | Rotator (mdeg) | Stars Used | (arcsec) | N-S | E-W | Rel or Abs.
press "cmd+shift+:" to automatically add timestamp
A3667_A3716_tile_000_CONFIGURED_correct_header
| 2 | 17:45 | Twilight Flat | 5/5/5/5 | Normal/Medium | 7.3(1.01)
| 3 | 17:47 | Twilight Flat | 15/15/15/15 | Normal/Medium | 6.8(1.01)
| 4 | 17:49 | Twilight Flat | 25/25/25/25 | Normal/Medium | 6.3(1.01) | [6 empty] | CCD 4 has some saturation
| 5 | 17:52 | Twilight Flat | 35/35/35/35 | Normal/Medium | 5.7(1.00) | [6 empty] | CCD 4 has a little saturation (less than previous)
| 6 | 17:55 | Twilight Flat | 50/50/50/50 | Normal/Medium | 5.1(1.00)
| 7 | 17:58 | Twilight Flat | 100/100/100/100 | Normal/Medium | 4.4(1.00)
| 8 | 18:02 | Twilight Flat | 200/200/200/200 | Normal/Medium | 3.6(1.00)
| 2022-09-10 |  | arc | 80/80 | Normal/Medium | [7 empty] | arcs with hartmanns for focus, ignore and disable. CCD1/2 only
| 11 |  | Flat | 60/60/50/40 | Normal/Medium | [7 empty] | tlm failure as wrong fibre table uas 010 file was loaded.
| 12 |  | Arc | 80/80/80/20 | Normal/Medium
| 13 |  | Arc | 80/80/80/20 | Normal/Medium
| 14 |  | Flat | 60/60/50/40 | Normal/Medium
| 15 |  | Object | 1600/1600/1600/1600 | Normal/Medium |  | 1050 | 1,2,3,6, guide centre |  |  |  |  | 1 of 7 dither. Scattered light in CCD 4.
| 16 |  | Object | 1600/1600/1600/1600 | Normal/Medium |  | 1050 | 1,2,3,6, guide centre |  |  |  |  | 2 of 7 dither. Scattered light in CCD 4.
| 17 | 22:25 | Object | 900/900/900/900 | Normal/Medium |  | 1050 | 1,2,3,6, guide centre |  |  |  |  | at position 2 of dither, testing for scattered light in CCD 4 after covering red flashing warning light outside Spector room.
| 18 |  | object | 600 | Normal/Medium |  | 1050 | 1,2,3,6, guide centre |  |  |  |  | Testing scattered light after covering green led in Spector room.
| 19 |  | object | 1600 | Normal/Medium |  | 1050 | 1,2,3,6, guide centre |  |  |  |  | Continuing the dither.
| 20 | 23:54 | dark | 900 | Normal/Medium
| 21 | 1:11 | Object | 600/600/600/600 | Normal/Medium | 38.2(1.27) | 1050 | [5 empty] | Pointing at cloud. Stars appearing occasionally. Not guiding. Checking for scattered light in CCD 4 still.
| 22 | 1:26 | Bias |  | Normal/Medium |  | 1050 | [5 empty] | Checking for scattered light again.
| 23 | 1:31 | Object | 600/600/600/600 | Normal/Medium | [7 empty] | Pointing close to zenith at dome (i.e. not on sky). More scattered light investigations. Bright spot from bottom right very apparent still.
| 24 | 2:04 | Object | 600/600/600/600 | Normal/Medium | [7 empty] | Same as 23. Dome dark.
| 25 | 2:21 | Object | 600/600/600/600 | Normal/Medium | [7 empty] | Dome dark. Cardboard trying to block slit, may not have blocked properly though.
| 26 | 2:49 | Object | 600/600/600/600 | Normal/Medium | [7 empty] | Cardboard blocking the slit. Dome dark.
| 27 | 3:31 | Object | 600/600/600/600 | Normal/Medium | [7 empty] | Removed cardboard from slits. Put panels back on the box. Blocked up the holes that were not blocked up properly previously. Dome dark.

## 19082022
| Date: | 2022-08-19 |  |  |  | Weather:
| Observers: | Julia, Scott, Tom |  |  |  | Program: | Hector Commissioning
Field name & | Run range | Local time |  | Exp. Time | Read |  |  | Guide | Seeing | Offset (arcsec) |  |  | Notes | DR Notes
Robot file name |  |  | Obs. Type | (sec) | Speed | ZD (Airmass) | Rotator (mdeg) | Stars Used | (arcsec) | N-S | E-W | Rel or Abs.
press "cmd+shift+:" to automatically add timestamp
A3667_A3716_tile_000_CONFIGURED_correct_header
| 1 | 14:05 | bias | 0 | normal/normal | [7 empty] | bias to check that fixes to fibre table are okay
| 2 | 14:09 | bias | 0 | normal/medium | [7 empty] | bias to check that fixes to fibre table are okay
| 3 | 16:23 | Object | 600/600/600/600 | normal/medium | n/a | n/a | n/a | n/a |  |  |  | Dome dark. Light scattering in red CCD still very apparent.
| 4 | 17:46 | Twilight Flat | 5/5/5/5 | Normal/Medium | 13.6(1.03) | n/a | n/a | n/a
| 5 | 17:47 | Twilight Flat | 10/10/10/10 | Normal/Medium | 13.4(1.03) | n/a | n/a | n/a
| 6 | 17:49 | Twilight Flat | 15/15/15/15 | Normal/Medium | 12.9(1.03) | n/a | n/a | n/a
| 7 | 17:52 | Twilight Flat | 25/25/25/25 | Normal/Medium | 12.4(1.02) | n/a | n/a | n/a
| 8 | 17:54 | Twilight Flat | 35/35/35/35 | Normal/Medium | 11.9(1.02) | n/a | n/a | n/a
| 9 | 17:57 | Twilight Flat | 55/55/55/55 | Normal/Medium | 11.3(1.02) | n/a | n/a | n/a |  |  |  | Saturated in CCD4 due to cloud.
| 10 | 18:00 | Twilight Flat | 100/100/100/100 | Normal/Medium | 10.6(1.02) | n/a | n/a | n/a
| 11 | 18:04 | Twilight Flat | 200/200/200/200 | Normal/Medium | 9.8(1.01) | n/a | n/a | n/a
| 12 | 18:15 | Object | 600/600/600/600 | Normal/Medium | n/a | n/a | n/a | n/a |  |  |  | Dome dark. | can't reduce
| 13 | 18:52 | Object | 600/600/600/600 | Normal/Medium | n/a | n/a | n/a | n/a |  |  |  | Dome dark. | can't reduce
| 14 | 19:21 | Object | 300/300/300/300 | Normal/Medium | n/a | n/a | n/a | na |  |  |  | Dome dark. | can't reduce
| 15 | 20:09 | Flat | 60/60/50/40 | Normal/Medium | n/a | n/a | n/a | na
| 16 | 20:15 | Arc | 80/80/80/20 | Normal/Medium | n/a | n/a | n/a | na
| 17 | 20:28 | Object | 1600/1600/1600/1600 | Normal/Medium | 32.7(1.19) | 1060 | 1, guide centre | 2-3"ish |  |  |  | 7-point dither
| 18 | 21:20 | Object | 1600/1600/1600/1601 | Normal/Medium | 28.0(1.13) | 1060 | 1, guide centre | 2-3"ish |  |  |  | 7-point dither
| 19 | 21:28 | Object | 1600/1600/1600/1600 | Normal/Medium | 27.5(1.13) | 1060 | 1, guide centre | 2"ish-ish |  |  |  | 7-point dither
| 20 | 22:01 | Object | 1600/1600/1600/1601 | Normal/Medium | 26.0(1.11) | 1060 | 1, guide centre | 2"ish-ish |  |  |  | 7-point dither
| 21 | 22:23 | Arc | 80/80/80/20 | Normal/Medium | n/a | n/a | n/a | n/a |  |  |  | 7-point dither
| 22 | 22:27 | Flat | 60/60/50/40 | Normal/Medium | n/a | n/a | n/a | n/a |  |  |  | 7-point dither
| 23 |  | Object | 1600/1600/1600/1600 | Normal/Medium |  | 1060 | 1, guide centre | 2-3"ish |  |  |  | 7-point dither
| 24 | 23:05 | Object | 1600/1600/1600/1600 | Normal/Medium | 26.7(1.12) | 1060 | 1, guide centre | 2-3"ish |  |  |  | 7-point dither
| 25 | 23:28 | Object | 1600/1600/1600/1600 | Normal/Medium | 27.9(1.13) | 1060 | 1, guide centre | 2-3"ish |  |  |  | 7-point dither
LTT9239 std star | 26 | 0:24 | Object | 200 | Normal/Medium | 14.0(1.03) | 1060 | n/a |  |  |  |  | star in bundle A. Missed actually, nothing in the bundles.
blank sky | 27 | 0:31 | Object | 1800/1800/1800/1800 | Normal/Medium | 13.0(1.03) | 1060 | 1, guide centre |  |  |  |  | blank sky to test sky subtraction etc
LTT9239 std star | 28 | 1:42 | Object | 200 | Normal/Medium | 13.2(1.03) | 1060 | n/a |  |  |  |  | star in bundle A. - It's there!
LTT9239 std star | 29 | 1:49 | Object | 200 | Normal/Medium | 14.7(1.03) | 1060 | n/a |  |  |  |  | star in bundle N.
LTT9239 std star | 30 | 1:55 | Object | 200 | Normal/Medium | 15.7(1.04) | 1060 | n/a |  | 1 arcsec N |  | abs | star in bundle N, but offset 1arcsec N
LTT9239 std star | 31 | 2:01 | Object | 200 | Normal/Medium | 16.6(1.04) | 1060 | n/a |  | 1 arcsec | 2 arcsec E | abs | star in bundle N
| 32 | 2:13 | Arc | 80/80/80/20 | Normal/Medium | n/a | n/a | n/a | n/a
| 33 | 2:21 | Flat | 60/60/50/40 | Normal/Medium | n/a | n/a | n/a | n/a
010_m22_hexa_horizontal_PQ_NonZero (RotPOSPOS)
| 34 | 3:07 | Arc | 80/80/80/20 | Normal/Medium |  | n/a | n/a | n/a
| 35 | 3:12 | Flat | 60/60/50/40 | Normal/Medium | n/a | n/a | n/a | n/a
| 36-42 | 3:30 | Object | 900/900/900/900 | Normal/Medium | 13.2(1.03) | 1060 | 1, guide centre |  |  |  |  | 7-point dither using script
LTT1788 | 43 | 5:25 | Object | 300 | Normal/Medium | 10.7(1.02) | 1060 | n/a |  |  |  |  | star in bundle D
| 44 | 5:33 | Object | 300 | Normal/Medium | 9.8(1.01) | 1060 | n/a |  | 1 arcsec N |  | abs | star in bundle D
| 45 | 5:39 | Object | 300 | Normal/Medium | 8.9(1.01) | 1060 | n/a |  |  |  |  | star in bundle I
| 46-49 |  | arc | [9 empty] | focus frames for following day, run numbers not reset.

## 20082022
| Date: | 2022-08-20 |  |  |  | Weather:
| Observers: | Julia, Tom, Scott |  |  |  | Program: | Hector Commissioning
Field name & | Run range | Local time |  | Exp. Time | Read |  |  | Guide | Seeing | Offset (arcsec) |  |  | Notes | DR Notes
Robot file name |  |  | Obs. Type | (sec) | Speed | ZD (Airmass) | Rotator (mdeg) | Stars Used | (arcsec) | N-S | E-W | Rel or Abs.
|  | press "cmd+shift+:" to automatically add timestamp | [10 empty] | Spector spectrograph focus values blue = 2836 red = 2354 AAOmega spectrograph focus Spatial, spectral, focus: blue 1945, 2765, 148, red 1141.5, 2523.8, 527.3
A3667_A3716_tile_001_CONFIGURED_correct_header
| 1 | 19:56 | Arc | 80/80/80/20 | Normal | n/a | n/a | n/a | n/a |  |  |  | Not at field, at zenith
| 2 | 19:58 | Arc | 80/80/80/20 | Normal/Medium | n/a | n/a | n/a | n/a
| 3 | 20:02 | dome flat | 60/60/50/40 | Normal/Medium | n/a | n/a | n/a | n/a
| 4 | 20:25 | object | 300 | Normal/Medium | 32.6(1.19) | 1040 | 2,3,4,6 | 2.2 ish |  |  |  | guider here, not guide to centre
| 5 | 20:37 | object | 1800 | Normal/Medium | 31.3(1.17) | 1040 | 2,3,4,6 | 2.2 ish |  |  |  | A
| 6 | 22:16 | object | 1800 | Normal/Medium | 25.6(1.11) | 1040 | 2,3,4,6 |  |  |  |  | B Heavily cloud affected - not guiding for second half of exposure.
| 7 | 23:49 | object | 1800 | Normal/Medium | 29.8(1.15) | 1040 | 2,3,4,6 |  |  |  |  | C continuing dither
| 8 |  | object | 1800 | Normal/Medium |  | 1040 | 2,3,4,6 |  |  |  |  | D
| 9 |  | arc | 80/80/80/20 | Normal/Medium
| 10 |  | flat | 60/60/50/40 | Normal/Medium
| 11 | 0:19 | object | 1800 | Normal/Medium | 32.7(1.19) | 1040 | 2,3,4,6 | 2.2 ish |  |  |  | E
| 12 |  | object | 1800 | Normal/Medium |  | 1040 | 2,3,4,6 | 2.2 ish |  |  |  | F
| 13 |  | object | 1800 | Normal/Medium |  | 1040 | 2,3,4,6 | 2.2 ish |  |  |  | G
H01_tile_001_CONFIGURED_correct_header
| 14 | 3:08 | Object | 1800 | Normal/Medium | 0.1(1.00) | 1050 | 1,2,3,4,6, guide here |  |  |  |  | A First frame
| 15 | 3:39 | Object | 1800 | Normal/Medium | 7.7(1.01) | 1050 | 1,2,3,4,6, guide here |  |  |  |  | A first in dither pattern
| 16 |  | Object | 1800 | Normal/Medium | [7 empty] | B
| 17 |  | Object | 1800 | Normal/Medium | [7 empty] | C
| 18 |  | arc | 80/80/80/20 | Normal/Medium
| 19 |  | flat | 60/60/50/40 | Normal/Medium
| 20 |  | Object | [9 empty] | LTT1788, in hexa I
| 21 | 5:33 | Object |  |  | 9.2(1.01) | 1050 |  |  |  | 1" E | abs | LTT1788, in hexa I
| 22 | 5:41 | Object |  | Normal/Medium | 8.9(1.01) | 1050 | [5 empty] | LTT1788, in hexa E - missed! no star

## 21082022
4 | Date: | 2022-08-21 |  |  |  | Weather:
| Observers: | Julia, Tom, Scott |  |  |  | Program: | Hector Commissioning
Field name & | Run range | Local time |  | Exp. Time | Read |  |  | Guide | Seeing | Offset (arcsec) |  |  | Notes | DR Notes
Robot file name |  |  | Obs. Type | (sec) | Speed | ZD (Airmass) | Rotator (mdeg) | Stars Used | (arcsec) | N-S | E-W | Rel or Abs.
press "cmd+shift+:" to automatically add timestamp
A3667_A3716_tile_002_CONFIGURED_correct_header
| 1 | 17:33 | object | 600 | normal/medium | n/a | n/a | n/a | n/a |  |  |  | dome dark to check Spector red stray light
| 2 |  | Object | 300 | normal/medium | n/a | n/a | n/a | n/a |  |  |  | dome dark to check Spector red stray light
| 3 | 18:12 | Object | 300 | normal/medium | n/a | n/a | n/a | n/a |  |  |  | dome dark to check Spector red stray light
| 4 | 20:19 | arc | 80/80/80/20 | normal/medium | 32.8(1.19) | 1050
| 5 | 20:21 | Dome Flat | 60/60/50/40 | normal/medium | 32.8(1.19) | 1050
| 6 | 20:33 | Object | 1800 | normal/medium | 31.2(1.17) | 1020 | 1,2,3,4. guide here. Star 4 seems to not be focused | 2"ish |  |  |  | hector_dither script 7-point dither. Frames 1-4
| 2022-07-09 | 21:04 | Object | 1800 | normal/medium | 28.6(1.14) | 1020 | 1,2,3,4 guide here | 2"ish |  |  |  | continuing dither
| 10 |  | arc | 80/80/80/20 | normal/medium
| 11 |  | flat | 60/60/50/40 | normal/medium
| 2022-12-14 |  | Object | 1800 | normal/medium | 28(1.13) | 1020 | 1,2,3,4 guide here |  |  |  |  | Continuing dither frames 5-7
H01_tile_001_CONFIGURED_correct_header
| 15 | 1:16 |  | 1800 | normal/medium | 22(1.08) | 1040 | 1,2,3,4,6 guide central |  |  |  |  | Continuing dither script from last night from frame 4.
| 16 | 1:47 | arc | 80/80/80/20 | normal/medium | 15(1.04) | 1040 | [5 empty] | Part of dither script
| 17 |  | flat | 60/60/50/40 | normal/medium | [7 empty] | Part of dither script
| 18-20 |  | Object | 1800 | normal/medium | 0.0(1.00) | 1040 | 1,2,3,4,6 guide central | excellent 1.8-ish on the plot but more lkely ~1.3 |  |  |  | Frames 5-7 of dither script. Frame 19 was right on zenith.
| 21 |  | Object | 300 | normal/medium |  | 1040 | no guiding |  |  | 60"E | abs | Hunting for blank sky - two hexas with contamination therefore shift again.
| 22 |  | Object | 300 | normal/medium | 9.5(1.01) | 1040 | no guiding |  | 20"S | 60"E | abs | Hunting for blank sky
| 23 | 3:52 | Object | 1800 | normal/medium | 11(1.02) | 1040 | no guiding |  | 20"S | 60"E | abs | Blank sky field - one faint object in hexa D, the rest all clear in the test 300s exposure.
| 24 | 4:39 | Object | 300 | normal/medium | 17(1.05) | 1040 | no guiding |  |  |  |  | LTT1788, in Hexa O
| 25 |  | Object | 300 | normal/medium |  | 1040 | no guiding |  |  | 1" E | abs | LTT1788, in Hexa O
| 26 |  | Object | 300 | normal/medium |  | 1040 | no guiding |  |  |  |  | LTT1788, in Hexa G - no star! (a different random star in hexa R)
| 27 |  | Object | 300 | normal/medium |  | 1040 | no guiding |  |  |  |  | LTT1788, in Hexa F - star not acquired - right on edge of bundle
| 28 |  | Object | 300 | normal/medium |  | 1040 | no guiding |  | 3"N | 3"E | abs | LTT1788, in Hexa F -guesse the offset direction to put it in the bundle - nup, no star.
| 29 |  | Object | 300 | normal/medium |  | 1040 | no guiding |  | 3"S | 3"W | abs | LTT1788, in Hexa F - star acquired but not centred
| 30 | 5:29 | Object | 300 | normal/medium | 9(1.01) | 1040 | no guiding |  | 6"S | 6"W | abs | LTT1788, in Hexa F - better centred - some cloud coming in

## 22082022
| Date: | 2022-08-22 |  |  |  | Weather:
| Observers: | Julia, Sree, Caro, Henry |  |  |  | Program: | Hector Commissioning
Field name & | Run range | Local time |  | Exp. Time | Read |  |  | Guide | Seeing | Offset (arcsec) |  |  | Notes | DR Notes
Robot file name |  |  | Obs. Type | (sec) | Speed | ZD (Airmass) | Rotator (mdeg) | Stars Used | (arcsec) | N-S | E-W | Rel or Abs.
|  | press "cmd+shift+:" to automatically add timestamp | [10 empty] | Spector spectrograph focus values blue = 2839 red = 2360, AAOmega spectrograph focus Spatial, spectral, focus: blue 1898,2764, 151, red 1123, 2564, 519
A3667_A3716_tile_005_CONFIGURED_correct_header
| 2022-01-09 | 18:19 | focusing | [9 empty] | Ignore. Accidently saved frames for focusing
| 10 | 20:05 | Arc | 80/80/80/20 | normal/medium | 36.8 | 1060
| 11 | 20:09 | flat | 60/60/50/40 | normal/medium
| 12 | 20:22 | object | 300 | normal/medium | 34 | 1060
| 13 | 21:11 | object | 300 | normal/medium | 27.9 | 1050
| 14 | 21:23 | object | 1800 | normal/medium | 26.6 | 1060 | 1, 3, 4, 6 guide here |  |  |  |  | last 800 secs are taken without guiding due to guider issue
| 15-18 | 22:01 | object | 1800 | normal/medium | 23.3(1.09) | 1060 | 1,3,4 guide here |  |  |  |  | dither script started: Positions A-D
| 19 |  | arc | 80/80/80/20 | normal/medium | [7 empty] | dither script arc
| 20 |  | flat | 60/60/50/40 | normal/medium | [7 empty] | diter script flat
| 21-23 |  | object | 1800 | normal/medium | 26.3 (1.12) | [6 empty] | dither script positions E-G
H01_tile_009_CONFIGURED_correct_header

## 23082022
CD | Date: | 2022-08-23 |  |  |  | Weather: | snow!!!!!
| Observers: | Julia, Sree, Caro, Henry |  |  |  | Program: | Hector Commissioning
Field name & | Run range | Local time |  | Exp. Time | Read |  |  | Guide | Seeing | Offset (arcsec) |  |  | Notes | DR Notes
Robot file name |  |  | Obs. Type | (sec) | Speed | ZD (Airmass) | Rotator (mdeg) | Stars Used | (arcsec) | N-S | E-W | Rel or Abs.
press "cmd+shift+:" to automatically add timestamp
H01_tile_009_CONFIGURED_correct_header | [6 empty] | 1050 |  | 7 degree difference between outside and mirror due to unpredicted weather system therefore 6" seeing.
CD-34d241 | [12 empty] | Seeing is too bad. Test standard star script.
DATA SAVED TO LAST NIGHT"S DIRECTORY for AAOMEGA - DATE WAS NOT UPDATED - CORRECT DATE | 24 |  | Object | 200 | normal/medium |  | 1050 | [5 empty] | Standard star CD-34D241 in hexa A - not well centred
| 25 |  | Object | 200 | normal/medium |  | 1050 |  |  | 2"N |  | abs | Standard star CD-34D241 in hexa A - not well centred
| 26 | 4:43 | Object | 200 | normal/medium |  | 1050 |  |  | 2"S |  | abs | Standard star CD-34D241 in hexa A
| 27 |  | Object | 200 | normal/medium |  | 1050 |  |  | 2"S |  | abs | Standard star CD-34D241 in hexa C
| 28 | 5:03 | Object | 200 | normal/medium |  | 1050 |  |  | 2"S |  | abs | Standard star CD-34D241 in hexa C
| 29 | 5:10 | Object | 200 | normal/medium |  | 1050 |  |  | 2"N | 2"E | abs | Standard star CD-34D241 in hexa C. On side of bundle.
| 30 | 5:17 | Object | 200 | normal/medium | 33(1.19) | 1050 |  |  |  | 2"W | abs | Standard star CD-34D241 in hexa C
| 31 | 5:23 | Object | 200 | normal/medium | 33(1.19) | 1050 |  |  |  | 4"W | abs | Standard star CD-34D241 in hexa C - in twilight.

## 24082022
| Date: | 2022-08-24 |  |  |  | Weather: | cloudy
| Observers: | Julia, Sree, Caro, Henry |  |  |  | Program: | Hector Commissioning
Field name & | Run range | Local time |  | Exp. Time | Read |  |  | Guide | Seeing | Offset (arcsec) |  |  | Notes | DR Notes
Robot file name |  |  | Obs. Type | (sec) | Speed | ZD (Airmass) | Rotator (mdeg) | Stars Used | (arcsec) | N-S | E-W | Rel or Abs.
|  | press "cmd+shift+:" to automatically add timestamp | [10 empty] | Spector spectrograph focus values blue = 2836.2 red =2350 , AAOmega spectrograph focus Spatial, spectral, focus: blue 1926.2, 2831.1, 155, red 1153.8, 2512.9, 532.8
H01_tile_009_CONFIGURED_correct_header
| 1-10 | 20:10 | bias | 0 | Normal/Medium
| 11-14 |  | dark | 600 | Normal/Medium
| 15-17 | 21:25 | dark | 1800 | Normal/Medium
| 18 | 3:21 | arc | 80/80/80/20 | Normal/Medium |  | 1050
| 19 | 3:32 | flat | 60/60/50/40 | Normal/Medium
| 20 | 3:39 | object | 1800 | Normal/Medium | 13.6 (1.03) | 1035 | 1,2,3,4,6 Guide here |  |  |  |  | Dither sequence position 1 - the telescope had an oscilation where is kept changing from tracking to settling every 2-4 second and the guide star clearly elongated along either N-S or E-W (Mostly E-W) axes in a line about 5 arcsec long before contracting to a point sources again. - this will likely be a serious effect in the galaxy data.
| 21 | 4:13 | object | 1800 | Normal/Medium | 20.9(1.07) | 1035 | 1,2,3,4,6 Guide here |  |  |  |  | Dither sequence position 2 - same telescope oscillations.

## 25082022
| Date: | 2022-08-24 |  |  |  | Weather: | cloudy
| Observers: | Julia, Sree, Caro, Henry |  |  |  | Program: | Hector Commissioning
Field name & | Run range | Local time |  | Exp. Time | Read |  |  | Guide | Seeing | Offset (arcsec) |  |  | Notes | DR Notes
Robot file name |  |  | Obs. Type | (sec) | Speed | ZD (Airmass) | Rotator (mdeg) | Stars Used | (arcsec) | N-S | E-W | Rel or Abs.
|  | press "cmd+shift+:" to automatically add timestamp | [10 empty] | Spector spectrograph focus values blue = 2781 red = 2384 , AAOmega spectrograph focus Spatial, spectral, focus: blue 1929.3, 2827.8, 160, red 1097.3, 2565.1, 534
A3667_A3716_tile_022_CONFIGURED_correct_header
| 2022-01-06 | 21:50 | [10 empty] | Ignore. Accidently saved frames for focusing.
H01_tile_009_CONFIGURED_correct_header | [12 empty] | Telescope is still in oscillations primarily E-W (~ 2"). Need caustion whether the data is useful
| 2022-07-09 | 3:38 | object | 1800 | Normal/Medium | 18.7 (1.06) | 1035 | 1,2,3,4,6 guide here |  |  |  |  | Dither A - C
| 10 |  | arc | 80/80/80/20 | Normal/Medium |  | 1035
| 11 |  | flat | 60/60/50/40 | Normal/Medium |  | 1035

## 26082022
| Date: | 2022-08-24 |  |  |  | Weather:
| Observers: | Julia, Sree, Caro, Henry |  |  |  | Program: | Hector Commissioning
Field name & | Run range | Local time |  | Exp. Time | Read |  |  | Guide | Seeing | Offset (arcsec) |  |  | Notes | DR Notes
Robot file name |  |  | Obs. Type | (sec) | Speed | ZD (Airmass) | Rotator (mdeg) | Stars Used | (arcsec) | N-S | E-W | Rel or Abs.
|  | press "cmd+shift+:" to automatically add timestamp | [10 empty] | Spector spectrograph focus values blue = red = , AAOmega spectrograph focus Spatial, spectral, focus: blue red
A3667_A3716_tile_022_CONFIGURED_correct_header | [12 empty] | Telescope oscilation problem solved! Telescope is very stable now.
| 1 | 17:52 | Twilingt flat | 10/10/10/10 | Normal/Medium | 4 (1) | [6 empty] | Ignore? Hartmann shutter was half closed, dome was not fully opened
| 2 | 17:55 | Twilingt flat | 40/40/40/40 | Normal/Medium | [7 empty] | Ignore
| 3 | 17:58 | Twilingt flat | 80/80/80/80 | Normal/Medium | [7 empty] | Ignore. Flap cover has been closed. We failed to get twilight flat today ;(
| 4-7 | 19:23 | object | 1800 | Normal/Medium | 41 (1.32) | 1055 | 1,2,3,4,6 guide to centre |  |  |  |  | Dither script started A - D
| 8 |  | arc | 80/80/80/20 | Normal/Medium
| 9 |  | flat | 60/60/50/40 | Normal/Medium
| 10-12 |  | object | 1800 | Normal/Medium
LTT9239 | 13 | 23:26 | standard | 300 | Normal/Medium | 1.06 | 1055 | [5 empty] | Ignore - failed to acquire in hexa D (problem with offset script)
| 14 |  | standard | 300 | Normal/Medium | [7 empty] | Ignore - failed to acquire in hexa Q (problem with offset script)
H01_tile_009_CONFIGURED_correct_header
| 15-18 |  | object | 1800 | Normal/Medium | 1.02 | 1030 | 1, 2, 3, 4, 6, guide here |  |  |  |  | Focus set to 39.80. 7-point dither sequence positions 1-4 - Telescope oscillation problem not solved - the stars are permanently elongated by 4-5 arcsecs with all of them elongated close to E-W direction.
| 19 | 3:45 | arc | 80/80/80/20 | Normal/Medium
| 20 |  | flat | 60/60/50/40 | Normal/Medium
| 21-23 |  | object | 1800 | Normal/Medium |  | 1030 | [5 empty] | the last 20 mins of frame 23 was taken in the twilight

## 27082022
| Date: | 2022-08-27 |  |  |  | Weather:
| Observers: | Julia, Caro, Henry, Sam, Madusha |  |  |  | Program: | Hector Commissioning
Field name & | Run range | Local time |  | Exp. Time | Read |  |  | Guide | Seeing | Offset (arcsec) |  |  | Notes | DR Notes
Robot file name |  |  | Obs. Type | (sec) | Speed | ZD (Airmass) | Rotator (mdeg) | Stars Used | (arcsec) | N-S | E-W | Rel or Abs.
|  | press "cmd+shift+:" to automatically add timestamp | [10 empty] | Spector spectrograph focus values blue = 2789 red = 2379 , AAOmega spectrograph focus Spatial, spectral, focus: blue 162.7, 1903.6, 2975.5 red 535.5, 1123.2, 2573.3.
A3667_A3716_tile_030 | 2022-01-02 | 17:54 | arc | 80 | Normal/Medium | - | - | - | - |  |  |  | Forgot to set dummy when focussing AAOmega
Tile_FinalFormat_A3667_A3716_tile_030_CONFIGURED_correct_header.csv
Robot_FinalFormat_A3667_A3716_tile_030_CONFIGURED_correct_header.csv
| 3 | 19:38 | arc | 80/80/80/20 | Normal/medium | 35(1.23) | 1030 | [5 empty] | In position of field.
| 4 | 19:40 | dome flat | 60/60/50/40 | Normal/medium | 35(1.23) | 1030 | [5 empty] | In position of field.
| 5 | 20:19 | object | 300 | Normal/medium | 31 (1.17) | 1040 | GS1 | 2 |  |  |  | acquisition image. Telescope focus is 39.6. Patchy cloud in and out
| 6 | 20:34 | object | 1800 | Normal/medium | 29.7 (1.15) | 1050 | GS1 |  |  |  |  | A | Offset script- 7 point dither
| 7 | 21:06 | object | 1800 | Normal/medium | 27.7 (1.13) | 1050 | GS1 | ~2 |  |  |  | B
| 8 | 21:38 | object | 1800 | Normal/medium | 26.2 (11.1) | 1050 | GS1 | 2 |  |  |  | C
| 9 | 22:09 | object | 1800 | Normal/medium | 26.0 (11.1) | 1050 | GS1 | 2 |  |  |  | D
| 10 | 22:42 | object | 1800 | Normal/medium | 27.0 (1.12) | 1050 | GS1 | 2.2ish |  |  |  | E
| 11 | 23:14 | object | 1800 | Normal/medium | 29.1 (1.14) | 1050 | GS1 | 2.5ish | Patchy cloud, lost guiding for ~30 seconds |  |  | F. Guider died ~30 seconds from the end of the exposure. Restarted, restarted script, pressed abort to get to frame 7 before starting next exposure
| 12 | 23:58 | object | 1800 | Normal/medium | 33.44(1.20) | 1040 | GS1 | 2.8ish |  |  |  | G
H01_tile_007
Tile_FinalFormat_H01_tile_007_CONFIGURED_correct_header
Robot_FinalFormat_H01_tile_007_CONFIGURED_correct_header.csv
| 13 | 1:54 | Object | 1800 | Normal/medium | 12.27(1.02) | 1050 | GS1 | 3.4ish | Patchy cloud, lost guiding for most of the exposure |  |  | A | Offset script- 7 point dither.
| 14 | 1:27 | Object | 1800 | Normal/medium | ~8 (1.0) | 1050 | GS1 | 4ish | Very cloudy, probably rubbish |  |  | B
| 15 | 2:58 | Object | 1800 | Normal/medium | 2.4 (1.0) | 1050 | GS1 |  | Probably junk |  |  | C
| 16 | 3:32 | Object | 1800 | Normal/medium | 9.48(1.01) | 1050 | GS1 | really bad | Probably junk |  |  | D
| 17 | 4:03 | Arc | 80/80/80/20 | Normal/medium
| 18 | 4:07 | Dome flat | 60/60/50/40 | Normal/medium
| 19 | 4:10 | Object | 1800 | Normal/medium | 16.79(1.04) | 1050 | GS1 | bad | Cloudy, not guiding, probaby rubbish |  |  | E
| 20 | 4:43 | Object | 1800 | Normal/medium | 23.49 (1.09) | 1050 | GS1 | bad | Cloudy, guiding dropped off for long periods of time, probaby rubbish |  |  | F

## 28082022
| Date: | 2022-08-17 |  |  |  | Weather:
| Observers: | Madusha, Sam, Sree |  |  |  | Program: | Hector Commissioning
Field name & | Run range | Local time |  | Exp. Time | Read |  |  | Guide | Seeing | Offset (arcsec) |  |  | Notes | DR Notes
Robot file name |  |  | Obs. Type | (sec) | Speed | ZD (Airmass) | Rotator (mdeg) | Stars Used | (arcsec) | N-S | E-W | Rel or Abs.
|  | press "cmd+shift+:" to automatically add timestamp | [10 empty] | AAOmega Focus (80s blue and 30s red): BSpatial=1923.5, BSpectral=2981.3, BFocus=161.7, Rspatial=1135.8, RSpectral=2615.8, Rfocus=534.4.
A3667_A3716_tile_015 | [12 empty] | Spector spectrograph focus values blue = 2791.12 red = 2379.99
Robot_FinalFormat_A3667_A3716_tile_015_CONFIGURED_correct_header
Tile_FinalFormat_A3667_A3716_tile_015_CONFIGURED_correct_header
| 1 | 17:58 | Offset Sky | 22 | Normal/Medium | [7 empty] | Ignore. Mirror cover was closed.
| 2 | 18:01 | Offset Sky | 60 | Normal/Medium | [7 empty] | Twilight flat, 1Hr E. B=15K R=20K HB=20K, HR=40K
| 3 | 18:04 | Offset Sky | 120 | Normal/Medium | [7 empty] | Twilight flat, 1Hr, 60" offset. E. B=10k R=15k HB=15k, HR=30k
| 4 | 18:08 | Offset Sky | 300 | Normal/Medium | [7 empty] | Twilight flat, 1Hr, 60" offset. E. B= R= HB=, HR=
| 5 | 18:45 | Arc | 80/80/80/20 | Normal/Normal | 45.6 (1.43) | [6 empty] | Spector in wrong readout mode after reset/recover/reboot of everything
| 6 | 18:50 |  | 80/80/80/20 | Normal/Medium
| 7 | 18:54 | Dome flat | 60/60/.50/40 | Normal/Medium | 44.2 (1.39)
| 8 | 19:26 | Object | 300 | Normal/Medium | 39.35(1.29) | 1050 | GS1 |  |  |  |  | Acquisition
| 9 | 19:42 | Object | 300 |  |  | 1050 | 1,2,3,4,6 guide here |  |  |  |  | Acquisition
| 10 | 20:18 | Object | 300 | Normal/Medium | 31.90(1.18) | 1050 | 1,2,3,4,6 guide here |  |  |  |  | Patchy cloud so science exposure would be useless. 1 arcsec north telescope offset was applied to try and remove global offset from Madusha's plots
| 11 | 20:56 | Object | 300 | Normal/Medium | 27.15 (1.12) | 1050 | 1,2,3,4,6 guide here |  |  |  |  | Another 1 arcsec north telescope offset was applied. total is 2 arcsec
| 12 | 21:11 | Object | 1800 | Normal/Medium | 25.52 (1.11) | 1040 | 1,2,3,4,6 guide here |  |  |  |  | 7-dither A
| 13 | 21:40 | Object | 1800 | Normal/Medium | 22 (1.1) | 1040 | 1, 2, 3, 4, 6 guide here |  |  |  |  | 7-dither B
| 14 | 22:18 | Object | 1800 | Normal/Medium | 21.22 (1.07) | 1040 | 1, 2, 3, 4, 6 guide here |  |  |  |  | C
| 15 | 22:49 | Object | 1800 | Normal/Medium | 21.42 (1.07) | 1040 | 1, 2, 3, 4, 6 guide here |  |  |  |  | D
| 16 |  | Arc | 80/80/80/20 | Normal/Medium
| 17 |  | Dome flat | 60/60/50/40 | Normal/Medium
| 18 | 23:26 | Object | 1800 | Normal/Medium | 23.34 (1.09) | 1040 | 1, 2, 3, 4, 6 guide here |  |  |  |  | E - guiding was lost for >10mins towards the end of the exposure due to clouds.
Aborting the rest of the dither exposures
H01_tile_007
Robot_FinalFormat_H01_tile_007_CONFIGURED_correct_header | [12 empty] | Telescope focus may have changed during the plate change. For the future: we need to re-focus the telescope after every plate change
Tile_FinalFormat_H01_tile_007_CONFIGURED_correct_header
| 19 | 1:31 | Dome flat | 60/60/50/40 | Normal/Medium | 16.4 (1.04) | 1060 | GS1
| 20 | 1:39 | Arc | 80/080/80/20 | Normal/Medium | 15.0 (1.03) | 1060 | GS1
| 21 | 1:53 | Object | 300 | Normal/Medium | 15 ( 1.03) | 1060 | GS1
| 22 | 2:03 | Object | 1800 | Normal/Medium | 10.0 (1.02) | 1060 | GS1 |  |  |  |  | Dither Script A. Patchy clouds at the start but probably good data overall
| 23 | 2:34 | Object | 1800 | Normal/Medium | 3.60 (1.00) | 1060 | GS1 |  |  |  |  | B
| 24 | 3:06 | Object | 1800 | Normal/Medium | 4.57 (1.00) | 1060 | GS1 |  |  |  |  | C cloud came through and we kept losing guiding
| 25 | 3:41 | Object | 1800 | Normal/Medium | 11.61(1.02) | 1060 | GS1 |  |  |  |  | D cloudy and we kept losing guiding
| 26 | 4:11 | Object | 1800 | Normal/Medium | 17.75 (1.05) | 1060 | GS1 |  |  |  |  | ABORTED: Data lost
Rain is near, closing the dome.

## 29082022
| Date: | 2022-08-17 |  |  |  | Weather:
| Observers: | Madusha, Sam, Sree |  |  |  | Program: | Hector Commissioning
Field name & | Run range | Local time |  | Exp. Time | Read |  |  | Guide | Seeing | Offset (arcsec) |  |  | Notes | DR Notes
Robot file name |  |  | Obs. Type | (sec) | Speed | ZD (Airmass) | Rotator (mdeg) | Stars Used | (arcsec) | N-S | E-W | Rel or Abs.
|  | press "cmd+shift+:" to automatically add timestamp | [10 empty] | AAOmega Focus Values: Blue: Piston=155.1, Spectral=2816, Spatial=1928.6, Red: Piston=531.4, Spectral=2607.7, Spatial=1198.7. Spector: Blue=2796.2, Red=2379.9
A3667_A3716_tile_015 | 1 |  | Arc | 80 | Normal | [7 empty] | For focussing- ignore, should have been dummy
Robot_FinalFormat_A3667_A3716_tile_015_CONFIGURED_correct_header | 2 |  | Arc | 80 | Normal | [7 empty] | For focussing- ignore, should have been dummy
Tile_FinalFormat_A3667_A3716_tile_015_CONFIGURED_correct_header | 3 | 19:15 | Long-slit Flat | 25/25/40/20 | Normal/Medium | [7 empty] | Spector piston set to 50 for blue and red arm. AAOmega piston set to blue=3155, red=3531
| 4 | 19:19 | Long-slit Flat | 40/40/40/30 | Normal/Medium | [7 empty] | Counts a little low before. Increasing exposure time.
| 2022-05-24 | 19:25 | Long-slit Flat | 40/40/40/30 | Normal/Medium | [7 empty] | Adding 3000 is not enough to defocus AAOmega.
| 25-44 | 20:31 | Long-slit Flat | 40/40/40/30 | Normal/Medium | [7 empty] | Spector piston set to 50 for blue and red arm. AAOmega piston set to blue=4155, red=4531
| 45-64 | 21:32 | Long-slit Flat | 45/45/50/25 | Normal/Medium
| 64-84 | 22:29 | Bias | 0 | Normal/Medium | [7 empty] | Put Focus values back to correct values
| 85 | 23:13 | Dome flat | 60/60/50/40 | Normal/Medium
| 86 | 23:20 | Arc | 80/80/80/20 | Normal/Medium
| 87 | 23:23 | Object | 900 | Normal/Medium | [7 empty] | Dome Dark (at field position)
| 88 | 23:42 | Object | 1800 | Normal/Medium | 30ish | [6 empty] | Dome Dark (at field position)
| 89 | 0:13 | Object | 600 | Normal/Medium | 0 | [6 empty] | Dome Dark (at zenith)
| 90 | 0:38 | Object | 600 | Normal/Medium | 75 | [6 empty] | Dome Dark at prime focus (We got many errors saying the fits headers will be wrong because the RA/Dec of the exposure is invalid) | Ignore
| 91 | 1:00 | Arc | 20 | Normal/Medium | [7 empty] | ThAr (2) lamps
| 92 | 1:03 | Arc | 90/90/90/30 | Normal/Medium | [7 empty] | ThAr (2) lamps
| 93 | 1:08 | Arc | 20 | Normal/Medium | [7 empty] | ThXe lamps
| 94 | 1:12 | Arc | 90/90/90/30 | Normal/Medium | [7 empty] | ThXe lamps
| 95 | 1:17 | Arc | 20 | Normal/Medium | [7 empty] | CuNe lamps
| 96 | 1:21 | Arc | 30/30/30/10 | Normal/Medium | [7 empty] | CuNe lamps
| 97-106 | 1:39 | Dark | 1800 | Normal/Medium

## 30082022
| Date: | 2022-08-17 |  |  |  | Weather:
| Observers: | Madusha, Sam, Sree |  |  |  | Program: | Hector Commissioning
Field name & | Run range | Local time |  | Exp. Time | Read |  |  | Guide | Seeing | Offset (arcsec) |  |  | Notes | DR Notes
Robot file name |  |  | Obs. Type | (sec) | Speed | ZD (Airmass) | Rotator (mdeg) | Stars Used | (arcsec) | N-S | E-W | Rel or Abs.
|  | press "cmd+shift+:" to automatically add timestamp | [10 empty] | AAOmega Focus: Blue = (155.3, 2816, 1926.5), Red = (531.6, 2633.6, 1202.2). Spector = 2795.64, 2379.99
A3667_A3716_tile_015
Robot_FinalFormat_A3667_A3716_tile_015_CONFIGURED_correct_header
Tile_FinalFormat_A3667_A3716_tile_015_CONFIGURED_correct_header
| 1 | 19:01 | Dome flat | 60/60/50/40 | Normal/Normal | 41.2 (1.33) | [6 empty] | At the field position. Checking focus and taking a test exposure
| 2 | 19:06 | Dome flat | 60/60/50/40 | Normal/Medium | 41.2 (1.33) | [6 empty] | Changed the read speed...
| 3 | 19:07 | Arc | 80/80/80/20 | Normal/Medium | 41.2 (1.33) | [6 empty] | Telescope Focus is 39.6
| 4 | 21:59 | Object | 300 | Normal/Medium | 21.51 (1.07) | 1050 | [5 empty] | Acquisition
| 5 | 22:04 | Object | 1800 | Normal/Medium | 21.12 (1.07) | 1050 | [5 empty] | A
| 6 | 22:43 | Object | 1800 | Normal/Medium | 21.3 (1.07) | 1050 | [5 empty] | B
| 7 | 23:16 | Object | 1800 | Normal/Medium | 24.1 (1.10) | 1050 | [5 empty] | C
| 8 | 23:44 | Object | 1800 | Normal/Medium | 25.95 (1.11) | 1050 | [5 empty] | D. Telescope wobble is back, around 1-1.5" in RA (E-W) direction
| 9 | 0:14 | Object | 1800 | Normal/Medium | 30.30 (1.19) | 1050 | [5 empty] | E
| 10 | 0:48 | Object | 1800 | Normal/Medium | 33.96(1.21) | 1050 | [5 empty] | F - data lost due to hector software/drama shutting down without any warning
| 11 | 1:34 | Bias | 0 | Normal/Normal |  | 0 | [5 empty] | Taking a bias after restarting the hector software.
| 12 | 1:41 | Object | 1800 | Normal/Medium | 41.67 (1.34) | 1050 | [5 empty] | F - Retaking after restarting
H01_tile_007
Robot_FinalFormat_H01_tile_007_CONFIGURED_correct_header
Tile_FinalFormat_H01_tile_007_CONFIGURED_correct_header
| 13 | 4:42 | Flat | 60/60/50/40 | Normal/Medium | 30.9 (1.17) | 1030 | [5 empty] | Telescope focus is 39.8
| 14 | 4:46 | Arc | 80/80/80/20 | Normal/Medium | 30.9 (1.17) | 1030
Achernar (standard star) | 15 | 4:52 | Object | 10/10/10/10 | Normal/Medium | 31.5 (1.17) | 1030 | [5 empty] | Star in hexabundle B. Massively saturated. Ignore!
0.46 magnitude!! | 16 | 4:53 | Object | 1/1/1/1 | Normal/Medium | 31.5 (1.17) | 1030 | [5 empty] | Still saturated
| 17 | 4:55 | Object | 0.1/0.1/0.1/0.1 | Normal/Medium | 31.8 (1.18) | 1030 | [5 empty] | Still saturated... Will defocus the telescope
| 18 | 4:56 | Object | 0.1/0.1/0.1/0.1 | Normal/Medium | 31.8 (1.18) | 1030 | [5 empty] | Focus set to 40.20
| 19 | 4:59 | Object | 0.01/0/01/0.01/0.01 | Normal/Medium | 32.2 (1.18) | 1030 | [5 empty] | Focus set to 41. Turns out we can't do an exposure this short...
| 20 | 5:02 | Object | 0.1/0.1/0.1/0.1 | Normal/Medium | 32.5 (1.18) | 1030 | [5 empty] | Focus still at 41. Woohoo! 10k counts.
| 21 | 5:06 | Object | 0.1/0.1/0.1/0.1 | Normal/Medium | 33.1 (1.19) | 1030 | [5 empty] | Star hopefully in Hexabundle L. Yes! But saturated again. Will defocus more...
| 22 | 5:12 | Object | 0.1/0.1/0.1/0.1 | Normal/Medium | 33.5 (1.19) | 1030 | [5 empty] | Telescope focus is 41.50. Yes! 30K counts.
| 23-27 | 5:24 | Dark | 1800 | Normal/Medium | [7 empty] | dome lights off

## 31082022
| Date: | 2022-08-17 |  |  |  | Weather:
| Observers: | Madusha, Sam, Sree |  |  |  | Program: | Hector Commissioning
Field name & | Run range | Local time |  | Exp. Time | Read |  |  | Guide | Seeing | Offset (arcsec) |  |  | Notes | DR Notes
Robot file name |  |  | Obs. Type | (sec) | Speed | ZD (Airmass) | Rotator (mdeg) | Stars Used | (arcsec) | N-S | E-W | Rel or Abs.
|  | press "cmd+shift+:" to automatically add timestamp | [10 empty] | Spector Focus: 2801.1, 2382.95. AAOmega Focus:
AAOmega Focus (80s blue and 30s red): BSpatial=1881, BSpectral=2802.2, BFocus=157, Rspatial=1202.2, RSpectral=2633.6, Rfocus=531.6
A3667_A3716 Tile 007 | 1 | 17:52 | Offset Sky | 5 | Normal/Medium | [5 empty] | 2"E at 0+7"N at 1030 |  | Twilight Flat. Counts are: B= 10K R= 10K, HB= 15K, HR= 25K
| 2 | 17:54 | Offset Sky | 10 | Normal/Medium | [7 empty] | Offset 60": B= 15K R= 15K, HB= 20K, HR= 40K
| 3 | 17:56 | Offset Sky | 20 | Normal/Medium | [7 empty] | Offset 60": B= 20K R= 25K, HB= 25K, HR= 50K
| 4 | 17:59 | Offset Sky | 35 | Normal/Medium | [7 empty] | Offset 60": B= 20K R= 25K, HB= 25K, HR=45K
| 5 | 18:02 | Offset Sky | 70 | Normal/Medium | [7 empty] | Offset 60": B= 20K R= 20K, HB= 25K, HR= 45K
| 6 | 18:04 | Offset Sky | 140 | Normal/Medium | [7 empty] | Offset 60": B= 15K R= 15K, HB= 20K, HR= 30K
| 7 | 18:09 | Offset Sky | 280 | Normal/Medium | [7 empty] | Offset 60": B= 7K R= 10K, HB=10K, HR= 20K
| 8 | 19:18 | Arc | 80/80/80/20 | Normal/Medium
| 9 | 19:22 | Dome Flat | 60/60/50/40 | Normal/Medium | [7 empty] | Telescope focus is 39.45
| 10 | 19:28 | Object | 300 | Normal/Medium | 37 (1.25) | 1030 | GS1 |  |  |  |  | Acquisition image. Checking if guiding on 1 is the right thing to be doing
| 11 | 19:48 | Object | 1800 | Normal/Medium | 34.20 (1.21) | 1030 | GS1 |  |  |  |  | Dither - A
| 12 | 20:18 | Object | 1800 | Normal/Medium | 28.44(1.14) | 1030 | GS1 |  |  |  |  | B
| 13 | 20:52 | Object | 1800 | Normal/Medium | 26.17 (1.11) | 1030 | GS1 |  |  |  |  | C
| 14 | 21:20 | Object | 1800 | Normal/Medium | 22.37 (1.08) | 1030 | GS1 |  |  |  |  | D
| 15 | 21:56 | Object | 1800 | Normal/Medium | 21.7 (1.08) | 1030 | GS1 |  |  |  |  | E
| 16 |  | Object | 1800 | Normal/Medium |  | 1030 | GS2 |  |  |  |  | F
| 17 | 23:00 | Object | 1800 | Normal/Medium | 23.82 (1.09) | 1030 | GS1 |  |  |  |  | G
| 18 | 23:34 | Arc | 80/80/80/20 | Normal/Medium | 26.1 (1.11) | 1030
| 19 | 23:38 | Dome Flat | 60/60/50/40 | Normal/Medium | 26.1 (1.11) | 1030
H01 Tile 7 | [12 empty] | Telescope Focus is 39.7
Tile_FinalFormat_H01_tile_007_CONFIGURED_correct_header
Robot_FinalFormat_H01_tile_007_CONFIGURED_correct_header
| 20 | 0:55 | Dome Flat | 60/60/50/40 | Normal/Medium | 20.2 (1.07) | 1040 | GS1
| 21 | 1:01 | Arc | 80/80/80/20 | Normal/Medium | 20.2 (1.07) | 1040 | GS1
| 22 | 1:05 | Object | 300 | Normal/Medium | 19.4 (1.06) | 1040 | GS1 |  |  |  |  | Acquisition
| 23 | 1:13 | Object | 1800 | Normal/Medium | 17.9 (1.05) | 1040 | GS1 |  |  |  |  | A
| 24 | 1:40 | Object | 1800 | Normal/Medium | 10.03 (1.02) | 1040 | GS1 |  |  |  |  | B
| 25 | 2:33 | Object | 1800 | Normal/Medium | 2.35 (1.00) | 1040 | GS1 |  |  |  |  | C
| 26 | 2:49 | Object | 1800 | Normal/Medium | 3.30 (1.00) | 1040 | GS1 |  |  |  |  | D
| 27 | 3:21 | Object | 1800 | Normal/Medium | 9.66 (1.01) | 1040 | GS1 |  |  |  |  | E
| 28 | 3:53 | Object | 1800 | Normal/Medium | 16.31(1.04) | 1040 | GS1 |  |  |  |  | F
| 29 | 4:26 | Object | 1800 | Normal/Medium | 23.27 (1.09) | 1040 | GS1 |  |  |  |  | G
| 30 | 6:01 | Offset Sky | 200 | Normal/Medium | [7 empty] | Twilight Flat. Counts are: B= K R= K, HB= K, HR= K (red CCDs saturated)
| 31 | 6:06 | Offset Sky | 50 | Normal/Medium | [7 empty] | Offset 60": B= K R= K, HB= K, HR= K
| 32 | 6:10 | Offset Sky | 20/20/20/10 | Normal/Medium | [7 empty] | Offset 60": B= 15K R= 20K, HB= 20K, HR= 20K
| 33 | 6:12 | Offset Sky | 10/10/10/5 | Normal/Medium | [7 empty] | Offset 60": B= 15K R= 15K, HB= 15K, HR= 15K
| 34 | 6:14 | Offset Sky | 5/5/5/3 | Normal/Medium | [7 empty] | B= 10K R= 15K, HB= 15K, HR= 15K

## 01092022
| Date: | 2022-09-01 |  |  |  | Weather:
| Observers: | Sam, Madusha, Sree |  |  |  | Program: | Hector Commissioning
Field name & | Run range | Local time |  | Exp. Time | Read |  |  | Guide | Seeing | Offset (arcsec) |  |  | Notes | DR Notes
Robot file name |  |  | Obs. Type | (sec) | Speed | ZD (Airmass) | Rotator (mdeg) | Stars Used | (arcsec) | N-S | E-W | Rel or Abs.
|  | press "cmd+shift+:" to automatically add timestamp | [10 empty] | AAOmega Focus (80s blue and 30s red): BSpatial=1901, BSpectral=2731.1, BFocus=154.6, Rspatial=1202.2, RSpectral=2633.6, Rfocus=531.6
Spector Focus: Blue: 2805.14, Red: 2336.97
A3667_A3716_tile_004
Tile_FinalFormat_A3667_A3716_tile_004_CONFIGURED_correct_header
Robot_FinalFormat_A3667_A3716_tile_004_CONFIGURED_correct_header
| 1 | 18:56 | Arc | 50/50/50/50 | Normal/Medium | [7 empty] | CuAr 1 (B=100, H=15k, HB=100, HR=saturated)
| 2 | 18:59 | Arc | 50/50/50/30 | Normal/Medium | [7 empty] | CuAr 1 (B=, H=k, HB=, HR=)
| 3 | 19:04 | Arc | 50/50/50/10 | Normal/Medium | [7 empty] | CuAr 1 (B=, H=k, HB=, HR=20K)
| 4 | 19:08 | Arc | 50/50/50/10 | Normal/Medium | [7 empty] | CuAr 2 (B=, H=k, HB=, HR=)
| 5 | 19:13 | Arc | 50/50/50/10 | Normal/Medium | [7 empty] | He 1
Telescope focus is 39.6
| 6 | 19:27 | Flat | 60/60/50/40 | Normal/Medium |  | 1030
| 7 | 19:32 | Arc | 80/80/80/20 | Normal/Medium
| 8 | 19:36 | Object | 300 | Normal/Medium | 32.53 (1.19) | 1030 | GS1, 2, 3, 4, 6 Guide here |  |  |  |  | Acquisition
| 9 | 19:43 | Object | 1800 | Normal/Medium | 31.65 (1.17) | 1030 | " |  |  |  |  | Dither - A (bit of clouds around)
| 10 | 20:15 | Object | 1800 | Normal/Medium | 26.92 (1.12) | 1030 | " |  |  |  |  | B
| 11 | 20:48 | Object | 1800 | Normal/Medium | 26.27 (1.11) | 1030 | " |  |  |  |  | C - guiding was lost for about quater of the exposure
| 12 |  | Arc | 50/50/50/10 | Normal/Medium | [7 empty] | FeAr 1
| 13 |  | Arc | 100/100/100/50 | Normal/Medium | [7 empty] | FeAr 2
| 14 |  | Arc | 50/50/50/10 | Normal/Medium | [7 empty] | CuNe
| 15 |  | Arc | 30/30/30/5 | Normal/Medium | [7 empty] | CuNe

## 02092022
| Date: | 2022-08-17 |  |  |  | Weather:
| Observers: | Madusha, Sam, Sree |  |  |  | Program: | Hector Commissioning
Field name & | Run range | Local time |  | Exp. Time | Read |  |  | Guide | Seeing | Offset (arcsec) |  |  | Notes | DR Notes
Robot file name |  |  | Obs. Type | (sec) | Speed | ZD (Airmass) | Rotator (mdeg) | Stars Used | (arcsec) | N-S | E-W | Rel or Abs.
press "cmd+shift+:" to automatically add timestamp
A3667_A3716_tile_004
Tile_FinalFormat_A3667_A3716_tile_004_CONFIGURED_correct_header
Robot_FinalFormat_A3667_A3716_tile_004_CONFIGURED_correct_header
| 2022-01-10 | 17:45 | Dark | 1800 | Normal/Medium | [7 empty] | All lights on -- Testing light leakage to Spector
| 2022-11-15 | 23:55 | Dark | 1800 | Normal/Medium | [7 empty] | All lights off
| 16-20 | 2:36 | Dark | 1800 | Normal/Medium

## 03092022
| Date: | 2022-09-04 |  |  |  | Weather:
| Observers: | Madusha, Sam, Sree |  |  |  | Program: | Hector Commissioning
Field name & | Run range | Local time |  | Exp. Time | Read |  |  | Guide | Seeing | Offset (arcsec) |  |  | Notes | DR Notes
Robot file name |  |  | Obs. Type | (sec) | Speed | ZD (Airmass) | Rotator (mdeg) | Stars Used | (arcsec) | N-S | E-W | Rel or Abs.
press "cmd+shift+:" to automatically add timestamp
H01 Tile 00
Tile_FinalFormat_H01_tile_000_CONFIGURED_correct_header
Robot_FinalFormat_H01_tile_000_CONFIGURED_correct_header
| 1 | 2:09 | Arc | 80/80/80/20 | Normal/Medium | [7 empty] | IGNORE -- AAOmega dark slides on
| 2 | 2:14 | Dome Flat | 60/60/50/40 | Normal/Medium | [7 empty] | IGNORE -- AAOmega dark slides on
| 3 | 2:21 | Dome Flat | 60/60/50/40 | Normal/Medium
| 4 | 2:26 | Arc | 80/80/80/20 | Normal/Medium
| 5 |  | Bias | [9 empty] | To check the reset of MET systems
| 6 |  | Bias | [9 empty] | To check the reset of MET systems
| 7 |  | Bias | [9 empty] | To check the reset of MET systems

## 04092022
| Date: | 2022-09-04 |  |  |  | Weather:
| Observers: | Madusha, Sam, Sree |  |  |  | Program: | Hector Commissioning
Field name & | Run range | Local time |  | Exp. Time | Read |  |  | Guide | Seeing | Offset (arcsec) |  |  | Notes | DR Notes
Robot file name |  |  | Obs. Type | (sec) | Speed | ZD (Airmass) | Rotator (mdeg) | Stars Used | (arcsec) | N-S | E-W | Rel or Abs.
|  | press "cmd+shift+:" to automatically add timestamp | [10 empty] | AAOmega Focus (80s blue and 30s red): BSpatial=1994.3, BSpectral=2987.8, BFocus=158.8, Rspatial=1145.5, RSpectral=2540.1, Rfocus=531.9
A3667_A3716_tile_004 | [12 empty] | Spector Focus: Blue: 2805.14, Red: 2336.97
Tile_FinalFormat_A3667_A3716_tile_004_CONFIGURED_correct_header
Robot_FinalFormat_A3667_A3716_tile_004_CONFIGURED_correct_header
| 8 |  | Bias |  | Normal/Medium | [7 empty] | Taking a bias to check whether the run numbers are reset to 1
| 9 | 16:59 | Dome Flat | 60/60/50/40 | Normal/Medium
| 10 | 17:04 | Arc | 80/80/80/20 | Normal/Medium
| 11 | 17:56 | Offset Sky | 5 | Normal/Medium | [7 empty] | Twilight Flat. Counts are: B= 10 K R= 15 K, HB= 15 K, HR= 30 K
| 12 | 17:58 | Offset Sky | 10 | Normal/Medium | [7 empty] | w/o Offset: B= 15 K R= 15 K, HB=20 K, HR= 40 K
| 13 | 18:00 | Offset Sky | 20/20/20/15 | Normal/Medium | [7 empty] | w/o Offset: B= 17 K R=17 K, HB= 22 K, HR= 35 K
| 14 | 18:05 | Offset Sky | 40/40/40/30 | Normal/Medium | [7 empty] | Offset 7*60": B= 15 K R= 15 K, HB= 25 K, HR= 32 K
| 15 | 18:05 | Offset Sky | 100/100/100/70 | Normal/Medium | [7 empty] | Offset 60": B= 17 K R= K, HB= 25 K, HR= 25 K
| 16 | 18:09 | Offset Sky | 200/200/200/140 | Normal/Medium | [7 empty] | Offset 60": B= 11 K R= 10 K, HB= 17 K, HR= 20 K
Telescope focus is 39.6
| 17 | 19:00 | Dome | 60/60/50/40 | Normal/Medium |  | 1040 | [5 empty] | At the field position
| 18 | 19:04 | Arc | 80/80/80/20 | Normal/Medium | [7 empty] | At the field position
| 19 | 19:08 | Object | 300 | Normal/Medium |  | 1040 | GS1 |  |  |  |  | Acquisition
| 20 | 19:16 | Object | 1800 | Normal/Medium | 32.93 (1.19) | 1040 | GS1 | ~3.5 ish |  |  |  | Dither - A
| 21 | 19:50 | Object | 1800 | Normal/Medium | 30.0 (1.15) | 1040 | GS1 | ~3ish |  |  |  | B
| 22 | 20:23 | Object | 1800 | Normal/Medium | 26.5 (1.12) | 1040 | GS1 |  |  |  |  | C - we lost guiding frequently. Patchy clouds
| 23 | 20:56 | Object | 1800 | Normal/Medium | 25.5 (1.11) | 1040 | GS1 |  |  |  |  | D Lots and lots of clouds now. Data quality is probably not great
| 24 | 21:29 | Object | 1800 | Normal/Medium | 25.4 (1.11) | 1040 | GS1 |  |  |  |  | E - Lots and lots of clouds now. Data quality is probably not great. Guiding was lost for most of the exposure.
[Aborted the runs due to high humidity and lot of clouds]
H01 Tile 00
Tile_FinalFormat_H01_tile_000_CONFIGURED_correct_header
Robot_FinalFormat_H01_tile_000_CONFIGURED_correct_header
| 25 | 1:15 | Arc | 80/80/80/20 | Normal/Medium | 9.0 (1.01)
| 26 | 1:19 | Dome Flat | 60/60/50/40 | Normal/Medium | 8.1 (1.01)
| 27 | 2:10 | Object | 300 | Normal/Medium | 3.5 (1.00) | 1030 | GS1 |  |  |  |  | Telescope focus is 39.8. Seeing is terrible (~4-5 arcseconds)
| 28 | 2:19 | Object | 1800 | Normal/Medium | 5.31 (1.00) | 1030 | GS1 |  |  |  |  | Dither - A
| 29 |  | Object | 1800 | Normal/Medium |  | 1030 | GS1 | ~3ish |  |  |  | B
| 30 |  | Object | 1800 | Normal/Medium |  | 1030 | GS1 |  |  |  |  | C
| 31 | 3:56 | Object | 1800 | Normal/Medium | 26.56 (1.12) | 1030 | GS1 | 3.5ish |  |  |  | D

## ROBOT
Main folder path: Z:\Robot_tile_files\{folder} Labview writes the robot shift file to: C:\Robot\robot_shit_abs_{DATETIME}.csv
Currently on telescope |  |  | N/A |  |  | Currently on robot | N/A
Date | Time | Field | Filename | Folder | Metrology Timestamp | Configuring/Unconfiguring? | Magnet rotation | Timeouts | Comments
2022-08-28 | 3:22 | A3667/A3716 tile 15 | Robot_FinalFormat_A3667_A3716_tile_015_CONFIGURED_correct_header.csv | 20220827 | 220828031302 | C | 0.15 | 3
2022-08-29 | 1:50 | A3667/A3716 tile 15 | Robot_FinalFormat_A3667_A3716_tile_015_CONFIGURED_correct_header.csv | 20220827 | 220829013939 | U | 0.15 | 6 | Timeout error- needed Julia's help
2022-08-29 |  | A3667/A3716 tile 15 VERSION 2 | Robot_FinalFormat_A3667_A3716_tile_015_V2_CONFIGURED_correct_header.csv | 20220828 |  | C | 0.15
2022-08-30 | 3:47 | A3667/A3716 tile 15 VERSION 2 | Robot_FinalFormat_A3667_A3716_tile_015_V2_CONFIGURED_correct_header.csv | 20220828 | 220831034444 | U | 0.15 | 2 | file name was too long and modified to be shorter (CONFIGURE -> CONFIG)
2022-08-31 | Morning | A3667/A3716 tile 007 | Robot_FinalFormat_A3667_A3716_tile_007_CONFIGURED_correct_header.csv | 20220831 | 220831101114 | C | 0.15 | 1
2022-09-01 | 2:05 | A3667/A3716 tile 007 | Robot_FinalFormat_A3667_A3716_tile_007_CONFIGURED_correct_header.csv | 20220831 | 220901020517 | U | 0.15 | 0 | 3 circular magnets were removed from the plate- Guides 2, 3 and 4. Will replace with recovery mode
2022-09-01 | 3:18 | A3667/A3716 tile 004 | Robot_FinalFormat_A3667_A3716_tile_004_CONFIGURED_correct_header.csv | 20220901 | 220901031333 | C | 0.15 | 5
2022-09-01 | 16:40 | H01 tile 007 | Robot_FinalFormat_H01_tile_007_CONFIGURED_correct_header.csv | 20220827 | 220901163609 | U | 0.15 | 0
2022-09-01 | 21:14 | H01 tile 000 | Robot_FinalFormat_H01_tile_000_CONFIGURED_correct_header.csv | 20220901 | 220901205351 | C | 0.15 | 7
2022-09-05 | 0:19 | A3667/A3716 tile 004 | Robot_FinalFormat_A3667_A3716_tile_004_CONFIGURED_correct_header.csv | 20220901 | 220905001517 | U | 0.15 | 2
2022-09-05 | 5:01 | H01 Tile 0 | Robot_FinalFormat_H01_tile_000_CONFIGURED_correct_header.csv | 20220901 | 220905050050 | U | 0.15 | 0 | removed I, F, L circular magnets before unconfiguring the plate

## LOCKED
| Date: | 2022-08-17 |  |  |  | Weather:
| Observers: |  |  |  |  | Program: | Hector Commissioning
Field name & | Run range | Local time |  | Exp. Time | Read |  |  | Guide | Seeing | Offset (arcsec) |  |  | Notes | DR Notes
Robot file name |  |  | Obs. Type | (sec) | Speed | ZD (Airmass) | Rotator (mdeg) | Stars Used | (arcsec) | N-S | E-W | Rel or Abs.
press "cmd+shift+:" to automatically add timestamp