## 19102022
| Date: | 2022-10-19 |  |  |  | Weather:
| Observers: | Sam, Madusha, Jesse, Mina |  |  |  | Program: | Hector Commissioning
Field name & | Run range | Local time |  | Exp. Time | Read |  |  | Guide | Seeing | Offset (arcsec) |  |  | Notes | DR Notes
Robot file name |  |  | Obs. Type | (sec) | Speed | ZD (Airmass) | Rotator (mdeg) | Stars Used | (arcsec) | N-S | E-W | Rel or Abs.
|  | press "cmd+shift+:" to automatically add timestamp | [10 empty] | AAOmega Focus Values: Blue: Focus=144, Spectral=2831.1, Spatial=1916.1, Red: Focus=513.3, Spectral=,2556.6 Spatial=1123.7
Problem during the instrument change. No observations taken

## 20102022
| Date: | 2022-10-19 |  |  |  | Weather: | Clouds
| Observers: | Sam, Madusha, Jesse, Mina |  |  |  | Program: | Hector Commissioning
Field name & | Run range | Local time |  | Exp. Time | Read |  |  | Guide | Seeing | Offset (arcsec) |  |  | Notes | DR Notes
Robot file name |  |  | Obs. Type | (sec) | Speed | ZD (Airmass) | Rotator (mdeg) | Stars Used | (arcsec) | N-S | E-W | Rel or Abs.
|  | press "cmd+shift+:" to automatically add timestamp | [10 empty] | AAOmega Focus Values: Blue: Focus=125, Spectral=2812, Spatial=1901, Red: Focus=500, Spectral=2541.8, Spatial=1187.2
N/A | 1 | 15:34 | Flap Flat | 20 | Normal | - | - | - |  |  |  |  | Checking the tramlines are on (no config file)
| 2 | 15:35 | Flap Flat | 60/60/60/20 | Medium | - | - | - |  |  |  |  | Blaze angles were wrong. Fixed now. All tramlines on the detector
H01 tile 1 | 3 | 15:40 | Bias | 0 | Medium | - | - | -
| 2022-04-09 | 18:55 | Arc | 80/80/80/20 | Normal/Medium | 30-40ish | [6 empty] | IGNORE- sky fibres all set to 1 so these files won't reduce
H01 tile 1 | 2022-10-14 | 20:16 | Arc | 80/80/80/20 | Normal/Medium | 51-40ish | [6 empty] | These have the skyfibres set to the correct positions
| 15-19 | 20:32 | Dome Flat | 60/60/50/40 | Normal/Medium | 48.8 | [6 empty] | Mirror cover closed. IGNORE
| 20-24 | 20:53 | Bias | 0 | Normal/Medium | - | - | -
| 25-29 | 21:04 | Bias | 0 | Normal/Medium | - | - | -
| 30 | 21:30 | Object | 900 | Normal/Medium | [7 empty] | Dome Dark. Evidence of ~1-2 count gradient from top to bottom in AAOmega red, 3-4 count gradient from left to right in Spector Red
| 31 | 21:55 | Object | 1800 | Normal/Medium | [7 empty] | Dome Dark. Gradients from before have ~roughly doubled
| 32-36 | 22:32 | Dome Flat | 60/60/50/40 | Normal/Medium | [7 empty] | Looks like the AAOmega gradient is the same in this dark (good) but the Spector gradient now seems to be going top to bottom, rather than left to right as in the "dome dark". Interesting...
| 37 | 22:52 | Dark | 1800 | Normal/Medium | - | - | -
| 38-47 | 23:25 | Dark | 1800 | Normal/Medium

## 21102022
| Date: | 2022-10-19 |  |  |  | Weather: | Awful
| Observers: | Sam, Madusha, Jesse, Mina |  |  |  | Program: | Hector Commissioning
Field name & | Run range | Local time |  | Exp. Time | Read |  |  | Guide | Seeing | Offset (arcsec) |  |  | Notes | DR Notes
Robot file name |  |  | Obs. Type | (sec) | Speed | ZD (Airmass) | Rotator (mdeg) | Stars Used | (arcsec) | N-S | E-W | Rel or Abs.
|  | press "cmd+shift+:" to automatically add timestamp | [10 empty] | AAOmega Focus Values: Blue: Focus=136.4, Spectral=2903.3, Spatial=1952.5, Red: Focus=432.8, Spectral=3037.1, Spatial=869.6
Spector Focus: Blue = 2805.42, Red=2339.63
AAOmega Focus setting changes for the defocussed detector flats. Blue: Focus=4136.2, Spectral=2912.9, Spatial=1957.5, Red: Focus=3998.9, Spectral=3049.9, Spatial=863.1
Spector focus change: set to 50
H01 tile 1 | 1 | 16:38 | Detector Flat (defocussed) | 40/40/40/30 | Normal/Medium | [7 empty] | Using Flap lamps
| 2022-02-11 | 16:44 | Detector Flat | 40/40/40/30 | Normal/Medium | [7 empty] | "
| 2022-11-15 | 17:13 | Detector Flat | 40/40/40/30 | Normal/Medium | [7 empty] | " | CCD4 counts are around ~57K
| 16-25 | 17:25 | Detector Flat | 40/40/40/20 | Normal/Medium | [7 empty] | " | Reducing CCD4 exp. time by 10s
| 26-35 | 17:54 | Detector Flat | 40/40/40/20 | Normal/Medium | [7 empty] | "
| 36 - 55 | 19:13 | Bias | 0 | Normal/Medium
H01 tile 101 | 56 | 21:35 | Dome Flat | 60/60/50/40 | Normal/Medium | [7 empty] | at field position. The spectrographs are defocussed
| 57 | 21:46 | Dome Flat | 60/60/50/40 | Normal/Medium | [7 empty] | at field position. The spectrographs focus is set to previous values
| 58-63 | [11 empty] | AAOmega focus runs -- IGNORE
New AAOmega focus settings: Blue: Focus=127, Spectral=2775, Spatial=1931.7, Red: Focus=500, Spectral=2495.4, Spatial=1126.3
| 64 | 23:00 | Dome Flat | 60/60/50/40 | Normal/Fast | 16.53 (1.04) | [6 empty] | at field position (forgot to change readout speed for spector)
| 65 | 23:03 | Dome Flat | 60/60/50/40 | Normal/Medium | 16.04 (1.04) | [6 empty] | at field postion
| 66 | 23:08 | Arc | 80/80/80/20 | Normal/Medium | [7 empty] | CuAr1, CuAr2, He1, FeAr1, FeAr2
| 67-68? | 0:43 | Dark | 1800 | Normal/Medium | [7 empty] | we left 10 darks running but the AAOmega CCDs failed after run 68 (for AAOmega) and 69 (for Spector)

## 22102022
| Date: | 2022-10-22 |  |  |  | Weather: | Terrible
| Observers: | Sam, Madusha, Jesse, Mina |  |  |  | Program: | Hector Commissioning
Field name & | Run range | Local time |  | Exp. Time | Read |  |  | Guide | Seeing | Offset (arcsec) |  |  | Notes | DR Notes
Robot file name |  |  | Obs. Type | (sec) | Speed | ZD (Airmass) | Rotator (mdeg) | Stars Used | (arcsec) | N-S | E-W | Rel or Abs.
|  | press "cmd+shift+:" to automatically add timestamp | [10 empty] | AAOmega Focus Values: Blue: Focus=136.4, Spectral=2903.3, Spatial=1952.5, Red: Focus=432.8, Spectral=3037.1, Spatial=869.6
Spector Focus: Blue = 2805.42, Red=2339.63
H01_tile_101 | 1 | 16:50 | Bias | 0 | Normal/Normal | [7 empty] | IGNORE- read speed wrong
| 2 | 16:50 | Bias | 0 | Normal/Medium
| 3 | 16:54 | Arc | 80/80/80/20 | Normal/Medium
| 4 | 16:59 | Bias | 0 | Normal/Medium | [7 empty] | Ignore- test
| 5 | 17:01 | Dome Flat | 60/60/50/40 | Normal/Medium | [7 empty] | at Zenith. Mirror covers closed- ignore
| 6 | 17:58 | Dome Flat | 60/60/50/40 | Normal/Medium | [7 empty] | Mirror cover now open
| 2022-07-11 | 19:44 | Dark | 1800 | Normal/Medium
| 2022-12-16 | 22:26 | Dark | 1800 | Normal/Medium
| 17-21 | 1:07 | Dark | 1800 | Normal/Medium

## 23102022
| Date: | 2022-10-23 |  |  |  | Weather: | Terrible
| Observers: | Sam, Madusha, Jesse, Mina |  |  |  | Program: | Hector Commissioning
Field name & | Run range | Local time |  | Exp. Time | Read |  |  | Guide | Seeing | Offset (arcsec) |  |  | Notes | DR Notes
Robot file name |  |  | Obs. Type | (sec) | Speed | ZD (Airmass) | Rotator (mdeg) | Stars Used | (arcsec) | N-S | E-W | Rel or Abs.
|  | press "cmd+shift+:" to automatically add timestamp | [10 empty] | AAOmega Focus Values: Blue: Focus=136.4, Spectral=2903.3, Spatial=1952.5, Red: Focus=432.8, Spectral=3037.1, Spatial=869.6
Spector Focus: Blue = 2805.42, Red=2339.63
H01_tile_101 | 2022-01-02 | 16:12 | Dark | 1800 | Normal/Medium
| 3 | 21:16 | Arc | 80/80/80/20 | Normal/Medium
| 4 | 21:20 | Dome Flat | 60/60/50/40 | Normal/Medium
| 5 |  | Object | 10 | Normal/Medium | [7 empty] | Neptune
| 6 | 21:25 | Object | 60 | Normal/Medium | [7 empty] | Neptune
| 7 | 21:31 | Object | 60 | Normal/Medium | [7 empty] | 10" 'up arrow' (positive RA I think)
| 8 | 21:35 | Object | 60 | Normal/Medium | [7 empty] | 5" 'down arrow' (negative RA)
| 9 | 21:41 | Object | 300 | Normal/Medium | [7 empty] | Acquisition image. Clouds coming in...

## 24102022
| Date: | 2022-10-24 |  |  |  | Weather: | cloudy with some clear holes
| Observers: | Sam, Madusha, Jesse, Mina |  |  |  | Program: | Hector Commissioning
Field name & | Run range | Local time |  | Exp. Time | Read |  |  | Guide | Seeing | Offset (arcsec) |  |  | Notes | DR Notes
Robot file name |  |  | Obs. Type | (sec) | Speed | ZD (Airmass) | Rotator (mdeg) | Stars Used | (arcsec) | N-S | E-W | Rel or Abs.
|  | press "cmd+shift+:" to automatically add timestamp | [10 empty] | AAOmega Focus Values: Blue: Focus=123, Spectral=2849.1, Spatial=1926, Red: Focus=500, Spectral=2495.4, Spatial=1126.3
Spector Focus: Blue = 2805.42, Red=2339.63
H01_tile_101 | 1 | 17:00 | Arc | 80/80/80/20 | Normal/Medium | 0.0 (1.0) | [6 empty] | CuAr1, CuAr2, He1, FeAr1, FeAr2. At Zenith
| 2 | 17:27 | Dome Flat | 60/60/50/40 | Normal/Medium | 0.0 (1.0) | [6 empty] | At Zenith
| 3 | 19:25 | Offset Sky | 5/5/5/5 | Normal/Medium | 13.8 (1.03) | [6 empty] | Twilight Flat. Counts are: B= 10 K R= 6 K, HB= 15K, HR=15 K
| 4 | 19:29 | Offset Sky | 20/20/15/15 | Normal/Medium | [7 empty] | 60": B= 25 K R= 25 K, HB=35 K, HR=30 K
| 5 | 19:31 | Offset Sky | 40/40/30/30 | Normal/Medium | [7 empty] | 60": B= 30K R= 30K, HB= 40K, HR= 35K
| 6 | 19:34 | Offset Sky | 80/80/60/60 | Normal/Medium | [7 empty] | 60": B= 35K R= 30K, HB= 60K, HR=35 K | Probably best to ignore Spector blue in this one. Not saturated but close
| 7 | 19:38 | Offset Sky | 160/160/100/120 | Normal/Medium | [7 empty] | 60": B= 30K R= 30 K, HB= 40K, HR= 20K
| 8 |  | Offset Sky | 320/320/200/240 | Normal/Medium | [7 empty] | 60": B= 10 K R= 10 K, HB= 20K, HR= 10K
| 9 | 19:53 | Object | 1 | Normal/Medium | [7 empty] | Standard star. : HR7950
| 10 | [8 empty] | 10" N |  | relative
| 11 | 20:02 | Object | 1 | Normal/Medium
| 12 |  | Object | 1 | Normal/Medium |  |  |  |  | 3" N |  | abs (relative to Frame11)
| 13 | 20:06 | Object | 1 | Normal/Medium | [5 empty] | 3" E | rel
| 14 | 20:13 | Object | 0.5 | Normal/Medium |  |  |  |  | 3"S | 3"E | rel | Perfectly centred!
| 15 | 20:14 | Object | 0.5 | Normal/Medium |  |  |  |  | 3"S | 3"E | rel | Think we moved it out of the bundle
| 16 | 20:16 | Object | 0.5 | Normal/Medium |  |  |  |  | 1S | 1W | relative to Frame 14 | Back to position of Frame 14, then a 1" dither
| 17 | 20:19 | Object | 0.5 | Normal/Medium | [7 empty] | Moved to position of B. No Star
| 18 | 20:23 | Object | 0.5 | Normal/Medium |  |  |  |  | 24N | 20E | Relative to Frame 17 | Moved more in the same direction... Missed again
| 19 | 20:50 | Object | 0.5 | Normal/Normal | [7 empty] | Swapped Hexabundle B and GS1. Just have it
| 20 | 20:55 | Object | 0.5 | Normal/Normal | [5 empty] | 5W | Relative to Frame 19 | Now in the bundle nicely
| 21 | 20:57 | Object | 0.5 | Normal/Medium |  |  |  |  | 1N | 1W | Rel | Small dither
| 22 | [9 empty] | 3W | Rel | Small Dither
Telescope focus: 39.10
| 23 | 21:17 | Object | 120 | Normal/Medium | [7 empty] | Acquisition image
Theme: Sweets/Lollies
| 24 | 21:30 | Object | 1800 | Normal/Medium | [7 empty] | Dither Script - A (Allsorts) | Cloudy... aborted
| 24 | 0:35 | Dome Flat | 60/60/50/40 | Normal/Medium
| 25 | 0:39 | Dome Flat | 60/60/50/40 | Normal/Medium

## 25102022
| Date: | 2022-10-25 |  |  |  | Weather: | clear with patches of clouds or all cloudy for couple of hours
| Observers: | Sam, Madusha, Peter, Stefania, Sarah |  |  |  | Program: | Hector Commissioning
Field name & | Run range | Local time |  | Exp. Time | Read |  |  | Guide | Seeing | Offset (arcsec) |  |  | Notes | DR Notes
Robot file name |  |  | Obs. Type | (sec) | Speed | ZD (Airmass) | Rotator (mdeg) | Stars Used | (arcsec) | N-S | E-W | Rel or Abs.
|  | press "cmd+shift+:" to automatically add timestamp | [10 empty] | AAOmega Focus Values: Blue: Focus=123, Spectral=2849.1, Spatial=1926, Red: Focus=500, Spectral=2495.4, Spatial=1126.3
Spector Focus: Blue = 2805.42, Red=2339.63
H01_tile_101 | 1 | 16:43 | Arc | 80/80/80/20 | Normal/Medium | 0.0 (1.0) | [6 empty] | CuAr1, CuAr2, He1, FeAr1, FeAr2. At Zenith
| 2 | 16:44 | Dome flat | 60/60/50/40 | Normal/Medium
| 3 | 17:25 | Object | 60/60/50/40 | Normal/Medium | 0.0 (1.0) | [6 empty] | Took and object with the dome lights on- quick test of quick look tool
| 4 | 19:26 | Offset Sky | 5/5/5/5 | Normal/Medium | 13.4 (1.04) | [6 empty] | Twilight Flat. Counts are: B= 15K R= 10K, HB= 15K, HR=30 K
| 5 | 19:28 | Offset Sky | 15/15/15/15 | Normal/Medium | [7 empty] | 60": B= 30K R= 25K, HB=30K, HR= 60 K (saturated)
| 6 | 19:31 | Offset Sky | 30/30/30/20 | Normal/Medium | [7 empty] | 60": B=30 K R=40 K, HB= 40 K, HR= 60 K (saturated)
| 7 | 19:34 | Offset Sky | 60/60/60/30 | Normal/Medium | [7 empty] | 60": B= 40 K R= 40 K, HB= 40 K, HR=60 K (saturated)
| 8 | 19:37 | Offset Sky | 120/120/100/30 | Normal/Medium | [7 empty] | 60": B= 30K R= 40K, HB= 30K, HR= 30K
| 9 | 19:42 | Offset Sky | 240/240/200/60 | Normal/Medium | [7 empty] | 60": B= 20K R=15 K, HB= 20K, HR=15 K
| 10 | 19:51 | Object | 1 | Normal/Medium | 22.4(1.08) | 1030 | [5 empty] | Standard star. : HR7950. Hexa B | WooHoo! We got it
| 11 | 19:55 | Object | 1 | Normal/Medium | 22.5(1.08) |  |  |  | 3"S | 3"E | rel | Dither 2
| 12 | 19:58 | Object | 0.5 | Normal/Medium | 22.6(1.08) | 1030 |  |  | 6"N |  | rel | Dither 3
| 13 | 20:00 | Object | 0.5 | Normal/Medium | 22.9(1.08) | 1030 | [5 empty] | Hexabundle L | Just on the edge of the bundle. Need to go ~5S
| 14 | 20:04 | Object | 0.5 | Normal/Medium | 23.1(1.09) | 1030 |  |  | 5"S |  | rel | Dither 1
| 15 | 20:07 | Object | 0.5 | Normal/Medium | 23.3(1.09) | 1030 |  |  | 2"S | 2"W | rel | Dither 2
| 16 | 20:09 | Object | 0.5 | Normal/Medium | 23.4(1.09) | 1030 |  |  | 2"S |  |  | Dither 3
Telescope focus: 39.4
| 17 | 20:21 | Arc | 80/80/80/20 | Normal/Medium | [7 empty] | At field position.
| 18 | 20:25 | Dome flat | 60/60/50/40 | Normal/Medium | [7 empty] | At field position.
| 19 | 20:29 | Object | 120 | Normal/Medium | 45.07(1.41) | 1030
| 20 | 20:46 | Object | 120 | Normal/Medium |  | 1060 | GS1
| 21 | 23:06 | Object | 180 | Normal/Medium | 11.47(1.02) | 1080 | GS1
| 22 | 23:12 | Object | 180 | Normal/Medium | 10.77(1.02) | 1050 | GS1
| 23 | 23:17 | Object | 180 | Normal/Medium | 9.82(1.01) | 1020 | GS1
Theme: Birds
H01 tile 101 | 24 | 0:01 | Object | 1800 | Normal/Medium | 1.5(1.00) | 1020 | GS1 |  |  |  |  | A (Albatross) | Control task failed mid-exposure, previous frame unrecorded. 45mins lost (fault report submitted)
| 25 | 0:40 | Object | 1800 | Normal/Medium | 7.9(1.01) | 1020 | GS1 |  |  |  |  | B (Budgie) | Intermittent clouds. Last ~3 mins were fully clouded out
| 26 | 3:31 | Object | 1800 | Normal/Medium | 43.9(1.39) | 1020 | GS1 |  |  |  |  | C (Cockatoo)
| 27 | 4:06 | Object | 1800 | Normal/Medium | 56.7(1.82) | 1020 | GS1 |  |  |  |  | D (Dodo) | Consistent seeing throughout (2 arcsecond-ish)
| 28 | 4:40 | Arc | 80/80/80/20 | Normal/Medium | 57.2(1.84) | 1020 | GS1 |  |  |  |  | CuAr1, CuAr2, He1, FeAr1, FeAr2
| 29 | 4:42 | Dome Flat | 60/60/50/40 | Normal/Medium | 57.2(1.84) | 1020
| 30 | 4:49 | Object | 60 | Normal/Medium | 28.0 (1.13) | 1020 | [5 empty] | Standard Star: LTT1788. Hexabundle A | Got it! Only ~200 counts above bias though
| 31 | 4:53 | Object | 300 | Normal/Medium | 30.9 (1.16) | 1020 |  |  | 5S | 5E |  | ~1000 counts | Checking to see if the offsetting works correctly in Bundle A
| 32 | 5:00 | Object | 300 | Normal/Medium | 31.2 (1.17) | 1020 |  |  | 5S | 5E |  | ~1000 counts | Looks like offsetting is working well!
| 33 | 5:12 | Object | 300 | Normal/Medium | 32.8 (1.19) | 1020 | [5 empty] | Hexabundle R | We missed it :-( | Offset script doesn't seem to work right at the edge of the plate. We went from GS2 to R
| 34 | 5:20 | Arc | 80/80/80/20 | Normal/Medium |  | 1020
| 35 | 5:23 | Dome Flat | 60/60/50/40 | Normal/Medium

## 26102022
| Date: | 2022-10-26 |  |  |  | Weather: | Mostly clear, intermittent clouds
| Observers: | Sam, Madusha, Sarah, Stefania, Peter |  |  |  | Program: | Hector Commissioning
Field name & | Run range | Local time |  | Exp. Time | Read |  |  | Guide | Seeing | Offset (arcsec) |  |  | Notes | DR Notes
Robot file name |  |  | Obs. Type | (sec) | Speed | ZD (Airmass) | Rotator (mdeg) | Stars Used | (arcsec) | N-S | E-W | Rel or Abs.
|  | press "cmd+shift+:" to automatically add timestamp | [10 empty] | AAOmega Focus Values: Blue: Focus=123, Spectral=2852.2, Spatial=1878.1, Red: Focus=500, Spectral=2495.4 Spatial=1126.3
[13 empty] | Spector Focus: Blue = 2840.04, Red=2339.63 | Note that this has changed since we last ran the focus script.
H01 tile 101 | 1 | 16:41 | Arc | 80/80/80/20 | Normal/Medium
| 2 | 19:14 | Dome Flat | 60/60/50/40 | Normal/Medium | [7 empty] | Dome was open. Probably best to ignore
| 3 | 19:27 | Offset Sky | 10/10/10/5 | Normal/Medium | 13.4 (1.04) | [6 empty] | Twilight Flat. Counts are: B= 20K, R= 20K, HB= 20K, HR= 20K
| 4 | 19:30 | Offset Sky | 20/20/20/10 | Normal/Medium | 19.1(1.06) | [6 empty] | 60": B= 30K, R=30 K, HB= 40K, HR= 40K
| 5 | 19:33 | Offset Sky | 40/40/40/20 | Normal/Medium | 18.7(1.06) | [6 empty] | 60": B= 40K, R= 40K, HB= 50K, HR= 60K | Slightly saturated the blue
| 6 | 19:37 | Offset Sky | 80/80/60/30 | Normal/Medium | 18.3(1.05) | [6 empty] | 60": B= 40K, R= 50K, HB= 30K, HR= 50K
| 7 | 19:44 | Offset Sky | 160/160/120/60 | Normal/Medium | 17.1(1.05) | [6 empty] | 60": B= 30K, R= 30K, HB= 30K, HR= 40K
| 8 | 19:45 | Offset Sky | 300/300/240/120 | Normal/Medium | 17.0(1.05) | [6 empty] | 60": B= 15K, R= 15K, HB= 15K, HR= 20K
| 9 | 19:56 | Dome flat | 60/60/50/40 | Normal/Medium
| 10 | 20:02 | Object | 0.5 | Normal/Medium | 22.8(1.08) | [6 empty] | Standard Star: HR7950. Hexabundle Q | At the edge of the bundle. Ignore
| 11 | 20:07 | Object | 0.5 | Normal/Medium | 23.2(1.09) |  |  |  | 2" S |  | rel | Small dither | At the edge of the bundle. Ignore
| 12 | 20:09 | Object | 0.5 | Normal/Medium | 23.2(1.09) |  |  |  | 4N | 2W | rel | Small dither | At the edge of the bundle. Ignore
| 13 | 20:11 | Object | 0.5 | Normal/Medium | 23.2(1.09) | [6 empty] | Hexabundle G | Missed
| 14 | 20:19 | Object | 0.5 | Normal/Medium | 23.9(1.09) | [7 empty] | Missed again.
| 15 | 20:19 | Object | 0.5 | Normal/Medium | 23.9(1.09) | [7 empty] | Back to GS1 then to G
| 16 | 20:27 | Object | 0.5 | Normal/Medium |  |  |  |  | 5"N | 5"W | rel | Hexabundle G | Centred.
| 17 | 20:28 | Object | 0.5 | Normal/Medium | 25.0(1.10) |  |  |  | 3"S |  | rel | Hexabundle G
| 18 | 20:31 | Object | 0.5 | Normal/Medium | 25.3(1.10) |  |  |  | 2"N | 2"W | rel | Hexabundle G
| 19 | 20:32 | Object | 0.5 | Normal/Medium | 25.5(1.10) |  |  |  |  | 4"E | rel
| 20 | 20:37 | Object | 0.5 | Normal/Medium | 26.4(1.12) | [6 empty] | hexabundle Q
| 21 | 20:41 | Object | 0.5 | Normal/Medium | 27.0(1.12) |  |  |  | 4"N | 4"W | rel | hexabundle Q
| 22 | 20:45 | Object | 0.5 | Normal/Medium | 27.5(1.13) |  |  |  | 4"S | 4"W | rel | hexabundle Q
H01 tile 101 | 23 | 20:55 | Arc | 80/80/80/20 | Normal/Medium | [7 empty] | at field position
| 24 | 20:56 | Dome flat | 60/60/50/40 | Normal/Medium | [7 empty] | at field position | Seeing ~ 1.3"!!
| 25 | 21:10 | Object | 120 | Normal/Medium | 35.9(1.23) | 1020 | [5 empty] | Telescope focus: 39.3
| 26 | 21:20 | Object | 1800 | Normal/Medium | 33.9 (1.20) | 1040 | GS1 |  |  |  |  | E (Emu)
| 27 |  | Object | 1800 | Normal/Medium |  | 1040 | GS1 |  |  |  |  | F (Falcon)
| 28 | 22:49 | Object | 1800 | Normal/Medium | 15.1(1.04) | 1040 | GS1 |  |  |  |  | G (Goose)
Theme: Weather Conditions
H01 tile 101: 2 | 29 | 23:06 | Object | 1800 | Normal/Medium | 11.4 (1.02) | 1040 | GS1 |  | 0N | 0.8E |  | A (Arid) | We've set a guide mark of 0.8 in the first box. This dither pattern will be the same as usual with +0.8 to the first value. We're doing these dither by hand (rather than using the dither script) so we can dither around a point 0.8"E of the previous dither
| 30 | 23:44 | Object | 1800 | Normal/Medium | 4.6 (1.0) | 1040 | GS1 |  | 0.4N | 0.2E |  | B (Blizzard) | This frame is probably useless- too many clouds :-(
| 31 | 0:26 | Arc | 80/80/80/20 | Normal/Medium | 5.7 (1.00) | 1040
| 32 | 0:27 | Dome Flat | 60/60/50/40 | Normal/Medium | 5.7 (1.0) | 1040
| 33 | 0:32 | Object | 1800 | Normal/Medium | 7.0 (1.01) | 1040 | GS1 |  | 0.4N | 0.2E |  | B (Blizzard V2)
| 34 | 1:08 | Object | 1800 | Normal/Medium | 14.5 (1.03) | 1040 | GS1 |  | 0.7S | 0.8E |  | C (Chilly)
[10 empty] | 0.4N | 1.4E
[10 empty] | 0.4S | 0.2E
[10 empty] | 0.4S | 1.4E
[10 empty] | 0.7N | 0.8E

## 27102022
| Date: | 2022-10-27 |  |  |  | Weather: | clear!
| Observers: | Sam, Madusha, Peter, Stefania, Sarah |  |  |  | Program: | Hector Commissioning
Field name & | Run range | Local time |  | Exp. Time | Read |  |  | Guide | Seeing | Offset (arcsec) |  |  | Notes | DR Notes
Robot file name |  |  | Obs. Type | (sec) | Speed | ZD (Airmass) | Rotator (mdeg) | Stars Used | (arcsec) | N-S | E-W | Rel or Abs.
|  | press "cmd+shift+:" to automatically add timestamp | [10 empty] | AAOmega Focus Values: Blue: Focus=121, Spectral=2824.1, Spatial=1910.1, Red: Focus=498.9, Spectral=2529, Spatial=1130.6
[13 empty] | Spector focus: blue: 2841.01, red: 2338.04 |  | ignore
H01_tile_101 | 1 | 17:23 | Arc | 80/80/80/20 | Normal/Medium | [7 empty] | at zenith (sky fibre H5-1 obscured by hexabundle cable) |  | ignore
| 2 |  | Dome Flat | 60/60/50/40 | Normal/Medium | [7 empty] | at zenith (sky fibre H5-1 obscured by hexabundle cable) |  | ignore
| 3 | 19:09 | Dome Flat | 60/60/50/40 | Normal/Medium | [6 empty] | check this | at zenith (sky fibre H5-1 obscured by hexabundle cable) |  | ignore
| 4 | 19:29 | Offset Sky | 5/5/5/5 | Normal/Medium | [7 empty] | Twilight Flat. Counts are: B= 15K, R= 17K, HB= 20K, HR= 30K | Some clouds around | Sree: Ignore.sky fibre H5-1 obscured by hexabundle cable
| 5 | 19:31 | Offset Sky | 15/15/10/10 | Normal/Medium | [7 empty] | B= 30K, R= 30K, HB= 20K, HR= 45K |  | Sree: Ignore. sky fibre H5-1 obscured by hexabundle cable
| 6 | 19:34 | Offset Sky | 30/30/30/10 | Normal/Medium | [7 empty] | B= 30K, R= 40K, HB= 40K, HR= 30K
| 7 | 19:37 | Offset Sky | 60/60/60/20 | Normal/Medium | [7 empty] | B= 35K, R= 45K, HB= 40K, HR= 40K
| 8 | 19:40 | Offset Sky | 120/120/120/40 | Normal/Medium | [7 empty] | B= 25K, R= 45K, HB= 35K, HR= 40K
| 9 | 19:45 | Offset Sky | 240/240/240/80 | Normal/Medium | [7 empty] | B= 17K, R= 30K, HB= 20K, HR= 25K
| 10 | 19:57 | Dome Flat | 60/60/50/40 | Normal/Medium
| 11 | 20:01 | Arc | 80/80/80/20 | Normal/Medium
| 12 | 20:09 | Object | 0.5 | Normal/Medium | 23.42(1.09) | -0.11 | [5 empty] | Standard Star: HR7950. Hexabundle C | Star missed (wrong rotator angle)
| 13 | 20:12 | Object | 0.5 | Normal/Medium | 23.6(1.09) | 1020
| 14 | 20:16 | Object | 0.5 | Normal/Medium | 23.9(1.09) | 1020 |  |  |  | 4W |  | Small dither | Star close to centre of bundle
| 15 | 20:20 | Object | 0.5 | Normal/Medium | 24.4(1.10) | 1020 |  |  | 4N |  |  | Small dither
| 16 | 20:24 | Object | 0.5 | Normal/Medium | 25.1(1.10) | 1020 | [5 empty] | Hexabundle S | Star near edge of bundle
| 17 | 20:28 | Object | 0.5 | Normal/Medium | 25.5(1.11) | 1020 |  |  | 4N | 2W |  | Small dither | Star in centre
| 18 | 20:31 | Object | 0.5 | Normal/Medium | 25.9(1.11) | 1020 |  |  |  | 2E |  | Small dither
Telescope focus: 39.3
| 19 |  | Object | 120 | Normal/Medium | [7 empty] | Acquisition
| 20 |  | Object | 120 | Normal/Medium | [7 empty] | Acquisition
[13 empty] | Theme: Weather Conditions | Repeat of yesterday's science exposures
| 21 | 21:02 | Object | 1800 | Normal/Medium | 36.63 (1.25) | 1030 | GS1 |  | 0 | 0.8E |  | A (Arid) | Offset this dither pattern by 0.8E from the standard pattern
| 22 | 21:34 | Object | 1800 | Normal/Medium | 30.2 (1.16) | 1030 | GS1 |  | 0.4N | 0.2E |  | B (Blizzard)
| 23 | 22:06 | Object | 1800 | Normal/Medium | 23.5(1.09) | 1030 | GS1 |  | 0.7S | 0.8E |  | C (Chilly)
| 24 | 22:38 | Object | 1800 | Normal/Medium | 17.0(1.05) | 1030 | GS1 |  | 0.4N | 1.4E |  | D (Drought) | ADC not tracking for some of this exposure (not sure how much, or why)
| 25 | 11:14 | Dome Flat | 60/60/50/40 | Normal/Medium | 9.8(1.01) | 1030
| 26 | 23:17 | Arc | 80/80/80/20 | Normal/Medium | 8(1.01)
| 27 | 23:20 | Object | 1800 | Normal/Medium | 7.5(1.01) | 1030 | GS1 |  | 0.4S | 0.2E |  | E (El Niño)
| 28 | 23:52 | Object | 1800 | Normal/Medium | 1(1) | 1030 | GS1 |  | 0.4S | 1.4E |  | F (Frosty)
|  | 0:24 | Object | 1800 | Normal/Medium | 6(1.01) | 1030 | GS1 |  | 0.7N | 0.8E |  | G (Gusty)
| 30 | 1:01 | Object | 120 | Normal/Medium |  | 1030 | [5 empty] | Acquisition
Theme: Music genres
| 31 | 1:05 | Object | 1800 | Normal/Medium | 15(1.04) | 1020 | GS1 |  | 0.8N | 0 |  | A (Alternative) | Offset this dither pattern by 0.8N from the standard pattern
| 32 | 1:37 | Object | 1800 | Normal/Medium | 22(1.08) | 1020 | GS1 |  | 1.2N | 0.6W |  | B (Blues)
| 33 | 2:14 | Object | 1800 | Normal/Medium | 29.3 (1.15) | 1020 | GS1 |  | 0.1N | 0 |  | C (Classical)
| 34 | 2:45 | Arc | 80/80/80/20 | Normal/Medium | 36.1 (1.24) | 1020
| 35 | 2:51 | Dome Flat | 60/60/50/40 | Normal/Medium | 37.1 (1.25) | 1020 | [6 empty] | I think flaps we selected by mistake to have closed flaps after doing the arc. That is why they are not reducing.
| 36 | 2:56 | Object | 1800 | Normal/Medium | 38.1 (1.27) | 1020 | GS1 |  | 1.2N | 0.6E |  | D (Dubstep)
| 37 | 3:28 | Object | 1800 | Normal/Medium | 45 (1.42) | 1020 | GS1 |  | 0.4N | 0.6W |  | E (Electronic)
Stars 001 | 38 | 4:51 | Object | 300 | Normal/Medium | 30.3 (1.16) | 1020 -not set | [5 empty] | Looks like something in every bundle!
| 39 | 4:58 | Object | 300 | Normal/Medium | 31.4(1.17) | 1020 -not set |  |  | 2N |  | rel
| 40 | 5:11 | Object | 300 | Normal/Medium | 34.5(1.21) | 1020 -not set |  |  |  | 2E | abs
| 41 | 5:13 | Object | 300 | Normal/Medium | 34.9(1.22) | 1020 -not set |  |  | 2S | 2W | abs
| 42 | 5:20 | Arc | 80/80/80/20 | Normal/Medium | 39.1 (1.29)
| 43 | 5:25 | Dome Flat | 60/60/50/40 | Normal/Medium | 39.1 (1.29)

## 28102022
| Date: | 2022-10-28 |  |  |  | Weather: | clear then passing clouds
| Observers: | Sam, Madusha, Sarah,Peter,Stefania |  |  |  | Program: | Hector Commissioning
Field name & | Run range | Local time |  | Exp. Time | Read |  |  | Guide | Seeing | Offset (arcsec) |  |  | Notes | DR Notes
Robot file name |  |  | Obs. Type | (sec) | Speed | ZD (Airmass) | Rotator (mdeg) | Stars Used | (arcsec) | N-S | E-W | Rel or Abs.
|  | press "cmd+shift+:" to automatically add timestamp | [10 empty] | AAOmega Focus Values: Blue: Focus=121, Spectral=2824.1, Spatial=1910.1, Red: Focus=498.9, Spectral=2528.9, Spatial=1130.6
Spector focus: blue: 2824.15, red: 2336.05
| 1 |  | Bias | 0 | Normal/Medium | [7 empty] | checking run number (UT date rollover did not reset run counter)
| 2 | 17:28 | Bias | 0 | Normal/Medium | [7 empty] | checking control task stays alive (died after run 1)
| 3 | 18:12 | Dome flat | 60/60/50/40 | Normal/Medium | [7 empty] | at the zenith. Useless wrong tile file was uploaded.
| 4 | 18:12 | Arc | 80/80/80/20 | Normal/Medium | [7 empty] | at the zenith. Useless wrong tile file was uploaded.
| 5 | 19:31 | Offset sky | 5/5/5/5 | Normal/Medium | [7 empty] | Twilight Flat. Counts are: B= 15K, R=12 K, HB= 15K, HR=25 K
| 6 | 19:33 | Offset sky | 15/15/15/10 | Normal/Medium | [7 empty] | 60": B=20 K, R=25 K, HB= 25K, HR= 40K
| 7 | 19:35 | Offset sky | 40/40/40/20 | Normal/Medium | [7 empty] | 60": B=30 K, R=40K, HB=40 K, HR=50 K
| 8 | 19:38 | Offset sky | 80/80/80/30 | Normal/Medium | [7 empty] | 60": B=25K, R=40K, HB= 30K, HR=40 K
| 9 | 19:42 | Offset sky | 150/150/150/50 | Normal/Medium | [7 empty] | 60": B=30 K, R=40K, HB=40 K, HR=50 K
| 10 | 19:47 | Offset sky | 240/240/240/80 | Normal/Medium | [7 empty] | 60": B=10K, R=15K, HB= 10K, HR=15K
H01_tile_101 | 11 | 20:06 | Arc | 80/80/80/20 | Normal/Medium
| 12 | 20:11 | Dome flat | 60/60/50/40 | Normal/Medium
| 13 | 20:24 | Object | 0.5 | Normal/Medium |  | 0 | [5 empty] | Standard Star: HR7950. Hexabundle U. Rotetor was set to 0.
| 14 | 20:26 | Object | 0.5 | Normal/Medium | 26.17(1.11) | 1020 | [5 empty] | Standard Star: HR7950. Hexabundle U.
| 15 | 20:37 | Object | 0.5 | Normal/Medium | 27.71(1.13) | 1020 |  |  |  | 2E | rel | Standard Star: HR7950. Hexabundle U.
| 16 | 20:42 | Object | 0.5 | Normal/Medium | 28.71(1.14) | 1020 | [5 empty] | Standard Star: HR7950. Hexabundle H
| 17 | 20:43 | Object | 0.5 | Normal/Medium | 28.83(1.14) | 1020 |  |  | 1N | 2W | rel | Standard Star: HR7950. Hexabundle H
| 18 | 20:47 | Object | 0.5 | Normal/Medium | 29.42(1.15) | 1020 |  |  | 1N |  |  | Standard Star: HR7950. Hexabundle H
Telescope focus: 39.4
| 19 | 21:04 | Object | 120 | Normal/Medium | 35.5(1.23) | 1020
| 20 | 21:14 | Object | 1800 | Normal/Medium | 33.5(1.20) | 1020 |  |  | 0.4N | 0.6E |  | F (Funk) | Some thin cloud moving through
| 21 | 0:47 | Object |  | Normal/Medium | 11.9(1.02) | 1020 |  |  | 1.5N | 0 |  | G (Garage) | Lots of clouds now, aborted twice
| 22 | 0:50 | Arc | 80/80/80/20 | Normal/Medium | 12.6(1.02) | 1020
| 23 | 0:54 | Dome Flat | 60/60/50/40 | Normal/Medium | 13.3 (1.03) | 1020
Theme: Countries of the world we've visited
H01_tile_101 | 24 | 0:59 | Object | 1800 | Normal/Medium | 13.9 (1.03) | 1020 | GS1 |  |  |  |  | A (Australia)
| 25 | 1:34 | Object | 1800 | Normal/Medium | 21.7(1.08) | 1020 | GS1 |  |  |  |  | B (Brazil)
| 26 | 2:10 | Object | 1800 | Normal/Medium | 29.70(1.15) | 1020 | GS1 |  |  |  |  | C (Croatia)
| 27 | 2:53 | Object | 1800 | Normal/Medium | 38.70(1.28) | 1020 | GS1 |  |  |  |  | D (Dominican Republic)
| 28 | 3:09 | Arc | 80/80/80/20 | Normal/Medium
| 29 | 3:14 | Dome flat | 60/60/50/40 | Normal/Medium
| 30 | 3:15 | Object | 1800 | Normal/Medium | 42.9 (1.36) | 1020 | GS1 |  |  |  |  | E (Ecuador) - clouds
| 31 | 3:47 | Object | 1800 | Normal/Medium | 49.5 (1.54) | 1020 | GS1 |  |  |  |  | F (France) - clouds
G (Germany)

## 29102022
| Date: | 2022-10-29 |  |  |  | Weather: | clear!
| Observers: | Sam, Madusha, Sarah, Stefania, Peter |  |  |  | Program: | Hector Commissioning
Field name & | Run range | Local time |  | Exp. Time | Read |  |  | Guide | Seeing | Offset (arcsec) |  |  | Notes | DR Notes
Robot file name |  |  | Obs. Type | (sec) | Speed | ZD (Airmass) | Rotator (mdeg) | Stars Used | (arcsec) | N-S | E-W | Rel or Abs.
|  | press "cmd+shift+:" to automatically add timestamp | [10 empty] | AAOmega Focus Values: Blue: Focus=124.5, Spectral=2892.2, Spatial=1863.8, Red: Focus=499.9, Spectral=2544.9, Spatial=1157.1
Hector focus blue: 2837.94; red: 2335.06
| 1 | 19:18 | Dome Flat | 60/60/50/40 | Normal/Medium | 13 (1.02)
| 2 | 19:24 | Arc | 80/80/80/20 | Normal/Medium | 12 (1.02)
| 3 | 20:16 | Object | 0.5 | Normal/Medium | 25.4(1.11) | 1020 | [5 empty] | Standard Star: HR7950. Hexabundle E. We missed the star.
| 4 | 20:19 | Object | 0.5 | Normal/Medium | 24.6(1.11) | 1020 | [5 empty] | Standard Star: HR7950. Hexabundle A
| 5 | 20:23 | Object | 0.5 | Normal/Medium | 26.1(1.11) | 1020 |  |  | 5"N |  |  | Standard Star: HR7950. Hexabundle A
| 6 | 20:27 | Object | 0.5 | Normal/Medium | 26.5 (1.11) | 1020 |  |  |  | 3"E |  | Standard Star: HR7950. Hexabundle A
| 7 | 20:30 | Object | 0.5 | Normal/Medium | 26.9 (1.12) | 1020 | [5 empty] | Hexabundle S. Right on the edge, we'll recentre...
| 8 | 20:33 | Object | 0.5 | Normal/Medium | 27.3 (1.13) | 1020 |  |  | 2S | 4W
| 9 | 20:36 | Object | 0.5 | Normal/Medium |  | 1020
| 10 | 20:41 | Object | 0.5 | Normal/Medium |  | 1020 |  |  | 1N | 1E |  | Dither number 3
| 11 | 20:50 | Object | 0.5 | Normal/Medium |  | 1020 | [5 empty] | Defocussed star in guide bundle A. Telescope focus is 39.0
| 12 | 20:53 | Object | 0.5 | Normal/Medium |  | 1020
Telescope focus:39.4
H01_tile_101 | 13 | 21:01 | Object | 120 | Normal/Medium | 35.4(1.23) | 1020 | [5 empty] | Acquisition- stars in bundles, all okay
| 14 | 21:17 | Arc | 80/80/80/20 | Normal/Medium | 32.1 (1.18) | [6 empty] | Started the dither script at the Arc frame
| 15 | 21:21 | Dome flat |  | Normal/Medium
| 16 | 21:28 | Object | 1800 | Normal/Medium | 30.9(1.17) | 1020 | GS1, GS2, GS3, GS4, GS5, GS6 |  |  |  |  | E (Ecuador) - Guiding on all 6 until 1500 secs
| 17 | 21:55 | Object | 1800 | Normal/Medium | 23.73(1.09) | 1020 | GS1 |  |  |  |  | F (France)
| 18 | 22:28 | Object | 1800 | Normal/Medium | 17.1(1.05) | 1020 | GS1 |  |  |  |  | G (Germany)
H03_tile_101 | 19 | 0:02 | Dome flat | 60/60/50/40 | Normal/Medium |  | 1020
| 20 | 0:04 | Arc | 80/80/80/20 | Normal/Medium |  | 1020 | [5 empty] | Telescope focus: 39.4
| 21 | 0:09 | Object | 120 | Normal/Medium | 16.1(1.04) | 1020 | GS1 |  |  |  |  | Acquisition
| 22 | 0:13 | Object | 1800 | Normal/Medium | 15.4(1.04) | 1020 | GS1 |  |  |  |  | A (Arrabbiata)
| 23 | 0:49 | Object | 1800 | Normal/Medium | 7.7(1.01) | 1020 | GS1 |  |  |  |  | B (Burrito)
| 24 | 1:18 | Object | 1800 | Normal/Medium | 1.5(1.00) | 1020 | GS1 |  |  |  |  | C (Chilli)
| 25 | 1:49 | Object | 1800 | Normal/Medium | 5.5(1.00) | 1020 | GS1 |  |  |  |  | D (Donut)
| 26 |  | Arc | 80/80/80/20 | Normal/Medium
| 27 |  | Dome flat | 60/60/50/40 | Normal/Medium
| 28 | 2:27 | Object | 1800 | Normal/Medium | 13.6(1.03) | 1020 | GS1 |  |  |  |  | E (Empanadas)
| 29 | 4:03 | Object | 1800 | Normal/Medium | 34.0(1.21) | 1020 | GS1 |  |  |  |  | F (Fried Chicken)
| 30 | 4:03 | Object | 1800 | Normal/Medium | 34.0(1.21) | 1020 | GS1 |  |  |  |  | G (Garlicl bread)
| 31 | 4:18 | Object | 300 | Normal/Medium | 25.3(1.11) | 1020 | [5 empty] | Standard star LTT1788. Hexabundle G | ~1000 counts
| 32 | 4:27 | Object | 300 | Normal/Medium | 26.8(1.12) | 1020 |  |  | 3"N |  |  | Standard star LTT1788. Hexabundle G
| 33 | 4:35 | Object | 300 | Normal/Medium | 28.5 (1.14) | 1020 |  |  |  | 2"E |  | Standard star LTT1788. Hexabundle G
| 34 | 4:46 | Object | 300 | Normal/Medium | 30.4(1.16) | 1020 | [5 empty] | Standard star LTT1788. Hexabundle R | Missed- maybe just on edge of bundle
| 35 | 4:52 | Object | 300 | Normal/Medium | 31.8 (1.18) | 1020 |  |  |  | 7"W |  | Standard star LTT1788. Hexabundle R
| 36 | 5:00 | Object | 300 | Normal/Medium | 33.3 (1.20) | 1020 |  |  | 2N | 3W |  | Standard star LTT1788. Hexabundle R
| 37 | 5:12 | Object | 300 | Normal/Medium | 34.7 (1.22) | 1020 |  |  | 3S | 0 |  | Standard star LTT1788. Hexabundle R
| 38 - 98 | 5:27 | Bias | 0 | Normal/Medium | [7 empty] | Clouds rolled in so no chance for twilights. Set 60 biases running

## 30102022
| Date: | 2022-10-30 |  |  |  | Weather: | thick clouds
| Observers: | Sam, Madusha, Sarah, Stefania, Peter |  |  |  | Program: | Hector Commissioning
Field name & | Run range | Local time |  | Exp. Time | Read |  |  | Guide | Seeing | Offset (arcsec) |  |  | Notes | DR Notes
Robot file name |  |  | Obs. Type | (sec) | Speed | ZD (Airmass) | Rotator (mdeg) | Stars Used | (arcsec) | N-S | E-W | Rel or Abs.
|  | press "cmd+shift+:" to automatically add timestamp | [10 empty] | AAOmega Focus Values: Blue: Focus=124.5, Spectral=2892.2, Spatial=1863.8, Red: Focus=499.9, Spectral=2544.9, Spatial=1157.1
Hector focus blue: 2837.94; red: 2335.06
AAOmega Focus setting changes for the defocussed detector flats. Blue: Focus=4125, Spectral=2888.1, Spatial=1861.7, Red: Focus=3999, Spectral=2545, Spatial=1157
Spector focus: 50 each
| 1 | 16:34 | Detector Flats | 30/30/30/25 | Normal/Medium | [7 empty] | Lamp: 75W AAOmega. Spectror red is 50k
| 2022-02-04 | 16:41 | Detector Flats | 30/30/30/15 | Normal/Medium
| 2022-04-08 | 17:08 | Detector Flats | 120/120/120/10 | Normal/Medium | [7 empty] | ccd 2 saturated
| 2022-09-12 | 17:10 | Detector Flats | 60/60/60/10 | Normal/Medium | [7 empty] | ccd 2 60k counts.
| 13-14 | 17:30 | Detector Flats | 40/40/40/20 | Normal/Medium
| 15-17 | 17:31 | Detector Flats | 35/35/35/30 | Normal/Medium
| 17-18 | 17:38 | Detector Flats | 100/100/35/30 | Normal/Medium
| 19 | 20:01 | Dome flat | 60/60/50/40 | Normal/Medium | [7 empty] | Useless - selected Detector flat by mistake.
| 20 | 20:08 | Dome flat | 60/60/50/40 | Normal/Medium
| 21 | 20:15 | Arc | 80/80/80/20 | Normal/Medium | 0 (1.0)
[13 empty] | Telescope focus: 39.4 |  | spectrophotometric standard? n
H03 tile 101 | 22 | 22:00 | Object | 300 | Normal/Medium | 14.7(1.03) | [6 empty] | Standard Star: LTT9491 (DC White Dwarf). Hexabundle C. Got it! Dither 1
| 23 | 22:12 | Object | 300 | Normal/Medium | 15.4(1.04) |  |  |  | 4S | 2E |  | Ignore- Clouds too thick. Only ~30 counts above the bias level...
| 24 | 23:05 | Object | 300 | Normal/Medium | 22.3 (1.08) |  |  |  | 0 | 0 |  | Ignore- telescope has drifted and the star is now on the edge of the bundle
| 25 | 23:06 | Object | 300 | Normal/Medium | 24.2 (1.10) |  |  |  |  | 10W |  | Looks good! Dither 2
| 26 | 23:15 | Object | 300 | Normal/Medium | 24.2 (1.10) |  |  |  | 5N |  |  | Dither 3
| 27 | 23:25 | Object | 300 | Normal/Medium | 26.38 (1.12) | [6 empty] | Hexabundle K. Nice and centred!
| 28 | 23:33 | Object | 300 | Normal/Medium | 28.13 (1.13) |  |  |  | 3S |  |  | Dither 2
| 29 | 23:42 | Object | 300 | Normal/Medium | 29.73 (1.15) |  |  |  |  | 2W |  | Dither 3
| 30 | 23:55 | Object | 240 | Normal/Medium | 12.5 (1.02) | [6 empty] | CD-34d241- will defocus telescope and put around the edges of Hexabundle B. This frame nicely placed on middle left. Telescope focus is 38.7
| 31 | 0:05 | Object | 240 | Normal/Medium | 12.7 (1.02) |  |  |  | 5N | 2W |  | Top left corner
| 32 | 0:12 | Object | 240 | Normal/Medium | 13.05 (1.03) |  |  |  |  | 6.5W |  | Top right corner
| 33 | 0:20 | Object | 240 | Normal/Medium | 14.51 (1.03) |  |  |  | 5S | 5W |  | Middle right corner
| 34 | 0:27 | Object | 240 | Normal/Medium | 16.07 (1.04) |  |  |  | 5S | 2E |  | Bottom right corner
| 35 | 0:33 | Object | 240 | Normal/Medium | 17.29 (1.05) |  |  |  |  | 6.5E |  | Bottom left corner
| 36 |  | Object | 240 | Normal/Medium | 20.52 (1.07) | [6 empty] | Hexabundle C. A bit too central
| 37 |  | Object | 240 | Normal/Medium |  |  |  |  | 3N |  |  | Top corner
| 38 |  | Object | 240 | Normal/Medium |  |  |  |  | 3S | 7W |  | Corner 2
| 39 |  | Object | 240 | Normal/Medium |  |  |  |  | 4S | 2W |  | Corner 3
| 40 | 1:11 | Object | 240 | Normal/Medium | 25.24 (1.11) |  |  |  | 8S | 5E |  | Corner 4
| 41 | 1:18 | Object | 240 | Normal/Medium | 26.75 (1.12) |  |  |  | 3N | 3E |  | Corner 5 (right on the egde)
| 42 | 1:26 | Object | 240 | Normal/Medium | 28.47(1.14) |  |  |  | 8N | 3.5E |  | Corner 6 (right on the egde)
| 43 | 1:43 | Object | 240 | Normal/Medium | [7 empty] | Hexabundle A. Just at one edge
| 44 | 1:47 | Object | 240 | Normal/Medium | 32.86 (1.19) |  |  |  | 4S | 2E |  | Corner 1
| 45 | 1:54 | Object | 240 | Normal/Medium |  |  |  |  | 3.5S | 8W |  | Corner 2
| 46 | 2:02 | Object | 240 | Normal/Medium | 36.02 (1.24) |  |  |  | 6.5S | 5W |  | Corner 3
| 47 | 2:10 | Object | 240 | Normal/Medium | 37.04 (1.25) |  |  |  | 5S | 3.5E |  | Corner 4
| 48 | 2:17 | Object | 240 | Normal/Medium | 39.13 (1.29) |  |  |  |  | 8E |  | Corner 5
| 49 | 2:25 | Object | 240 | Normal/Medium | 40.70 (1.32) |  |  |  | 8N | 5E |  | Corner 6
Clouds coming in so decided to stop

## Robot
Main folder path: Z:\Robot_tile_files\{folder} Labview writes the robot shift file to: C:\Robot\robot_shit_abs_{DATETIME}.csv
Currently on telescope |  |  | H03_tile_101 |  | Currently on robot |  | H01_tile_101
Date | Time | Field | Filename | Folder | Metrology Timestamp | Configuring/Unconfiguring? | Magnet rotation | Timeouts | Comments
2022-10-18 | 20:09 | A2399_guide_centre_tile_004_ | Robot_FinalFormat_A2399_guide_centre_tile_004_CONFIGURED_correct_header | 20220924 | 221018193555 | U
2022-10-18 | 21:05 | H01_tile_001 | Robot_FinalFormat_H01_tile_01_CONFIGURED_correct_header | 20221018 | 221018193555 | C |  | 7
2022-10-19 | 19:01 | H03_tile_001 | Robot_FinalFormat_H03_tile_01_CONFIGURED_correct_header | 20221019 | 221019185738 | C |  | 5
2022-10-21 | 15:31 | H03_tile_001 | Robot_FinalFormat_H03_tile_01_CONFIGURED_correct_header | 20221019 | 221021152647 | U |  | --
2022-10-21 | 17:00 | H01_tile_101 | Robot_FinalFormat_H01_tile_101_CONFIGURED_correct_header | 20221021 | 221021170106 | C |  | 4
2022-10-21 | 22:06 | H01_tile_001 | Robot_FinalFormat_H01_tile_01_CONFIGURED_correct_header | 20221018 | 221021212007 | U |  | 2
2022-10-21 | 23:38 | H03_tile_101 | Robot_FinalFormat_H03_tile_101_CONFIGURED_correct_header | 20221021 | 221021232521 | C |  | 4
2022-10-27 | 16:43 | H03_tile_101 | Robot_FinalFormat_H03_tile_101_CONFIGURED_correct_header | 20221021 | 221027162412 | U |  | 5
2022-10-27 | 17:45 | Stars_tile_001 | Robot_FinalFormat_Stars_tile_101_CONFIGURED_correct_header | 20221027 | 221027174616 | C |  | 4 | Broken pick up arm whilst measuring coordinates on the plate: 28/10/22
2022-10-30 | Stars tile 001 unconfigured by hand due to robot issues. H03_tile_101 configured completely using recovery mode
2022-10-30 | 1:42 | H01_tile_101 | Robot_FinalFormat_H01_tile_101_CONFIGURED_correct_header | 20221021 | 221030013732 | U |  |  | Issue with unconfiguring this field- see email to Julia

## LOCKED
| Date: | 2022-10-19 |  |  |  | Weather:
| Observers: | Sam, Madusha, Jesse, Mina |  |  |  | Program: | Hector Commissioning
Field name & | Run range | Local time |  | Exp. Time | Read |  |  | Guide | Seeing | Offset (arcsec) |  |  | Notes | DR Notes
Robot file name |  |  | Obs. Type | (sec) | Speed | ZD (Airmass) | Rotator (mdeg) | Stars Used | (arcsec) | N-S | E-W | Rel or Abs.
|  | press "cmd+shift+:" to automatically add timestamp | [10 empty] | AAOmega Focus Values: Blue: Focus=144, Spectral=2831.1, Spatial=1916.1, Red: Focus=513.3, Spectral=,2556.6 Spatial=1123.7