## Robot
Main folder path: Z:\Robot_tile_files\{folder} Labview writes the robot shift file to: C:\Robot\robot_shift_abs_{DATETIME}.csv
Currently on telescope |  |  |  |  | Currently on robot
Date | Time | Field | Filename | Folder | Metrology Timestamp | Configuring/Unconfiguring? | Magnet rotation | Timeouts | Comments (dome temp)
240517 | 9:22 | G15_T261_SNAFU | Robot_G15_T261.csv | 20240517 | 240517090646 | C |  |  | 10
240517 | 11:15 | A3667_T059_SNAFU | Robot_A3667_T059.csv | 20240517 | 240517090646 | C |  |  | 10
240529 | 2:30 | G15_T261_SNAFU | Robot_G15_T261.csv | 20240517 | 240530022007 | U |  | 0 | 11.1
240529 | 3:41 | G15_T220 | Robot_G15_T220.csv | 20240529 | 240530022007 | C |  | 0 | 11
240603 | 17:05 | A3667_T059_SNAFU | Robot_A3667_T059.csv | 20240517 | 240603174256 | U |  | 0 | 6.8
240603 | 19:18 | A3667_T037 | Robot_A3667_T037.csv | 20240603 | 240603174256 | C |  | 0 | 6
240604 | 4:06 | G15_T220 | Robot_G15_T220.csv | 20240529 | 240604035816 | U |  | 0 | 4.5
240604 | 5:06 | G15_T150 | Robot_G15_T150.csv | 20240604 | 240604035816 | C |  | 0 | 4.7 | while configuring the dome temp went up to 6.1
240604 | 14:51 | G15_T150 | Robot_G15_T150.csv | 20240604 | 240604144107 | fake U |  |  | 8.6 | robot OOM error during recovery mode | *unconfigure using this date
240604 | 15:02 | G15_T150 | Robot_G15_T150.csv | 20240604B | 240604035816 | fake C |  |  | 8.6
240610 | 23:28 | G15_T150 | Robot_G15_T150.csv | 20240604 | 240610232802 | U |  | 0 | 6.3
240610 | 1:16 | G15_T148 | Robot_G15_T148.csv | 20240610 | 240611011746 | C |  | 0 | 6.2
240611 | 16:16 | A3667_T037 | Robot_A3667_T037.csv | 20240603 | 240611161528 | U |  | 0 | 7.7
240611 | 19:24 | A3667_T043 | Robot_A3667_T043.csv | 20240611 | 240611192355 | C
240613 | 16:40 | A3667_T043 | Robot_A3667_T043.csv | 20240611 | 240613163056 | U |  | 0 | 5.3
240613 | 17:48 | A3667_T039 | Robot_A3667_T039.csv | 20240613 | 240613163056 | C |  | 0 | 5.2
240615 | 0:30 | G15_T148 | Robot_G15_T148.csv | 20240610 | 240616001943 | U |  | 0 | 8.2
240615 | 1:32 | Commissioning_SAMI_MANGA_overlap_T001 | Robot_Commissioning_SAMI_MANGA_overlap_T001.csv | 20240615 | 240616001943 | C |  | 0 | 8.2
240616 | 0:37 | Commissioning_SAMI_MANGA_overlap_T001 | Robot_Commissioning_SAMI_MANGA_overlap_T001.csv | 20240615 | 240617004028 | U |  | 0 | 5
240705 | 9:02 | A3667_T039 | Robot_A3667_T039.csv | 20240613 | 240705084757 | U |  | 0 | 5.6

## Run Summary
Field | Completed? | Intial QC check Ok? FWHM < 3" Trans > 0.7 (to be implemented) | Comment
G15_T261_SNAFU | Y |  | Some cloud patches
A3667_T059_SNAFU | Y |  | Cloud patches increasing for dither C 29May, DEFG done on 02Jun
G15_T220 | Y |  | ABCDE done 02/06. Poor conditions, especially B. Repeat if possible., all dithers done/re-done on 03Jun.
A3667_T037 | Y |  | ABCD affected by thin high clouds. EF affected by thicker clouds - especially F heavily. G aborted. Repeat F (maybe also E) if possible. E done on 04 jun through clear patch. if possible FG must be observed to complete this field. Completed on 10th June (re-observed E,F,G and A,B,C as well)
G15_T150 | Y |  | Completed on 10th June
G15_T148 | N |  | AB on 11Jun, need to do B again. BC on 12Jun
A3667_T043 | Y |  | AB on 11Jun, redo if possible. All dithers complete 12Jun.
A3667_T039 | Y |  | No dithers 13,14, 15 Jun. All dithers on 16Jun. Very poor seeing. Occasional cloud.
Commissioning_SAMI_MANGA_overlap_T001 | N |  | ABC on 16Jun, bright moonlight.

## LOCKED
| Date: |  |  |  |  | Weather:
| Observers: |  |  |  |  | Program: | Hector Survey
Field name & | Run range | Local time |  | Exp. Time | Read |  |  | Guide | Seeing | Offset (arcsec) |  |  | Notes | DR Notes
Robot file name |  |  | Obs. Type | (sec) | Speed | ZD (Airmass) | Rotator (mdeg) | Stars Used | (arcsec) | N-S | E-W | Rel or Abs.
|  | press "cmd+shift+:" to automatically add timestamp | [10 empty] | AAOmega Focus Values: Blue: Focus=, Spectral=, Spatial=, Red: Focus=, Spectral=, Spatial=, Spector Blue=, Spector Red=
Telescope Focus =

## Twilights (Beta)
Place count values in the shaded area and the exposure times for next frame will be calculated. Exposure time will aim to trend counts towards 30k, allowing for the fact that AAOmega Blue and Red must have same exposure times. Suggested first run exposure times are for 30 seconds after sunset and 15 minutes before sunrise.
Evening Twilights
Suggested Exposure times | AAOmega Blue | AAOmega Red | Spector Blue | Spector Red |  |  | Previous
5/5/5/5 | 15 | 15 | 23 | 40 |  |  | 5 | 5 | 5 | 5
12/12/12/9 | [6 empty] | 12 | 12 | 12 | 9
#VALUE!
#VALUE!
#VALUE!
Copy data below and paste to relevant sheet, when pasting, right click and use 'Paste special' > 'Values only' or Ctrl+Shift+V
| Offset sky | 5/5/5/5 | Normal/Medium |  |  | AAOmega blue=15k red=15k Spec blue=23k red=40k |  |  |  |  | If statements
| Offset sky | 12/12/12/9 | Normal/Medium |  | 60E | AAOmega blue=k red=k Spec blue=k red=k |  |  |  |  | AA Blue | AA Red | Spec Blue | Spec Red
| Offset sky |  | Normal/Medium |  | 60E | AAOmega blue=k red=k Spec blue=k red=k |  |  |  |  | 11.5 | 11.5 | 11.5 | 8.5
| Offset sky |  | Normal/Medium |  | 60E | AAOmega blue=k red=k Spec blue=k red=k |  |  |  |  | 39.6 | 39.6 | 39.6 | 29.7
| Offset sky |  | Normal/Medium |  | 60E | AAOmega blue=k red=k Spec blue=k red=k |  |  |  |  | #VALUE! | 0 | 0 | 0
| Offset sky |  | Normal/Medium |  | 60E | AAOmega blue=k red=k Spec blue=k red=k |  |  |  |  | #VALUE! | 0 | 0 | 0
| Offset sky |  | Normal/Medium |  | 60E | AAOmega blue=k red=k Spec blue=k red=k |  |  |  |  | #VALUE! | 0 | 0 | 0
Morning Twilights
Suggested Expoure times | AAOmega Blue | AAOmega Red | Spector Blue | Spector Red |  |  | Previous
150/150/120/80 | 36 | 48 | 38 | 55 |  |  | 150 | 150 | 120 | 80
45/45/42/20 | 26 | 33 | 34 | 35 | 60E |  | 45 | 45 | 42 | 20
23/23/21/10 | 25 | 29 | 32 | 31 | 60E |  | 23 | 23 | 21 | 10
12/12/11/5 | 21 | 23 | 27 | 24 | 60E |  | 12 | 12 | 11 | 5
7/7/6/3 | 19 | 19 | 23 | 21 | 60E |  | 7 | 7 | 6 | 3
4/4/3/2 |  |  |  |  | 60E
Copy data below and paste to relevant sheet, when pasting, right click and use 'Paste special' > 'Values only' or Ctrl+Shift+V
6:41 | Offset sky | 150/150/120/80 | Normal/Medium |  | 60E | AAOmega blue=36k red=48k Spec blue=38k red=55k |  |  |  |  | If statements
6:46 | Offset sky | #DIV/0! | Normal/Medium |  | 60E | AAOmega blue=26k red=33k Spec blue=34k red=35k |  |  |  |  | AA Blue | AA Red | Spec Blue | Spec Red
6:49 | Offset sky | #DIV/0! | Normal/Medium |  | 60E | AAOmega blue=25k red=29k Spec blue=32k red=31k |  |  |  |  | 52.5 | 37.5 | 42 | 20
6:52 | Offset sky | #DIV/0! | Normal/Medium |  | 60E | AAOmega blue=21k red=23k Spec blue=27k red=24k |  |  |  |  | 22.5 | 22.5 | 21 | 10
6:55 | Offset sky | #DIV/0! | Normal/Medium |  | 60E | AAOmega blue=19k red=19k Spec blue=23k red=21k |  |  |  |  | 11.5 | 11.5 | 10.5 | 5
| Offset sky |  | Normal/Medium |  | 60E | AAOmega blue=k red=k Spec blue=k red=k |  |  |  |  | 6.6 | 6.6 | 5.5 | 2.75
[11 empty] | 3.85 | 3.85 | 3.3 | 1.65

## 29052024
| Date: | 29/05/2024 |  |  |  | Weather: | Some cloud patches in first half, but thickened in the second half. Smoke haze from controlled burnoffs also present throughout night.
| Observers: | Tom Woodrow (L), Jesse van de Sande, Oguzhan Cakir |  |  |  | Program: | Hector Survey
Field name & | Run range | Local time |  | Exp. Time | Read |  |  | Guide | Seeing | Offset (arcsec) |  |  | Notes | DR Notes
Robot file name |  |  | Obs. Type | (sec) | Speed | ZD (Airmass) | Rotator (mdeg) | Stars Used | (arcsec) | N-S | E-W | Rel or Abs.
|  | press "cmd+shift+:" to automatically add timestamp | [10 empty] | AAOmega Focus Values: Blue: Focus=169.4, Spectral=2866.1, Spatial=2264.6, Red: Focus=560.7, Spectral=2372.2, Spatial=1329.8, Spector Blue=2843, Spector Red=2380
Telescope Focus = 39.1
No twilights due haze/cloud
G15_Tile_261_SNAFU | 1 | 18:04 | Fibre Flat | 60/60/50/25 | Normal/Medium | [7 empty] | TLM check OK
| 2 | 18:09 | Arc | 80/80/80/20 | Normal/Medium
| 3 | 19:15 | Acquisition | 300 | Normal/Medium
| 4 | 19:28 | Object | 1800 | Normal/Medium | 45.2(1.42) | 1050 | G1-G6 | 2.0" |  |  |  | Dither A
| 5 | 20:00 | Object | 1800 | Normal/Medium | 42.4(1.35) | 1050 | G1-G6 | 2.0" |  |  |  | Dither B
| 6 | 20:34 | Object | 1800 | Normal/Medium | 38.1(1.27) | 1050 | G1-G6 | 2.0" |  |  |  | Dither C
| 7 | 21:08 | Object | 1800 | Normal/Medium | 35.1(1.27) | 1050 | G1-G6 | 2.0" |  |  |  | Dither D
| 8 | 21:37 | Arc | 80/80/80/20 | Normal/Medium
| 9 |  | Fibre Flat | 60/60/50/25 | Normal/Medium | [7 empty] | TLM check ok
| 10 | 21:49 | Object | 5/5/5/5 | Normal/Medium |  | 1050 |  | 2.0" |  |  |  | Standard star HR4963, bundle I Spector, Acquisition
| 11 | 21:54 | Object | 3/3/3/3 | Normal/Medium |  | 1050 |  | 2.0" |  |  |  | Standard star HR4963, bundle I Spector
| 12 | 21:56 | Object | 3/3/3/3 | Normal/Medium |  | 1050 |  | 2.0" |  | 2W |  | Standard star HR4963, bundle I Spector
| 13 | 22:00 | Object | 3/3/3/3 | Normal/Medium |  | 1050 |  | 2.0" | 2S |  |  | Standard star HR4963, bundle I Spector
| 14 | 22:02 | Object | 3/3/3/3 | Normal/Medium |  | 1050 |  | 2.0" |  |  |  | Standard star HR4963, bundle G AAOmega, Acquisition
| 15 | 22:06 | Object | 3/3/3/3 | Normal/Medium |  | 1050 |  | 2.0" |  |  |  | Standard star HR4963, bundle G AAOmega
| 16 | 22:08 | Object | 3/3/3/3 | Normal/Medium |  | 1050 |  | 2.0" | 1.5N |  |  | Standard star HR4963, bundle G AAOmega
| 17 | 22:10 | Object | 3/3/3/3 | Normal/Medium |  | 1050 |  | 2.0" | 2.5S | 1.5W |  | Standard star HR4963, bundle G AAOmega
| 18 | 22:17 | Object | 1800 | Normal/Medium |  | 1050 | G1-G6 | 2.5" |  |  |  | Dither E
| 19 | 22:48 | Object | 1800 | Normal/Medium |  | 1050 | G1-G6 | 2.5" |  |  |  | Dither F
| 20 | 23:22 | Object | 1800 | Normal/Medium |  | 1050 | G1-G6 | 2.5" |  |  |  | Dither G
A3667_T059_SNAFU | 21 | 0:54 | Arc | 80/80/80/20 | Normal/Medium |  | 1050
| 22 | 0:58 | Fibre Flat | 60/60/50/25 | Normal/Medium |  | 1050 | [5 empty] | TLM check ok.
| 23 | 1:03 | Acquisition | 300 | Normal/Medium |  | 1050 | G1-G6 |  |  |  |  | Disabled, not on field, all guide stars not present. Did spiral search and found correct ones.
| 24 | 1:33 | Acquisition | 300 | Normal/Medium |  | 1050 | G1-G6
| 25 | 1:46 | Object | 1800 | Normal/Medium | 32.6(1.19) | 1050 | G1-G6 | 2.3" |  |  |  | Dither A
| 26 | 2:18 | Object | 1800 | Normal/Medium | 28.1(1.14) | 1050 | G1-G6 | 2.0" |  |  |  | Dither B
| 27 | 2:50 | Object | 1800 | Normal/Medium | 26.2(1.11) | 1050 | G1-G6 | 2.5" |  |  |  | Dither C
| 28 |  | Object |  | Normal/Medium |  | 1050 | G1-G6 |  |  |  |  | Dither D, aborted due cloud.
| 28 | 3:48 | Arc | 80/80/80/20 | Normal/Medium | [7 empty] | One lamp is CuNe, on other arcs CuHe ?
| 29 | 3:52 | Fibre Flat | 60/60/50/25 | Normal/Medium
Due to high humidity (>85%), we closed the dome.
No hope for twilight flats (fog + clouds)
| 30-33 | 5:51 | Dark | 1800 | Normal/Medium

## 30052024
| Date: | 30/05/2024 |  |  |  | Weather: | Cloudy
| Observers: | Tom Woodrow, Jesse van de Sande, Oguzhan Cakir |  |  |  | Program: | Hector Survey
Field name & | Run range | Local time |  | Exp. Time | Read |  |  | Guide | Seeing | Offset (arcsec) |  |  | Notes | DR Notes
Robot file name |  |  | Obs. Type | (sec) | Speed | ZD (Airmass) | Rotator (mdeg) | Stars Used | (arcsec) | N-S | E-W | Rel or Abs.
|  | press "cmd+shift+:" to automatically add timestamp | [10 empty] | AAOmega Focus Values: Blue: Focus=165, Spectral=2839, Spatial=2234, Red: Focus=560, Spectral=2332, Spatial=1391, Spector Blue=2846, Spector Red=2378
Telescope Focus =
| 1-63 | 18:00 | Bias | 0 | Normal/Medium | [7 empty] | Solid cloud cover, no twilights
| 64-82 | 20:18 | Dark | 1800 | Normal/Medium | [7 empty] | exposure 69 disabled due spector crash
Cloud all night, no twilights.

## 31052024
| Date: | 31/05/2024 |  |  |  | Weather: | Rain
| Observers: | Tom Woodrow, Jesse van de Sande, Oguzhan Cakir |  |  |  | Program: | Hector Survey
Field name & | Run range | Local time |  | Exp. Time | Read |  |  | Guide | Seeing | Offset (arcsec) |  |  | Notes | DR Notes
Robot file name |  |  | Obs. Type | (sec) | Speed | ZD (Airmass) | Rotator (mdeg) | Stars Used | (arcsec) | N-S | E-W | Rel or Abs.
|  | press "cmd+shift+:" to automatically add timestamp | [10 empty] | AAOmega Focus Values: Blue: Focus=, Spectral=, Spatial=, Red: Focus=, Spectral=, Spatial=, Spector Blue=, Spector Red=
Telescope Focus =
Raining,cold,miserable
| 1 | 15:31 | Bias | 0 | Normal/Normal | [7 empty] | disabled, lights on, slides up
| 2 | 17:04 | Defocussed flat | 40/40/40/25 | Normal/Normal | [7 empty] | disabled, selected wrong lamp
| 2024-03-17 | 17:11 | Defocussed flat | 40/40/40/25 | Normal/Medium | [7 empty] | AAOmega blue=12k, red=40k, Spec blue=14 k, red=46k
| 18-32 | 17:58 | Defocussed flat | 38/38/38/18 | Normal/Medium | [7 empty] | AAOmega blue=11k, red=39k, Spec blue=13k, red=34k
| 33-47 | 18:41 | Defocussed flat | 35/35/35/15 | Normal/Medium
| 48-64 | 22:31 | Dark | 1800 | Normal/Medium
Still raining!

## 01062024
| Date: | 2024-01-06 |  |  |  | Weather: | Cloud, rain
| Observers: | Tom Woodrow, Jesse van de Sande, Oguzhan Cakir |  |  |  | Program: | Hector Survey
Field name & | Run range | Local time |  | Exp. Time | Read |  |  | Guide | Seeing | Offset (arcsec) |  |  | Notes | DR Notes
Robot file name |  |  | Obs. Type | (sec) | Speed | ZD (Airmass) | Rotator (mdeg) | Stars Used | (arcsec) | N-S | E-W | Rel or Abs.
|  | press "cmd+shift+:" to automatically add timestamp | [10 empty] | AAOmega Focus Values: Blue: Focus=174, Spectral=2870, Spatial=2080, Red: Focus=566, Spectral=2303, Spatial=1271, Spector Blue=2844, Spector Red=2383
Telescope Focus = 39.0
Plugging/Focussing delayed due telescope mirror air pressure error, could not move telescope.
G15_T220 | [12 empty] | Delay meant no twilights. Examined AAOmega red ccd for possible frosting. Probably ok but will be pumped down tomorrow.
| 1 | 17:51 | Fibre Flat | 60/60/50/25 | Normal/Medium | [7 empty] | TLM check ok., disabled due dome open and still twilight.
Seeing around 4-5" , doing SNAFU
[12 empty] | 18:14 | SNAFU complete
| 2 | 18:29 | Arc | 80/80/80/20 | Normal/Medium
| 3 | 18:34 | Fibre Flat | 60/60/50/25 | Normal/Medium | [7 empty] | TLM check ok.
| 4 | 18:41 | Object | 3/3/3/3 | Normal/Medium |  | 1050 |  | 4.0" |  |  |  | Standard star HR4963, bundle N Spector, Acquisition, on edge disabled
| 5 | 18:44 | Object | 3/3/3/3 | Normal/Medium |  | 1050 |  | 4.0" |  | 3N |  | Standard star HR4963, bundle N Spector, on edge still, disabled
| 6 | 18:48 | Object | 3/3/3/3 | Normal/Medium |  | 1050 |  | 4.0" |  | 4N |  | Standard star HR4963, bundle N Spector
| 7 | 18:52 | Object | 3/3/3/3 | Normal/Medium |  | 1050 |  | 4.0" |  | 2N |  | Standard star HR4963, bundle N Spector
| 8 | 18:56 | Object | 3/3/3/3 | Normal/Medium |  | 1050 |  | 4.0" |  | 2N |  | Standard star HR4963, bundle N Spector
| 9 | 19:00 | Object | 3/3/3/3 | Normal/Medium |  | 1050 |  | 4.0" |  |  |  | Standard star HR4963, bundle C AAOmega, Acquisition, in bundle
| 10 | 19:04 | Object | 3/3/3/3 | Normal/Medium |  | 1050 |  | 4.0" |  | 2S |  | Standard star HR4963, bundle C AAOmega
| 11 | 19:08 | Object | 3/3/3/3 | Normal/Medium |  | 1050 |  | 4.0" |  | 2E |  | Standard star HR4963, bundle C AAOmega
| 12 | 19:14 | Acquisition | 300 | Normal/Medium |  | 1050 | G1-G6 |  |  |  |  | rotation to 1030
| 13 | 19:26 | Object | 1800 | Normal/Medium | 44.4(1.40) | 1030 | G1-G6 |  |  |  |  | Dither A - aborted due to clouds/rain
[12 empty] | 1:49 | still cloud, rain in area
[12 empty] | 3:50 | raining
[12 empty] | 4:36 | Brief clear patch but dome too wet to open
cloudy again, no twilights

## 02062024
| Date: | 2024-02-06 |  |  |  | Weather: | Rain, cloud initially, clearing after 2AM.
| Observers: | Tom Woodrow, Jesse van de Sande, Oguzhan Cakir |  |  |  | Program: | Hector Survey
Field name & | Run range | Local time |  | Exp. Time | Read |  |  | Guide | Seeing | Offset (arcsec) |  |  | Notes | DR Notes
Robot file name |  |  | Obs. Type | (sec) | Speed | ZD (Airmass) | Rotator (mdeg) | Stars Used | (arcsec) | N-S | E-W | Rel or Abs.
|  | press "cmd+shift+:" to automatically add timestamp | [10 empty] | AAOmega Focus Values: Blue: Focus=166, Spectral=2860, Spatial=1225, Red: Focus=557, Spectral=2326, Spatial=1225, Spector Blue=2844, Spector Red=2379
Telescope Focus = 39.0
G15_T220
| 2024-01-06 | [11 empty] | disabled, AAOmega focus run
| 7 | 17:08 | Arc | 80/80/80/20 | Normal/Medium | [7 empty] | at zenith
| 8 | 17:12 | Fibre Flat | 60/60/50/25 | Normal/Medium | [7 empty] | TLM failure, mispositioned sky fibre after demo for ASTRO 3D video! corrected, disabled
Hole in clouds coming up!
| 9 | 18:54 | Acquisition | 300 | Normal/Medium | 49.5(1.54) | 1030 | G1-G6 | 3.5"
| 10 | 19:09 | Object | 1800 | Normal/Medium | 46.7(1.45) | 1030 | G1-G6 | 3.5" |  |  |  | Dither A
| 11 | 19:41 | Object | 1800 | Normal/Medium | 40.5(1.31) | 1030 | G1-G6 | 3.5-4.5" |  |  |  | Dither B, patches of thicker cloud.
|  | 20:14 | Pausing dither script due cloud
| 12 | 20:22 | Object | 300 | Normal/Medium | [7 empty] | Test for summed imager guider, disabled
| 13 | 20:28 | Object | 1800 | Normal/Medium | 35.0(1.22) | 1030 | G1-G6 | 3-4" |  |  |  | Dither C
| 14 | 21:00 | Object | 1800 | Normal/Medium | 32.0(1.18) | 1030 | G1-G6 | 3-4.5" |  |  |  | Dither D
| 15 | 21:33 | Arc | 80/80/80/20 | Normal/Medium | [7 empty] | at field position
| 16 | 21:36 | Fibre Flat | 60/60/50/25 | Normal/Medium
| 17 | 21:39 | Object | 1800 | Normal/Medium | 30.9(1.17) | 1030 | G1-G6 |  |  |  |  | Dither E
|  | 22:31 |  | dither F aborted due thick cloud
|  | 22:53 | dome closed due to humidity
A3667_T059_SNAFU
| 18 | 0:46 | Arc | 80/80/80/20 | Normal/Medium | [7 empty] | At zenith
| 19 | 0:49 | Fibre Flat | 60/60/50/25 | Normal/Medium | [7 empty] | TLM check ok
|  | 1:28 | waiting for break in clouds
| 20 | 1:59 | Acquisition | 300 | Normal/Medium |  | 1050 | G1-G6 |  |  |  |  | Too cloudy, disabled
| 21 | 2:20 | Acquisition | 300 | Normal/Medium |  | 1050 | G1-G6
| 22 | 2:30 | Object | 1800 | Normal/Medium | 26.5(1.12) | 1025 | G1-G6 | ~3" |  |  |  | Dither D
| 23 | 3:03 | Arc | 80/80/80/20 | Normal/Medium | [7 empty] | at field position
| 24 | 3:06 | Fibre Flat | 60/60/50/25 | Normal/Medium | [7 empty] | TLM check ok
| 25 | 3:09 | Object | 1800 | Normal/Medium | 25.3(1.11) | 1025 | G1-G6 | 2.5-3" |  |  |  | Dither E
| 26 | 3:42 | Object | 1800 | Normal/Medium | 25.4(1.11) | 1025 | G1-G6 | 3" |  |  |  | Dither F
| 27 | 4:13 | Object | 1800 | Normal/Medium |  | 1025 | G1-G6 |  |  |  |  | Dither G
| 28 | 4:53 | Object | 30/30/30/30 | Normal/Medium |  | 1025 |  | ~3" |  |  |  | Standard star G93-48, bundle K Spector, Acquisition
| 29 | 4:59 | Object | 60/60/60/60 | Normal/Medium |  | 1025 |  | ~3" |  |  |  | Standard star G93-48, bundle K Spector
| 30 | 5:02 | Object | 60/60/60/60 | Normal/Medium |  | 1025 |  | ~3" | 1.5N | 1.5E |  | Standard star G93-48, bundle K Spector
| 31 | 5:05 | Object | 60/60/60/60 | Normal/Medium |  | 1025 |  | ~3" | 2N |  |  | Standard star G93-48, bundle K Spector
| 32 | 5:09 | Object | 30/30/30/30 | Normal/Medium |  | 1025 |  | ~3" |  |  |  | Standard star G93-48, bundle D AAOmega, Acquisition
| 33 | 5:14 | Object | 120/120/120/120 | Normal/Medium |  | 1025 |  | ~3" |  |  |  | Standard star G93-48, bundle D AOmega
| 34 | 5:18 | Object | 120/120/120/120 | Normal/Medium |  | 1025 |  | ~3" |  | 2E |  | Standard star G93-48, bundle D AAOmega
| 35 | 5:22 | Object | 120/120/120/120 | Normal/Medium |  | 1025 |  | ~3" | 2N |  |  | Standard star G93-48, bundle D AAOmega
| 36 | 5:28 | Object | 30/30/30/30 | Normal/Medium |  | 1025 |  | ~3" |  |  |  | Standard star G93-48, bundle E AAOmega, Acquisition |  | at the edge of the bundle,disabled
| 37 | 5:34 | Object | 120/120/120/120 | Normal/Medium |  | 1025 |  | ~3" | 4S |  |  | Standard star G93-48, bundle E AOmega
| 38 | 5:40 | Object | 120/120/120/120 | Normal/Medium |  | 1025 |  | ~3" | 3S |  |  | Standard star G93-48, bundle E AAOmega
| 39 | 5:45 | Object | 120/120/120/120 | Normal/Medium |  | 1025 |  | ~3" | 1S | 3W |  | Standard star G93-48, bundle E AAOmega
| 40 | 5:49 | Object | 30/30/30/30 | Normal/Medium |  | 1025 | [5 empty] | Standard star G93-48, bundle T Spector, Acquisition disabled |  | could not find it
| 41 | 6:36 | Offset sky | 150/150/120/80 | Normal/Medium | [7 empty] | AAOmega blue=43k red=41k Spec blue=44.4k red=49.5k
| 42 | 6:41 | Offset sky | 53/53/42/20 | Normal/Medium | [5 empty] | 60E |  | AAOmega blue=37k red=33k Spec blue=38k red=30k
| 43 | 6:44 | Offset sky | 24/24/17/10 | Normal/Medium | [5 empty] | 60E |  | AAOmega blue=30k red=27k Spec blue=29k red=27k
| 44 | 6:47 | Offset sky | 12/12/9/5 | Normal/Medium | [5 empty] | 60E |  | AAOmega blue=24k red=20k Spec blue=24k red=21k
| 45 | 6:49 | Offset sky | 7/7/5/3 | Normal/Medium | [5 empty] | 60E |  | AAOmega blue=21k red=16k Spec blue=20k red=18k
| 46 | 6:51 | Offset sky | 4/4/3/2 | Normal/Medium | [5 empty] | 60E |  | AAOmega blue=16k red=12k Spec blue=18k red=15k |  | may disable this one? ~30 seconds after sunrise

## 03062024
| Date: | 2024-03-06 |  |  |  | Weather: | Clear initally
| Observers: | Tom Woodrow, Jesse van de Sande, Oguzhan Cakir |  |  |  | Program: | Hector Survey
Field name & | Run range | Local time |  | Exp. Time | Read |  |  | Guide | Seeing | Offset (arcsec) |  |  | Notes | DR Notes
Robot file name |  |  | Obs. Type | (sec) | Speed | ZD (Airmass) | Rotator (mdeg) | Stars Used | (arcsec) | N-S | E-W | Rel or Abs.
|  | press "cmd+shift+:" to automatically add timestamp | [10 empty] | AAOmega Focus Values: Blue: Focus=161, Spectral=2855, Spatial=2095, Red: Focus=550, Spectral=2306, Spatial=1270, Spector Blue=2842, Spector Red=2380
Telescope Focus = 39.1
G15_T220
| 1 | 17:14 | Offset sky | 5/5/5/5 | Normal/Medium | [7 empty] | AAOmega blue=16k red=9k Spec blue=21k red=23k
| 2 | 17:16 | Offset sky | 13/13/12/12 | Normal/Medium | [5 empty] | 60E |  | AAOmega blue=28k red=17k Spec blue=36k red=40k
| 3 | 17:18 | Offset sky | 28/28/20/20 | Normal/Medium | [7 empty] | AAOmega blue=35k red=21k Spec blue=36k red=39k
| 4 | 17:22 | Offset sky | 60/60/34/34 | Normal/Medium | cloud affected |  |  |  |  | 60E |  | AAOmega blue=40k red=23k Spec blue=34k red=34k
| 5 | 17:25 | Offset sky | 120/120/68/68 | Normal/Medium | cloud affected |  |  |  |  | 60E |  | AAOmega blue=42k red=26k Spec blue=36k red=40k
| 6 |  | Arc | 80/80/80/20 | Normal/Medium
| 7 | 18:02 | Arc | 80/80/80/20 | Normal/Medium | [7 empty] | Spector readout speed on fast. disabled
| 8 | 18:05 | Fibre Flat | 60/60/50/25 | Normal/Medium | [7 empty] | TLM check ok
| 9 | 18:27 | Acquisition | 300 | Normal/Medium | 52.5(1.64) | 1030 | G1-G6 | 4.0 -4.5"
wait for seeing and air mass to improve, doing standards
| 10 | 18:44 | Object | 30/30/30/30 | Normal/Medium |  | 1030 |  | 4" |  |  |  | Standard star HR4963, bundle B AAOmega, Acquisition |  | Counts are 3.5-4k for 30s
| 11 | 18:49 | Object | 30/30/30/30 | Normal/Medium |  | 1030 |  | 4" | 2S | 2W |  | Standard star HR4963, bundle B AAOmega |  | Counts are 4-5k for 30s
| 12 | 18:53 | Object | 30/30/30/30 | Normal/Medium |  | 1030 |  |  | 2S | 2W |  | Standard star HR4963, bundle B AAOmega
| 13 | 18:56 | Object | 30/30/30/30 | Normal/Medium |  | 1030 | [5 empty] | Standard star HR4963, bundle S Spector, Acquisition - disabled |  | Counts are 4.5k for Blue, 8k for Red | bundle covers half of the star
| 14 | 19:01 | Object | 30/30/30/30 | Normal/Medium |  | 1030 |  |  | 3S | 2E |  | Standard star HR4963, bundle S Spector
| 15 | 19:08 | Object | 30/30/30/30 | Normal/Medium |  | 1030 |  |  | 2S | 1.5E |  | Standard star HR4963, bundle S Spector
| 16 | 19:13 | Object | 30/30/30/30 | Normal/Medium |  | 1030 |  |  | 1.5S |  |  | Standard star HR4963, bundle S Spector |  | Counts are 5.3K for Blue, 8.6k for Red
| 17 | 19:17 | Object | 1800 | Normal/Medium | 43.2(1.37) | 1030 | G1-G6 | 3.5" |  |  |  | Dither A, doing all dithers again as conditions were very poor for this field last night
| 18 | 19:50 | Object | 1800 | Normal/Medium | 39.5(1.30) | 1030 | G1-G6 | 3-4.5" |  |  |  | Dither F, change of plan, cloud moving in so doing missing dithers.
| 19 | 20:22 | Object | 1800 | Normal/Medium | 35.3(1.22) | 1030 | G1-G6 | 3-4" |  |  |  | Dither G
| 20 | 20:56 | Arc | 80/80/80/20 | Normal/Medium
| 21 | 21:00 | Fibre Flat | 60/60/50/25 | Normal/Medium
| 22 | 21:03 | Object | 1800 | Normal/Medium | 31.7(1.18) | 1030 | G1-G6 | 3" |  |  |  | Dither B
| 23 | 21:36 | Object | 1800 | Normal/Medium | 31.0(1.17) | 1030 | G1-G6 | 3" |  |  |  | Dither C
| 24 | 22:07 | Object | 1800 | Normal/Medium | 32.9(1.19) | 1030 | G1-G6 | 2.7" |  |  |  | Dither D
| 25 | 22:40 | Object | 1800 | Normal/Medium | 34.9(1.22) | 1050 | G1-G6 | 2.7" |  |  |  | Dither E
| 26 | 23:14 | Arc | 80/80/80/20 | Normal/Medium
| 27 | 23:18 | Fibre Flat | 60/60/50/25 | Normal/Medium
| 28 | 23:21 | Object | 60 | Test for summed imaged guider, disabled
| 29 | 23:24 | Object | 60 | Test for summed imaged guider, disabled
A3667_T037
| 30 | 0:34 | Arc | 80/80/80/20 | Normal/Medium
| 31 | 0:38 | Fibre Flat | 60/60/50/25 | Normal/Medium | [7 empty] | TLM failure, sky fibre not quite at 0
| 32 | 0:43 | Acquisition | 300 | Normal/Medium |  | 1050 | G1-G6
| 33 | 1:12 | Fibre Flat | 60/60/50/25 | Normal/Medium | [7 empty] | TLM check ok
| 34 | 1:24 | Object | 1800 | Normal/Medium | 32.3(1.18) | 1020 | G1-G6 | 4.0 -4.5" |  |  |  | Dither A, through high cloud
| 35 | 1:56 | Object | 1800 | Normal/Medium | 28.8(1.14) | 1020 | G1-G6 | 3.0-4.0" |  |  |  | Dither B, through high cloud
| 36 | 2:28 | Object | 1800 | Normal/Medium | 26.8(1.12) | 1020 | G1-G6 | ~2.5" |  |  |  | Dither C, through high cloud
| 37 | 3:00 | Object | 1800 | Normal/Medium | 25.3(1.11) | 1020 | G1-G6 | 2.5-4" |  |  |  | Dither D, through thicker cloud
| 38 | 3:32 | Arc | 80/80/80/20 | Normal/Medium
| 39 | 3:35 | Fibre Flat | 60/60/50/25 | Normal/Medium
| 40 | 3:38 | Object | 1800 | Normal/Medium | 25.3(1.11) | 1020 | G1-G6 | 3.5 - 5.0" |  |  |  | Dither E, through thicker cloud
| 41 | 4:11 | Object | 1800 | Normal/Medium | 26.4(1.12) | 1020 | G1-G6 | 3-6" |  |  |  | Dither F, the last 5 mins heavily affected by thicker clouds
|  | 4:43 | Object | 1800 | Normal/Medium | 28.7(1.14) | 1020 | G1-G6 |  |  |  |  | Dither G, aborted due to clouds
| 42-46 | 4:50 | Dark | 1800 | Normal/Medium

## 04062024
| Date: | 2024-04-06 |  |  |  | Weather: | Cloudy
| Observers: | Tom Woodrow, Jesse van de Sande, Oguzhan Cakir |  |  |  | Program: | Hector Survey
Field name & | Run range | Local time |  | Exp. Time | Read |  |  | Guide | Seeing | Offset (arcsec) |  |  | Notes | DR Notes
Robot file name |  |  | Obs. Type | (sec) | Speed | ZD (Airmass) | Rotator (mdeg) | Stars Used | (arcsec) | N-S | E-W | Rel or Abs.
|  | press "cmd+shift+:" to automatically add timestamp | [10 empty] | AAOmega Focus Values: Blue: Focus=167, Spectral=2826, Spatial=2159, Red: Focus=562, Spectral=2315, Spatial=1229, Spector Blue=2834, Spector Red=2375
Telescope Focus = 39.1
G15_T150
| 1 | 17:19 | Arc | 80/80/80/20 | Normal/Medium
| 2 | 17:22 | Fibre Flat | 60/60/50/25 | Normal/Medium | [7 empty] | TLM check ok
solid cloud
A3667_037
| 3 | 0:38 | Arc | 80/80/80/20 | Normal/Medium
| 4 | 0:42 | Fibre Flat | 60/60/50/25 | Normal/Medium | [7 empty] | disabled, mirror cover closed
| 5 | 0:51 | Fibre Flat | 60/60/50/25 | Normal/Medium | [7 empty] | TLM check ok
waiting for break in clouds.
clouds are breaking! A hope? stay tune!
for telescope focus, I used the last night's value I hope it works well.
Rotation was set to 1030 as we used last night.
| 6 | 4:34 | Acquisition | 300 | Normal/Medium | 28.4(1.14) | 1030 | G1-G6 | 2.8" |  |  |  | cloud are passing over
| 7 | 4:45 | Object | 1800 | Normal/Medium | 29.6(1.15) | 1030 | G1-G6 | 2.5-3.5" |  |  |  | Dither E | cloud passage at the beginning, then cleared up
there was no GS bundle at the centre. So tried to put the star GS6 (at the edge). Could not acquire the star, spiral search and found it (12E, 11 S)
| 8 | 5:30 | Object | 30/30/30/30 | Normal/Medium |  | 1030 |  | 2.5" |  |  |  | Standard star G93-48, bundle T Spector, Acquisition - disabled |  | could not acquire
| 9 | 5:36 | Object | 30/30/30/30 | Normal/Medium |  | 1030 |  | 2.5-3" |  |  |  | Standard star G93-48, bundle J Spector, Acquisition- disabled |  | could not acquire
then clouds arrived, no twilights
| 2024-10-13 | 5:47 | Dark | 1800

## 05062024
| Date: | 2024-05-06 |  |  |  | Weather: | Cloudy, raining (tacos)
| Observers: | Caro, Madusha, Gabby |  |  |  | Program: | Hector Survey
Field name & | Run range | Local time |  | Exp. Time | Read |  |  | Guide | Seeing | Offset (arcsec) |  |  | Notes | DR Notes
Robot file name |  |  | Obs. Type | (sec) | Speed | ZD (Airmass) | Rotator (mdeg) | Stars Used | (arcsec) | N-S | E-W | Rel or Abs.
|  | press "cmd+shift+:" to automatically add timestamp | [10 empty] | AAOmega Focus Values: Blue: Focus=170.7, Spectral=2825.3, Spatial=2153.5, Red: Focus=565.4, Spectral=2349.3, Spatial=1242.1, Spector Blue=2829.08, Spector Red=2374.04
Telescope Focus = 39.5
Cloudy, no twilight flats
G15_T150 | 1 | 17:33 | Fibre Flat | 60/60/50/25 | Normal/Medium | [7 empty] | At zenith, no tlm faliures
| 2 |  | Arc | 80/80/80/20 | Normal/Medium | [7 empty] | At zenith
| 2024-03-12 | 17:51 | Biases
| 13-17 | 19:45 | Darks | 1800 | Normal/Medium
A3667_T37 | 18 | 23:39 | Fiber Flat | 60/60/50/25 | Normal/Medium | [7 empty] | At zenith (mirror covered closed) | disable
| 19 | 23:43 | Arc | 80/80/80/20 | Normal/Medium | [7 empty] | At zenith
| 20 | 23:57 | Fiber Flat | 60/60/50/25 | Normal/Medium | [7 empty] | At zenith
| 21 |  | Arc | 80/80/80/20 | Normal/Medium | [7 empty] | At zenith
|  |  | Object | 60/60/60/60 | Normal/Medium | [7 empty] | Standard star G93-48, bundle A AAOmega, Acquisition | It was a sucker whole :( | 21 52 25.33 +02 23 24.3

## 06062024
| Date: | 2024-06-06 |  |  |  | Weather: | Clouds and rain
| Observers: | Madusha, Caro, Gabby |  |  |  | Program: | Hector Survey
Field name & | Run range | Local time |  | Exp. Time | Read |  |  | Guide | Seeing | Offset (arcsec) |  |  | Notes | DR Notes
Robot file name |  |  | Obs. Type | (sec) | Speed | ZD (Airmass) | Rotator (mdeg) | Stars Used | (arcsec) | N-S | E-W | Rel or Abs.
|  | press "cmd+shift+:" to automatically add timestamp | [10 empty] | AAOmega Focus Values: Blue: Focus=172.7, Spectral=2839.2, Spatial=2148.4, Red: Focus=566.6, Spectral=2306.7, Spatial=1221.8, Spector Blue=2824.98, Spector Red=2374.01
Telescope Focus = 39.5
G15_T150 | 1 | 17:06 | Fibre Flat | 60/60/50/25 | Normal/Medium | [7 empty] | No TLM faliures
| 2 | 17:09 | Arc | 80/80/80/20 | Normal/Medium
Cloudy, no twilight flat
| 2024-03-12 | 17:16 | Biases |  | Normal/Medium
| 13-22 | 17:38 | Biases |  | Normal/Medium
| 23-24 | 18:19 | Darks | 1800 | Normal/Medium | [7 empty] | High humidity, dome closed
| 25 | 20:21 | Object | 30/30/30/30 | Normal/Medium |  | 1030 |  | 2.5 |  |  |  | Standard LTT6248, Acquisition in AAOmega bundle B
| 26 | 20:26 | Object | 60/60/60/60 | Normal/Medium |  | 1030 | [5 empty] | Standard LTT6248, AAOmega bundle B
| 27 | 20:30 | Object | 60/60/60/60 | Normal/Medium |  | 1030 |  |  | 2S |  |  | Standard LTT6248, AAOmega bundle B | Thick clouds, no signal, disabled
| 28 | 20:37 | Object | 60/60/60/60 | Normal/Medium |  | 1030 | [5 empty] | Standard LTT6248, AAOmega bundle B
| 29 | 20:40 | Object | 60/60/60/60 | Normal/Medium |  | 1030 |  |  |  | 3E |  | Standard LTT6248, AAOmega bundle B
| 30 | 21:12 | Object | 60/60/60/60 | Normal/Medium |  | 1030 | [5 empty] | Standard LTT6248, Spector bundle M
| 31 | 21:17 | Object | 60/60/60/60 | Normal/Medium |  | 1030 |  |  | 2N |  | abs | Standard LTT6248, Spector bundle M | Thick clouds, no signal, disabled
| 32 | 21:24 | Object | 60/60/60/60 | Normal/Medium |  | 1030 |  |  |  | 1.5W | rel | Standard LTT6248, Spector bundle M | Ha! Got it!
| 33 | 21:56 | Object | 60/60/60/60 | Normal/Medium |  | 1030 |  |  | 2N |  | abs | Standard LTT6248, Spector bundle M | Thick clouds, no signal, disabled
| 34 | 22:12 | Object | 60/60/60/60 | Normal/Medium |  | 1030 |  |  | 2S |  | rel | Standard LTT6248, Spector bundle M | Cleared up, fingers crossed it stays clear!
| 35 | 22:23 | Object | 300/300/300/300 | Normal/Medium | 35.8 (1.23) | 1030 | G1-G6 |  |  |  |  | Acquisition
| 36 | 22:34 | Object | 300/300/300/300 | Normal/Medium | 36.7 (1.25) | 1030 | G1-G6 |  |  |  |  | Acquisition
| 37 | 22:44 | Object | 1800 | Normal/Medium | 37.8 (1.27) | 1020 | G1-G6 | 2" |  |  |  | Dither A
| 38 | 23:17 | Object | 1800 | Normal/Medium | 42.9(1.36) | 1020 | G1-G6 | 2" |  |  |  | Dither B
| 39 | 23:49 | Object | 1800 | Normal/Medium | 48.06 (1.49) | 1020 | G1-G6 | 2" |  |  |  | Dither C
| 40 | 0:22 | Fibre Flat | 60/60/50/25 | Normal/Medium
| 41 | 0:26 | Arc | 80/80/80/20 | Normal/Medium
A3667_T037 | 42 | 1:20 | Fibre Flat | 60/60/50/25 | Normal/Medium
| 43 | 1:25 | Arc | 80/80/80/20 | Normal/Medium
| 44 | 1:33 | Object | 300/300/300/300 | Normal/Medium | 30.2 (1.16) | 1020 | G1-G6 | 2.8" |  |  |  | Acquisition
| 45 | 1:46 | Object | 1800 | Normal/Medium | 29.0 (1.14) | 1020 | G1-G6 | 2.8" |  |  |  | Dither E | Lost guiding due to clouds a number of times. This needs to be repeated, so adding to the disabled list
Humidity high and rising, closing dome

## 07062024
| Date: | 2024-07-06 |  |  |  | Weather: | Rainy and cloudy
| Observers: | Madusha, Caro, and Gabby |  |  |  | Program: | Hector Survey
Field name & | Run range | Local time |  | Exp. Time | Read |  |  | Guide | Seeing | Offset (arcsec) |  |  | Notes | DR Notes
Robot file name |  |  | Obs. Type | (sec) | Speed | ZD (Airmass) | Rotator (mdeg) | Stars Used | (arcsec) | N-S | E-W | Rel or Abs.
|  | press "cmd+shift+:" to automatically add timestamp | [10 empty] | AAOmega Focus Values: Blue: Focus=172.7, Spectral=2839.2, Spatial=2148.4, Red: Focus=566.6, Spectral=2306.7, Spatial=1221.8, Spector Blue=2824.09, Spector Red=2373.02
Telescope Focus =
| 1 | 16:46 | Fibre Flat | 60/60/50/25 | Normal/Medium | [7 empty] | No TLM faliures
| 2 | 16:50 | Arc | 80/80/80/20 | Normal/Medium
| 2024-03-12 | 16:57 | Biases |  | Normal/Medium
Dome flat tests at different positions while waiting
| 13 | 17:34 | Fibre Flat | 60/60/50/25 | Normal/Medium | Zenith | 1020
| 14 | 17:39 | Fibre Flat | 60/60/50/25 | Normal/Medium | 10 deg., North
| 15 | 17:43 | Fibre Flat | 60/60/50/25 | Normal/Medium | 30 deg., North
| 16 | 17:47 | Fibre Flat | 60/60/50/25 | Normal/Medium | 50 deg., North
| 17 | 17:52 | Fibre Flat | 60/60/50/25 | Normal/Medium | 10 deg., West
| 18 | 17:56 | Fibre Flat | 60/60/50/25 | Normal/Medium | 30 deg., West
| 19 | 18:00 | Fibre Flat | 60/60/50/25 | Normal/Medium | 50 deg., West
| 20 | 18:05 | Fibre Flat | 60/60/50/25 | Normal/Medium | 10 deg., South
| 21 | 18:09 | Fibre Flat | 60/60/50/25 | Normal/Medium | 30 deg., South
| 22 | 18:13 | Fibre Flat | 60/60/50/25 | Normal/Medium | 50 deg., South
| 23 | 18:18 | Fibre Flat | 60/60/50/25 | Normal/Medium | 10 deg., East
| 24 | 18:22 | Arc | 80/80/80/20 | Normal/Medium | 10 deg., East
| 25 | 18:26 | Fibre Flat | 60/60/50/25 | Normal/Medium | 30 deg., East
| 26 | 18:30 | Fibre Flat | 60/60/50/25 | Normal/Medium | 50 deg., East

## 08062024
| Date: | 2024-08-06 |  |  |  | Weather:
| Observers: | Madusha, Gabby, Caro |  |  |  | Program: | Hector Survey
Field name & | Run range | Local time |  | Exp. Time | Read |  |  | Guide | Seeing | Offset (arcsec) |  |  | Notes | DR Notes
Robot file name |  |  | Obs. Type | (sec) | Speed | ZD (Airmass) | Rotator (mdeg) | Stars Used | (arcsec) | N-S | E-W | Rel or Abs.
|  | press "cmd+shift+:" to automatically add timestamp | [10 empty] | AAOmega Focus Values: Blue: Focus=172.7, Spectral=2839.2, Spatial=2148.4, Red: Focus=566.6, Spectral=2306.7, Spatial=1221.8, Spector Blue=2824.06, Spector Red=2373.99
Telescope Focus =
| 1 | 16:34 | Fibre Flat | 60/60/50/25 | Normal/Medium
| 2 | 16:37 | Arc | 80/80/80/20 | Normal/Medium
| 2024-03-07 | 16:44 | Biases | 0 | Normal/Medium
Ready for sky flats :)
oh...well
A3667_T037 | 8 | 1:15 | Fibre Flat | 60/60/50/25 | Normal/Medium
| 9 | 1:17 | Arc | 80/80/80/20 | Normal/Medium
| 2024-10-15 | 1:27 | Bias | 0 | Normal/Medium

## 09062024
| Date: | 2024-09-06 |  |  |  | Weather: | Clear at sunset, some humidity issues after sunset until about midnight
| Observers: | Madusha, Gabby, Caro |  |  |  | Program: | Hector Survey
Field name & | Run range | Local time |  | Exp. Time | Read |  |  | Guide | Seeing | Offset (arcsec) |  |  | Notes | DR Notes
Robot file name |  |  | Obs. Type | (sec) | Speed | ZD (Airmass) | Rotator (mdeg) | Stars Used | (arcsec) | N-S | E-W | Rel or Abs.
|  | press "cmd+shift+:" to automatically add timestamp | [10 empty] | AAOmega Focus Values: Blue: Focus= 172.7, Spectral=2839.2, Spatial=2148.4, Red: Focus=565.5, Spectral=2303.4, Spatial=1218.8, Spector Blue=2825.1, Spector Red= 2373.99
Telescope Focus = 39.45
G15_T150 | 1 | 16:41 | Fibre Flat | 60/60/50/25 | Normal/Medium | [7 empty] | TLM check okay
| 2 | 16:45 | Arc | 80/80/80/20 | Normal/Medium
Ready for sky flats!!
| 3 | 17:14 | Offset sky | 5/5/5/5 | Normal/Medium | [5 empty] | 60E |  | AAOmega blue=15k red=15k Spec blue=20k red=40k
| 4 | 17:16 | Offset sky | 12/12/12/9 | Normal/Medium | [5 empty] | 60E |  | AAOmega blue=25k red=30k Spec blue=35k red=50k
| 5 | 17:18 | Offset sky | 24/24/24/12 | Normal/Medium | [5 empty] | 60E |  | AAOmega blue=30k red=40k Spec blue=40k red=55k
| 6 | 17:21 | Offset sky | 40/40/40/12 | Normal/Medium | [5 empty] | 60E |  | AAOmega blue=32k red=40k Spec blue=45k red=35k
| 7 | 17:24 | Offset sky | 65/65/50/20 | Normal/Medium | [5 empty] | 60E |  | AAOmega blue=28k red=35k Spec blue=30k red=31k
| 8 | 17:27 | Offset sky | 120/120/100/50 | Normal/Medium | [5 empty] | 60E |  | AAOmega blue=23k red=30k Spec blue=26k red=35k
| 9 | 17:31 | Offset sky | 240/240/240/100 | Normal/Medium | [5 empty] | 60E |  | AAOmega blue=15k red=15k Spec blue=18k red=23k
Rising humidity
| 10 |  | Object | 30/30/30/30 | Normal/Medium |  |  |  | 2.5" |  |  |  | Standard LTT3864, Acquisition in AAOmega bundle B
| 11 | 18:10 | Object | 60/60/60/60 | Normal/Medium | [7 empty] | Standard LTT3864, in AAOmega bundle B |  | low counts, clouds..., disabled
| 12 | 18:13 | Object | 300/300/300/300 | Normal/Medium | [7 empty] | Standard LTT3864, in AAOmega bundle B
| 13 | 18:20 | Object | 300/300/300/300 | Normal/Medium | 12.8 (1.03) |  |  |  | 3S |  | rel | Standard LTT3864, in AAOmega bundle B
| 14 | 18:27 | Object | 300/300/300/300 | Normal/Medium | [5 empty] | 1.5E | rel | Standard LTT3864, in AAOmega bundle B
| 15 | 18:35 | Object | 30/30/30/30 | Normal/Medium | [7 empty] | Standard LTT3864, acquisition in Spector bundle M
| 16 | 18:39 | Object | 300/300/300/300 | Normal/Medium | [7 empty] | Standard LTT3864, Spector bundle M
Closing dome, humidity is high and dome is now wet. I must'a jinxed it!
A3667_T037 | 17 | 23:57 | Fibre Flat | 60/60/50/25 | Normal/Medium
| 18 |  | Arc | 80/80/80/20 | Normal/Medium
And we are opening! All systems GO!
[9 empty] | 6.5" |  |  |  | Seeing is pretty bad, will start with standard.... actually not seeing, the telescope is oscillating a lot!
| 19 | 1:30 | Object | 30 | Normal/Medium | 20.5 (1.07) |  |  | 4.5" |  |  |  | Trying Standard star LTT7987 acquisition in AAOmega bundle A. If issues in reduction, probably will be due to the wobble, but wobble issue seems better in the East.
| 20 | 1:36 | Object | 200 | Normal/Medium | [7 empty] | Standard star LTT7987 in AAOmega bundle A.
| 21 | 1:44 | Object | 200 | Normal/Medium | [5 empty] | 2E | rel | Standard star LTT7987 in AAOmega bundle A.
| 22 | 1:50 | Object | 200 | Normal/Medium |  |  |  |  | 2S |  | rel | Standard star LTT7987 in AAOmega bundle A.
| 23 | 1:55 | Object | 30 | Normal/Medium | [7 empty] | Acquisition standard star LTT7987 in Spector bundle Q.
| 24 | 2:00 | Object | 200 | Normal/Medium | [7 empty] | Standard star LTT7987 in Spector bundle Q. Not centered. Disabled
| 25 | 2:08 | Object | 200 | Normal/Medium | [7 empty] | Standard star LTT7987 in Spector bundle Q.
| 26 | 2:16 | Object | 200 | Normal/Medium | [5 empty] | 2W | rel | Standard star LTT7987 in Spector bundle Q. Wobble getting progressively worse. The quick look tool has an elongated star. Disabling.
| 27 | 2:24 | Object | 200 | Normal/Medium |  |  |  |  | 2N |  | rel | Standard star LTT7987 in Spector bundle Q. Wobble still bad... Will disable this one also.
Humidity high again. Closing up. Anyway there is no good data to be taken (twilights maybe if humidity and clouds allow later).
More tim tams must be consumed!
Clouds rolling in around 5am. No hope even of twilights.

## 10062024
| Date: | 2024-10-06 |  |  |  | Weather: | Mostly clear, patches of clouds
| Observers: | Madusha, Gabby, Caro |  |  |  | Program: | Hector Survey
Field name & | Run range | Local time |  | Exp. Time | Read |  |  | Guide | Seeing | Offset (arcsec) |  |  | Notes | DR Notes
Robot file name |  |  | Obs. Type | (sec) | Speed | ZD (Airmass) | Rotator (mdeg) | Stars Used | (arcsec) | N-S | E-W | Rel or Abs.
|  | press "cmd+shift+:" to automatically add timestamp | [10 empty] | AAOmega Focus Values: Blue: Focus=173.4, Spectral=2857.4, Spatial=2137, Red: Focus=568.2, Spectral=2300.2, Spatial=1253.2, Spector Blue=2825.07, Spector Red=2375
Telescope Focus = 39.4
G15_T150 | 1 |  | Focus | 80 | Normal/Fast | [7 empty] | Accidently didn't do dummy for focus AAOmega, disabled.
| 2 |  | Focus | 80 | Normal/Fast | [7 empty] | Accidently didn't do dummy for focus AAOmega, disabled.
| 3 | 16:55 | Fibre Flat | 60/60/50/25 | Normal/Medium
| 4 | 17:00 | Arc | 80/80/80/20 | Normal/Medium
| 5 | 17:14 | Offset Sky | 5/5/5/5 | Normal/Medium | [7 empty] | AAOmega blue=18k red=17k Spec blue=23k red=40k |  | Some whispy clouds, but heck, we want flats!! Gimme aaaaall the flats!
| 6 | 17:16 | Offset Sky | 12/12/12/5 | Normal/Medium | [5 empty] | 60E |  | AAOmega blue=30k red=30k Spec blue=38k red=30k |  | too many clouds... disabling.
| 7 | 17:19 | Offset Sky | 20/20/15/13 | Normal/Medium | [7 empty] | AAOmega blue= k, red= k, Spec blue= k, red= k |  | disabled
| 8 | 17:58 | Object | 30 | Normal/Medium | 6.8 (1.01) |  |  | 2.2" |  |  |  | Acquisition Standard star LTT3864 into Spector bundle J
| 9 | 18:03 | Object | 300 | Normal/Medium | [7 empty] | Standard star LTT3864 in Spector bundle J
| 10 | 18:11 | Object | 300 | Normal/Medium |  |  |  |  | 1.5N |  | rel | Standard star LTT3864 in Spector bundle J
| 11 | 18:18 | Object | 300 | Normal/Medium |  |  |  |  | 1N | 1E | rel | Standard star LTT3864 in Spector bundle J
| 12 | 18:25 | Object | 30 | Normal/Medium | [7 empty] | Acquisition Standard star LTT3864 into AAOmega bundle F |  | Missed it.
| 13 | 18:35 | Object | 30 | Normal/Medium | [7 empty] | Acquisition Standard star LTT3864 into AAOmega bundle B
| 14 | 18:40 | Object | 300 | Normal/Medium | [7 empty] | Standard star LTT3864 in AAOmega bundle B
| 15 | 18:47 | Object | 300 | Normal/Medium |  |  |  |  | 3S |  | rel | Standard star LTT3864 in AAOmega bundle B
| 16 | 18:54 | Object | 300 | Normal/Medium | [5 empty] | 3W | rel | Standard star LTT3864 in AAOmega bundle B
| 17 | 19:05 | Fibre Flat | 60/60/50/25 | Normal/Medium
| 18 | 19:09 | Arc | 80/80/80/20 | Normal/Medium
| 19 | 19:13 | Object | 300 | Normal/Medium |  | 1020 | G1-G6 | 2.3" |  |  |  | Acquisition
| 20-23 | 19:25 | Object | 1800 | Normal/Medium |  | 1020 | G1-G6 | 2-3" |  |  |  | Dither D, E, F, G
| 24 | 21:34 | Fibre Flat | 60/60/50/25 | Normal/Medium
| 25 | 21:38 | Arc | 80/80/80/20 | Normal/Medium
| 26 | 21:42 | Object | 1800 | Normal/Medium |  | 1020 | G1-G6 | 2-3" |  |  |  | Dither A
At least one (tile) bites the dust!
A3667_T037 | 27 | 23:01 | Fibre Flat | 60/60/50/25 | Normal/Medium
| 28 | 23:04 | Arc | 80/80/80/20 | Normal/Medium
| 29 | 23:12 | Object | 300 | Normal/Medium |  | 1020 | G1-G6 | 2.3" |  |  |  | Acquisition
| 30 | 23:30 | Object | 300 | Normal/Medium |  | 1010 | G1-G6 |  |  |  |  | Acquisition
Loosing guiding intermittently due to clouds.
| 31 | 23:48 | Object | 1800 | Normal/Medium |  |  | G1-G6 |  |  |  |  | Dither E, lost guiding for about half the exposure due to clouds. Needs repeating. Disable.
| 32-34 | 0:40 | Object | 1800 | Normal/Medium |  |  | G1-G6 |  |  |  |  | Dithers E, F, G
| 35 | 2:17 | Fibre Flat | 60/60/50/25 | Normal/Medium
| 36 | 2:21 | Arc | 80/80/80/20 | Normal/Medium
Another one bites the dust! Woohoo!
| 37 | 2:26 | Object | 1800 | Normal/Medium | 25.7 (1.11) | 1010 | G1-G6 |  |  |  |  | Dither A, lost guiding multiple times, disabling.
| 38 | 2:58 | Object | 1800 | Normal/Medium |  | 1010 | G1-G6 |  |  |  |  | Dither B, lost guiding for most of it, disabling.
| 39 | 3:34 | Object | 1800 | Normal/Medium | 27.6 (1.13) | 1010 | G1-G6 | 2.5" |  |  |  | Dither A
| 40 | 4:06 | Object | 1800 | Normal/Medium |  | 1010 | G1-G6 | 2.5-3" |  |  |  | Dither B | Possible slight wobble, though not seen on guider. Quick look tool looked ok.
| 41 | 4:38 | Object | 1800 | Normal/Medium |  | 1010 | G1-G6 | 2.5" |  |  |  | Dither C
| 42 | 5:12 | Fibre Flat | 60/60/50/25 | Normal/Medium
| 43 | 5:16 | Arc | 80/80/80/20 | Normal/Medium
| 44 | 5:24 | Object | 30 | Normal/Medium | [7 empty] | Acquisition Standard star LTT9491 in AAOmega bundle A |  | Can't believe I missed!! All guide stars are out in the outskirts and only allowed standards at that RA are pretty faint or much too bright...
| 45 | 5:32 | Object | 30 | Normal/Medium | [7 empty] | Acquisition Standard star LTT9491 in AAOmega bundle F |  | Another miss! Too faint maybe?
| 46 | 5:38 | Object | 30 | Normal/Medium | [7 empty] | Acquisition Standard star LTT9239 in AAOmega bundle A |  | Sorry, I know this isn't a preferred standard, but there is nothing in the right mag range at that RA.
| 47 | 5:44 | Object | 30 | Normal/Medium | [7 empty] | Checking acquisition, was right at the edge of the A bundle!
| 48 | 5:48 | Object | 120 | Normal/Medium | [7 empty] | Standard star LTT9239 in AAOmega bundle A
| 49 | 5:52 | Object | 120 | Normal/Medium | [5 empty] | 2E | rel | Standard star LTT9239 in AAOmega bundle A
| 50 | 5:56 | Object | 120 | Normal/Medium |  |  |  |  | 1N |  | rel | Standard star LTT9239 in AAOmega bundle A
| 51 | 6:00 | Object | 30 | Normal/Medium | [7 empty] | Acquisition Standard star LTT9239 in Spector S
| 52 | 6:05 | Object | 120 | Normal/Medium | [7 empty] | Standard star LTT9239 in Spector S
| 53 | 6:09 | Object | 120 | Normal/Medium | [5 empty] | 2W | rel | Standard star LTT9239 in Spector S
| 54 | 6:13 | Object | 120 | Normal/Medium |  |  |  |  | 1N | 1E | rel | Standard star LTT9239 in Spector S | background may be high...
Too many clouds for twilight.

## 11062024
| Date: | 2024-11-06 |  |  |  | Weather: | Some clouds passing.
| Observers: | Madusha, Gabby, Caro (a.k.a the dream team) |  |  |  | Program: | Hector Survey
Field name & | Run range | Local time |  | Exp. Time | Read |  |  | Guide | Seeing | Offset (arcsec) |  |  | Notes | DR Notes
Robot file name |  |  | Obs. Type | (sec) | Speed | ZD (Airmass) | Rotator (mdeg) | Stars Used | (arcsec) | N-S | E-W | Rel or Abs.
|  | press "cmd+shift+:" to automatically add timestamp | [10 empty] | AAOmega Focus Values: Blue: Focus=175, Spectral=2773, Spatial=2154, Red: Focus=566.8, Spectral=2215.7, Spatial=1207.4, Spector Blue=2823.01, Spector Red=2372.02
Telescope Focus = 39.4
G15_148 | 1 | 16:50 | Fibre Flat | 60/60/50/25 | Normal/Medium | [7 empty] | NO TLM faliures
| 2 | 16:53 | Arc | 80/80/80/20 | Normal/Medium
Taking skyflats - the overhead is clear, but whispy clouds around in other directions
| 3 | 17:15 | Offset sky | 5/5/5/5 | Normal/Medium | [5 empty] | 60E |  | AAOmega blue=15k red=12k Spec blue=18k red=27k
| 4 |  | Offset sky | 13/13/12/7 | Normal/Medium | [5 empty] | forgot to do the offset |  | AAOmega blue=23k red=20k Spec blue=30k red=27k
| 5 | 17:19 | Offset sky | 30/30/20/16 | Normal/Medium | [7 empty] | AAOmega blue=30k red=30k Spec blue=32k red=40k
| 6 | 17:23 | Offset sky | 60/60/35/25 | Normal/Medium | [5 empty] | 60E |  | AAOmega blue=30k red=25k Spec blue=25k red=30k
| 7 |  | Offset sky | 120/120/60/45 | Normal/Medium | [5 empty] | 60E |  | AAOmega blue=28k red=25k Spec blue=23k red=25k
| 8 | 17:30 | Offset sky | 240/240/120/90 | Normal/Medium | [5 empty] | 60E |  | AAOmega blue=k red=k Spec blue=k red=k (very likely affected by clouds - disabled)
I got a feeling! That tonight's gonna be a good night!
| 9 | 17:52 | Object | 30 | Normal/Medium | [7 empty] | Acquisition Standard star LTT3864 into AAOmega bundle H
| 10 | 18:06 | Object | 300 | Normal/Medium | [7 empty] | Standard star LTT3864 in AAOmega bundle H (waited a few minutes for the sky to get dark, some clouds about too)
| 11 | 18:14 | Object | 300 | Normal/Medium |  |  |  |  | 1N |  |  | Standard star LTT3864 in AAOmega bundle H
| 12 | 18:21 | Object | 300 | Normal/Medium | [5 empty] | 1E |  | Standard star LTT3864 in AAOmega bundle H
| 13 | 18:31 | Object | 30 | Normal/Medium | [7 empty] | Acquisition Standard star LTT3864 into Spector bundle T
| 14 | 18:36 | Object | 300 | Normal/Medium | [7 empty] | Standard star LTT3864 in Spector bundle T
| 15 | 18:44 | Object | 300 | Normal/Medium | [5 empty] | 3E |  | Standard star LTT3864 in Spector bundle T
| 16 | 18:51 | Object | 300 | Normal/Medium |  |  |  |  | 2S |  |  | Standard star LTT3864 in Spector bundle T
Closed dome briefly due to rain about.
| 17 | 19:36 | Acquisition | 300 | Normal/Medium | 41.4 (1.33) | 1020 | G1-G6 | 2.5"
| 18 | 19:48 | Acquisition | 300 | Normal/Medium | 39.6 (1.30) | 1010 | G1-G6 | 2.5"
| 19 | 19:59 | Object | 1800 | Normal/Medium |  | 1010 | G1-G6 | 2.5"-4" |  |  |  | Dither A
| 20 |  | Object | 1800 | Normal/Medium |  | 1010 | G1-G6 |  |  |  |  | Dither B - lost guiding many times, seeing is increasing (Need to repeat - disabled)
Closed dome due to rain nearby.
| 21 | 21:13 | Fibre Flat | 60/60/50/25 | Normal/Medium
| 22 | 21:17 | Arc | 80/80/80/20 | Normal/Medium
A3667_T043 | 23 | 0:52 | Fibre Flat | 60/60/50/25 | Normal/Medium | [7 empty] | TLM check okay
| 24 | 0:55 | Arc | 80/80/80/20 | Normal/Medium
Dome opening woot woot! Still too thick clouds to guide though...
| 25 | 1:11 | Acquisition | 300 | Normal/Medium | 30.4 (1.16) | 1010 | G1-G6 | 3"
Rain about, closing (- we had to abort the first object frame half-way through)
Back on sky, but seeing is around 4.5" (tried focusing the telescope but didn't improve...)
| 26 | 4:27 | Object | 1800 | Normal/Medium | 33.00 (1.17) | 1010 | G1-G6 | 5"-3" |  |  |  | Dither A - seeing was between 5" and 3.5". It might be good to repeat this frame if there's time
| 27 | 4:57 | Object | 1800 | Normal/Medium | 33.76(1.20) | 1010 | G1-G6 | 3"-2.5" |  |  |  | Dither B
| 28 | 5:33 | Fibre Flat | 60/60/50/25 | Normal/Medium | [7 empty] | At the field position
| 29 | 5:37 | Arc | 80/80/80/20 | Normal/Medium | [7 empty] | At the field position
| 30 | 5:43 | Object | 60/60/60/60 | Normal/Medium |  | 1010 | [5 empty] | Acquisition Standard star G93-48 to bundle Q (disabled)
| 31 | 5:49 | Object | 120/120/120/120 | Normal/Medium | [5 empty] | 5E |  | Standard star G93-48 in bundle Q (wrong direction, disabled)
| 32 | 5:55 | Object | 120/120/120/120 | Normal/Medium | [5 empty] | 5W |  | Standard star G93-48 in bundle Q
| 33 | 5:57 | Object | 120/120/120/120 | Normal/Medium |  |  |  |  | 1.5S |  |  | Standard star G93-48 in bundle Q
| 34 | 6:01 | Object | 120/120/120/120 | Normal/Medium | [5 empty] | 1.5E |  | Standard star G93-48 in bundle Q
| 35 | 6:06 | Object | 60/60/60/60 | Normal/Medium | [7 empty] | Acquisition Standard star G93-48 to bundle C (disabled)
| 36 | 6:11 | Object | 120/120/120/120 | Normal/Medium | [5 empty] | 5W |  | Standard star G93-48 in bundle C
| 37 | 6:15 | Object | 120/120/120/120 | Normal/Medium |  |  |  |  | 2S |  |  | Standard star G93-48 in bundle C
Sky is getting bright for standard obs.
| 38 | 6:40 | Offset sky | 150/150/120/80 | Normal/Medium | [5 empty] | 60E |  | AAOmega blue=43k red=31k Spec blue=50k red=47k |  | If statements
| 39 | 6:45 | Offset sky | 56/56/30/20 | Normal/Medium | [5 empty] | 60E |  | AAOmega blue=40k red=29k Spec blue=29k red=24k |  | AA Blue | AA Red | Spec Blue | Spec Red
| 40 | 6:48 | Offset sky | 25/25/15/11 | Normal/Medium | [5 empty] | 60E |  | AAOmega blue=30k red=22k Spec blue=26k red=28k |  | 52.5 | 60 | 30 | 20
| 41 | 6:51 | Offset sky | 13/13/8/6 | Normal/Medium | [5 empty] | 60E |  | AAOmega blue=25k red=18k Spec blue=23k red=24k |  | 22.4 | 28 | 15 | 11
| 42 | 6:53 | Offset sky | 7/7/4/3 | Normal/Medium | [5 empty] | 60E |  | AAOmega blue=21k red=15k Spec blue=18k red=20k |  | 12.5 | 13.75 | 7.5 | 5.5
| 43 | 6:55 | Offset sky | 4/4/2/2 | Normal/Medium | [5 empty] | 60E |  | AAOmega blue=18k red=14k Spec blue=15k red=20k |  | 6.5 | 7.15 | 4.4 | 3.3
So long and thanks for all the fish!

## 12062024
| Date: | 2024-12-06 |  |  |  | Weather:
| Observers: | Tom Woodrow (L), Scott Croom and Susie Tuntipong |  |  |  | Program: | Hector Survey
Field name & | Run range | Local time |  | Exp. Time | Read |  |  | Guide | Seeing | Offset (arcsec) |  |  | Notes | DR Notes
Robot file name |  |  | Obs. Type | (sec) | Speed | ZD (Airmass) | Rotator (mdeg) | Stars Used | (arcsec) | N-S | E-W | Rel or Abs.
|  | press "cmd+shift+:" to automatically add timestamp | [10 empty] | AAOmega Focus Values: Blue: Focus=175, Spectral=2773, Spatial=2154, Red: Focus=566.8, Spectral=2215.7, Spatial1207.4=, Spector Blue=2824.04, Spector Red=2372.05
Telescope Focus = 39.4
G15_T148 | 1 | 16:28 | Fibre Flat | 60/60/50/25 | Normal/Medium | [7 empty] | NO TLM faliures
| 2 | 16:33 | Arc | 80/80/80/20 | Normal/Medium
Too cloudy for offset sky...
|  | 19:02 | 90% cloud cover
|  | 20:07 | yep, you guessed it, still cloudy
|  | 21:04 | some breaks appearing
| 3 | 22:39 | Acquisition | 300 | Normal/Medium | 39.8(1.30) | 1020 | G1-G6 | 3.0-4.0"
| 4 | 22:52 | Object | 1800 | Normal/Medium | 41.3(1.33) | 1010 | G1-G6 | 3.0-4.0" |  |  |  | Dither B
| 5 | 23:26 | Object | 1800 | Normal/Medium | 46.4 (1.45) | 1010 | G1-G6 | 4.0-6.0" |  |  |  | Dither C
| 6 | 23:56 | Arc | 80/80/80/20 | Normal/Medium | [7 empty] | at field postion
| 7 | 0:00 | Fibre Flat | 60/60/50/25 | Normal/Medium | [7 empty] | at field postion
A3667_T043 | 8 | 1:16 | Fibre Flat | 60/60/50/25 | Normal/Medium | [7 empty] | at field position | NO TLM faliures
| 9 | 1:23 | Object | 1800 | Normal/Medium | 28.84(1.14) | 1030 | G1-G6 | 3.0-4.0" |  |  |  | Dither C, rotation ok
| 10 | 1:56 | Object | 1800 | Normal/Medium | 26.5(1.12) | 1030 | G1-G6 | 2.5-3.5" |  |  |  | Dither D
| 11 | 2:28 | Arc | 80/80/80/20 | Normal/Medium
| 12 | 2:31 | Fibre Flat | 60/60/50/25 | Normal/Medium | [7 empty] | NO TLM faliures
| 13 | 2:34 | Object | 1800 | Normal/Medium | 25.1(1.10) | 1030 | G1-G6 | 2.5-3.0" |  |  |  | Dither E
| 14 | 3:07 | Object | 1800 | Normal/Medium | 25.3(1.11) | 1030 | G1-G6 | 3.5-4.5" |  |  |  | Dither F
| 15 | 3:39 | Object | 1800 | Normal/Medium | 26.6(1.12) | 1030 | G1-G6 | 2.5-4.0" |  |  |  | Dither G
| 16 | 4:11 | Object | 1800 | Normal/Medium | 29.1(1.14) | 1050 | G1-G6 | 2.5-5.0" |  |  |  | Dither A
| 17 | 4:43 | Object | 1800 | Normal/Medium | 32.3(1.18) | 1050 | G1-G6 | 3.0-4.5" |  |  |  | Dither B
| 18 | 5:19 | Object | 30 | Normal/Medium | [7 empty] | Acquistion, Standard star LTT9491 in Spector O, on edge, disasbled
| 19 | 5:24 | Object | 30 | Normal/Medium | [7 empty] | Standard star LTT9491 in Spector O, in bundle
| 20 | 5:28 | Object | 300 | Normal/Medium | [5 empty] | 4W |  | Standard star LTT9491 in Spector O
| 21 | 5:36 | Object | 300 | Normal/Medium |  |  |  |  | 1.5S | 1W |  | Standard star LTT9491 in Spector O
| 22 | 5:43 | Object | 300 | Normal/Medium |  |  |  |  | 2S | 1E |  | Standard star LTT9491 in Spector O
| 23 | 5:49 | Object | 30 | Normal/Medium | [7 empty] | Acquisition Standard star LTT9491 in AAOmega D, in bundle
| 24 | 5:54 | Object | 300 | Normal/Medium | [7 empty] | Standard star LTT9491 in AAOmega D
| 25 | 6:02 | Object | 300 | Normal/Medium |  |  |  |  | 1.5S |  |  | Standard star LTT9491 in AAOmega D
Twilight too bright for any more standards
| 26 | 6:11 | Arc | 80/80/80/20 | Normal/Medium | [7 empty] | at field postion
| 27 | 6:14 | Fibre Flat | 60/60/50/25 | Normal/Medium | [7 empty] | at field postion
| 28 | 6:38 | Offset sky | 150/150/120/80 | Normal/Medium | [7 empty] | AAOmega blue=25k red=25k Spec blue=25k red=25k
| 29 |  | Offset sky | 79/79/48/32 | Normal/Medium | [5 empty] | 60E |  | AAOmega blue=35k red=40k Spec blue=25k red=35k
| 30 | 6:47 | Offset sky | 25/25/15/11 | Normal/Medium | [5 empty] | 60E |  | AAOmega blue=25k red=25k Spec blue=30k red=35k
| 31 | 6:50 | Offset sky | 14/14/12/8 | Normal/Medium | [5 empty] | 60E |  | AAOmega blue=20k red=25k Spec blue=30k red=30k
| 32 | 6:53 | Offset sky | 7/7/4/3 | Normal/Medium | [5 empty] | 60E |  | AAOmega blue=20k red=20k Spec blue=20k red=20k

## 13062024
| Date: | 13/06/2024 |  |  |  | Weather:
| Observers: | Tom Woodrow (L), Scott Croom and Susie Tuntipong |  |  |  | Program: | Hector Survey
Field name & | Run range | Local time |  | Exp. Time | Read |  |  | Guide | Seeing | Offset (arcsec) |  |  | Notes | DR Notes
Robot file name |  |  | Obs. Type | (sec) | Speed | ZD (Airmass) | Rotator (mdeg) | Stars Used | (arcsec) | N-S | E-W | Rel or Abs.
|  | press "cmd+shift+:" to automatically add timestamp | [10 empty] | AAOmega Focus Values: Blue: Focus=175, Spectral=2804.2, Spatial=2145.1, Red: Focus=569.8, Spectral=2171.9, Spatial=1210.1, Spector Blue=2818.12, Spector Red=2371.36
Telescope Focus = 39.4
G15_T148 | 1 | 16:52 | Arc | 80/80/80/20 | Normal/Medium | [7 empty] | at zenith
| 2 | 16:55 | Fibre flat | 60/60/50/25 | Normal/Medium | [7 empty] | at zenith | NO TLM faliures
|  | 17:52 | complete cloud cover, no twilights done.
|  | 21:29 | complete cloud cover
A3667_T039 | 3 | 0:42 | Arc | 80/80/80/20 | Normal/Medium | [7 empty] | at field postion
| 4 | 0:45 | Object | 1800 | Normal/Medium |  | 1050 | G1-G6 |  |  |  |  | Dither A | NO TLM faliures
|  | 2:40 | still cloudy
| 5 | 3:14 | Fibre Flat | 60/60/50/25 | Normal/Medium | [7 empty] | at field postion | NO TLM faliures
|  | 3:27 | Tried dither, aborted due cloud
|  | 4:35 | still cloudy...

## 14062024
| Date: | 14/06/2024 |  |  |  | Weather:
| Observers: | Tom Woodrow (L), Scott Croom and Susie Tuntipong |  |  |  | Program: | Hector Survey
Field name & | Run range | Local time |  | Exp. Time | Read |  |  | Guide | Seeing | Offset (arcsec) |  |  | Notes | DR Notes
Robot file name |  |  | Obs. Type | (sec) | Speed | ZD (Airmass) | Rotator (mdeg) | Stars Used | (arcsec) | N-S | E-W | Rel or Abs.
|  | press "cmd+shift+:" to automatically add timestamp | [10 empty] | AAOmega Focus Values: Blue: Focus=179, Spectral=2773.1, Spatial=2156, Red: Focus=569.8, Spectral=2171.9, Spatial=1210.1, Spector Blue=2820.04, Spector Red=2371.98
Telescope Focus = 39.3
G15_T148 | 1 | 16:42 | Arc | 80/80/80/20 | Normal/Medium | [7 empty] | at zenith
| 2 | 16:46 | Fibre flat | 60/60/50/25 | Normal/Medium | [7 empty] | at zenith | NO TLM faliures
| 3 | 18:16 | Aquisition | 300 | Normal/Medium |  | 1020 | G1-G6 | 3.0"
|  | 18:30 | Clouds, moon .....
|  | 21:49 | Still cloudy and now telescope oil cooling system has sprung a leak, investigating....
|  | 23:18 | Unable to operate 'scope in current state, fix will be attempted tomorrow.. Would have lost most of night to weather anyway.
|  | 23:33 | Signing off for the night.

## 15062024
| Date: | 15/06/2024 |  |  |  | Weather:
| Observers: | Tom Woodrow (L), Scott Croom and Susie Tuntipong |  |  |  | Program: | Hector Survey
Field name & | Run range | Local time |  | Exp. Time | Read |  |  | Guide | Seeing | Offset (arcsec) |  |  | Notes | DR Notes
Robot file name |  |  | Obs. Type | (sec) | Speed | ZD (Airmass) | Rotator (mdeg) | Stars Used | (arcsec) | N-S | E-W | Rel or Abs.
|  | press "cmd+shift+:" to automatically add timestamp | [10 empty] | AAOmega Focus Values: Blue: Focus=179, Spectral=2773.1, Spatial=2156, Red: Focus=572.8, Spectral=2213.6, Spatial=1226.1, Spector Blue=2820, Spector Red=2373
Telescope Focus =
G15_T148
|  | 17:56 | Telescope still being repaired. 100% cloud cover
|  | 18:46 | Telescope operational, 100% cloud cover
| 1 | 20:13 | Arc | 80/80/80/20 | Normal/Medium
| 2 | 20:15 | Fibre Flat | 60/60/50/25 | Normal/Medium | [7 empty] | TLM check ok
|  | 20:36 | 100% Cloud
|  | 22:08 | Cloud, fog, high humidity....
A3667_T039
| 3 | 0:14 | Arc | 80/80/80/20 | Normal/Medium | [7 empty] | at PFA
| 4 | 0:23 | Arc | 80/80/80/20 | Normal/Medium | [7 empty] | at Zenith
| 5 | 0:34 | Fibre Flat | 60/60/50/25 | Normal/Medium | [7 empty] | TLM check ok
|  | 0:48 | Rain

## 16062024
| Date: | 16/06/2024 |  |  |  | Weather: | Partially Clear, 70% full moon
| Observers: | Tom Woodrow (L), Scott Croom and Susie Tuntipong |  |  |  | Program: | Hector Survey
Field name & | Run range | Local time |  | Exp. Time | Read |  |  | Guide | Seeing | Offset (arcsec) |  |  | Notes | DR Notes
Robot file name |  |  | Obs. Type | (sec) | Speed | ZD (Airmass) | Rotator (mdeg) | Stars Used | (arcsec) | N-S | E-W | Rel or Abs.
|  | press "cmd+shift+:" to automatically add timestamp | [10 empty] | AAOmega Focus Values: Blue: Focus=180, Spectral=2807.1, Spatial=2156, Red: Focus=574, Spectral=2283.1, Spatial=1255, Spector Blue=2818, Spector Red=2371
Telescope Focus = 39.4
Commissioning_SAMI_MANGA_overlap_T001
| 1 | 16:45 | Arc | 80/80/80/20 | Normal/Medium | [7 empty] | at zenith
| 2 | 16:49 | Fibre Flat | 60/60/50/25 | Normal/Medium | [7 empty] | at zenith | TLM check ok
| 3 | 17:14 | Offset sky | 5/5/5/5 | Normal/Medium | [7 empty] | AAOmega blue=15k red=15k Spec blue=23k red=40k, some wisps of cloud in all four frames
| 4 | 17:16 | Offset sky | 12/12/12/9 | Normal/Medium | [5 empty] | 60E |  | AAOmega blue=25k red=26k Spec blue=23k red=53k
| 5 | 17:19 | Offset sky | 24/24/28/12 | Normal/Medium | [5 empty] | 60E |  | AAOmega blue=31k red=36k Spec blue=46k red=50k
| 6 | 17:21 | Offset sky | 44/44/36/16 | Normal/Medium | [5 empty] | 60E |  | AAOmega blue=32k red=40k Spec blue=39k red=42k
CCD task hung so no further twilights
| 7 | 18:18 | Acquisition | 600 | Normal/Medium | 52.0(1.62) | 1030 | G1-G6 | 3
| 8 | 18:41 | Object | 1800 | Normal/Medium | 48.1(1.50) | 1025 | G1-G6 | 2.8 |  |  |  | Dither A, Moon 20 degrees from field, 72 % illumination
| 9 | 19:13 | Object | 1800 | Normal/Medium | 40.4(1.31) | 1030 | G1-G6 | 2.5 |  |  |  | Dither B
| 10 | 20:13 | Object | 1800 | Normal/Medium | 34.8(1.22) | 1030 | G1-G6 | 2.2 |  |  |  | Dither C | Clouds come in, aborted. Then start again, still get contaminated by clouds
|  | 20:52 | Clouds, waiting for the sky to be clear...
| 11 | 20:53 | Arc | 80/80/80/20 | Normal/Medium | [7 empty] | at field position
| 12 | 20:57 | Arc | 80/80/80/15 | Normal/Medium | [7 empty] | at field position | Note: shorter exposure time for ccd4, for Scott to assess if better for line fitting
| 13 | 21:01 | Arc | 80/80/80/10 | Normal/Medium | [7 empty] | at field position | Note: shorter exposure time for ccd4
| 14 | 21:05 | Fibre Flat | 60/60/50/25 | Normal/Medium | [7 empty] | at field position
|  | 23:14 | Clouds + humidity
A3667_T039
| 15 | 0:39 | Arc | 80/80/80/20 | Normal/Medium | [7 empty] | at zenith
| 16 | 0:43 | Fibre Flat | 60/60/50/25 | Normal/Medium | [7 empty] | TLM check ok
Standards whilst waiting for moon to set, some thin cloud patches tn all standard frames
| 17 | 0:49 | Object | 30/30/30/30 | Normal/Medium | [7 empty] | Standard EG274, Acquisition in AAOmega bundle G |  | star on the edge, disable
| 18 | 0:57 | Object | 120/120/120/120 | Normal/Medium |  |  |  |  | 3W |  |  | Standard EG274, in AAOmega bundle G
| 19 | 1:02 | Object | 120/120/120/120 | Normal/Medium |  |  |  |  | 1S | 1.5W |  | Standard EG274, in AAOmega bundle G
| 20 | 1:09 | Object | 240/240/240/240 | Normal/Medium |  |  |  |  | 2.5N |  |  | Standard EG274, in AAOmega bundle G
| 21 | 1:16 | Object | 30/30/30/30 | Normal/Medium | [7 empty] | Standard EG274, acquisition in Spector bundle R |  | Some telescope oscillation, looks ok in quick look, psf may be spread out a bit more than ususal, but could possibly due to bad seeing, up to 8", oscillation < 4"
| 22 | 1:20 | Object | 180/180/180/180 | Normal/Medium | [7 empty] | Standard EG274, Spector bundle R
| 23 | 1:26 | Object | 180/180/180/180 | Normal/Medium |  |  |  |  | 1.5S |  |  | Standard EG274, Spector bundle R
| 24 | 1:31 | Object | 180/180/180/180 | Normal/Medium |  |  |  |  | 1N | 1E |  | Standard EG274, Spector bundle R
Seeing too poor for acquistion, rotation determined off guide plot.
| 25 | 1:38 | Object | 1800 | Normal/Medium | 26.5(1.12) | 1010 | G1-G6 | 4-7" |  |  |  | Dither A, rotation looks good on q-look.
| 26 | 2:11 | Object | 1800 | Normal/Medium | 25.2(1.10) | 1010 | G1-G6 | 4-7" |  |  |  | Dither B
|  |  | Object | 1800 | Normal/Medium |  | 1010 | G1-G6 |  |  |  |  | Dither C, Aborted due cloud
| 27 | 2:45 | Arc | 80/80/80/20 | Normal/Medium | [7 empty] | at field position
| 28 | 2:49 | Fibre Flat | 60/60/50/25 | Normal/Medium | [7 empty] | TLM check ok
| 29 | 2:57 | Object | 1800 | Normal/Medium | 25.6(1.11) | 1010 | G1-G6 | 4-7" |  |  |  | Dither C
| 30 | 3:30 | Object | 1800 | Normal/Medium | 28.3(1.14) | 1010 | G1-G6 | 4-7" |  |  |  | Dither D
| 31 | 4:01 | Object | 1800 | Normal/Medium | 29.7(1.15) | 1010 | G1-G6 | 4-6" |  |  |  | Dither E
| 32 | 4:33 | Object | 1800 | Normal/Medium | 34.0(1.21) | 1010 | G1-G6 | 3-5" |  |  |  | Dither F
| 33 | 5:07 | Object | 1800 | Normal/Medium | 38.1(1.27) | 1010 | G1-G6 | 4-6" |  |  |  | Dither G
| 34 | 5:38 | Arc | 80/80/80/20 | Normal/Medium | [7 empty] | at field position
| 35 | 5:41 | Fibre Flat | 60/60/50/25 | Normal/Medium | [7 empty] | TLM check ok
| 36 | 6:41 | Offset sky | 150/150/120/80 | Normal/Medium | [5 empty] | 60E |  | AAOmega blue=36k red=48k Spec blue=38k red=55k
| 37 | 6:46 | Offset sky | 45/45/42/20 | Normal/Medium | [5 empty] | 60E |  | AAOmega blue=26k red=33k Spec blue=34k red=35k
| 38 | 6:49 | Offset sky | 23/23/21/10 | Normal/Medium | [5 empty] | 60E |  | AAOmega blue=25k red=29k Spec blue=32k red=31k
| 39 | 6:52 | Offset sky | 12/12/11/5 | Normal/Medium | [5 empty] | 60E |  | AAOmega blue=21k red=23k Spec blue=27k red=24k
| 40 | 6:55 | Offset sky | 7/7/6/3 | Normal/Medium | [5 empty] | 60E |  | AAOmega blue=19k red=19k Spec blue=23k red=21k