## Robot
Main folder path: Z:\Robot_tile_files\{folder} Labview writes the robot shift file to: C:\Robot\robot_shift_abs_{DATETIME}.csv
Currently on telescope |  |  |  |  | Currently on robot
Date | Time | Field | Filename | Directory | Metrology Timestamp | Configuring/Unconfiguring? | Magnet rotation | Timeouts | Comments (dome temp)
240923 | 0.56912 | A3667_T060_SNAFU | Robot_A3667_T060 | 20240923 | 240923132701 | C |  |  | 11.1
240923 | 0.62282 | H01_T107_SNAFU | Robot_H01_T107 | 20240923 | 240923132701 | C |  |  | 11.3 | seq 58, realised configuring incorect plate
240923 | 0.6473 | H01_T107_SNAFU | Robot_H01_T107 | 20240923 | 240923132701 | U |  |  | 11.4 | from seq 52
240923 | 0.66572 | A3667_T067 | Robot_A3667_T067 | 20240923 | 240923132701 | C |  |  | 11.4
240924 | 0.67071 | A3667_T067 | Robot_A3667_T067 | 20240923 | 240923132701 | U |  |  | 11.7 | rectangular magnet 29 in wrong postiton, fake unconfigure
240924 | 0.67422 | A3667_T067 | Robot_A3667_T067 | 20240923B | 240923132701 | C |  |  | 11.7 | fake configure to get to recovery mode, magnet placed correctly
240924 | 0.75281 | A3667_T060_SNAFU | Robot_A3667_T060 | 20240923 | 240923132701 | U |  |  | 11.7
240924 | 0.80499 | H01_T108 | Robot_H01_T108 | 20240924 | 240923132701 | C |  |  | 11.7
240928 | 0.059497 | A3667_T067 | Robot_A3667_T067 | 20240923B | 240929011734 | U |  |  | 8.9
240928 | 0.10775 | A3667_T068 | Robot_A3667_T068 | 20240928 | 240929011734 | C |  | 0 | 9.1
240929 | 0.59015 | H01_T108 | Robot_H01_T108 | 20240924 | 240929131529 | U |  |  | 12.8
240928 | 0.63656 | H01_T109 | Robot_H01_T109 | 20240928 | 240929131529 | C |  |  | 13.5 | collision at seq 22
240928 | 0.76912 | H01_T109 | Robot_H01_T109 | 20240928 | 240929131529 | C |  |  | 12.5 | magnets removed, restart at seq 22
240930 | 0.031174 | A3667_T068 | Robot_A3667_T068 | 20240928 | 240929011734 | U |  |  | 9.6 | emerg stop fault at seq 24
240930 | 0.071319 | A3667_T068 | Robot_A3667_T068 | 20240928 | 240929011734 | U |  |  | 10.1 | restart at seq 24
240930 | 0.11648 | A3667_T069 | Robot_A3667_T069 | 20240930 | 241001024309 | C |  |  | 9.7 | Theta positon error fault at seq 16
241001 | ~2:30pm | A3667_T069 | Robot_A3667_T069 | 20241001 |  | C |  |  |  | Continuing on from seq 16 - E-stop triggered twice due to pushdown pins, and a few other times the pushdown pins moved up/down a few times before reaching position.
241001 | 0.83183 | H01_T109 | Robot_H01_T109 | 20240929 | 2410011955.... | U |  |  |  | On run seq 14 I stopped labview because it had put a rect magnet in a holding place and then kept the pushdosn pins down and travelled to the next rect magnet to pick it up and as it moved over it the pins were still down and would have had a sideways force sliding on the rect magnet.
241002 |  | H01_T109 | Robot_H01_T109 | 20240920 |  | U |  |  | 9.6 | After robot repair - restarted from run sew 16. it had trouble puting down the pushdown pins several times then it e-stopped on run seq 32
241002 | 0.96137 | H01_T109 | Robot_H01_T109 | 20240920 |  | U |  |  |  | starting from run seq 34
241002 | about 12:30ish | H03_T36 | Robot_H03_T036 | 20241002 |  | C
241003 | 0.15364 | A3667_T069 | Robot_A3667_T069 | 20241001 | 241003033515 | U
241003 | 0.2062 | A3367_T070 | Robot_A3667_T070 | 20241003 | 241003062346 | C |  |  | 9
241003 | 0.99752 | A3667_T070 | Robot_A3667_T070 | 20241003 | 241003235928 | U |  | 0
241004 | 0.061331 | A3716_T044 | Robot_A3167_T044 | 20241003 | 241004012827 | C |  |  | 11
241004 | 18:17 | H03_T36 | Robot_H03_T036 | 20241002 | 241004181650 | U |  |  | 11.2
241004 | 0.8353 | H03_T049 | Robot_H03_T049 | 20241004 | 241004200512 | C
241006 | 0.059499 | A3716_T044 | Robot_A3716_T044 | 20241003 | 241006012833 | U |  |  | 12.3 | E-stop triggered at runseq=23
241006 |  | A3716_T044 | Robot_A3716_T044 | 20241003 | 241006012833 | U |  |  |  | E-stop triggered again at runseq=24 | Daylight saving started (i.e. the reason for the large gap in timestamps)
241006 |  | A3716_T044 | Robot_A3716_T044 | 20241003 | 241006012833 | U |  |  |  | E-stop triggered again at runseq=34
241006 |  | A3716_T044 | Robot_A3716_T044 | 20241003 | 241006012833 | U |  |  |  | E-stop triggered during testing the 'pushdnpin', after re-starting labview from the earlier E-stop
241006 | 0.17399 | A3716_T044 | Robot_A3716_T044 | 20241003 | 241006012833 | U |  |  |  | E-stop triggered again, during testing the 'pushdnpin', after re-starting from the previous E-stop (this time captured in video)

## Run Summary
Field | Completed? | Intial QC check FWHM < 3" Trans > 0.33 Repeat if both spectrographs fail either of above checks | Comment
A3667_T067 | Y | OK | All dithers done on 28Sep. Fairly poor seeing
H01_T108 | Y | dither G > 3" | done 28 Sep, poor seeing
A3667_T068 | Y | OK | done 30 Sep, good conditions
H01_T109 | Y | OK | done 30 sep, good conditions
A3667_T069 | Y | OK | done 1 Oct, fairly good conditions
A3667_T070 | Y | OK | done 3 Oct, fairly good conditions - in the last two dithers seeing slightly got worse (3"-4")
H03_T036 (actually field H01_T036) | Y | OK | Dither A done 2 Oct, rest done on Oct 4
A3716_T044 | Y | OK | Done Oct 5 - good conditions
H03_T049 (actually field H01_T049) | Y | OK | 27 dithers done on 5-7th Oct

## LOCKED
| Date: |  |  |  |  | Weather:
| Observers: |  |  |  |  | Program: | Hector Survey
Field name & | Run range | Local time |  | Exp. Time | Read |  |  | Guide | Seeing | Offset (arcsec) |  |  | Notes | DR Notes
Robot file name |  |  | Obs. Type | (sec) | Speed | ZD (Airmass) | Rotator (mdeg) | Stars Used | (arcsec) | N-S | E-W | Rel or Abs.
|  | press "cmd+shift+:" to automatically add timestamp | [10 empty] | AAOmega Focus Values: Blue: Focus=, Spectral=, Spatial=, Red: Focus=, Spectral=, Spatial=, Spector Blue=, Spector Red=
Telescope Focus =

## Twilights
Place count values in the shaded area and the exposure times for next frame will be calculated. Make sure to hit enter or tab when entering the last value for the row, for the times to be calculated correctly. Exposure time will aim to trend counts towards 30k, allowing for the fact that AAOmega Blue and Red must have same exposure times. Suggested first run exposure times are for 30 seconds after sunset and 15 minutes before sunrise.
Evening Twilights
Suggested Exposure times | If you don't like suggested times, amend here | AAOmega Blue | AAOmega Red | Spector Blue | Spector Red |  |  |  | Suggested first times | Previous
5/5/4/3 | 5/5/4/3 | 17 | 12 | 18 | 17 |  |  |  | 5/5/5/5 | 5 | 5 | 4 | 3
13/13/10/7 |  | 29 | 22 | 30 | 29 |  |  |  |  | 13 | 13 | 10 | 7
28/28/19/14 |  | 38 | 31 | 34 | 38 |  |  |  |  | 28 | 28 | 19 | 14
50/50/34/24 |  | 35 | 30 | 33 | 37 |  |  |  |  | 50 | 50 | 34 | 24
102/102/69/45 |  | 31 | 25 | 30 | 30 |  |  |  |  | 102 | 102 | 69 | 45
206/206/134/88
Copy data below and paste to relevant sheet, when pasting, right click and use 'Paste special' > 'Values only' or Ctrl+Shift+V
| 19:15 | Offset sky | 5/5/4/3 | Normal/Medium |  |  |  | AAOmega blue=17k red=12k Spec blue=18k red=17k | [5 empty] | exposure time formuals
| 19:17 | Offset sky | 13/13/10/7 | Normal/Medium |  |  | 60E | AAOmega blue=29k red=22k Spec blue=30k red=29k | [5 empty] | AA Blue | AA Red | Spec Blue | Spec Red
| 19:19 | Offset sky | 28/28/19/14 | Normal/Medium |  |  | 60E | AAOmega blue=38k red=31k Spec blue=34k red=38k | [5 empty] | 12.36 | 13.55 | 9.71 | 7.42
| 19:22 | Offset sky | 50/50/34/24 | Normal/Medium |  |  | 60E | AAOmega blue=35k red=30k Spec blue=33k red=37k | [5 empty] | 25.77 | 29.31 | 19.46 | 13.88
| 19:25 | Offset sky | 102/102/69/45 | Normal/Medium |  |  | 60E | AAOmega blue=31k red=25k Spec blue=30k red=30k | [5 empty] | 47.03 | 53.5 | 34.35 | 23.52
|  | Offset sky | 206/206/134/88 | Normal/Medium |  |  |  | AAOmega blue=k red=k Spec blue=k red=k | [5 empty] | 97.636 | 107.041 | 68.882 | 45.166
[14 empty] | 194.89 | 217.64 | 134.29 | 87.58
datetime here
Morning Twilights
Suggested Expoure times | If you don't like suggested times, amend here | AAOmega Blue | AAOmega Red | Spector Blue | Spector Red |  |  |  | Suggested first times | Previous
150/150/120/80 |  | 20 | 17 | 20 | 20 |  |  |  | 150/150/120/80 | 150 | 150 | 120 | 80
77/77/60/40 |  | 27 | 25 | 27 | 32 |  |  |  |  | 77 | 77 | 60 | 40
39/39/30/19 |  | 30 | 28 | 30 | 32 |  |  |  |  | 39 | 39 | 30 | 19
21/21/16/10 |  | 30 | 27 | 30 | 32 |  |  |  |  | 21 | 21 | 16 | 10
11/11/8/5 |  | 25 | 21 | 24 | 26 |  |  |  |  | 11 | 11 | 8 | 5
6/6/5/3 |  | 20 | 18 | 22 | 23
[18 empty] | 2.5 | 3.3
Copy data below and paste to relevant sheet, when pasting, right click and use 'Paste special' > 'Values only' or Ctrl+Shift+V | [17 empty] | 10 | 2.7
|  | Offset sky | 150/150/120/80 | Normal/Medium |  |  |  | AAOmega blue=20k red=17k Spec blue=20k red=20k | [5 empty] | exposure time formulas |  |  |  | 20 | 2.3
|  | Offset sky | 77/77/60/40 | Normal/Medium |  | 60E |  | AAOmega blue=27k red=25k Spec blue=27k red=32k | [5 empty] | AA Blue | AA Red | Spec Blue | Spec Red | 30 | 2
|  | Offset sky | 39/39/30/19 | Normal/Medium |  | 60E |  | AAOmega blue=30k red=28k Spec blue=30k red=32k | [5 empty] | 75.51 | 79.39 | 60.41 | 40.27 | 40 | 1.7
|  | Offset sky | 21/21/16/10 | Normal/Medium |  | 60E |  | AAOmega blue=30k red=27k Spec blue=30k red=32k | [5 empty] | 38.46 | 39.42 | 29.97 | 18.73 | 50 | 1.3
|  | Offset sky | 11/11/8/5 | Normal/Medium |  | 60E |  | AAOmega blue=25k red=21k Spec blue=24k red=26k | [5 empty] | 20.47 | 20.98 | 15.74 | 9.72 | 60 | 1.1
|  | Offset sky | 6/6/5/3 | Normal/Medium |  | 60E |  | AAOmega blue=20k red=18k Spec blue=22k red=23k | [5 empty] | 11.02 | 11.43 | 8.4 | 5.12
[14 empty] | 6.13 | 6.42 | 4.51 | 2.75

## 24092024
| Date: | 24/09/2024 |  |  |  | Weather: | Cloudy
| Observers: | Tom W., Jesse |  |  |  | Program: | Hector Survey
Field name & | Run range | Local time |  | Exp. Time | Read |  |  | Guide | Seeing | Offset (arcsec) |  |  | Notes | DR Notes
Robot file name |  |  | Obs. Type | (sec) | Speed | ZD (Airmass) | Rotator (mdeg) | Stars Used | (arcsec) | N-S | E-W | Rel or Abs.
|  | press "cmd+shift+:" to automatically add timestamp | [10 empty] | AAOmega Focus Values: Blue: Focus=107, Spectral=2935, Spatial=2006, Red: Focus=503, Spectral=2470, Spatial=1076, Spector Blue=2845, Spector Red=2309
Telescope Focus =
Too cloudy for twilights
Tile_A3667_T067
| 1 | 18:48 | Arc | 80/80/80/20 | Normal/Medium | 1 | 1050 | [5 empty] | at zenith, focus check ok
| 2 | 18:54 | Fibre Flat | 60/60/50/25 | Normal/Medium | 1 | 1050 | [5 empty] | at zenith, TLC ok
| 2024-03-12 | 19:12 | Bias | 0 | Normal/Medium | 1 | 1050
| 13-16 | 19:34 | Dark | 1800 | Normal/Medium | 1 | 1050
| 17 - 20 | 21:57 | Dark | 1800 | Normal/Medium | 1 | 1050
| 21 | 23:55 | Dark | 1800 | Normal/Medium | 1 | 1050
cloud not going anywhere
| 22-24 | 1:17 | Dark | 1800 | Normal/Medium | 1 | 1050
| 25 - 32 | 3:18 | Dark | 1800 | Normal/Medium | 1 | 1050
|  | 4:26 | Still solid cloud., no chance of twilights.

## 25092024
| Date: | 25/09/2024 |  |  |  | Weather: | Cloud, rain
| Observers: | Tom W., Jesse |  |  |  | Program: | Hector Survey
Field name & | Run range | Local time |  | Exp. Time | Read |  |  | Guide | Seeing | Offset (arcsec) |  |  | Notes | DR Notes
Robot file name |  |  | Obs. Type | (sec) | Speed | ZD (Airmass) | Rotator (mdeg) | Stars Used | (arcsec) | N-S | E-W | Rel or Abs.
|  | press "cmd+shift+:" to automatically add timestamp | [10 empty] | AAOmega Focus Values: Blue: Focus=109, Spectral=2908, Spatial=2027, Red: Focus=502, Spectral=2412, Spatial=1045, Spector Blue=2849, Spector Red=2314
Telescope Focus =
Full cloud cover
A3667_T067
| 1 | 17:07 | Defocussed flat | 40/40/40/25 | Normal/Medium | [7 empty] | lamp: 75W AAOmega; AAOmega blue=11k red=41k, Spec blue=14k, red=47k
| 2024-02-10 | 17:11 | Defocussed flat x10 | 40/40/40/25 | Normal/Medium | [7 empty] | AAOmega blue=12k, red=42k, Spec blue=14k, red=48k
| 2024-11-20 | 17:38 | Defocussed flat | 38/38/38/18 | Normal/Medium | [7 empty] | AAOmega blue=11k, red=40k, Spec blue=14k, red=35k
| 21-30 | 18:06 | Defocussed flat | 35/35/35/15 | Normal/Medium | [7 empty] | AAOmega blue=10k, red=38k, Spec blue=13k, red=30k
Spectrographs focussed
| 31 | 19:39 | Arc | 80/80/80/20 | Normal/Medium | [7 empty] | at zenith, focus check ok
| 32 | 19:42 | Fibre Flat | 60/60/50/25 | Normal/Medium | [7 empty] | at zenith, TLC ok
Focus test- Spector Blue piston to 3050 then back to 2849, Red to 2450 then back to 2314
| 33 | 19:57 | Arc | 80/80/80/20 | Normal/Medium
Focus test- Spector Blue piston to 2650 then back to 2849, Red to 2150 then back to 2314
| 34 | 20:02 | Arc | 80/80/80/20 | Normal/Medium
Focus test- Spector Blue piston to 3050 then back to 2849, Red to 2450 then back to 2314
| 35 | 20:09 | Arc | 80/80/80/20 | Normal/Medium
Focus test- Spector Blue piston to 2650 then back to 2849, Red to 2150 then back to 2314
| 36 | 20:14 | Arc | 80/80/80/20 | Normal/Medium
Spector refocussed- Blue 2848, Red 2311
| 37-45 | disabled- Spector focus run
| 46 | 20:30 | Arc | 80/80/80/20 | Normal/Medium
Focus test- Spector Blue piston to 3050 then back to 2848, Red to 2450 then back to 2311
| 47 |  | Arc | 80/80/80/20 | Normal/Medium
Focus test- Spector Blue piston to 2650 then back to 2848, Red to 2150 then back to 2311
| 48 | 20:43 | Arc | 80/80/80/20 | Normal/Medium
Spector refocussed- Blue 2848, Red 2312
| 49 | 21:43 | Arc | 80/80/80/20 | Normal/Medium
Flat field test with individual lamps for Electronics team
| 50 | 22:58 | Object | 60/60/50/25 | Halogen | Lamps not on | disabled | [5 empty] | at zenith
| 51 | 23:02 | Object | 60/60/50/25 | Halogen |  | disabled
| 52 | 23:06 | Object | 60/60/50/25 | UVA |  | disabled
| 53 | 23:10 | Object | 60/60/50/25 | Violet |  | disabled
| 54 | 23:13 | Object | 60/60/50/25 | Spare |  | disabled
| 55 | 23:17 | Object | 60/60/50/25 | all on |  | disabled
| 56 |  | Fibre Flat | 60/60/50/25 | Normal/Medium | [7 empty] | At Zenith, screen not in correct postion, disabled
| 57 | 0:02 | Fibre Flat | 60/60/50/25 | Normal/Medium | [7 empty] | ZD=20 deg., north | TLC check OK
| 58 | 0:07 | Fibre Flat | 60/60/50/25 | Normal/Medium | [7 empty] | ZD=40 deg., north | TLC check OK
| 59 | 0:11 | Fibre Flat | 60/60/50/25 | Normal/Medium | [7 empty] | ZD=40 deg., west | TLC check OK
| 60 | 0:16 | Fibre Flat | 60/60/50/25 | Normal/Medium | [7 empty] | ZD=20 deg., west | TLC check OK
| 61 | 0:20 | Fibre Flat | 60/60/50/25 | Normal/Medium | [7 empty] | ZD=20 deg., south | TLC check OK
| 62 | 0:24 | Fibre Flat | 60/60/50/25 | Normal/Medium | [7 empty] | ZD=40 deg., south | TLC check OK
| 63 | 0:28 | Fibre Flat | 60/60/50/25 | Normal/Medium | [7 empty] | ZD=40 deg., East | TLC check OK
| 64 | 0:34 | Fibre Flat | 60/60/50/25 | Normal/Medium | [7 empty] | ZD=20 deg., East | TLC check OK
| 65 | 0:38 | Fibre Flat | 60/60/50/25 | Normal/Medium | [7 empty] | At Zenith | TLC check OK
| 66 | 0:46 | Arc | 180/180/120/30 | Normal/Medium | [7 empty] | longer arc exposure requested by Sree
Raining
| 67-76 | 2:15 | Dark | 1800 | Normal/Medium
|  | 4:26 | cloudy, raining no twilights

## 26092024
| Date: | 26/09/2024 |  |  |  | Weather: | Cloudy, rain
| Observers: | Tom W., Jesse |  |  |  | Program: | Hector Survey
Field name & | Run range | Local time |  | Exp. Time | Read |  |  | Guide | Seeing | Offset (arcsec) |  |  | Notes | DR Notes
Robot file name |  |  | Obs. Type | (sec) | Speed | ZD (Airmass) | Rotator (mdeg) | Stars Used | (arcsec) | N-S | E-W | Rel or Abs.
|  | press "cmd+shift+:" to automatically add timestamp | [10 empty] | AAOmega Focus Values: Blue: Focus=112, Spectral=2911, Spatial=1989, Red: Focus=505, Spectral=2441, Spatial=1159, Spector Blue=2850, Spector Red=2310
Telescope Focus =
A3667_T067
Spectrographs focused
| 1 | 18:30 | Arc | 80/80/80/20 | Normal/Medium | [7 empty] | at zenith, focus check ok
| 2 | 18:34 | Fibre Flat | 60/60/50/25 | Normal/Medium | [7 empty] | at zenith, TLC ok
Focus test- Spector Blue piston to 2650 then back to 2850, Red to 2150 then back to 2310
| 3 | 18:52 | Arc | 80/80/80/20 | Normal/Medium
Focus test- Both Spector pistons -4 steps
| 4 | 18:57 | Arc | 80/80/80/20 | Normal/Medium
Focus test- Both Spector pistons -4 steps
| 5 | 19:02 | Arc | 80/80/80/20 | Normal/Medium
Focus test- Both Spector pistons -4 steps
| 6 | 19:06 | Arc | 80/80/80/20 | Normal/Medium
Focus test- Both Spector pistons -4 steps
| 7 | 19:10 | Arc | 80/80/80/20 | Normal/Medium
Focus test- Both Spector pistons -4 steps
| 8 | 19:13 | Arc | 80/80/80/20 | Normal/Medium
Focus test- Both Spector pistons +4 steps
| 9 | 19:18 | Arc | 80/80/80/20 | Normal/Medium
Focus test- Both Spector pistons +4 steps
| 10 | 19:26 | Arc | 80/80/80/20 | Normal/Medium
Focus test- Both Spector pistons +4 steps
| 11 | 19:29 | Arc | 80/80/80/20 | Normal/Medium
Focus test- Both Spector pistons +4 steps
| 12 | 19:33 | Arc | 80/80/80/20 | Normal/Medium
Focus test- Both Spector pistons +4 steps
| 13 | 19:37 | Arc | 80/80/80/20 | Normal/Medium
Focus test- Both Spector pistons +4 steps
| 14 | 19:42 | Arc | 80/80/80/20 | Normal/Medium
Focus test- Both Spector pistons +4 steps
| 15 | 19:46 | Arc | 80/80/80/20 | Normal/Medium
Focus test- Both Spector pistons +4 steps
| 16 | 19:49 | Arc | 80/80/80/20 | Normal/Medium
Focus test- Both Spector pistons +4 steps
| 17 | 19:53 | Arc | 80/80/80/20 | Normal/Medium
Focus test- Both Spector pistons +4 steps
| 18 | 19:56 | Arc | 80/80/80/20 | Normal/Medium
Focus test- Both Spector pistons -4 steps
| 19 | 20:00 | Arc | 80/80/80/20 | Normal/Medium
Focus test- Both Spector pistons -4 steps
| 20 | 20:04 | Arc | 80/80/80/20 | Normal/Medium
Focus test- Both Spector pistons -4 steps
| 21 | 20:08 | Arc | 80/80/80/20 | Normal/Medium
Focus test- Both Spector pistons -4 steps
| 22 | 20:11 | Arc | 80/80/80/20 | Normal/Medium
Focus test- Both Spector pistons -4 steps, have retutned to original values
| 23 | 20:15 | Arc | 80/80/80/20 | Normal/Medium
Focus test- Spector Red to 2280
| 24 | 21:45 | Arc | 80/80/80/20 | Normal/Medium
Spector refocused- Blue 2851, Red 2309
| 25 | 23:26 | Arc | 800/800/800/800 | Normal/Medium | Requested by Scott | [6 empty] | disabled
| 26 | 23:44 | Arc- FeAr only | 800/800 | Normal/Medium | CCD1 and 3 only | [6 empty] | disabled
| 27 | 0:10 | Arc- CuAr only | 800/800 | Normal/Medium | CCD1 and 3 only | [6 empty] | disabled
| 28 | 0:30 | Arc- CuHe only | 800/800 | Normal/Medium | CCD1 and 3 only | [6 empty] | disabled
| 29 | 0:49 | Fibre Flat | 60/60/50/25 | Normal/Medium
Dome still closed, cloud, rain, humidity
| 30-49 | 2:47 | Bias | 0 | Normal/Medium
| 50-56 | 3:54 | Dark | 1800 | Normal/Medium
|  | 4:10 | The ticking of the rain alrm relay is getting quite tiresome!

## 27092024
| Date: | 27/09/2024 |  |  |  | Weather: | Cloudy, cleared somewhat later but horrible seeing
| Observers: | Tom W., Jesse |  |  |  | Program: | Hector Survey
Field name & | Run range | Local time |  | Exp. Time | Read |  |  | Guide | Seeing | Offset (arcsec) |  |  | Notes | DR Notes
Robot file name |  |  | Obs. Type | (sec) | Speed | ZD (Airmass) | Rotator (mdeg) | Stars Used | (arcsec) | N-S | E-W | Rel or Abs.
|  | press "cmd+shift+:" to automatically add timestamp | [10 empty] | AAOmega Focus Values: Blue: Focus=113, Spectral=2927, Spatial=1992, Red: Focus=507, Spectral=2415, Spatial=1156, Spector Blue=2848, Spector Red=2309
Telescope Focus = 39.3
A3667_T067
Spectrographs focussed
| 1 | 18:30 | Arc | 80/80/80/20 | Normal/Medium | [7 empty] | at zenith, focus check ok
| 2 | 18:34 | Fibre Flat | 60/60/50/25 | Normal/Medium | [7 empty] | at zenith, TLC ok
Focus test- Spector Blue piston to 2650 then back to 2824, Red to 2100 then back to 2285
| 3 | 18:48 | Arc | 80/80/80/20 | Normal/Medium
Focus test- Both Spector pistons +4 steps
| 4 | 18:52 | Arc | 80/80/80/20 | Normal/Medium
Focus test- Both Spector pistons +4 steps
| 5 | 18:57 | Arc | 80/80/80/20 | Normal/Medium
Focus test- Both Spector pistons +4 steps
| 6 | 19:16 | Arc | 80/80/80/20 | Normal/Medium
Focus test- Both Spector pistons +4 steps
| 7 | 19:20 | Arc | 80/80/80/20 | Normal/Medium
Focus test- Both Spector pistons +4 steps
| 8 | 19:24 | Arc | 80/80/80/20 | Normal/Medium | [7 empty] | CCD 3 + 4 only
Focus test- Both Spector pistons +4 steps - back at nominal focus
| 9 | 19:26 | Arc | 80/80/80/20 | Normal/Medium | [7 empty] | CCD 3 + 4 only
Focus test- Both Spector pistons +4 steps
| 10 | 19:31 | Arc | 80/80/80/20 | Normal/Medium | [7 empty] | CCD 3 + 4 only
Focus test- Both Spector pistons +8 steps
| 11 | 19:34 | Arc | 80/80/80/20 | Normal/Medium | [7 empty] | CCD 3 + 4 only
Focus test- Both Spector pistons +8 steps
| 12 | 19:37 | Arc | 80/80/80/20 | Normal/Medium | [7 empty] | CCD 3 + 4 only
Focus test- Both Spector pistons +4 steps - at right end
| 13 | 19:41 | Arc | 80/80/80/20 | Normal/Medium | [7 empty] | CCD 3 + 4 only
Focus test- Spector Blue piston back to 2848, Red back to 2309
| 14 | 19:45 | Arc | 80/80/80/20 | Normal/Medium | [7 empty] | CCD 3 + 4 only
Focus test- Spector Blue piston to 2650 , Red to 2100
| 15 | 19:53 | Arc | 80/80/80/20 | Normal/Medium
Spectrograph back to nominal focus
| 16 | 21:25 | Arc | 80/80/80/20 | Normal/Medium
|  | 21:26 | Dome open - yay!!, too cloudy to guide yet
|  | 22:12 | SNAFU
H01_T108 | 17 | 0:29 | Arc | 80/80/80/20 | Normal/Medium | 1 | 1050 | [5 empty] | Disable - Dome Light on
| 18 | 0:36 | Arc | 80/80/80/20 | Normal/Medium | 1 | 1050 | [5 empty] | at zenith, focus check ok
| 19 | 0:41 | Fibre Flat | 60/60/50/25 | Normal/Medium | 1 | 1050 | [5 empty] | at zenith, TLC ok
|  | 1:05 | A bit cloudy, high humidity
| 20 | 1:40 | Acquisition | 1800 | Normal/Medium | 10.2(1.02) | 1035 | G1-G6 | 4.5 - 6.5" |  |  |  | wasn't worth doing acquistion in this seeing, rotation set off guide plot, telescope focus a guess.
| 21 | 1:53 | Object | 1800 | Normal/Medium |  | 1035 | G1-G6 | 4.5 - 6.5" |  |  |  | Dither A, mirror 2.5 degrees warmer than dome temp
| 22 | 2:24 | Object | 1800 | Normal/Medium | 21.4(1.07) | 1035 | G1-G6 | 4.5 - 6.5" |  |  |  | Dither B
closing dome 95% humidity
|  | 4:20 | high cloud increasing, high humidity, no twilights

## 28092024
| Date: | 28/09/2024 |  |  |  | Weather: | Some cloud patches, mostly clear but poor seeing for most of night
| Observers: | Tom W., Jesse |  |  |  | Program: | Hector Survey
Field name & | Run range | Local time |  | Exp. Time | Read |  |  | Guide | Seeing | Offset (arcsec) |  |  | Notes | DR Notes
Robot file name |  |  | Obs. Type | (sec) | Speed | ZD (Airmass) | Rotator (mdeg) | Stars Used | (arcsec) | N-S | E-W | Rel or Abs.
|  | press "cmd+shift+:" to automatically add timestamp | [10 empty] | AAOmega Focus Values: Blue: Focus=116, Spectral=2926, Spatial=2005, Red: Focus=510, Spectral=2417 Spatial=1156, Spector Blue=2843, Spector Red=2309
Telescope Focus = 39.1
A3667_T067
Spectrographs focussed
| 1 | 18:09 | Offset sky | 8/8/7/5 | Normal/Medium | [7 empty] | AAOmega blue=17k red=10k Spec blue=20k red=15k
| 2 | 18:11 | Offset sky | 21/21/16/13 | Normal/Medium | [6 empty] | 60E | AAOmega blue=30k red=20k Spec blue=35k red=30k
| 3 | 18:14 | Offset sky | 45/45/28/25 | Normal/Medium | [6 empty] | 60N | AAOmega blue=40k red=20k Spec blue=30k red=30k
| 4 | 18:17 | Offset sky | 89/89/54/49 | Normal/Medium | [6 empty] | 60E | AAOmega blue=35k red=17k Spec blue=30k red=25k
| 5 | 18:21 | Offset sky | 208/208/116/115 | Normal/Medium | [6 empty] | 60N, | AAOmega blue=35k red=15k Spec blue=25k red=20k, cloud affected, disabled
| 6 | 18:47 | Arc | 80/80/80/20 | Normal/Medium | [7 empty] | at field postion, focus ok
| 7 | 18:51 | Fibre Flat | 60/60/50/25 | Normal/Medium | [7 empty] | at field postion, TLC check ok
| 8 | 19:04 | Acquisition | 300 | Normal/Medium |  | 1050 | G1-G6
| 9 | 19:16 | Object | 1800 | Normal/Medium | 25.4(1.11) | 1040 | G1-G6 | 2 - 3" |  |  |  | Dither A
| 10 | 19:50 | Object | 1800 | Normal/Medium | 24.9(1.10) | 1040 | G1-G6 | 2 - 2.5" |  |  |  | Dither B
| 11 | 20:20 | Object | 1800 | Normal/Medium | 25.7(1.11) | 1040 | G1-G6 | 2.5 - 3.5" |  |  |  | Dither C
| 12 | 20:53 | Object | 1800 | Normal/Medium | 27.7(1.13) | 1040 | G1-G6 | 2.5 - 3.5" |  |  |  | Dither D
| 13 | 21:25 | Arc | 80/80/80/20 | Normal/Medium
| 14 | 21:29 | Fibre Flat | 60/60/50/25 | Normal/Medium
| 15 | 21:31 | Object | 1800 | Normal/Medium | 30.9(1.16) | 1040 | G1-G6 | 2.5 - 4.0" |  |  |  | Dither E
| 16 | 22:02 | Object | 1800 | Normal/Medium | 34.1(1.21) | 1040 | G1-G6 | 2.5 - 4.5" |  |  |  | Dither F
| 17 | 0:24 | Object | 1800 | Normal/Medium | 39.0(1.29) | 1040 | G1-G6 | 3.5 - 5" |  |  |  | Dither G
| 18 | 23:11 | Object | 30 | Normal/Medium |  | 1040 | [5 empty] | Standard LTT9491 AAOmega Bundle E
| 19 | 23:16 | Object | 300 | Normal/Medium |  | 1040 | [5 empty] | Standard LTT9491 AAOmega Bundle E
| 20 | 23:23 | Object | 300 | Normal/Medium |  | 1040 |  |  | 1.5N |  |  | Standard LTT9491 AAOmega Bundle E
| 21 | 23:30 | Object | 300 | Normal/Medium |  | 1060 |  |  |  | 1.5W |  | Standard LTT9491 AAOmega Bundle E
H01_T108
| 22 | 0:20 | Arc | 80/80/80/20 | Normal/Medium | [7 empty] | at field postion, focus ok
| 23 | 0:24 | Fibre Flat | 60/60/50/25 | Normal/Medium | [7 empty] | at field postion, TLC check ok
| 24 | 0:31 | Acquisition | 300 | Normal/Medium | 4.0(1.00) | 1050 | G1-G2, G4-G6 | 2.5 - 3" |  |  |  | No guide star in 3, was there last night. Might be magnet not sitting properly, decided not to check so we can get all dithers in
| 25 | 0:38 | Object | 1800 | Normal/Medium | 1.5(1.00) | 1050 | G1-G2, G4-G6 | 2.5 - 3.5" |  |  |  | Dither A
| 26 | 1:12 | Object | 1800 | Normal/Medium | 4.8(1.00) | 1040 | G1-G2, G4-G6 | 3 -4.5" |  |  |  | Dither B
| 27 | 1:44 | Object | 1800 | Normal/Medium | 11.7(1.02) | 1040 | G1-G2, G4-G6 | 3 -4.5" |  |  |  | Dither C
| 28 | 2:15 | Object | 1800 | Normal/Medium | 18.0(1.05) | 1060 | G1-G2, G4-G6 | 2 - 3" |  |  |  | Dither D
| 29 | 2:50 | Object | 1800 | Normal/Medium | 25.4(1.11) | 1060 | G1-G2, G4-G6 | 2.5 -4.5" |  |  |  | Dither E
| 30 | 3:21 | Object | 1800 | Normal/Medium | 32.1(1.18) | 1060 | G1-G2, G4-G6 | 2.5 -5.5" |  |  |  | Dither F
| 31 | 3:54 | Object | 1800 | Normal/Medium | 39.0(1.29) | 1060 | G1-G2, G4-G6 | 3.5 -6.5" |  |  |  | Dither G
| 32 | 4:26 | Object | 30 | Normal/Medium | 15.9(1.04) | 1060 | [5 empty] | Standard LTT1788 Spector Bundle O- on edge, disabled
| 33 | 4:31 | Object | 240 | Normal/Medium |  | 1060 |  |  | 2.5S | 2.5W |  | Standard LTT1788 Spector Bundle O- on edge, disabled
| 34 | 4:40 | Object | 240 | Normal/Medium |  | 1060 |  |  |  | 5E |  | Standard LTT1788 Spector Bundle O- on edge, disabled
| 35 | 4:46 | Object | 240 | Normal/Medium |  | 1060 |  |  | 1.5S | 1.5E |  | Standard LTT1788 Spector Bundle O
| 36 | 4:53 | Object | 240 | Normal/Medium |  | 1060 |  |  | 1.5S | 1.5E |  | Standard LTT1788 Spector Bundle O
| 37 | 5:02 | Arc | 80/80/80/20 | Normal/Medium | [7 empty] | at field postion, focus ok
| 38 | 5:06 | Fibre Flat | 60/60/50/25 | Normal/Medium | [7 empty] | at field postion, TLC check ok
|  | 5:10 | High cloud, no twilights

## 29092024
| Date: | 29/09/2024 |  |  |  | Weather: | Cloudy
| Observers: | Tom W., Jesse |  |  |  | Program: | Hector Survey
Field name & | Run range | Local time |  | Exp. Time | Read |  |  | Guide | Seeing | Offset (arcsec) |  |  | Notes | DR Notes
Robot file name |  |  | Obs. Type | (sec) | Speed | ZD (Airmass) | Rotator (mdeg) | Stars Used | (arcsec) | N-S | E-W | Rel or Abs.
|  | press "cmd+shift+:" to automatically add timestamp | [10 empty] | AAOmega Focus Values: Blue: Focus=118, Spectral=2862, Spatial=2003, Red: Focus=509, Spectral=2431, Spatial=1122, Spector Blue=2837, Spector Red=2309
Telescope Focus =
H01_T109 |  |  | Full cloud cover
| 1 | 21:03 | Arc | 80/80/80/20 | Normal/Medium | [7 empty] | at zenith, focus check ok
| 2 | 21:08 | Fibre Flat | 60/60/50/25 | Normal/Medium | [7 empty] | at zenith, TLC ok
|  | 2:38 | not even a glimpse of stars
Dome flats for Sree
| 3 | 2:46 | Fibre Flat | 60/60/50/25 | Normal/Medium | [7 empty] | ZD=20 deg., north
| 4 | 2:49 | Fibre Flat | 60/60/50/25 | Normal/Medium | [7 empty] | ZD=40 deg., north
| 5 | 2:53 | Fibre Flat | 60/60/50/25 | Normal/Medium | [7 empty] | ZD=40 deg., west
| 6 | 2:57 | Fibre Flat | 60/60/50/25 | Normal/Medium | [7 empty] | ZD=20 deg., west
| 7 | 3:01 | Fibre Flat | 60/60/50/25 | Normal/Medium | [7 empty] | ZD=20 deg., south
| 8 | 3:04 | Fibre Flat | 60/60/50/25 | Normal/Medium | [7 empty] | ZD=40 deg., south
| 9 | 3:08 | Fibre Flat | 60/60/50/25 | Normal/Medium | [7 empty] | ZD=40 deg., East
| 10 | 3:12 | Fibre Flat | 60/60/50/25 | Normal/Medium | [7 empty] | ZD=20 deg., East
| 11 | 3:21 | Fibre Flat | 60/60/50/25 | Normal/Medium | [7 empty] | at zenith, TLC ok
|  | 4:23 | still cloud, no twilights.

## 30092024
| Date: | 30/09/2024 |  |  |  | Weather: | Clear
| Observers: | Tom W., Jesse |  |  |  | Program: | Hector Survey
Field name & | Run range | Local time |  | Exp. Time | Read |  |  | Guide | Seeing | Offset (arcsec) |  |  | Notes | DR Notes
Robot file name |  |  | Obs. Type | (sec) | Speed | ZD (Airmass) | Rotator (mdeg) | Stars Used | (arcsec) | N-S | E-W | Rel or Abs.
|  | press "cmd+shift+:" to automatically add timestamp | [10 empty] | AAOmega Focus Values: Blue: Focus=117, Spectral=2945, Spatial=1995, Red: Focus=510, Spectral=2461.9, Spatial=1107.1, Spector Blue=2838, Spector Red=2310
Telescope Focus = 39.12
A3667_T068
| 1 | 17:24 | Arc | 80/80/80/20 | Normal/Medium | [7 empty] | at zenith, focus check ok, disabled light on in dome
| 2 | 17:28 | Fibre Flat | 60/60/50/25 | Normal/Medium | [7 empty] | at zenith, TLC ok, disabled light on
| 3 | 17:45 | Fibre Flat | 60/60/50/25 | Normal/Medium
| 4 | 17:50 | Arc | 80/80/80/20 | Normal/Medium
| 5 | 18:10 | Offset sky | 5/5/4/3 | Normal/Medium | [7 empty] | AAOmega blue=13k red=15k Spec blue=17k red=22k
| 6 | 18:12 | Offset sky | 13/13/10/7 | Normal/Medium | [6 empty] | 60E | AAOmega blue=29k red=25k Spec blue=30k red=35k
| 7 | 18:15 | Offset sky | 27/27/19/12 | Normal/Medium | [6 empty] | 60E | AAOmega blue=35k red=32k Spec blue=32k red=40k
| 8 | 18:17 | Offset sky | 49/49/36/19 | Normal/Medium | [6 empty] | 60E | AAOmega blue=32k red=32k Spec blue=35k red=30k
| 9 | 18:21 | Offset sky | 101/101/70/41 | Normal/Medium | [6 empty] | 60E | AAOmega blue=28k red=26k Spec blue=25k red=32k
| 10 | 19:01 | Acquisition | 300 | Normal/Medium |  | 1050 | G1-G6 | 1.8"
| 11 | 19:12 | Object | 1800 | Normal/Medium |  | 1050 | G1-G6 | 1.8" |  |  |  | Dither A, guiding failed, disabled.
| 12 | 19:45 | Object | 1800 | Normal/Medium | 25.1(1.10) | 1050 | G1-G6 | 1.8" |  |  |  | Dither B
| 13 | 20:25 | Object | 1800 | Normal/Medium | 26.7(1.12) | 1050 | G1-G6 | 2 - 3" |  |  |  | Dither C
| 14 | 20:48 | Object | 1800 | Normal/Medium | 28.9(1.14) | 1050 | G1-G6 | 2 - 2.5" |  |  |  | Dither D
| 15 | 21:21 | Arc | 80/80/80/20 | Normal/Medium
| 16 | 21:23 | Fibre Flat | 60/60/50/25 | Normal/Medium
| 17 | 21:38 | Object | 1800 | Normal/Medium | 33.3(1.20) | 1050 | G1-G6 | 2 - 3" |  |  |  | Dither E
| 18 | 22:15 | Object | 1800 | Normal/Medium | 37.8(1.26) | 1050 | G1-G6 | 2 - 3.5" |  |  |  | Dither F
| 19 | 22:48 | Object | 1800 | Normal/Medium | 40.0(1.30) | 1050 | G1-G6 | 2 - 3" |  |  |  | Dither G
| 20 | 23:05 | Object | 1800 | Normal/Medium | 44.4(1.40) | 1050 | G1-G6 | 2 -3" |  |  |  | Dither A
H01_T109 | 21 | 0:31 | Arc | 80/80/80/20 | Normal/Medium | 4.46(1.0) | 1050 | [5 empty] | at field postion, focus ok
| 22 | 0:37 | Fibre Flat | 60/60/50/25 | Normal/Medium | [7 empty] | at field postion, TLC check ok
| 23 | 0:40 | Acquisition | 300 | Normal/Medium |  | 1050 | G1-G6 | 2-3"
| 24 | 0:47 | Object | 1800 | Normal/Medium | 7.85(1.01) | 1050 | G1-G6 | 2-3" |  |  |  | Dither A
| 25 | 1:21 | Object | 1800 | Normal/Medium | 15.0(1.04) | 1050 | G1-G6 | 2.5" |  |  |  | Dither B
| 26 | 1:52 | Object | 1800 | Normal/Medium | 21.9(1.08) | 1050 | G1-G6 | 2.2" |  |  |  | Dither C
| 27 | 2:23 | Object | 1800 | Normal/Medium |  | 1050 | G1-G6 |  |  |  |  | Dither D
| 28 | 2:56 | Object | 1800 | Normal/Medium | 40.8(1.32) | 1050 | G1-G6 | 2.3" |  |  |  | Dither E
| 29 | 3:30 | Object | 1800 | Normal/Medium | 42.2(1.35) | 1050 | G1-G6 | 2.0" |  |  |  | Dither F
| 30 | 4:00 | Object | 1800 | Normal/Medium |  | 1050 | G1-G6 | 2.0" |  |  |  | Dither G
| 31 | 4:33 | Object | 30 | Normal/Medium |  | 1060 | [5 empty] | Standard LTT1788 AAOmega Bundle G
| 32 | 4:37 | Object | 240 | Normal/Medium |  | 1060 | [5 empty] | Standard LTT1788 AAOmega Bundle G
| 33 | 4:43 | Object | 240 | Normal/Medium |  | 1060 |  |  |  | 1.5W |  | Standard LTT1788 AAOmega Bundle G- went wrong way but just in bundle.
| 34 | 4:50 | Object | 240 | Normal/Medium |  | 1060 |  |  |  | 3E |  | Standard LTT1788 AAOmega Bundle G
| 35 | 5:17 | Offset sky | 150/150/120/80 | Normal/Medium | [7 empty] | AAOmega blue=32k red=27k Spec blue=31k red=32k
| 36 | 5:27 | Offset sky | 63/63/49/32 | Normal/Medium | [5 empty] | 60E |  | AAOmega blue=37k red=33k Spec blue=35k red=41k
| 37 | 5:31 | Offset sky | 28/28/22/13 | Normal/Medium | [5 empty] | 60E |  | AAOmega blue=35k red=31k Spec blue=35k red=36k
| 38 | 5:34 | Offset sky | 14/14/11/6 | Normal/Medium | [5 empty] | 60E |  | AAOmega blue=31k red=25k Spec blue=30k red=28k
| 39 | 5:41 | Arc | 80/80/80/20 | Normal/Medium | [7 empty] | at end of dithers field postion
| 40 | 5:44 | Fibre Flat | 60/60/50/25 | Normal/Medium | [7 empty] | at end of dithers field postion

## 01102024
| Date: | 2024-01-10 |  |  |  | Weather: | Clear
| Observers: | Oguzhan, Sree, Madusha, Julia, Sarah (in shifts) |  |  |  | Program: | Hector Survey
Field name & | Run range | Local time |  | Exp. Time | Read |  |  | Guide | Seeing | Offset (arcsec) |  |  | Notes | DR Notes
Robot file name |  |  | Obs. Type | (sec) | Speed | ZD (Airmass) | Rotator (mdeg) | Stars Used | (arcsec) | N-S | E-W | Rel or Abs.
|  | press "cmd+shift+:" to automatically add timestamp | [10 empty] | AAOmega Focus Values: Blue: Focus=119, Spectral=2882, Spatial=2004, Red: Focus=510, Spectral=2367, Spatial=1058, Spector Blue=2842, Spector Red=2308
A3667_T069 | [12 empty] | Telescope Focus = 39.14
| 41 | 18:00 | Arc | 80/80/80/20 | Normal/Medium | [7 empty] | zenith
| 42 | 18:04 | Fibre Flat | 60/60/50/25 | Normal/Medium
| 43 | 18:10 | Offset sky | 5/5/4/3 | Normal/Medium | [7 empty] | AAOmega blue=15k red=15k Spec blue=15k red=19k |  | exposure time formuals
| 44 | 18:12 | Offset sky | 13/13/10/7 | Normal/Medium | [7 empty] | AAOmega blue=25k red=20k Spec blue=27k red=30k |  | AA Blue | AA Red | Spec Blue | Spec Red
| 45 | 18:15 | Offset sky | 29/29/21/14 | Normal/Medium | [6 empty] | 60E | AAOmega blue=24k red=22k Spec blue=34k red=40k |  | 12.82 | 12.82 | 10.26 | 7.15
| 46 | 18:17 | Offset sky | 64/64/38/23 | Normal/Medium | [6 empty] | 60E | AAOmega blue=40k red=33k Spec blue=34k red=35k |  | 27.74 | 30.41 | 20.57 | 13.62
| 47 | 18:21 | Offset sky | 122/122/76/45 | Normal/Medium | [6 empty] | 60E | AAOmega blue=30k red=22k Spec blue=28k red=25k |  | 63.03 | 65.39 | 37.97 | 22.67
| 48 | 18:41 | Arc | 80/80/80/20 | Normal/Medium | [7 empty] | at the field
| 49 | 18:46 | Fibre Flat | 60/60/50/25 | Normal/Medium
| 50 | 19:30 | Acquisition | 300 | Normal/Medium |  | 1070 | G1-G6 | 2"
| 51 | 19:46 | Object | 1800 | Normal/Medium |  | 1070 | G1-G6 | ~2" |  |  |  | Dither A
| 52 | 20:18 | Object | 1800 | Normal/Medium |  | 1070 | G1-G6 | ~2" |  |  |  | Dither B
| 53 | 20:50 | Object | 1800 | Normal/Medium |  | 1070 | G1-G6 | ~2" |  |  |  | Dither C
| 54 | 21:22 | Object | 1800 | Normal/Medium |  | 1070 | G1-G6 | ~2" |  |  |  | Dither D
| 55 |  | Arc | 80/80/80/20 | Normal/Medium
| 56 |  | Fibre Flat | 60/60/50/25 | Normal/Medium | [7 empty] | it looks like a flap flat, not dome
| 57 | 22:01 | Object | 1800 | Normal/Medium |  | 1070 | G1-G6 | 2"-2.5" |  |  |  | Dither E
| 58 | 22:33 | Object | 1800 | Normal/Medium |  | 1070 | G1-G6 | 2"-3" |  |  |  | Dither F
| 59 | 23:06 | Object | 1800 | Normal/Medium |  | 1070 | G1-G6 | 2.5"-3.5" |  |  |  | Dither G
| 60 | 23:40 | Fibre Flat | 60/60/50/25 | Normal/Medium
| 61 | 0:02 | Arc | 80/80/80/20 | Normal/Medium
| 62 | 0:06 | Object | 1800 | Normal/Medium | 53.3 (1.67) | 1070 | G1-G6 | 2.5"-4" |  |  |  | Dither A | We took a separate object frame, not with the script
| 63 | 0:39 | Object | 1800 | Normal/Medium | 57.5 (1.86) | 1070 | G1-G6 | 2.5"-4" | 0.4N | 0.6W |  | Dither B | We offsetted manually. Tomorrow we will start the script from Dither C
| 64 | 1:19 | Acquisition | 300 | Normal/Medium | 20.0 (1.06) | [6 empty] | Blank sky - Sree's request for sky subtraction check
| 65 | 1:27 | Object-blank sky | 1800 | Normal/Medium | 18.7 (1.06) | [6 empty] | Blank sky - Sree's request for sky subtraction check
| 66 | 2:05 | Acquisition | 30 | Normal/Medium | 15.3 (1.04) | 1070 | [5 empty] | LTT1788 - Spector U
| 67 | 2:10 | Object | 240 | Normal/Medium | 14.3 (1.03) | 1070 |  |  |  | 3E |  | LTT1788 - Spector U
| 68 | 2:16 | Object | 240 | Normal/Medium | 13.3 (1.03) | 1070 |  |  | 1.6S |  |  | LTT1788 - Spector U
| 69 | 2:23 | Object | 240 | Normal/Medium | 12.3 (1.02) | 1070 |  |  | 1.6S |  |  | LTT1788 - Spector U
| 70 | 2:31 | Acquisition | 30 | Normal/Medium | 11.2 (1.02) | 1070 | [5 empty] | LTT1788 - AAOmega C
| 71 | 2:37 | Object | 240 | Normal/Medium | 10.5 (1.02) | 1070 |  |  | 1.6N | 1.6E |  | LTT1788 - AAOmega C
| 72 | 2:43 | Object | 240 | Normal/Medium | 9.8 (1.01) | 1070 |  |  | 1.6N | 1.6E |  | LTT1788 - AAOmega C
| 73 | 2:49 | Object | 240 | Normal/Medium | 9.1 (1.01) | 1070 |  |  | 1.6N | 1.6E |  | LTT1788 - AAOmega C
| 74 | 3:00 | Arc - HeI only | 800/800/80/20 | Normal/Medium |  | 1070
| 75 | 3:19 | Arc | 80/80/80/20 | Normal/Medium |  | 1070 | [5 empty] | at the position of LTT1788
| 76 | 3:24 | Fibre Flat | 60/60/50/25 | Normal/Medium |  | 1070 | [5 empty] | at the position of LTT1788
| 77 | 3:27 | Acquisition | 30 | Normal/Medium | 8.5 (1.01) | 1070 | [5 empty] | LTT1788 - AAOmega H
| 78 | 3:35 | Object | 240 | Normal/Medium |  | 1070 |  |  | 1.6N |  |  | LTT1788 - AAOmega H
| 79 | 3:42 | Object | 240 | Normal/Medium |  | 1070 |  |  | 1.6N |  |  | LTT1788 - AAOmega H
| 80 | 3:48 | Object | 240 | Normal/Medium |  | 1070 |  |  |  | 1.6W |  | LTT1788 - AAOmega H
| 81 | 3:55 | Acquisition | 30 | Normal/Medium | 12.8 (1.03) | 1070 | [5 empty] | LTT1788 - Spector R | disabled
| 82 | 4:00 | Acquisition | 30 | Normal/Medium |  | 1070 | [5 empty] | LTT1788 - Spector P | disabled
| 83 | 4:05 | Acquisition | 30 | Normal/Medium |  | 1070 | [5 empty] | LTT1788 - Spector P
| 84 | 4:10 | Object | 240 | Normal/Medium |  | 1070 |  |  | 3N | 3E |  | LTT1788 - Spector P
| 85 | 4:17 | Object | 240 | Normal/Medium |  | 1070 |  |  | 1.6N | 1.6E |  | LTT1788 - Spector P
| 86 | 4:23 | Object | 240 | Normal/Medium |  | 1070 |  |  | 1.6N |  |  | LTT1788 - Spector P
Dome flats for Sree
| 87 | 4:40 | Fibre Flat | 60/60/50/25 | Normal/Medium |  | 1070 | [5 empty] | ZD=20 deg., north
| 88 | 4:44 | Fibre Flat | 60/60/50/25 | Normal/Medium |  | 1070 | [5 empty] | ZD=40 deg., north
| 89 | 4:51 | Fibre Flat | 60/60/50/25 | Normal/Medium |  | 1070 | [5 empty] | ZD=40 deg., west
| 90 | 4:55 | Fibre Flat | 60/60/50/25 | Normal/Medium |  | 1070 | [5 empty] | ZD=20 deg., west
| 91 | 4:59 | Fibre Flat | 60/60/50/25 | Normal/Medium |  | 1070 | [5 empty] | ZD=20 deg., south
| 92 | 5:03 | Fibre Flat | 60/60/50/25 | Normal/Medium |  | 1070 | [5 empty] | ZD=40 deg., south
| 93 | 5:07 | Fibre Flat | 60/60/50/25 | Normal/Medium |  | 1070 | [5 empty] | ZD=40 deg., East
| 94 | 5:12 | Fibre Flat | 60/60/50/25 | Normal/Medium |  | 1070 | [5 empty] | ZD=20 deg., East
| 95 | 5:17 | Fibre Flat | 60/60/50/25 | Normal/Medium |  | 1070 | [5 empty] | at zenith, TLC ok

## 02102024
| Date: | 2024-02-10 |  |  |  | Weather: | patchy clouds around
| Observers: | Oguzhan, Sree, Madusha, Julia, Sarah (in shifts) |  |  |  | Program: | Hector Survey
Field name & | Run range | Local time |  | Exp. Time | Read |  |  | Guide | Seeing | Offset (arcsec) |  |  | Notes | DR Notes
Robot file name |  |  | Obs. Type | (sec) | Speed | ZD (Airmass) | Rotator (mdeg) | Stars Used | (arcsec) | N-S | E-W | Rel or Abs.
|  | press "cmd+shift+:" to automatically add timestamp | [10 empty] | AAOmega Focus Values: Blue: Focus=118, Spectral=2910, Spatial=1995, Red: Focus=512, Spectral=2340, Spatial=1097, Spector Blue=2843, Spector Red=2307
A3667_T069 | 1 |  | Bias | 0 | Normal/Medium | [7 empty] | Telescope Focus = 39.2
| 2 | 0:11 | Acquisition | 30 | Normal/Medium | 25.3 (1.11) | 1070 | [5 empty] | LTT9491 - Spector N
| 3 | 0:15 | Fibre Flat | 60/60/50/25 | Normal/Medium |  | 1070 | [5 empty] | at the position of LTT9491
| 4 | 0:19 | Arc | 80/80/80/20 | Normal/Medium |  | 1070 | [5 empty] | at the position of LTT9491
| 5 | 0:24 | Object | 240 | Normal/Medium | 27.9 (1.13) | 1070 |  |  | 3N | 3W |  | LTT9491 - Spector N
| 6 | 0:32 | Object | 240 | Normal/Medium |  | 1070 |  |  | 1.6N | 1.6W |  | LTT9491 - Spector N
| 7 | 0:39 | Object | 240 | Normal/Medium | 29.5 (1.15) | 1070 |  |  | 1.6S | 1.6W |  | LTT9491 - Spector N
| 8 | 0:45 | Acquisition | 30 | Normal/Medium | 31.8 (1.18) | 1070 | [5 empty] | LTT9491 - AAOmega F
| 9 | 0:51 | Object | 240 | Normal/Medium | 33.0 (1.19) | 1070 |  |  | 3S |  |  | LTT9491 - AAOmega F
| 10 | 0:57 | Object | 240 | Normal/Medium | 34.9 (1.22) | 1070 |  |  | 1.6S | 1.6E |  | LTT9491 - AAOmega F
| 11 | 1:03 | Object | 240 | Normal/Medium | 35.5 (1.23) | 1070 |  |  |  | 1.6E |  | LTT9491 - AAOmega F
| 12 | 1:06 | Acquisition | 30 | Normal/Medium | 36.8 (1.25) | 1070 | [5 empty] | LTT9491 - Spector S
| 13 | 1:16 | Object | 240 | Normal/Medium | 38.1 (1.27) | 1070 |  |  | 6.4S | 6.4W |  | LTT9491 - Spector S
| 14 | 1:23 | Object | 240 | Normal/Medium | 39.8 (1.30) | 1070 |  |  | 1.6S | 1.6W |  | LTT9491 - Spector S
| 15 | 1:29 | Object | 240 | Normal/Medium | 40.9 (1.32) | 1070 |  |  | 4N |  |  | LTT9491 - Spector S
H03_T036 (actually field H01_T036)
| 16 | 2:51 | Arc | 80/80/80/20 | Normal/Medium | 35.5 (1.23) | 1070 | [5 empty] | at the field
| 17 | 2:56 | Fibre Flat | 60/60/50/25 | Normal/Medium | 36.3 (1.24) | 1070 | [5 empty] | at the field
| 18 | 2:59 | Acquisition | 300 | Normal/Medium | 37.2 (1.25) | 1070 | G1-G6
| 19 | 3:17 | Acquisition | 300 | Normal/Medium | 40.8 (1.32) | 1060 | G1-G6
| 20 | 3:28 | Object | 1800 | Normal/Medium | 43.58(1.38) | 1060 | G1-G6 | 3"-3.5" |  |  |  | Dither A
| 21 | 4:00 | Object | 1800 | Normal/Medium | 49.9 (1.55) | 1060 | G1-G6 | 3"-5" |  |  |  | Dither B - the last 10 -12 minutes was observed within the astronomical twilight
Dome flats for Sree
| 22 | 4:39 | Fibre Flat | 60/60/50/25 | Normal/Medium |  | 1060 | [5 empty] | ZD=20 deg., north
| 23 | 4:43 | Fibre Flat | 60/60/50/25 | Normal/Medium |  | 1060 | [5 empty] | ZD=40 deg., north
| 24 | 4:49 | Fibre Flat | 60/60/50/25 | Normal/Medium |  | 1060 | [5 empty] | ZD=40 deg., west
| 25 | 4:53 | Fibre Flat | 60/60/50/25 | Normal/Medium |  | 1060 | [5 empty] | ZD=20 deg., west
| 26 | 4:57 | Fibre Flat | 60/60/50/25 | Normal/Medium |  | 1060 | [5 empty] | ZD=20 deg., south
| 27 | 5:01 | Fibre Flat | 60/60/50/25 | Normal/Medium |  | 1060 | [5 empty] | ZD=40 deg., south
| 28 | 5:05 | Fibre Flat | 60/60/50/25 | Normal/Medium |  | 1060 | [5 empty] | ZD=40 deg., East
| 29 | 5:09 | Fibre Flat | 60/60/50/25 | Normal/Medium |  | 1060 | [5 empty] | ZD=20 deg., East
| 30 | 5:14 | Fibre Flat | 60/60/50/25 | Normal/Medium |  | 1060 | [5 empty] | at zenith, TLC ok
| 31 | 5:18 | Offset sky | 150/150/120/80 | Normal/Medium | [7 empty] | AAOmega blue=15k red=15k Spec blue=15k red=16k |  | exposure time formulas
| 32 | 5:22 | Offset sky | 82/82/66/43 | Normal/Medium | [5 empty] | 60E |  | AAOmega blue=25k red=25k Spec blue=26k red=31k |  | AA Blue | AA Red | Spec Blue | Spec Red
| 33 | 5:26 | Offset sky | 42/42/33/20 | Normal/Medium | [5 empty] | 60E |  | AAOmega blue=25k red=25k Spec blue=30k red=30k |  | 81.98 | 81.98 | 65.59 | 43.03
| 34 | 5:29 | Offset sky | 23/23/17/11 | Normal/Medium | [5 empty] | 60E |  | AAOmega blue=25k red=24k Spec blue=26k red=31k |  | 41.98 | 41.98 | 33.38 | 20.41
| 35 | 5:31 | Offset sky | 13/13/9/6 | Normal/Medium | [5 empty] | 60E |  | AAOmega blue=25k red=22k Spec blue=25k red=25k |  | 23.41 | 23.41 | 17.32 | 10.5
| 36 | 5:34 | Offset sky | 7/7/5/3 | Normal/Medium | [5 empty] | 60E |  | AAOmega blue=20k red=17k Spec blue=21k red=20k |  | 12.82 | 12.97 | 9.36 | 5.7

## 03102024
| Date: | 2024-03-10 |  |  |  | Weather:
| Observers: | Oguzhan, Madusha, Sarah, Julia, Sree (remote) |  |  |  | Program: | Hector Survey
Field name & | Run range | Local time |  | Exp. Time | Read |  |  | Guide | Seeing | Offset (arcsec) |  |  | Notes | DR Notes
Robot file name |  |  | Obs. Type | (sec) | Speed | ZD (Airmass) | Rotator (mdeg) | Stars Used | (arcsec) | N-S | E-W | Rel or Abs.
|  | press "cmd+shift+:" to automatically add timestamp | [10 empty] | AAOmega Focus Values: Blue: Focus=121, Spectral=2878, Spatial=2005, Red: Focus=512, Spectral=2340, Spatial=1097, Spector Blue=2842, Spector Red=2307
Telescope Focus = 39.1
A3667_T070
| 1 | 17:03 | Fibre Flat | 60/60/50/25 | Normal/Medium |  | 1060 | [5 empty] | at the zenith
| 2 | 17:08 | Arc | 80/80/80/20 | Normal/Medium |  | 1060 | [5 empty] | at the zenith, TLC ok
| 3 | 17:13 | Arc | 80/80/80/20 | Normal/Medium |  | 1060 | [5 empty] | at the zenith | we forgot to move Spector piston by 200 and back to its original settings .
| 4 | 17:18 | Fibre Flat | 60/60/50/25 | Normal/Medium |  | 1060 | [5 empty] | at the zenith
| 2024-05-14 | 17:37 | Bias | 0 | Normal/Medium |  | 1060
| 15 | 18:12 | Offset sky | 5/5/4/3 | Normal/Medium | [7 empty] | AAOmega blue=15k red=13k Spec blue=18k red=21k
| 16 | 18:14 | Offset sky | 13/13/10/7 | Normal/Medium | [5 empty] | 60E |  | AAOmega blue=25k red=22k Spec blue=38k red=32k
| 17 | 18:16 | Offset sky | 29/29/17/13 | Normal/Medium | [5 empty] | 60E |  | AAOmega blue=35k red=28k Spec blue=30k red=35k
| 18 | 18:19 | Offset sky | 55/55/33/23 | Normal/Medium | [5 empty] | 60E |  | AAOmega blue=35k red=25k Spec blue=30k red=32k
| 19 | 18:22 | Offset sky | 118/118/71/47 | Normal/Medium | [5 empty] | 60E |  | AAOmega blue=31k red=19k Spec blue=30k red=25k
| 20 | 18:46 | Fibre Flat | 60/60/50/25 | Normal/Medium
| 21 | 18:50 | Arc | 80/80/80/20 | Normal/Medium
| 22 | 18:54 | Acquisition | 300 | Normal/Medium |  | 1050 | G1-G6 |  |  |  |  | Change the flat lamp to top-end illumination, we will run the dither script with calibrations to test Tony Farrell's theory
| 23 | 19:05 | Acquisition | 300 | Normal/Medium |  | 1050 | G1-G6 |  |  |  |  | Taking a second acquisition, the first one is noisy.
| 24 | 19:19 | Object | 1800 | Normal/Medium | 25.57(1.11) | 1060 | G1-G6 | 3" |  |  |  | Dither A
| 25 | 19:51 | Object | 1800 | Normal/Medium | 26.96(1.12) | 1060 | G1-G6 | 2.3" |  |  |  | Dither B
| 26 | 20:23 | Object | 1800 | Normal/Medium | 27.6 (1.13) | 1060 | G1-G6 | 2.3" |  |  |  | Dither C
| 27 | 20:55 | Object | 1800 | Normal/Medium | 30.2 (1.16) | 1060 | G1-G6 | 2"-3" |  |  |  | Dither D
| 28 |  | Arc | 80/80/80/20 | Normal/Medium
|  |  | Fibre Flat | 60/60/50/25 | Normal/Medium | [7 empty] | By selecting "top-end illumination", we managed to take a dome flat. Sree will check the counts/shape to see whether all the lamps (i.e. in UV) were turned on. Sree: it looks like a normal dome flat
| 30 | 21:38 | Object | 1800 | Normal/Medium | 34.6 (1.21) | 1060 | G1-G6 | 2"-3" |  |  |  | Dither E
| 31 |  | Object | 1800 | Normal/Medium | 40.96(1.32) | 1060 | G1-G6 | 2.5"-3" |  |  |  | Dither F - lost guiding for a few seconds
| 32 | 22:38 | Object | 1800 | Normal/Medium | 42.4 (1.35) | 1060 | G1-G6 | 3"-4" |  |  |  | Dither G
H03_T036 (actually field H01_T036)
| 33 | 0:10 | Fibre Flat | 60/60/50/25 | Normal/Medium |  | 1060 | [5 empty] | at the field
| 34 | 0:13 | Arc | 80/80/80/20 | Normal/Medium |  | 1060 | [5 empty] | at the field
| 35 | 0:17 | Acquisition | 300 | Normal/Medium | 3.4 (1.0) | 1060 | G1-G6 | 2.2"
| 36 | 0:31 | Acquisition | 300 | Normal/Medium | 6.5 (1.01) | 1070 | G1-G6 | 2.5"
| 37 | 0:49 | Object | 1800 | Normal/Medium | 10.4 (1.02) | 1070 | G1-G6 | 2"-2.5" |  |  |  | Dither B | We repeated Dither B
| 38 | 1:21 | Object | 1800 | Normal/Medium | 18.2 (1.05) | 1070 | G1-G6 | 2"-2.5" |  |  |  | Dither C
| 39 | 1:58 | Object | 1800 | Normal/Medium | 25.61(1.11) | 1070 | G1-G6 | 2.5" |  |  |  | Dither D
| 40 | 2:32 | Object | 1800 | Normal/Medium | 32.30(1.18) | 1070 | G1-G6 | 2" |  |  |  | Dither E | seeing is fluctuating
| 41 | 3:03 | Object | 1800 | Normal/Medium | 38.9 (1.28) | 1070 | G1-G6 | 3" |  |  |  | Dither F | seeing is fluctuating, due to thin layer of clouds passing
| 42 | 3:36 | Object | 1800 | Normal/Medium | 45.5 (1.43) | 1070 | G1-G6 | 3"-4" |  |  |  | Dither G
| 43 | 4:09 | Fibre Flat | 60/60/50/25 | Normal/Medium |  | 1070
| 44 | 4:12 | Arc | 80/80/80/20 | Normal/Medium |  | 1070
| 45 | 4:20 | Acquisition | 30 | Normal/Medium | 17.7 (1.05) | 1070 | [5 empty] | LTT1788 - Spector T
| 46 | 4:30 | Object | 240 | Normal/Medium | 19.6 (1.06) | 1070 |  |  | 1.6N |  |  | LTT1788 - Spector T
| 47 | 4:36 | Object | 240 | Normal/Medium | 20.7 (1.07) | 1070 |  |  |  | 1.6W |  | LTT1788 - Spector T
| 48 | 4:42 | Object | 240 | Normal/Medium | 21.9 (1.08) | 1070 |  |  | 1.6N |  |  | LTT1788 - Spector T
| 49 | 4:49 | Acquisition | 30 | Normal/Medium | 23.1 (1.09) | 1070 | [5 empty] | LTT1788 - AAOmega A
| 50 | 4:55 | Object | 240 | Normal/Medium | 24.3 (1.10) | 1070 |  |  | 3.2S |  |  | LTT1788 - AAOmega A | clouds arrived, disabled
No twilight flats... We had this twilight flats for this field last night anyways
| 51-55 | 5:07 | Darks | 1800 | Normal/Medium

## 04102024
| Date: | 2024-04-10 |  |  |  | Weather: | Thunderstorm
| Observers: | Oguzhan, Madusha, Sarah, Julia, Sree (remote) |  |  |  | Program: | Hector Survey
Field name & | Run range | Local time |  | Exp. Time | Read |  |  | Guide | Seeing | Offset (arcsec) |  |  | Notes | DR Notes
Robot file name |  |  | Obs. Type | (sec) | Speed | ZD (Airmass) | Rotator (mdeg) | Stars Used | (arcsec) | N-S | E-W | Rel or Abs.
|  | press "cmd+shift+:" to automatically add timestamp | [10 empty] | AAOmega Focus Values: Blue: Focus=120, Spectral=2933, Spatial=1980, Red: Focus=513, Spectral=2447, Spatial=1122, Spector Blue=2841, Spector Red=2306
A3716_T044 | [12 empty] | Telescope Focus =
| 1 | 17:03 | Fibre Flat | 60/60/50/25 | Normal/Medium
| 2 |  | Arc | 80/80/80/20 | Normal/Medium
H03_T049 (actually field H01_T049)
| 3 | 22:04 | Fibre Flat | 60/60/50/25 | Normal/Medium | [7 empty] | TLM failed, disabled
| 4 | 22:08 | Arc | 80/80/80/20 | Normal/Medium
| 5-44 | 22:55 | Bias | 0 | Normal/Medium
| 45-46 | 0:21 | Darks | 1800 | Normal/Medium
A3716_T044
| 47 | 3:04 | Fibre Flat | 60/60/50/25 | Normal/Medium
| 48 | 3:09 | Arc | 80/80/80/20 | Normal/Medium
|  | 4:42 | Closing Time ...

## 05102024
| Date: | 2024-05-10 |  |  |  | Weather: | Patchy clouds - then clear
| Observers: | Oguzhan, Madusha, Sree (remote) |  |  |  | Program: | Hector Survey
Field name & | Run range | Local time |  | Exp. Time | Read |  |  | Guide | Seeing | Offset (arcsec) |  |  | Notes | DR Notes
Robot file name |  |  | Obs. Type | (sec) | Speed | ZD (Airmass) | Rotator (mdeg) | Stars Used | (arcsec) | N-S | E-W | Rel or Abs.
|  | press "cmd+shift+:" to automatically add timestamp | [10 empty] | AAOmega Focus Values: Blue: Focus=120, Spectral=2919.1, Spatial=1992.1, Red: Focus=512.9, Spectral=2447.3, Spatial=1122.4, Spector Blue=2841.09, Spector Red=2305.99
Telescope Focus = 39.1
A3716_T044
| 1 |  | Fibre Flat | 60/60/50/25 | Normal/Medium | [7 empty] | at the zenith, TLM okay
| 2 |  | Arc | 80/80/80/20 | Normal/Medium | [7 empty] | Focus check okay
Sitting in thick clouds..... can't guide....
| 3 | 19:04 | Acquisition | 300 | Normal/Medium |  | 1060 | [5 empty] | Passing clouds - useless
| 4 | 19:14 | Fibre Flat | 60/60/50/25 | Normal/Medium |  | 1060 | [5 empty] | at the field
| 5 | 19:18 | Arc | 80/80/80/20 | Normal/Medium |  | 1060
| 6 | 19:24 | Acquisition | 300 | Normal/Medium |  | 1060
| 7 | 19:36 | Acquisition | 300 | Normal/Medium |  | 1070 | [5 empty] | Patchy clouds around, guiding is lost a few times. We tried to center some galaxies at the edge of the plate by changing the rotation by 10 (1060 --> 1070), but nothing change. We might need to check rotation
| 8 | 19:50 | Object | 1800 | Normal/Medium | 21.6 (1.08) | 1070 | G1-G6 | 2" |  |  |  | Dither A
| 9 | 20:22 | Object | 1800 | Normal/Medium | 22.5 (1.08) | 1070 | G1-G6 | 2"-4" |  |  |  | Dither B | thin layer of clouds passing time to time
| 10 | 20:50 | Object | 1800 | Normal/Medium | 25.22(1.11) | 1070 | G1-G6 | 2" |  |  |  | Dither C
| 11 | 21:25 | Object | 1800 | Normal/Medium |  | 1070 | G1-G6 | ~2" |  |  |  | Dither D
| 12 | 21:59 | Object | 1800 | Normal/Medium | 30.74(1.16) | 1070 | G1-G6 | 2" |  |  |  | Dither E
| 13 | 22:31 | Object | 1800 | Normal/Medium | 35.38(1.23) | 1070 | G1-G6 | 2" |  |  |  | Dither F
| 14 | 23:03 | Object | 1800 | Normal/Medium | 40.01(1.30) | 1070 | G1-G6 | 1.8" |  |  |  | Dither G
| 15 | 23:36 | Fibre Flat | 60/60/50/25 | Normal/Medium |  | 1070
| 16 | 23:40 | Arc | 80/80/80/20 | Normal/Medium |  | 1070
H03_T049 (actually field H01_T049) | [12 empty] | Telescope Focus = 39.2
| 17 | 0:39 | Fibre Flat | 60/60/50/25 | Normal/Medium |  | 1070 | [5 empty] | at the zenith
| 18 | 0:43 | Arc | 80/80/80/20 | Normal/Medium |  | 1070 | [5 empty] | at the zenith
| 19 | 0:46 | Acquisition | 300 | Normal/Medium |  | 1070
| 20 | 0:59 | Acquisition | 300 | Normal/Medium | 12.4 (1.02) | 1055
| 21 | 1:10 | Object | 1800 | Normal/Medium | 14.8 (1.03) | 1060 | G1-G6 | 1.8" |  |  |  | Dither A
| 22 | 1:42 | Object | 1800 | Normal/Medium | 21.7 (1.08) | 1060 | G1-G6 | 1.8" |  |  |  | Dither B
DST kicks in (+1 hour) | [12 empty] | We paused the dither to fix the robot - e-stop
| 23 | 3:21 | Object | 1800 | Normal/Medium | 30.1 (1.16) | 1060 | G1-G6 | 1.8" |  |  |  | Dither C
We paused the dither to fix the robot - e-stop
| 24 | 3:59 | Object | 1800 | Normal/Medium |  | 1060 | G1-G6 | 1.8" |  |  |  | Dither D
| 25 | 4:31 | Object | 1800 | Normal/Medium | 46.4 (1.45) | 1060 | G1-G6 | 1.8" |  |  |  | Dither E
Astronomical twilight starts in 13 mins, so stopped the dither script.
| 26 | 5:12 | Acquisition | 30 | Normal/Medium | 18.1 (1.05) | 1060 | [5 empty] | LTT1788 - AAOmega B
| 27 | 5:18 | Object | 240 | Normal/Medium | 19.2 (1.06) | 1060 |  |  | 3N |  |  | LTT1788 - AAOmega B
| 28 | 5:24 | Object | 240 | Normal/Medium |  | 1060 |  |  | 3N |  |  | LTT1788 - AAOmega B
| 29 | 5:30 | Object | 240 | Normal/Medium |  | 1060 |  |  | 3N |  |  | LTT1788 - AAOmega B
| 30 | 5:36 | Acquisition | 30 | Normal/Medium | 22.6 (1.08) | 1060 | [5 empty] | LTT1788 - Spector M
| 31 | 5:42 | Object | 240 | Normal/Medium |  | 1060 |  |  | 1.6N | 3.2E |  | LTT1788 - Spector M
| 32 | 5:48 | Object | 240 | Normal/Medium |  | 1060 |  |  | 1.6N |  |  | LTT1788 - Spector M
| 33 | 5:55 | Object | 240 | Normal/Medium |  | 1060 |  |  |  | 1.6E |  | LTT1788 - Spector M | background is bright
| 34 | 6:15 | Offset sky | 150/150/120/80 | Normal/Medium | [7 empty] | AAOmega blue=20k red=17k Spec blue=20k red=20k
| 35 | 6:19 | Offset sky | 77/77/60/40 | Normal/Medium | [5 empty] | 60E |  | AAOmega blue=27k red=25k Spec blue=27k red=32k
| 36 | 6:23 | Offset sky | 39/39/30/19 | Normal/Medium | [5 empty] | 60E |  | AAOmega blue=30k red=28k Spec blue=30k red=32k
| 37 | 6:26 | Offset sky | 21/21/16/10 | Normal/Medium | [5 empty] | 60E |  | AAOmega blue=30k red=27k Spec blue=30k red=32k
| 38 | 6:28 | Offset sky | 11/11/8/5 | Normal/Medium | [5 empty] | 60E |  | AAOmega blue=25k red=21k Spec blue=24k red=26k
| 39 | 6:31 | Offset sky | 6/6/5/3 | Normal/Medium | [5 empty] | 60E |  | AAOmega blue=20k red=18k Spec blue=22k red=23k

## 06102024
| Date: | 2024-06-10 |  |  |  | Weather: | Clear (observing H03_T049 all night)
| Observers: | Oguzhan, Madusha, Sree (remote) |  |  |  | Program: | Hector Survey
Field name & | Run range | Local time |  | Exp. Time | Read |  |  | Guide | Seeing | Offset (arcsec) |  |  | Notes | DR Notes
Robot file name |  |  | Obs. Type | (sec) | Speed | ZD (Airmass) | Rotator (mdeg) | Stars Used | (arcsec) | N-S | E-W | Rel or Abs.
|  | press "cmd+shift+:" to automatically add timestamp | [10 empty] | AAOmega Focus Values: Blue: Focus=120, Spectral=2919, Spatial=1992, Red: Focus=513, Spectral=2447, Spatial=1122, Spector Blue=2846, Spector Red=2308
Telescope Focus = 39.2
H03_T049 (actually field H01_T049)
| 1 | 17:47 | Fibre Flat | 60/60/50/25 | Normal/Medium |  | 1060
| 2 | 17:51 | Arc | 80/80/80/20 | Normal/Medium |  | 1060
| 3 | 19:14 | Offset sky | 5/5/4/3 | Normal/Medium | [7 empty] | AAOmega blue=15k red=11k Spec blue=18k red=18k
| 4 | 19:16 | Offset sky | 13/13/10/7 | Normal/Medium | [6 empty] | 60E | AAOmega blue=26k red=20k Spec blue=29k red=29k
| 5 | 19:18 | Offset sky | 29/29/20/14 | Normal/Medium | [6 empty] | 60E | AAOmega blue=35k red=30k Spec blue=35k red=37k
| 6 | 19:21 | Offset sky | 54/54/36/24 | Normal/Medium | [6 empty] | 60E | AAOmega blue=35k red=30k Spec blue=32k red=35k
| 7 | 19:24 | Offset sky | 111/111/74/47 | Normal/Medium | [6 empty] | 60E | AAOmega blue=30k red=25k Spec blue=31k red=31k
| 8 | 19:31 | Fibre Flat | 60/60/50/25 | Normal/Medium
| 9 | 19:37 | Arc | 80/80/80/20 | Normal/Medium
Standard star observations
| 10 | 20:04 | Acquisition | 30 | Normal/Medium | 46.5 (1.45) | 1060 | [5 empty] | LTT9491 - Spector U (ADC wasn't tracking)
| 11 | 20:10 | Object | 240 | Normal/Medium | 45.24(1.42) | 1060 | [5 empty] | LTT9491 - Spector U (ADC tracking)
| 12 | 20:16 | Object | 240 | Normal/Medium | 43.94(1.39) | 1060 |  |  | 1S |  | Rel | LTT9491 - Spector U (ADC tracking)
| 13 | 20:22 | Object | 240 | Normal/Medium | 42.9 (1.36) | 1060 |  |  | 1S | 1E | Rel | LTT9491 - Spector U (ADC tracking)
| 14 | 20:28 | Acquisition | 30 | Normal/Medium |  | 1060 | [5 empty] | LTT9491 - Spector S
| 15 | 20:34 | Object | 240 | Normal/Medium | 40.03(1.3) | 1060 |  |  | 1.5N |  |  | LTT9491 - Spector S
| 16 | 20:40 | Object | 240 | Normal/Medium | 38.9 (1.28) | 1060 |  |  | 1.5N |  |  | LTT9491 - Spector S
| 17 | 20:47 | Object | 240 | Normal/Medium | 37.42(1.26) | 1060 |  |  |  | 1.5E |  | LTT9491 - Spector S
Blank Sky fields for sky subtraction tests
| 18 | 21:00 | Object | 1800 | Normal/Medium | 24.30(1.1) | 1060
| 19 | 21:40 | Object | 1800 | Normal/Medium | 22.23(1.08) | 1060 | [5 empty] | Coordinates: 22:58:27.84 -47:34:36.8; reference:https://ui.adsabs.harvard.edu/abs/2012MNRAS.427..679J; http://sdc.cab.inta-csic.es/tesela/documents/DBF-short-list.ascii
H03_T049 (actually field H01_T049)
Observing the field
| 20 | 22:16 | Acquisition | 300 | Normal/Medium | 34.7 (1.22) | 1060 |  | 2" |  |  |  | Telescope Focus = 39.1
| 21 | 22:48 | Acquisition | 300 | Normal/Medium | 27.9 (1.13) | 1070 |  | 1.8"
| 22 | 23:03 | Object | 1800 | Normal/Medium | 24.8 (1.10) | 1060 | G1-G6 | 1.8" |  |  |  | Dither F
| 23 | 23:35 | Object | 1800 | Normal/Medium | 17.76(1.05) | 1060 | G1-G6 | 1.7" |  |  |  | Dither G
| 24 | 0:07 | Fibre Flat | 60/60/50/25 | Normal/Medium |  | 1060
| 25 | 0:12 | Arc | 80/80/80/20 | Normal/Medium |  | 1060
Restarting the script from Dither-A to Dither-G (rotation is set to 1070, although we couldn't see much difference between 1060 and 1070 - odd....)
| 26 | 0:17 | Object | 1800 | Normal/Medium | 8.77(1.01) | 1070 | G1-G6 | 1.7" |  |  |  | Dither A
| 27 | 0:49 | Object | 1800 | Normal/Medium | 2.40(1.00) | 1070 | G1-G6 | 1.7" |  |  |  | Dither B
| 28 | 1:22 | Object | 1800 | Normal/Medium | 5.60(1.00) | 1070 | G1-G6 | 1.8" |  |  |  | Dither C
| 29 | 1:53 | Object | 1800 | Normal/Medium | 12.01(1.02) | 1070 | G1-G6 | 1.7" |  |  |  | Dither D
| 30 | 2:25 | Object | 1800 | Normal/Medium | 19.09(1.06) | 1070 | G1-G6 | 1.6" |  |  |  | Dither E
| 31 | 2:57 | Object | 1800 | Normal/Medium | 26(1.11) | 1070 | G1-G6 | 1.6" |  |  |  | Dither F
| 32 |  | Object | 1800 | Normal/Medium |  | 1070 | G1-G6 | 1.7" |  |  |  | Dither G
Blank Sky fields for sky subtraction tests
| 33 | 4:06 | Object | 1800 | Normal/Medium | 20.03(1.06) | 1070 | [5 empty] | Coordinates: 05:01:40.01 -48:54:27.7; reference:https://ui.adsabs.harvard.edu/abs/2012MNRAS.427..679J; http://sdc.cab.inta-csic.es/tesela/documents/DBF-short-list.ascii
Returning to dither script
| 34 | 4:40 | Object | 1800 | Normal/Medium | 47.63(1.48) | 1070 | G1-G6 | 2" |  |  |  | Dither A
| 35 | 5:12 | Fibre Flat | 60/60/50/25 | Normal/Medium
| 36 |  | Arc | 80/80/80/20 | Normal/Medium
Standard star observations
| 37 | 5:22 | Object | 30 | Normal/Medium |  | 1070 | [5 empty] | LTT1788 in Hexa-A (acquisition)
| 38 | 5:28 | Object | 240 | Normal/Medium |  | 1070 |  |  | 5S |  |  | LTT1788 in Hexa-A (not centred)
| 39 | 5:34 | Object | 240 | Normal/Medium |  | 1070 |  |  |  | 2E |  | LTT1788 in Hexa-A (not centred)
| 40 | 5:40 | Object | 240 | Normal/Medium |  | 1070 |  |  |  | 5E |  | LTT1788 in Hexa-A
| 41 | 5:47 | Object | 240 | Normal/Medium |  | 1070 |  |  | 1.5S | 1.5E |  | LTT1788 in Hexa-A (sky is getting bright)
| 42 | 5:53 | Fibre Flat | 60/60/50/25 | Normal/Medium
| 43 | 5:57 | Arc | 80/80/80/20 | Normal/Medium

## 07102024
| Date: | 2024-07-10 |  |  |  | Weather: | Cloudy at the start (observing H03_T049 all night)
| Observers: | Oguzhan, Madusha, Sree (remote) |  |  |  | Program: | Hector Survey
Field name & | Run range | Local time |  | Exp. Time | Read |  |  | Guide | Seeing | Offset (arcsec) |  |  | Notes | DR Notes
Robot file name |  |  | Obs. Type | (sec) | Speed | ZD (Airmass) | Rotator (mdeg) | Stars Used | (arcsec) | N-S | E-W | Rel or Abs.
|  | press "cmd+shift+:" to automatically add timestamp | [10 empty] | AAOmega Focus Values: Blue: Focus=119, Spectral=2890.1, Spatial=1991.1, Red: Focus=512.9, Spectral=2447.3, Spatial=1122.4, Spector Blue=2850.53, Spector Red=2310.01
Telescope Focus = 39.15
H03_T049 (actually field H01_T049)
| 1 | 17:31 | Fibre Flat | 60/60/50/25 | Normal/Medium
| 2 | 17:35 | Arc | 80/80/80/20 | Normal/Medium
Ready for sky flats (wispy clouds around overhead)
|  | Bundle-to-bundle tests | [5 empty] | From | To
[8 empty] | centre | gs5 | 987S(2S) | 173W(3W)
[8 empty] | centre | gs4 | 1288S(3S) | 623E(9W)
[8 empty] | centre | gs3 | 384S(12S) | 1483E(6W)
[8 empty] | centre | gs2 | 875E(3E) | 1010N(8S)
[8 empty] | centre | gs1 | 1907N(11S) | 1256W(7E)
[8 empty] | centre | gs6 | 524N(10S) | 2347W(13E)
| 3 | 20:08 | Object | 30 | Normal/Medium |  |  | gs5 | hexa-S | 259N | 754W
| 4 | 20:17 | Object | 30 | Normal/Medium |  |  | hexa-S | hexa-A | 270S(4.5S) | 604W(7.5E)
| 5 | 20:24 | Object | 240 | Normal/Medium |  |  | Centred in A |  |  |  |  | Hector software crashed and the frame 5 didn't readout. We restarted vmes, and TSC. We lost about 20-25mins
| 5 | 20:51 | Object | 240 | Normal/Medium |  |  | Centred in A
| 6 | 21:03 | Object | 30 | Normal/Medium |  |  | hexa-A | hexa-C | 276S(7S) | 593W
| 7 | 21:09 | Object | 30 | Normal/Medium |  |  | Trying (and failed) to find the star in hexa-C |  | 7S
While sitting in the clouds, we are going to use a bright Snafu to do optical model test (ADC tracking) USE THESE!!!!
[8 empty] | From | To
[8 empty] | centre | gs5 | 987S(1S) | 173W(2E) |  | using Snafu 1021/ADC running....
[8 empty] | centre | gs4 | 1288S(2S) | 623E(2W)
[8 empty] | centre | gs3 | 384S(7S) | 1483E
[8 empty] | centre | gs2 | 875E(5E) | 1010N(5S)
[8 empty] | centre | gs1 | 1907N(10S) | 1256W(13E)
[8 empty] | centre | gs6 | 524N(3S) | 2347W(19E)
[8 empty] | centre | Hexa-S | 727S | 926W | not done
Field location looks clear, moving to the field
| 8 | 22:02 | Fibre Flat | 60/60/50/25 | Normal/Medium | 36.61(1.24) | [6 empty] | At the field
| 9 |  | Arc | 80/80/80/20 | Normal/Medium | [7 empty] | At the field
| 10 | 22:09 | Acquisition | 300 | Normal/Medium | 35.33(1.22) | 1070 | G1-G6 | 2.5"-3"
| 11 | 22:21 | Object | 1800 | Normal/Medium | 32.75(1.19) | 1070 | G1-G6 | 2.5"-3" |  |  |  | Dither A - thin clouds around
| 12 | 22:56 | Object | 1800 | Normal/Medium |  | 1070 | G1-G6 | 2.2" |  |  |  | Dither B
| 13 | 23:26 | Object | 1800 | Normal/Medium | 17.07(1.05) | 1070 | G1-G6 | 1.8" |  |  |  | Dither C
| 14 | 23:57 | Object | 1800 | Normal/Medium | 11.75(1.02) | 1070 | G1-G6 | 1.7" |  |  |  | Dither D
| 15 | 0:31 | Object | 1800 | Normal/Medium | 5.01(1.00) | 1070 | G1-G6 | 1.6" |  |  |  | Dither E
| 16 | 1:01 | Object | 1800 | Normal/Medium | 2.46(1.00) | 1070 | G1-G6 | 1.7" |  |  |  | Dither F
| 17 | 1:32 | Object | 1800 | Normal/Medium | 11.15(1.02) | 1070 | G1-G6 | 1.6" |  |  |  | Dither G
| 18 | 2:07 | Fibre Flat | 60/60/50/25 | Normal/Medium
| 19 | 2:11 | Arc | 80/80/80/20 | Normal/Medium
| 20 | 2:16 | Object | 1800 | Normal/Medium | 17.97(1.05) | 1070 | G1-G6 | 1.5"-1.7" |  |  |  | Dither A
| 21 | 2:48 | Object | 1800 | Normal/Medium | 24.85(1.1) | 1070 | G1-G6 | 1.7" |  |  |  | Dither B
| 22 | 3:20 | Object | 1800 | Normal/Medium | 31.65(1.17) | 1070 | G1-G6 | 1.8" |  |  |  | Dither C
| 23 | 3:53 | Object | 1800 | Normal/Medium | 38.58(1.28) | 1070 | G1-G6 | 1.7"-2" |  |  |  | Dither D
| 24 | 4:24 | Object | 1800 | Normal/Medium | 45.07(1.42) | 1070 | G1-G6 | 1.8"-2" |  |  |  | Dither E
| 25 | 4:57 | Fibre Flat | 60/60/50/25 | Normal/Medium | 52.77(1.65) | 1070 | [5 empty] | At the field
| 26 | 5:01 | Arc | 80/80/80/20 | Normal/Medium |  | 1070 | [5 empty] | At the field
Resuming optical model/standard star observations
[8 empty] | From | To
| 27 | 5:06 | Object | 30 | Normal/Medium | 18.65(1.06) | 1070 | centre | hexa-S | 727S(1.5S) | 926W(6E) |  | using LTT1788 /ADC running....
| 28 | 5:13 | Object | 30 | Normal/Medium | 20.08(1.06) | 1070 | hexa-S | hexa-A | 270S(3S) | 604W(7.5E)
| 29 | 5:19 | Object | 240 | Normal/Medium | 21.33(1.07) | 1070 | centering on hexa-A, using () corrections above |  |  |  |  | taking a science obs
| 30 | 5:26 | Object | 30 | Normal/Medium | 22.82(1.08) | 1070 | hexa-A | hexa-C | 276S(4.5S) | 593W(9E+6E)
| 31 | 5:29 | Object | 30 | Normal/Medium | 23.36(1.09) | 1070 | Trying to find the star in hexa-C |  |  |  |  | found it!
| 32 | 5:35 | Object | 240 | Normal/Medium | 24.41(1.1) | 1070 | centering on hexa-C, using (...+) corrections above
| 33 | 5:41 | Object | 30 | Normal/Medium | 25.79(1.11) | 1070 | hexa-C | hexa-E | 124S(6S) | 911W(10.5E+9E) |  | applied the offset to the calculated values-- missed!
| 34 | 5:44 | Object | 30 | Normal/Medium | 26.43(1.12) | 1070 | Trying to find the star in hexa-E |  |  | (+4E)
| 35 | 5:46 | Object | 30 | Normal/Medium | 26.86(1.12) | 1070 | Trying to find the star in hexa-E |  |  | (+4E)
| 36 | 5:49 | Object | 30 | Normal/Medium | 27.44(1.13) | 1070 | Trying to find the star in hexa-E |  |  | (+17W)
| 37 |  | Object | 10 | Normal/Medium |  |  | Trying to find the star in hexa-E |  | 124S(3S) | 911W |  | using Snafu 504
| 38 | 6:00 | Object | 10 | Normal/Medium | 22.00(1.08) | 1070 | Trying to find the star in hexa-E |  |  | (+30E) |  | maybe something in there!
| 39 | 6:08 | Object | 10 | Normal/Medium | 23.49(1.09) | 1070 | A star in hexa-E |  | (6S) | (+3E) |  | definetly a star in there
[10 empty] | (3S) | (+3E) |  | correction based on the quick-look tool as the sky is too bright now

## 08102024
| Date: | 2024-08-10 |  |  |  | Weather:
| Observers: | Tom, Madusha (until 9pm), Sree (remote) |  |  |  | Program: | Hector Survey
Field name & | Run range | Local time |  | Exp. Time | Read |  |  | Guide | Seeing | Offset (arcsec) |  |  | Notes | DR Notes
Robot file name |  |  | Obs. Type | (sec) | Speed | ZD (Airmass) | Rotator (mdeg) | Stars Used | (arcsec) | N-S | E-W | Rel or Abs.
|  | press "cmd+shift+:" to automatically add timestamp | [10 empty] | AAOmega Focus Values: Blue: Focus=118, Spectral=2904.1, Spatial=1987.1, Red: Focus=510.2, Spectral=2417.6, Spatial=1143.4, Spector Blue=2856.5, Spector Red=2312.99
Telescope Focus = 39.0
H03_T049 (actually field H01_T049)
| 1 | 17:01 | Fibre Flat | 60/60/50/25 | Normal/Medium
| 2 | 17:05 | Arc | 80/80/80/20 | Normal/Medium
| 3 | 19:15 | Offset sky | 5/5/4/3 | Normal/Medium | [7 empty] | AAOmega blue=17k red=12k Spec blue=18k red=17k
| 4 | 19:17 | Offset sky | 13/13/10/7 | Normal/Medium | [6 empty] | 60E | AAOmega blue=29k red=22k Spec blue=30k red=29k
| 5 | 19:19 | Offset sky | 28/28/19/14 | Normal/Medium | [6 empty] | 60E | AAOmega blue=38k red=31k Spec blue=34k red=38k
| 6 | 19:22 | Offset sky | 50/50/34/24 | Normal/Medium | [6 empty] | 60E | AAOmega blue=35k red=30k Spec blue=33k red=37k
| 7 | 19:25 | Offset sky | 102/102/69/45 | Normal/Medium | [6 empty] | 60E | AAOmega blue=31k red=25k Spec blue=30k red=30k
|  | Optical model offset tests | [5 empty] | From | To
| 8 | 19:52 | Object | 10 | Normal/Medium |  |  | centre | hexa-F | 916N | 478W |  | using Snafu 3021 / ADC wasn't running
| 9 | 19:56 | Object | 10 | Normal/Medium |  | 1070 | centre | hexa-F | 916N(1N) | 478W(4E) |  | using Snafu 3021 / ADC running
| 10 | 20:02 | Object | 10 | Normal/Medium | 18.48(1.08) | 1070 | Centering in hexa-F using () above |  | (+1S) | (+1E)
[7 empty] | 1070 | hexa-F | GS1 | 991N(7S+6S+0.6N) | 778W(6E+0.6E)
| 11 | 20:15 | Object | 10 | Normal/Medium | 15.55(1.05) | 1070 | GS1 | hexa-G | 983N(20S) | 146W(6E)
| 12 | 20:18 | Object | 10 | Normal/Medium |  | 1070 | Trying to find the star... in hexa-G, using () corrections |  | (6S) | (6E) |  | something in the bundle
| 13 |  | Object | 10 | Normal/Medium |  | 1070 | Centering in hexa-G, using () corrections above |  | (4.5S) |  |  | centred. We didn't take an observation with the 4.5S correction, simply used quick-look to estimate | Total=1378W, 2847N (original total=1402W, 2890N)
| 14 | 20:29 | Object | 10 | Normal/Medium | 12.54(1.02) | 1070
| 15 | 20:36 | Object | 30 | Normal/Medium | 38.35(1.28) | 1070 | centre | hexa-G | 2890N(30.5S) = total(2859.5N) | 1402W(12E) = total(1390W) |  | LTT9491 - missed--> NEED to add all the offsets.....
| 16 | 20:42 | Object | 30 | Normal/Medium |  | 1070 | centre | hexa-G | 2890N(44S) = total(2846N) | 1402W(23E)=total(1379W) |  | star is in the bundle
| 17 | 20:47 | Object | 240 | Normal/Medium |  | 1070 | centering in hexa-G, using 6W offset |  |  | (6W) |  | Science Obs
| 18 | 20:54 | Object | 240 | Normal/Medium |  | 1070 |  |  | (1N) | (1W) |  | Science Obs, with 1N,1W offset
| 19 | 21:05 | Object | 30 | Normal/Medium | 31.5(1.17) | 1070 | centre | hexa-E | 1397S(26S) | 3035W(65E)
| 20 | 21:09 | Object | 30 | Normal/Medium | 30.5(1.16) | 1070 | Trying to find the star |  | (5N) |  |  | can't find.... :(
| 21 | 21:14 | Object | 30 | Normal/Medium | 30.0(1.15) | 1070 | centre | hexa-A | 997.5S | 1530W |  | in there..... but at an edge
| 22 | 21:17 | Object | 30 | Normal/Medium | 29.4(1.15) | 1070 |  |  | (4.5S) = 1.5S | (13.5E) = 1.5E |  | applying the corrections from last night
| 23 | 21:20 | Object | 30 | Normal/Medium | 28.6(1.14) | 1070 |  |  | undo 4.5S, centre with 1.5S | undo 13.5E, centre with 1.5E |  | sciece obs
| 24 | 21:26 | Object | 30 | Normal/Medium | 27.3(1.13) |  | hexa-A | hexa-C | 276S(4.5S+9N) | 593W(15E) |  | missed!
| 25 | 21:30 | Object | 30 | Normal/Medium | 26.7(1.12) |  | Trying to find the star, using () corrections |  |  |  |  | found it!
| 26 | 21:37 | Object | 240 | Normal/Medium | 25.4(1.11) | 1070 | Centering on hexa-C, using (+...) corrections |  |  |  |  | Science Obs, total(2107W, 1270S)
| 27 | 21:45 | Object | 240 | Normal/Medium | 23.8(1.09) | 1070 | centre | hexa-C | 1274S(3N) | 2123W(16.5E)
| 28 | 21:54 | Object | 30 | Normal/Medium | 22.0(1.08) | 1070 | hexa-C | hexa-E | 124S(9S) | 911W(33E)
| 29 | 21:57 | Object | 30 | Normal/Medium | 21.47(1.07) | 1070 | Trying to find the star, using () corrections |  | (18N)
| 30 | 22:03 | Object | 240 | Normal/Medium | 20.4(1.07) | 1070 | [5 empty] | Science Obs, cloud affected
| 31 | 22:11 | Object | 240 | Normal/Medium | 19.2(1.06) | 1070 |  |  | (1S) | (1W) |  | Science Obs, cloud affected
| 32 | 22:19 | Arc | 80/80/80/20 | Normal/Medium | [7 empty] | at standard star postion
| 33 | 22:23 | Fibre Flat | 60/60/50/25 | Normal/Medium | [7 empty] | at standard star postion
|  | 22:24 | Clouds have arrived
| 34 | 22:43 | Acquisition | 300 | Normal/Medium | 27.2(1.12) | 1070 | G1-G6 | 3 - 3.5"
Clouds/seeing too poor for dithers.
|  | Optical model offset tests | [5 empty] | From | To
|  |  | star = SNAFU 301 |  |  |  |  | centre | gs3 | 384S(7.5S) = total(391.5S) | 1483E(0.5W) = total(1482.5E)
| 35 | 23:14 | Object | 10 | Normal/Medium | 27.5(1.13) | 1070 | gs3 | Q | 431S | 671E |  | On edge
| 36 | 23:19 | Object | 10 | Normal/Medium | 26.2(1.11) | 1070 |  |  | 3S | 6W |  | still on edge
| 37 | 23:26 | Object | 10 | Normal/Medium | 24.8(1.10) | 1070 |  |  | 3S | 6W |  | in bundle but near edge
| 38 | 23:32 | Object | 10 | Normal/Medium | 23.5(1.09) | 1070 |  |  | 3N | 4.5W |  | near centre
| 39 | 23:39 | Object | 5 | Normal/Medium | 22.1(1.08) | 1070 |  |  | 0 = total(825.5S) | 1.5E = total(2138.5E) |  | centre
| 40 | 23:48 | Object | 5 | Normal/Medium | 20.3(1.07) | 1070 | Q | K | 973N | 962E |  | missed
| 41 | 23:53 | Object | 5 | Normal/Medium | 19.4(1.06) | 1070 |  |  | 10S | 16W |  | applying correction to get to Q from centre according to offset script (816S, 2154E), on edge
| 42 | 23:58 | Object | 5 | Normal/Medium | 18.1(1.05) | 1070 |  |  | 10S | 0 |  | near centre
| 43 | 0:03 | Object | 5 | Normal/Medium | 16.8(1.04) | 1070 |  |  | 2S | 1.5W |  | tried without CCD 1+2 but quick look needed them
| 44 | 0:08 | Object | 5 | Normal/Medium | 16.1(1.04) | 1070 |  |  | 0 = total(127.5N) | 0= total(3084.5E) |  | forgot to apply offset but 2S and 1W would place star in centre
| 45 | 0:19 | Object | 5 | Normal/Medium | 13.8(1.03) | 1070 | centre | K | 127.5E | 3084.5E |  | back to centre and then used corrected offset, star within 1 arcsecond of postion in run 42
| 46 | 0:29 | Object | 1800 | Normal/Medium | 4.71(1.00) | 1070 | G1-G6 | 3.5 -6" |  |  |  | Dither A
| 47 | 1:01 | Object | 1800 | Normal/Medium | 3.05(1.00) | 1070 | G1-G6 | 4 -6 " |  |  |  | Dither B
| 48 | 1:34 | Object | 1800 | Normal/Medium | 9.78(1.01) | 1070 | G1-G6 | 3.5 - 5" |  |  |  | Dither C
Cloud increasing, Guide stars lost
|  | 2:46 | Dome closed due humidity
at field postion, dither C
| 49 | 4:35 | Arc | 80/80/80/20 | Normal/Medium | [7 empty] | at field postion, dither C
| 50 | 4:38 | Fibre Flat | 60/60/50/25 | Normal/Medium
|  | 5:28 | Foggy outside, good night!