## Robot
Main folder path: Z:\Robot_tile_files\{folder} Labview writes the robot shift file to: C:\Robot\robot_shift_abs_{DATETIME}.csv
Currently on telescope |  |  |  |  | Currently on robot
Date | Time | Field | Filename | Directory | Metrology Timestamp | Configuring/Unconfiguring? | Magnet rotation | Timeouts | Comments (dome temp)
241021 | 0.37462 | A0085_T032 | Robot_A0085_T032.csv | 20241021 | 241021084651 | C |  | 0 | 10.2
241021 | 0.45031 | H03_T077 | Robot_H03_T077.csv | 20241021 | 241021104136 | C |  | 0 | 11.4
241023 | 0.21366 | A0085_T032 | Robot_A0085_T032.csv | 20241021 | 241023050046 | U |  |  | 13.9
241023 | 0.26147 | A0085_SAMI_T001 | Robot_A0085_SAMI_T001.csv | 20241023 | 241023050046 | C |  |  | 14
241023 | 0.73315 | A0085_SAMI_T001 | Robot_A0085_SAMI_T001.csv | 20241023 | 241023050046 | U |  |  | 14 | fake unconfigure, recovery for circular magne GS1, magnet displaced
241023 | 0.79596 | A0085_SAMI_T001 | Robot_A0085_SAMI_T001.csv | 20241023B | 241023050046 | C |  |  | 14 | fake configure, recovery for circular magnet GS1, magnet displaced
241024 | 0.79151 | H03_T077 | Robot_H03_T077.csv | 20241021 | 241024185026 | U |  |  | 10.9
241024 | 0.89849 | H03_T078 | Robot_H03_T078.csv | 20241024 | 241024185026 | C |  |  | 10.2
241025 | 0.11902 | A0085_SAMI_T001 | Robot_A0085_SAMI_T001.csv | 20241023B | 241025024307 | U |  |  | 8.4
241025 | 4:00:00ish | A0085_SAMI_T001 | Robot_A0085_SAMI_T002.csv | 20241025 | 241025024307 | C
241026 | 0.11061 | H03_T078 | Robot_H03_T078.csv | 20241024 | 241026022936 | U |  |  | 9.4 | Unconfiguring as we observed all night on first plate, need one for first half tomorrow
241026 | 0.1563 | A0085_T033 | Robot_A0085_T033.csv | 20241026 | 241026022936 | C |  |  | 9.1
241026 | 0.77942 | A0085_SAMI_T002 | Robot_A0085_SAMI_T002.csv | 20241025 | 241026022936 | U |  |  | 9.7
241026 | 0.82292 | H03_T078 | Robot_H03_T078.csv | 20241026 | 241026022936 | C |  |  | 9.9
241028 | 0.12338 | A0085_T033 | Robot_A0085_T033.csv | 20241026 | 241028025200 | U |  |  | 12.9
241028 | 0.16881 | A0085_T035 | Robot_A0085_T035.csv | 20241028 | 241028025200 | C |  |  | 13.1
241028 | 0.78195 | H03_T078 | Robot_H03_T078.csv | 20241026 | 241028183006 | U |  |  | 13
241028 | 20:40:00ish | H03_T079 | Robot_H03_T079.csv | 20241028 | 241028202031 | C |  |  | 14.1 | Unclean pick up from parking at seq 30
241028 | 0.91662 | H03_T079 | Robot_H03_T079.csv | 20241028 | 241028202031 | C |  |  | 14.2 | restart from seq 30
241028 | 0.11145 | A0085_T035 | Robot_A0085_T035.csv | 20241028 | 241029023441 | U |  |  | 13.3
241029 | 0.16029 | A0085_T036 | Robot_A0085_T036.csv | 20241029 | 241029023441 | C |  |  | 13.5
241030 | 0.1093 | A0085_T036 | Robot_A0085_T036.csv | 20241029 | 241030023844 | U |  |  | 14.6
241030 | 0.17473 | A0085_T037 | Robot_A0085_T037.csv | 20241030 | 241030041240 | C |  |  | 15.1 | Recovered Yellow-13 and Yellow-15 from previously removed stash
241030 | 0.77229 | H03_T079 | Robot_H03_T079.csv | 20241030 | 241030183312 | U |  |  | 17.8
241030 | 0.83828 | H03_T080 | Robot_H03_T080.csv | 20241030 | 241030200811 | C |  |  | 17.8 | Recovered Yellow-11 **from parking position**. It had been dragged and dropped nearby instead of cleanly picked up. The unconfigure looked ok though as far as we could tell.
241031 | 15:16 | A0085_T037 | Robot_A0085_T037.csv | 20241031 | 241031151724 | U |  |  | 15.2 | Manually removed Blue 1-14 (G3 magnet) before unconfiguring
241031 | 0.68962 | A0085_T038 | Robot_A0085_T038.csv | 20241031 | 241031163403 | C |  |  | 15.3 | Recovered Blue 1-14
241031 | 0.90764 | H03_T080 | Robot_H03_T080.csv | 20241030 | 241031214802 | U |  |  | 15 | We put magnet Yellow 3-30 (instead of Yellow 3-11) back on to the plate via uncofig recovery mode
241101 | 0.75242 | H03_T080 | Robot_H03_T080.csv | 20241030 | 241101180431 | U |  |  | 12.7
241101 | 19:00:00ish | A0119_T064 | Robot_A0119_T064.csv | 20241101 | 241101191859 | C |  |  | 12.3 | Recovered 3-16, 3-17, 3-18, 3-19 onto the plate
241101 | 0.98186 | A0085_T038 | Robot_A0085_T038.csv | 20241031 | 241101233457 | U |  |  | 13
241101 | 0.044573 | H03_T080 | Robot_H03_T080.csv | 20241030 | 241102010516 | C |  |  | 13.6
241102 | 17:53 | H03_T080 | Robot_H03_T080.csv | 20241030 | 241102175348 | U |  |  | 14.2
241102 | 0.79771 | H03_T081 | Robot_H03_T081.csv | 20241102 | 241102190946 | C |  |  | 14
241102 | 0.0036203 | A0119_T064 | Robot_A0119_T064.csv | 20241101 | 241103000609 | U |  |  | 16
241102 | 0.064313 | A0119_T065 | Robot_A0119_T064.csv | 20241102 | 241103013336 | C |  |  | 15.8
241103 | 0.74348 | H03_T081 | Robot_H03_T081.csv | 20241102 | 241103175141 | U |  |  | 17
241103 | 0.79288 | H03_T004 | Robot_H03_T004.csv | 20241103 | 241103190250 | C |  |  | 17.2
241104 | 0.089872 | A0119_T065 | Robot_A0119_T065.csv | 20241102 | 241104021029 | U |  |  | 19
241104 | 0.14362 | A0119_T067 | Robot_A0119_T067.csv | 20241104 | 241104032749 | C |  |  | 17.3 | **Offset from base was out by a long way for this plate on 4/11 (-45 -10). Maybe circular magnet for GS1 was bumped??** --- GS1 is at an offset of 42W from centre so all good, Tom
241106 | 0.69514 | A0119_T067 | Robot_A0119_T067.csv | 20241104 |  | U
241106 | ~18:00-19:00 | H03_T004 | Robot_H03_T004.csv | 20241103 |  | U | stopped at run seq 24 when thought it may have collided with rect magnet on decent because there was noise, but checking the pick up arm and the magnet carefully, no sign of a collision and it would have definitely left damage for a rectangular magnet. Continued on with no issues.

## Run Summary
Field | Completed? | Intial QC check FWHM < 3" Trans > 0.33 Repeat if both spectrographs fail either of above checks | Comment
A0085_T032 | Y | Y | All dithers completed 22Oct, good conditions.
H03_T077 | Y | Y | 5 dithers on 22Oct, good conditions, hexa N obscured for dithers DE. DEFG on 23Oct, through some cloud.
A0085_SAMI_T001 | Y | Y, Some AAOmega dithers > 3" | not observed 23Oct due wx, all dithers on 24 Oct, good conditions initially, then worsening.
H03_T078 | Y | Y | ABC dithers on 24 Oct. DE 26Oct. FGCDE 27Oct
A0085_SAMI_T002 | Y | Y | All dithers completed 25Oct, ok, conditions. Repeated ABC as originally set wrong Spector readout speed
A0085_T033 | Y | Y | Not observed 26Oct due wx . All dithers on 27Oct, good conditions
A0085_T035 | Y | Y | All dithers completed 28Oct, good conditions
H03_T079 | Y | Y | ABCD completed 28Oct, good conditions; EFG completed 29Oct, good conditions
A0085_T036 | Y | Y | All dithers completed 29Oct, good conditions
A0085_T037 | Y | Y | All dithers completed 30Oct, good conditions
H03_T080 | Y | Y | ABCD completed 30Oct, good conditions, D 15 min into twilight. C,D not well centred (star H could not find centroid) so will repeat. EFG completed 31Oct, ok conditions. BCD completd 1Nov, ok conditions
A0085_T038 | Y | Y | ABCD completed 31Oct, ok conditions; EFG completed 1Nov, ok conditions
A0119_T064 | Y | Y | ABCD completed 1Nov, ok conditions; EFG completed 2Nov, ok conditions (some cloud)
H03_T081 | Y | Y | Completed 2Nov, ok-poor conditions
A0119_T065 | Y | ABCDEG passed | Completed 3Nov, ok-poor conditions
A0119_T067 | Y | Y | Completed 05Nov, ok conditions, last two dithers in poor seeing
H03_T004 | Y | Y | ABCD completed 4Nov, ok conditions, EFG completed 05Nov, good conditions.

## LOCKED
| Date: |  |  |  |  | Weather:
| Observers: |  |  |  |  | Program: | Hector Survey
Field name & | Run range | Local time |  | Exp. Time | Read |  |  | Guide | Seeing | Offset (arcsec) |  |  | Notes | DR Notes
Robot file name |  |  | Obs. Type | (sec) | Speed | ZD (Airmass) | Rotator (mdeg) | Stars Used | (arcsec) | N-S | E-W | Rel or Abs.
|  | press "cmd+shift+:" to automatically add timestamp | [10 empty] | AAOmega Focus Values: Blue: Focus=, Spectral=, Spatial=, Red: Focus=, Spectral=, Spatial=, Spector Blue=, Spector Red=
Telescope Focus =
A0085_T033
|  |  | Arc | 80/80/80/20 | Normal/Medium
|  |  | Fibre Flat | 60/60/50/25 | Normal/Medium

## Twilights
Place count values in the shaded area and the exposure times for next frame will be calculated. Make sure to hit enter or tab when entering the last value for the row, for the times to be calculated correctly. Exposure time will aim to trend counts towards 30k, allowing for the fact that AAOmega Blue and Red must have same exposure times. Suggested first run exposure times are for 30 seconds after sunset and 15 minutes before sunrise.
Evening Twilights
Suggested Exposure times | If you don't like suggested times, amend here | AAOmega Blue | AAOmega Red | Spector Blue | Spector Red |  |  |  | Suggested first times | Previous
5/5/5/5 |  | 15 | 6 | 15 | 15 |  |  |  | 5/5/5/5 | 5 | 5 | 5 | 5
14/14/13/13 |  | 35 | 35 | 65 | 65 |  |  |  |  | 14 | 14 | 13 | 13
25/25/10/10 | 25/25/10/10 | 20 | 10 | 10 | 10 |  |  |  |  | 25 | 25 | 10 | 10
64/64/28/28 |  | 35 | 15 | 20 | 15 |  |  |  |  | 64 | 64 | 28 | 28
153/153/72/79 |  | 35 | 15 | 25 | 20 |  |  |  |  | 153 | 153 | 72 | 79
332/332/154/185
Copy data below and paste to relevant sheet, when pasting, right click and use 'Paste special' > 'Values only' or Ctrl+Shift+V
| 19:34 | Offset sky | 5/5/5/5 | Normal/Medium |  | telescope tracking 1 hour east |  | AAOmega blue=15k red=6k Spec blue=15k red=15k | [5 empty] | exposure time formuals
| 19:36 | Offset sky | 14/14/13/13 | Normal/Medium |  |  |  | AAOmega blue=35k red=35k Spec blue=65k red=65k | [5 empty] | AA Blue | AA Red | Spec Blue | Spec Red
| 19:38 | Offset sky | 25/25/10/10 | Normal/Medium |  |  |  | AAOmega blue=20k red=10k Spec blue=10k red=10k | [5 empty] | 12.82 | 15.13 | 12.82 | 12.82
| 19:41 | Offset sky | 64/64/28/28 | Normal/Medium |  |  |  | AAOmega blue=35k red=15k Spec blue=20k red=15k | [5 empty] | 24.85 | 24.85 | 13.29 | 13.29
| 19:44 | Offset sky | 153/153/72/79 | Normal/Medium |  |  |  | AAOmega blue=35k red=15k Spec blue=25k red=20k | [5 empty] | 58.48 | 70.3 | 28.12 | 28.12
|  | Offset sky | 332/332/154/185 | Normal/Medium |  |  |  | AAOmega blue=k red=k Spec blue=k red=k | [5 empty] | 124.971 | 180.565 | 72.05 | 78.991
[14 empty] | 271.6 | 392.41 | 153.63 | 184.81
Morning Twilights
Suggested Expoure times | If you don't like suggested times, amend here | AAOmega Blue | AAOmega Red | Spector Blue | Spector Red |  |  |  | Suggested first times | Previous
150/150/120/80 |  | 36 | 40 | 37 | 48 |  |  |  | 150/150/120/80 | 150 | 150 | 120 | 80
52/52/43/21 |  | 30 | 39 | 34 | 31 |  |  |  |  | 52 | 52 | 43 | 21
24/24/20/10 |  | 26 | 24 | 30 | 26 |  |  |  |  | 24 | 24 | 20 | 10
13/13/11/6 |  | 24 | 20 | 27 | 25 |  |  |  |  | 13 | 13 | 11 | 6
8/8/6/3 | [9 empty] | 8 | 8 | 6 | 3
[18 empty] | 2.5 | 3.3
Copy data below and paste to relevant sheet, when pasting, right click and use 'Paste special' > 'Values only' or Ctrl+Shift+V | [17 empty] | 10 | 2.7
| 5:44 | Offset sky | 150/150/120/80 | Normal/Medium |  |  |  | AAOmega blue=36k red=40k Spec blue=37k red=48k | [5 empty] | exposure time formulas |  |  |  | 20 | 2.3
| 5:49 | Offset sky | 52/52/43/21 | Normal/Medium |  |  | 60E | AAOmega blue=30k red=39k Spec blue=34k red=31k | [5 empty] | AA Blue | AA Red | Spec Blue | Spec Red | 30 | 2
| 5:52 | Offset sky | 24/24/20/10 | Normal/Medium |  |  | 60E | AAOmega blue=26k red=24k Spec blue=30k red=26k | [5 empty] | 54.8 | 49.62 | 42.8 | 20.94 | 40 | 1.7
| 5:55 | Offset sky | 13/13/11/6 | Normal/Medium |  |  | 60E | AAOmega blue=24k red=20k Spec blue=27k red=25k | [5 empty] | 25 | 22.08 | 19.6 | 9.97 | 50 | 1.3
|  | Offset sky | 8/8/6/3 | Normal/Medium |  |  | 60E | AAOmega blue=k red=k Spec blue=k red=k | [5 empty] | 13.22 | 13.53 | 10.5 | 5.51 | 60 | 1.1
|  | Offset sky |  | Normal/Medium |  |  | 60E | AAOmega blue=k red=k Spec blue=k red=k | [5 empty] | 7.33 | 7.67 | 5.99 | 3.34
[14 empty] | 5.76 | 5.76 | 4.32 | 2.16

## 22102024
| Date: | 22/10/2024 |  |  |  | Weather: | Clear
| Observers: | Tom W., Mina |  |  |  | Program: | Hector Survey
Field name & | Run range | Local time |  | Exp. Time | Read |  |  | Guide | Seeing | Offset (arcsec) |  |  | Notes | DR Notes
Robot file name |  |  | Obs. Type | (sec) | Speed | ZD (Airmass) | Rotator (mdeg) | Stars Used | (arcsec) | N-S | E-W | Rel or Abs.
|  | press "cmd+shift+:" to automatically add timestamp | [10 empty] | AAOmega Focus Values: Blue: Focus=113, Spectral=3436, Spatial=2314, Red: Focus=505, Spectral=2414, Spatial=1316, Spector Blue=2855.07, Spector Red=2315.99
A0085_T032 | [12 empty] | Telescope Focus =
| 1 | 17:58 | Arc | 80/80/80/20 | Normal/Medium | [7 empty] | disabled
| 2 |  | Fibre Flat | 60/60/50/25 | Normal/Medium | [7 empty] | TLC Failure- CCD 1,2 disabled
| 3 | 19:25 | Offset sky | 5/5/5/5 | Normal/Medium | [7 empty] | AAOmega blue=25k red=30k Spec blue=21k red=32k - disabled, tlc, cloud affected
| 4 | 19:27 | Offset sky | 10/10/11/9 | Normal/Medium | [6 empty] | 60E | AAOmega blue=30k red=33k Spec blue=30k red=32k- disabled, tlc, cloud affected
| 5 | 19:30 | Offset sky | 19/19/21/17 | Normal/Medium | [6 empty] | 60E | AAOmega blue=30k red=14k Spec blue=30k red=32k- disabled, tlc, cloud affected
| 6 | 19:39 | Fibre Flat | 60/60/50/25 | Normal/Medium | [7 empty] | TLC Failure- CCD 1,2 disabled
| 7 | 20:53 | Fibre Flat | 60/60/50/25 | Normal/Medium | [7 empty] | TLC Failure- CCD 1,2 disabled, sky fibres A2-5,6,7 all deactivated in fibre table.
| 8 | 21:02 | Fibre Flat | 60/60/50/25 | Normal/Medium | [7 empty] | TLC ok
| 9 | 21:12 | Arc | 80/80/80/20 | Normal/Medium | [7 empty] | Focus check ok
SNAFU completed while sorting out fibre issues
| 10 | 21:18 | Acquisition | 300 | Normal/Medium | 36.7(1.30) | 1050 | G1-G6 | 1.7"
| 11 | 21:32 | Object | 1800 | Normal/Medium | 37.0(1.25) | 1060 | G1-G5 | 1,9" |  |  |  | Dither A, GS6 5" off centre
| 12 | 22:04 | Object | 1800 | Normal/Medium | 30.8(1.16) | 1060 | G1-G5 | 1.9" |  |  |  | Dither B
| 13 | 22:36 | Object | 1800 | Normal/Medium | 26.3(1.11) | 1060 | G1-G5 | 1.5" |  |  |  | Dither C
| 14 | 23:09 | Object | 1800 | Normal/Medium | 22.9(1.09) | 1060 | G1-G5 | 1.7" |  |  |  | Dither D
| 15 | 23:41 | Arc | 80/80/80/20 | Normal/Medium | [7 empty] | TLC ok
| 16 | 23:48 | Fibre Flat | 60/60/50/25 | Normal/Medium | [7 empty] | Focus check ok
| 17 | 23:48 | Object | 1800 | Normal/Medium | 21.7(1.08) | 1060 | G1-G5 | 2.0" |  |  |  | Dither E
| 18 | 0:30 | Object | 1800 | Normal/Medium | 24.35(1.10) | 1060 | G1-G5 | 1.8" |  |  |  | Dither F
| 19 | 0:53 | Object | 1800 | Normal/Medium | 27.2(1.12) | 1060 | G1-G5 | 1.9" |  |  |  | Dither G
H03_T077
| 20 | 2:12 | Fibre Flat | 60/60/50/25 | Normal/Medium | [7 empty] | at field position, TLC ok
| 21 | 2:16 | Arc | 80/80/80/20 | Normal/Medium | [7 empty] | at field position, Focus check ok
| 22 | 2:20 | Object | 1800 | Normal/Medium | 8.4(1.01) | 1050 | G1-G6 | 1.7" |  |  |  | Dither A, rotation set off guide stars to save time, quick look plot is good
| 23 | 2:54 | Object | 1800 | Normal/Medium | 15.5(1.04) | 1050 | G1-G6 | 1.5" |  |  |  | Dither B
| 24 | 3:25 | Object | 1800 | Normal/Medium | 23.4(1.09) | 1050 | G1-G6 | 1.5" |  |  |  | Dither C
| 25 | 3:58 | Object | 1800 | Normal/Medium | 32.4(1.17) | 1050 | G1-G6 | 1.6" |  |  |  | Dither D, tape holding cable down came off and obscured hexa N, disabled CCDs 3+4
| 26 | 4:33 | Object | 1800 | Normal/Medium | 36.9(1.25) | 1050 | G1-G6 | 1.9" |  |  |  | Dither E, tape holding cable down came off and obscured hexa N, disabled CCDs 3+4
| 27 | 5:02 | Object | 240 | Normal/Medium | 30.2(1.15) | 1050 | [5 empty] | LTT1788 - AAOmega A
| 28 | 5:10 | Object | 240 | Normal/Medium | 30.8(1.16) | 1050 |  |  | 3S |  |  | LTT1788 - AAOmega A
| 29 | 5:17 | Object | 240 | Normal/Medium | 31.9(1.18) | 1050 |  |  | 2S | 2W |  | LTT1788 - AAOmega A
| 30 | 5:31 | Arc | 80/80/80/20 | Normal/Medium | [7 empty] | at end of dither E position, TLC failure, tape holding cable down came off and obscured hexa N, disabled CCDs 3+4
| 31 | 5:35 | Fibre Flat | 60/60/50/25 | Normal/Medium | [7 empty] | dithers, ABC ok, tape off after that. disabling all subsequent frames, standard stars ok, as hexa O used only., disabled CCDs 3+4
cable secured now
| 32 | 5:57 | Offset sky | 150/150/120/80 | Normal/Medium | [7 empty] | AAOmega blue=30k red=31k Spec blue=29k red=36k
| 33 | 6:01 | Offset sky | 62/62/51/29 | Normal/Medium | [5 empty] | 60E |  | AAOmega blue=32k red=35k Spec blue=33k red=39k
| 34 | 6:05 | Offset sky | 28/28/24/12 | Normal/Medium | [5 empty] | 60E |  | AAOmega blue=28k red=29k Spec blue=32k red=31k
| 35 | 6:07 | Offset sky | 15/15/12/6 | Normal/Medium | [5 empty] | 60E |  | AAOmega blue=26k red=25k Spec blue=28k red=26k
| 36 | 6:19 | Arc | 80/80/80/20 | Normal/Medium
| 37 | 6:24 | Fibre Flat | 60/60/50/25 | Normal/Medium
| 38-39 | 6:28 | Dark | 1800 | Normal/Medium

## 23102024
| Date: | 23/10/2024 |  |  |  | Weather: | Cloudy, cleared later
| Observers: | Tom W., Mina |  |  |  | Program: | Hector Survey
Field name & | Run range | Local time |  | Exp. Time | Read |  |  | Guide | Seeing | Offset (arcsec) |  |  | Notes | DR Notes
Robot file name |  |  | Obs. Type | (sec) | Speed | ZD (Airmass) | Rotator (mdeg) | Stars Used | (arcsec) | N-S | E-W | Rel or Abs.
|  | press "cmd+shift+:" to automatically add timestamp | [10 empty] | AAOmega Focus Values: Blue: Focus=119, Spectral=2336, Spatial=3397, Red: Focus=506.3, Spectral=2451.7, Spatial=2336, Spector Blue=2847.67, Spector Red=2314.75
Telescope Focus = 38.9
A0085_SAMI_T001
| 1 | 19:07 | Arc | 80/80/80/20 | Normal/Medium | [7 empty] | Using last nights focus values, to check tramlines, will do defocossed flats
| 2 | 19:11 | Fibre Flat | 60/60/50/25 | Normal/Medium | [7 empty] | Using last nights focus values, TLC ok, focus check ok.
Clouds
| 3 - 12 | 19:23 | Defocussed flat | 40/40/40/25 | Normal/Medium | [7 empty] | lamp: 75W AAOmega; AAOmega blue=12k red=42k, Spec blue=13k, red=46k
| 13 - 22 | 19:56 | Defocussed flat | 38/38/38/18 | Normal/Medium | [7 empty] | AAOmega blue=12k, red=40k, Spec blue=13k, red=35k
| 23 - 32 | 20:33 | Defocussed flat | 35/35/35/15 | Normal/Medium | [7 empty] | AAOmega blue=10k, red=37k, Spec blue=12k, red=28k
| 33 | 22:15 | Arc | 80/80/80/20 | Normal/Medium | [7 empty] | Mirror cover closed- disabled
| 34 | 22:20 | Fibre Flat | 60/60/50/25 | Normal/Medium | [7 empty] | Mirror cover closed- disabled
| 35 | 23:16 | Arc | 80/80/80/20 | Normal/Medium | [7 empty] | Focus check ok, at zenith
| 36 | 23:21 | Fibre Flat | 60/60/50/25 | Normal/Medium | [7 empty] | TLC ok
| 37 | 23:39 | Dark | 1800 | Normal/Medium
H03_T077
| 38 | 1:05 | Arc | 80/80/80/20 | Normal/Medium | [7 empty] | Focus check ok, at zenith
| 39 | 1:09 | Fibre Flat | 60/60/50/25 | Normal/Medium | [7 empty] | TLC ok, at zenith
| 40 | 1:44 | Acquisition | 300 | Normal/Medium |  | 1050 | G1-G6 |  |  |  |  | through breaks in cloud.
waiting for cloud to clear
| 41 | 2:07 | Object | 1800 | Normal/Medium | 6.48(1.01) | 1050 | G1-G6 | 2.5" |  |  |  | Dither D, cloud patches in all dithers.
| 42 | 2:38 | Object | 1800 | Normal/Medium | 13.56(1.03) | 1050 | G1-G6 | 2.3" |  |  |  | Dither E
| 43 | 3:11 | Object | 1800 | Normal/Medium | 19.8(1.07) | 1060 | G1-G6 | 2.5" |  |  |  | Dither F
| 44 | 3:43 | Object | 1800 | Normal/Medium | 26.64(1.12) | 1060 | G1-G6 | 2.5" |  |  |  | Dither G
| 45 | 4:17 | Acquisition | 30 | Normal/Medium | 22.6(1.08) | 1060 | [5 empty] | LTT1788 - Spector O
| 46 | 4:21 | Object | 240 | Normal/Medium | 21.8(1.08)) | 1060 | [5 empty] | LTT1788 - Spector O
| 47 | 4:27 | Object | 240 | Normal/Medium | 23.0(1.09) | 1060 |  |  | 2S |  |  | LTT1788 - Spector O
| 48 | 4:33 | Object | 240 | Normal/Medium | 25.0(1.10) | 1060 |  |  |  | 2W |  | LTT1788 - Spector O
| 49 | 4:39 | Acquisition | 30 | Normal/Medium | 25.5(1.11) | 1060 | [5 empty] | LTT1788 - Spector T-off edge, disabled
| 50 | 4:44 | Acquisition | 30 | Normal/Medium |  | 1060 |  |  | 4S | $E |  | LTT1788 - Spector T
| 51 | 4:47 | Object | 240 | Normal/Medium |  | 1060 | [5 empty] | LTT1788 - Spector T
| 52 | 4:53 | Object | 240 | Normal/Medium | 28.7(1.14) | 1060 |  |  | 2S |  |  | LTT1788 - Spector T
| 53 | 5:02 | Acquisition | 30 | Normal/Medium | 30.1(1.16) | 1060 | [5 empty] | LTT1788 - AAOmega B- off edge disabled
| 54 | 5:06 | Object | 240 | Normal/Medium | 30.7(1.16) | 1060 |  |  | 6S |  |  | LTT1788 - AAOmega B
| 55 | 5:13 | Arc | 80/80/80/20 | Normal/Medium | [7 empty] | at end of dithers field postion
| 56 | 5:17 | Fibre Flat | 60/60/50/25 | Normal/Medium | [7 empty] | at end of dithers field postion, TLC ok.
| 57 | 5:55 | Offset sky | 150/150/120/80 | Normal/Medium | [7 empty] | AAOmega blue=30k red=20k Spec blue=30k red=23k
| 58 | 6:00 | Offset sky | 69/69/50/38 | Normal/Medium | [5 empty] | 60E |  | AAOmega blue=45k red=40k Spec blue=33k red=44k
| 59 | 78:11 | Offset sky | 28/28/23/15 | Normal/Medium | [5 empty] | 60E |  | AAOmega blue=30k red=27k Spec blue=32k red=37k
| 60 | 6:09 | Offset sky | 15/15/12/7 | Normal/Medium | [5 empty] | 60E |  | AAOmega blue=27k red=23k Spec blue=29k red=27k
| 61-63 | 6:13 | Dark | 1800

## 24102024
| Date: | 24/10/2024 |  |  |  | Weather: | Cloud, rain initially but cleared, seeing worsened as evening progressed.
| Observers: | Tom W., Mina |  |  |  | Program: | Hector Survey
Field name & | Run range | Local time |  | Exp. Time | Read |  |  | Guide | Seeing | Offset (arcsec) |  |  | Notes | DR Notes
Robot file name |  |  | Obs. Type | (sec) | Speed | ZD (Airmass) | Rotator (mdeg) | Stars Used | (arcsec) | N-S | E-W | Rel or Abs.
|  | press "cmd+shift+:" to automatically add timestamp | [10 empty] | AAOmega Focus Values: Blue: Focus=119, Spectral=3380.1, Spatial=2289, Red: Focus=512.9, Spectral=2454, Spatial=1428.6, Spector Blue=2862.09, Spector Red=2313.04 | Spector: running the focus script with flappy flat
[13 empty] | Spector Blue=2859.96, Spector Red=2312.04 |  | Spector: dorm flat (used)
A0085_SAMI_T001 | [12 empty] | Telescope Focus = 39.0
| 1 | 19:28 | Arc | 80/80/80/20 | Normal/Medium | [7 empty] | Focus Check ok
| 2 | 19:32 | Fibre Flat | 60/60/50/25 | Normal/Medium | [7 empty] | TLC ok
| 2024-03-12 | 19:52 | Bias | 0 | Normal/Medium
| 13 | 20:20 | Dark | 1800 | Normal/Medium
Cloud clearing
| 14 | 21:19 | Acquisition | 300 | Normal/Medium | 38.0(1.26) | 1050 | G1-G6 | 1.7"
| 15 | 21:31 | Object | 1800 | Normal/Medium | 35.78(1.23) | 1050 | G1-G6 |  |  |  |  | Dither A
| 16 | 22:03 | Object | 1800 | Normal/Medium | 30.32(1.16) | 1050 | G1-G6 |  |  |  |  | Dither B
| 17 | 22:34 | Object | 1800 | Normal/Medium | 25.34(1.11) | 1050 | G1-G6 | 3" |  |  |  | Dither C | windy?
| 18 | 23:10 | Object | 1800 | Normal/Medium |  | 1050 | G1-G6 |  |  |  |  | Dither D
| 19 | 23:39 | Arc | 80/80/80/20 | Normal/Medium
| 20 | 23:42 | Fibre Flat | 60/60/50/25 | Normal/Medium
| 21 | 23:45 | Object | 1800 | Normal/Medium | 22.09(1.08) | 1050 | G1-G6 |  |  |  |  | Dither E
| 22 | 0:18 | Object | 1800 | Normal/Medium |  | 1050 | G1-G6 | 3 - 5" |  |  |  | Dither F
| 23 | 0:50 | Object | 1800 | Normal/Medium | 28.8(1.14) | 1050 | G1-G6 | 3 - 4" |  |  |  | Dither G
H03_T078
| 24 | 2:26 | Arc | 80/80/80/20 | Normal/Medium
| 25 | 2:30 | Fibre Flat | 60/60/50/25 | Normal/Medium | [7 empty] | at field positon, focus check ok
at field positon, TLC ok.
| 26 | 2:35 | Object | 1800 | Normal/Medium | 12.41(1.02) | 1040 | G1, G3-G6 | 2.5 - 3.5" |  |  |  | Dither A, GS2 is double star
| 27 | 3:16 | Object | 1800 | Normal/Medium | 19.4(1.09) | 1055 | G1, G3-G6 | 2.5 - 3.5" |  |  |  | Dither B, adjusted rotation
| 28 | 3:53 | Object | 1800 | Normal/Medium | 29.2(1.15) | 1065 | G1, G3-G6 | 2.5 - 5" |  |  |  | Dither C, adjusted rotation
| 29 | 4:25 | Acquisition | 30 | Normal/Medium | 24.19(1.10) | 1065 | [5 empty] | LTT1788 - AAOmega F, seeing is pretty poor so expect bloated psf
| 30 | 4:32 | Object | 240 | Normal/Medium | 24.71(1.10) | [6 empty] | LTT1788 - AAOmega F
| 31 | 4:38 | Object | 240 | Normal/Medium | [5 empty] | 2E |  | LTT1788 - AAOmega F
| 32 | 4:44 | Object | 240 | Normal/Medium | 27.8(1.12) |  |  |  | 2S |  |  | LTT1788 - AAOmega F
| 33 | 4:51 | Acquisition | 30 | Normal/Medium | 28.39(1.14) |  |  | GS1 to bundle I | 1895S | 737W |  | LTT1788 - Spector I, off edge, disabled
| 34 | 4:56 | Acquisition | 30 | Normal/Medium | 29.63(1.15) |  |  |  | 8N | 8E |  | LTT1788 - Spector I, 2 cores East of centre,
| 35 | 5:01 | Object | 240 | Normal/Medium | 30.27(1.16) | [6 empty] | LTT1788 - Spector I,
| 36 | 5:07 | Object | 240 | Normal/Medium | 31.60(1.17) |  |  |  |  | 4E |  | LTT1788 - Spector I, near centre, total correction: 12E, 8N. over an offset of 737W, 1895S
| 37 | 5:14 | Object | 240 | Normal/Medium | 32.79(1.19) |  |  |  | 2N |  |  | LTT1788 - Spector I
| 38 | 5:20 | Fibre Flat | 60/60/50/25 | Normal/Medium
| 39 | 5:25 | Arc | 80/80/80/20 | Normal/Medium
| 39 | 5:54 | Offset sky | 150/150/120/80 | Normal/Medium | [5 empty] | telescope parked 1hr west |  | AAOmega blue=30k red=17k Spec blue=30k red=22k
| 40 | 5:59 | Offset sky | 71/71/50/39 | Normal/Medium | [7 empty] | AAOmega blue=36k red=27k Spec blue=34k red=35k
| 41 | 6:02 | Offset sky | 33/33/23/18 | Normal/Medium | [7 empty] | AAOmega blue=34k red=28k Spec blue=32k red=38k
| 42 | 6:05 | Offset sky | 17/17/12/9 | Normal/Medium | [7 empty] | AAOmega blue=29k red=25k Spec blue=28k red=34k
| 43 - 45 | 6:11 | Dark | 1800 | Normal/Medium
| 46 | 1:22 | Object | 1800 | Normal/Medium |  | 1050 | G1-G6 |  |  |  |  | Dither D
|  |  | Object | 1800 | Normal/Medium |  | 1050 | G1-G6 |  |  |  |  | Dither E
|  |  | Object | 1800 | Normal/Medium |  | 1050 | G1-G6 |  |  |  |  | Dither F
|  |  | Object | 1800 | Normal/Medium |  | 1050 | G1-G6 |  |  |  |  | Dither G

## 25102024
| Date: | 25/10/2024 |  |  |  | Weather: | Cloudy, clear then cloudy
| Observers: | Tom W., Mina |  |  |  | Program: | Hector Survey
Field name & | Run range | Local time |  | Exp. Time | Read |  |  | Guide | Seeing | Offset (arcsec) |  |  | Notes | DR Notes
Robot file name |  |  | Obs. Type | (sec) | Speed | ZD (Airmass) | Rotator (mdeg) | Stars Used | (arcsec) | N-S | E-W | Rel or Abs.
|  | press "cmd+shift+:" to automatically add timestamp | [10 empty] | AAOmega Focus Values: Blue: Focus=125, Spectral=3391.1, Spatial=2305.1, Red: Focus=513.3, Spectral=2407.3, Spatial=1330.2, Spector Blue=2856.66, Spector Red=2312.94
A0085_SAMI_T002 | [12 empty] | Telescope Focus = 39.0
Too cloudy for twilights
| 47 | 19:19 | Arc | 80/80/80/20 | Normal/Medium | [7 empty] | at zenith
| 48 | 19:23 | Fibre Flat | 60/60/50/25 | Normal/Medium | [7 empty] | TLC ok
| 1 | 19:58 | Arc | 800 | Normal/Medium | [7 empty] | Long exposure arc, disabled
cloud clearing. problem with running offset script with the SAMI tile, (worked out it was amendment ot -99 values we changed so it would load in CCCD window, this changed type column)
| 2 | 20:30 | Acquisition | 300 | Normal/Normal | 47.0(1.44) | 1060 | G1-G6 | 1.5"
| 3 | 20:43 | Object | 1800 | Normal/Normal | 44.29(1.40) | 1070 | G1-G6 | 1.7" |  |  |  | Dither A, CCDs 3+4 Normal readout, disabled by DR pipeline. Argh! forgot to change it back after Control task restart
| 4 | 21:16 | Object | 1800 | Normal/Normal |  | 1070 | G1-G6 |  |  |  |  | Dither B, CCDs 3+4 Normal readout, disabled by DR pipeline
| 5 | 21:49 | Object | 1800 | Normal/Normal | 21.9(1.18) | 1070 | G1-G6 | 1.7" |  |  |  | Dither C, CCDs 3+4 Normal readout, disabled by DR pipeline
| 6 | 22:46 | Object | 1800 | Normal/Medium | 23.7(1.09) | 1070 | G1-G6 | 1.8" |  |  |  | Dither D
| 7 | 23:18 | Arc | 80/80/80/20 | Normal/Medium
| 8 | 23:23 | Fibre Flat | 60/60/50/25 | Normal/Medium | [7 empty] | TLC ok
| 9 | 23:25 | Object | 1800 | Normal/Medium | 21.9(1.08) | 1070 | G1-G6 | 2.3" |  |  |  | Dither E
| 10 | 23:57 | Object | 1800 | Normal/Medium | 22.9(1.09) | 1070 | G1-G6 | 2.5" |  |  |  | Dither F
| 11 | 0:30 | Object | 1800 | Normal/Medium | 26.2(1.11) | 1070 | G1-G6 | 2.5" |  |  |  | Dither G, forgot to look at focus check results, Spector showing as though we didn't do the -200 move. Difd again before start of this dither.
Redo dithers ABC due Spector readout
| 12 | 1:02 | Object | 1800 | Normal/Medium | 30.9(1.17) | 1070 | G1-G6 | 2.5 - 3.5" |  |  |  | Dither A
| 13 | 1:35 | Object | 1800 | Normal/Medium | 36.6(1.24) | 1070 | G1-G6 | 2.5 - 3.5" |  |  |  | Dither B
| 14 | 2:06 | Object | 1800 | Normal/Medium |  | 1070 | G1-G6 | 2.5 - 3.5" |  |  |  | Dither C
| 15 | 2:40 | Arc | 80/80/80/20 | Normal/Medium
| 16 | 2:45 | Fibre Flat | 60/60/50/25 | Normal/Medium
Too late for plate change, and cloud coming
| 17 | 3:08 | Acquisition | 30 | Normal/Medium | 10.86(1.02) | 1070 | [5 empty] | LTT1788 - AAOmega C
| 18 | 3:13 | Object | 240 | Normal/Medium | 11.10(1.02) | 1070 | [5 empty] | LTT1788 - AAOmega C
| 19 | 3:37 | Object | 240 | Normal/Medium |  | 1070 |  |  | 2S | 2E |  | LTT1788 - AAOmega C
| 20 | 3:37 | Object | 240 | Normal/Medium |  | 1070 |  |  |  | 2E |  | LTT1788 - AAOmega C
| 49 | 3:37 | Acquisition | 30 | Normal/Medium | 15.28(1.04) | 1070 | [5 empty] | LTT1788 - Spector S
| 50 | 3:43 | Object | 240 | Normal/Medium | 16.26(1.04) | 1070 |  |  | 4S |  |  | LTT1788 - Spector S
Getting too cloudy, pausing
| 51-60 | 4:02 | Bias | 0 | Normal/Medium
| 61-70 | 4:39 | Bias | 0 | Normal/Medium
Checking some bigger offsets, with SNAFU star
[8 empty] | from | to
[8 empty] | GS1 | GS2 | 363N | 1740W |  | Correction 19S 2E
[8 empty] | GS1 | GS4 | 2100S | 983E |  | Correction 10N 7W
[8 empty] | GS1 | GS6 | 1708N | 11W |  | Correction 2S 0
[8 empty] | GS1 | GS3 | 1756S | 1016W |  | Correction 0 18E
[8 empty] | GS1 | GS5 | 551N | 1764E |  | Correction 9S 0
| 71 | 5:02 | Dark | 1800 | Normal/Medium
|  | 5:30 | High level cloud not clearing for twilights
| 72-75 | 5:34 | Dark | 1800 | Normal/Medium

## 26102024
| Date: | 26/10/2024 |  |  |  | Weather: | Cloudy
| Observers: | Tom W., Mina |  |  |  | Program: | Hector Survey
Field name & | Run range | Local time |  | Exp. Time | Read |  |  | Guide | Seeing | Offset (arcsec) |  |  | Notes | DR Notes
Robot file name |  |  | Obs. Type | (sec) | Speed | ZD (Airmass) | Rotator (mdeg) | Stars Used | (arcsec) | N-S | E-W | Rel or Abs.
|  | press "cmd+shift+:" to automatically add timestamp | [10 empty] | AAOmega Focus Values: Blue: Focus=138, Spectral=3339.1, Spatial=2309, Red: Focus=518.2, Spectral=2441.5, Spatial=1360.8, Spector Blue=2850, Spector Red=2310.98
A0085_T033 | [12 empty] | Telescope Focus = 39.0
| 1 | 19:05 | Arc | 80/80/80/20 | Normal/Medium | [7 empty] | CCD 4 not in focus, CCD4 disabled, subtracted 200 but forgot to move it back!
| 2 | 19:09 | Fibre Flat | 60/60/50/25 | Normal/Medium | [7 empty] | TLC, CCD 4 fail due focus, CCD4 disabled
| 3 | 19:33 | Fibre Flat | 60/60/50/25 | Normal/Medium | [7 empty] | TLC ok
| 4 | 19:42 | Arc | 80/80/80/20 | Normal/Medium | [7 empty] | Focus check ok
| 2024-05-06 | 19:51 | Dark | 1800 | Normal/Medium
| 2024-07-08 | 21:18 | Dark | 1800 | Normal/Medium
|  | 22:22 | still cloudy
H03_T078
| 9 | 0:16 | Arc | 80/80/80/20 | Normal/Medium | [7 empty] | wrong tile file loaded, disabled
| 10 | 0:20 | Fibre Flat | 60/60/50/25 | Normal/Medium | [7 empty] | TLC failed, wrong tile file loaded, disabled
| 11 | 0:34 | Fibre Flat | 60/60/50/25 | Normal/Medium | [7 empty] | TLC ok
| 12 | 0:38 | Arc | 80/80/80/20 | Normal/Medium | [7 empty] | focus ok
Sucker hole coming up but we are going for it!
| 13 | 1:22 | Object | 1800 | Normal/Medium | 1.5(1.00) | 1050 | G1-G6 | 1.8" |  |  |  | Dither D, passed qc
| 14 | 2:04 | Object | 1800 | Normal/Medium | 10.0(1.02) | 1050 | G1-G6 | 2.3" |  |  |  | Dither E, failed transmisson qc
| 15 | 2:45 | Arc | 80/80/80/20 | Normal/Medium
| 16 | 2:49 | Fibre Flat | 60/60/50/25 | Normal/Medium
looking for big enough gaps in the clouds
| 17 | 3:22 | Object | 1800 | Normal/Medium | 23.8(1.09) | 1050 | G1-G6 | 1.9" |  |  |  | Dither E, passed qc
no more gaps coming
| 18 | 4:14 | Arc | 800 | Normal/Medium | [7 empty] | Long exposure arc- disabled
| 19 - 24 | 4:38 | Dark | 1800 | Normal/Medium
|  | 4:46 | No twilights

## 27102024
| Date: | 27/10/2024 |  |  |  | Weather: | Cloudy, then clear
| Observers: | Tom W., Mina |  |  |  | Program: | Hector Survey
Field name & | Run range | Local time |  | Exp. Time | Read |  |  | Guide | Seeing | Offset (arcsec) |  |  | Notes | DR Notes
Robot file name |  |  | Obs. Type | (sec) | Speed | ZD (Airmass) | Rotator (mdeg) | Stars Used | (arcsec) | N-S | E-W | Rel or Abs.
|  | press "cmd+shift+:" to automatically add timestamp | [10 empty] | AAOmega Focus Values: Blue: Focus=147, Spectral=3363.1, Spatial=2304, Red: Focus=518.2, Spectral=2441.5, Spatial=1360.8, Spector Blue=2848.06, Spector Red=2312
Telescope Focus = 39.0
A0085_T033
|  |  | 19:19 | a bit of a delay due having to pump AAOmega blue. Will do Arc and flat after twilights, focusing done
| 1 | 19:29 | Offset sky | 5/5/5/5 | Normal/Medium | [5 empty] | telescope parked 1 hour east |  | AAOmega blue=16k red=15k Spec blue=23k red=39k
| 2 | 19:31 | Offset sky | 13/13/11/8 | Normal/Medium | [7 empty] | AAOmega blue=27k red=27k Spec blue=33k red=45k
| 3 | 19:33 | Offset sky | 27/27/20/12 | Normal/Medium | [7 empty] | AAOmega blue=34k red=37k Spec blue=36k red=44k
| 4 | 19:36 | Offset sky | 48/48/35/18 | Normal/Medium | [7 empty] | AAOmega blue=32k red=38k Spec blue=35k red=39k
| 5 | 19:39 | Offset sky | 94/94/68/33 | Normal/Medium | [7 empty] | AAOmega blue=29k red=33k Spec blue=32k red=34k
| 6 | 20:07 | Fibre Flat | 60/60/50/25 | Normal/Medium | [7 empty] | TLC ok, at field position
| 7 | 20:11 | Arc | 80/80/80/20 | Normal/Medium | [7 empty] | focus ok
| 8 | 20:23 | Acquisition | 30 | Normal/Medium | 25.5(1.11) | [6 empty] | LTT9491 - AAOmega E
| 9 | 20:26 | Object | 240 | Normal/Medium | 25.0(1.10) | [6 empty] | LTT9491 - AAOmega E
| 10 | 20:33 | Object | 240 | Normal/Medium | 24.0(1.09) |  |  |  | 2N |  |  | LTT9491 - AAOmega E
| 11 | 20:39 | Object | 240 | Normal/Medium | 22.8(1.08) |  |  |  | 2N |  |  | LTT9491 - AAOmega E
| 12 | 20:45 | Acquisition | 30 | Normal/Medium | 21.6(1.08) | [6 empty] | LTT9491 - Spector Q
| 13 | 20:48 | Object | 240 | Normal/Medium | 21.2(1.07) | [6 empty] | LTT9491 - Spector Q
| 14 | 20:54 | Object | 240 | Normal/Medium | 20.2(1.07 |  |  |  |  | 2E |  | LTT9491 - Spector Q
| 15 | 21:00 | Object | 240 | Normal/Medium | 19.2(1.06) |  |  |  | 2N |  |  | LTT9491 - Spector Q
| 16 | 21:08 | Acquisition | 300 | Normal/Medium | 36.9(1.25) | 1070 | G1-G6 | 2.1"
| 17 | 21:21 | Object | 1800 | Normal/Medium | 34.7(1.22) | 1085 | G1-G6 | 2.1" |  |  |  | Dither A
| 18 | 21:55 | Object | 1800 | Normal/Medium | 28.7(1.14) | 1085 | G1-G6 | 1.7" |  |  |  | Dither B
| 19 | 22:25 | Object | 1800 | Normal/Medium | 24.6(1.10) | 1085 | G1-G6 | 2.1" |  |  |  | Dither C
| 20 | 22:56 | Object | 1800 | Normal/Medium | 21.5(1.07) | 1085 | G1-G6 | 1.9" |  |  |  | Dither D
| 21 | 23:29 | Arc | 80/80/80/20 | Normal/Medium | [7 empty] | focus ok
| 22 | 23:34 | Fibre Flat | 60/60/50/25 | Normal/Medium | [7 empty] | TLC ok
| 23 | 23:36 | Object | 1800 | Normal/Medium | 21.6(1.08) | 1085 | G1-G6 | 2.1" |  |  |  | Dither E
| 24 | 0:08 | Object | 1800 | Normal/Medium | 24.9(1,10) | 1085 | G1-G6 |  |  |  |  | Dither F
| 25 | 0:39 | Object | 1800 | Normal/Medium | 29.40(1.15) | 1085 | G1-G6 | 2.1" |  |  |  | Dither G
H03_T078
| 26 | 1:57 | Arc | 80/80/80/20 | Normal/Medium | [7 empty] | focus ok, at field postion
| 27 | 2:01 | Fibre Flat | 60/60/50/25 | Normal/Medium | [7 empty] | TLC ok
| 28 | 2:08 | Object | 1800 | Normal/Medium | 9.0(1.01) | 1065 | G1-G6 | 1.5" |  |  |  | Dither F
| 29 | 2:40 | Object | 1800 | Normal/Medium | 16.1(1.04) | 1065 | G1-G6 | 1.5" |  |  |  | Dither G
| 30 | 3:15 | Object | 1800 | Normal/Medium | 23.19(1.09) | 1065 | G1-G6 | 1.7" |  |  |  | Dither C, repeat marginal previous dithers
| 31 | 3:46 | Object | 1800 | Normal/Medium | 30.35(1.16) | 1065 | G1-G6 | 1.7" |  |  |  | Dither D
| 32 | 4:19 | Arc | 80/80/80/20 | Normal/Medium
| 33 | 4:26 | Object | 1800 | Normal/Medium | 37.52(1.26) | 1065 | G1-G6 |  |  |  |  | Dither E
| 34 | 4:59 | Acquisition | 30 | Normal/Medium | [7 empty] | LTT3218 - Spector , on edge
| 35 | 5:06 | Object | 100 | Normal/Medium | 28.5(1.14) |  |  |  |  | 6S | 4W | LTT3218 - Spector P
| 36 | 5:10 | Object | 100 | Normal/Medium | [5 empty] | 1.5S | 1.5W | LTT3218 - Spector P
| 37 | 5:14 | Object | 100 | Normal/Medium | [6 empty] | 1.5W | LTT3218 - Spector P
| 38 | 5:19 | Fibre Flat | 60/60/50/25 | Normal/Medium | [7 empty] | at end of dithers field postion
| 39 | 5:52 | Offset sky | 150/150/120/80 | Normal/Medium | [5 empty] | telescope parked 1hr west |  | AAOmega blue=36k red=36k Spec blue=47k red=42k- disabled
| 40 |  | Offset sky | 55/55/32/25 | Normal/Medium | [7 empty] | AAOmega blue=30k red=33k Spec blue=23k red=38k- disabled
| 41 |  | Offset sky | 26/26/17/11 | Normal/Medium | [7 empty] | AAOmega blue=26k red=28k Spec blue=23k red=31k- disabled
| 42 | 6:02 | Offset sky | 14/14/10/6 | Normal/Medium | [7 empty] | AAOmega blue=23k red=23k Spec blue=23k red=26k- disabled |  | #%&$!, realised I left dome lights on after checking robot.
should have realised earlier as the counts seemed a bit srcewy.
| 43-45 | 6:08 | Dark | 1800 | Normal/Medium

## 28102024
| Date: | 28/10/2024 |  |  |  | Weather: | Clear
| Observers: | Tom W., Mina, |  |  |  | Program: | Hector Survey
Field name & | Run range | Local time |  | Exp. Time | Read |  |  | Guide | Seeing | Offset (arcsec) |  |  | Notes | DR Notes
Robot file name |  |  | Obs. Type | (sec) | Speed | ZD (Airmass) | Rotator (mdeg) | Stars Used | (arcsec) | N-S | E-W | Rel or Abs.
|  | press "cmd+shift+:" to automatically add timestamp | [10 empty] | AAOmega Focus Values: Blue: Focus=143, Spectral=3416.1, Spatial=2296, Red: Focus=516.8, Spectral=2355.1, Spatial=1400.3, Spector Blue=2842.8, Spector Red=2311.98
Telescope Focus = 39.0
A0085_T035 | [12 empty] | AAOmega Blue is losing vaccuum, pumped to start of observing, at 166.1K. 12am at 168.8, 2am 170.0
| 1 |  | Fibre Flat | 60/60/50/25 | Normal/Medium | [7 empty] | TLC ok, but light on in dome- disabled
| 2 | 19:30 | Offset sky | 5/5/5/5 | Normal/Medium | [5 empty] | telescope parked 1 hour east |  | AAOmega blue=15k red=13k Spec blue=23k red=38k
| 3 | 19:31 | Offset sky | 13/13/11/8 | Normal/Medium | [7 empty] | AAOmega blue=20k red=25k Spec blue=22k red=30k
| 4 | 19:34 | Offset sky | 29/29/25/16 | Normal/Medium | [7 empty] | AAOmega blue=25k red=30k Spec blue=20k red=40k
| 5 | 19:37 | Offset sky | 59/59/58/26 | Normal/Medium | [7 empty] | AAOmega blue=27k red=35k Spec blue=38k red=40k
| 6 | 19:40 | Offset sky | 124/124/107/46 | Normal/Medium | [7 empty] | AAOmega blue=25k red=30k Spec blue=30k red=30k
| 7 | 19:45 | Offset sky | 253/253/208/90 | Normal/Medium | [7 empty] | AAOmega blue=13k red=15k Spec blue=18k red=20k
| 8 | 20:11 | Arc | 80/80/80/20 | Normal/Medium | [7 empty] | focus ok, telescope 30 degrees east of zenith
| 9 | 20:15 | Fibre Flat | 60/60/50/25 | Normal/Medium | [7 empty] | TLC ok
| 10 | 20:25 | Acquisition | 30 | Normal/Medium | [7 empty] | LTT9491 - AAOmega F
| 11 | 20:29 | Object | 240 | Normal/Medium | [7 empty] | LTT9491 - AAOmega F
| 12 | 20:35 | Object | 240 | Normal/Medium |  |  |  |  | 2N | 2E |  | LTT9491 - AAOmega F
| 13 | 20:42 | Object | 240 | Normal/Medium |  |  |  |  | 1.5N | 1.5E |  | LTT9491 - AAOmega F
| 14 | 20:50 | Acquisition | 300 | Normal/Medium |  | 1050 | G1-G6
| 15 | 21:01 | Object | 1800 | Normal/Medium | 34.0(1.21) | 1080 | G1-G6 | 2.5" |  |  |  | Dither A
| 16 | 21:33 | Object | 1800 | Normal/Medium | 31.2(1.18) | 1080 | G1-G6 | 2.5" |  |  |  | Dither B
| 17 | 22:06 | Object | 1800 | Normal/Medium |  | 1090 | G1-G6 |  |  |  |  | Dither C
| 18 | 22:41 | Object | 1800 | Normal/Medium |  | 1090 | G1-G6 |  |  |  |  | Dither D
| 19 | 23:10 | Arc | 80/80/80/20 | Normal/Medium
| 20 | 23:13 | Fibre Flat | 60/60/50/25 | Normal/Medium
| 21 | 23:17 | Object | 1800 | Normal/Medium | 21.7(1.08) | 1090 | G1-G6 | 2.0" |  |  |  | Dither E
| 22 | 23:49 | Object | 1800 | Normal/Medium | 22.9(1.09) | 1090 | G1-G6 | 2.4" |  |  |  | Dither F
| 23 | 0:21 | Object | 1800 | Normal/Medium | 26.4(1.12) | 1090 | G1-G6 | 2.2" |  |  |  | Dither G
H03_T079
| 24 | 1:40 | Arc | 80/80/80/20 | Normal/Medium | [7 empty] | focus ok, CCDs 3,4 disabled
| 25 | 1:44 | Fibre Flat | 60/60/50/25 | Normal/Medium | [7 empty] | TLC failure, hexa O, obscured, CCDs 3,4 disabled
| 26 | 2:02 | Arc | 80/80/80/20 | Normal/Medium | [7 empty] | focus ok
| 27 | 2:06 | Fibre Flat | 60/60/50/25 | Normal/Medium | [7 empty] | TLC ok
| 28 | 2:13 | Acquisition | 300 | Normal/Medium |  | 1050 | G1-G6
| 29 | 2:19 | Object | 1800 | Normal/Medium | 11.9(1.02) | 1050 | G1-G6 | 2.5" |  |  |  | Dither A AAOmega Blue at 170.3K
| 30 | 2:55 | Object | 1800 | Normal/Medium |  | 1050 | G1-G6 |  |  |  |  | Dither B
| 31 | 3:29 | Object | 1800 | Normal/Medium | 26.83(1.12) | 1050 | G1-G6 | 2" |  |  |  | Dither C 171.2K
| 32 | 3:55 | Object | 1800 | Normal/Medium | 38.0(1.27) | 1050 | G1-G6 | 2.5" |  |  |  | Dither D 171.5K
| 33 | 4:31 | Acquisition | 30 | Normal/Medium | 34.3(1.21) | [6 empty] | LTT3218 - Spector , on edge disabled
| 34 | 4:37 | Object | 100 | Normal/Medium | 32.3(1.19) |  |  |  | 3N | 3E |  | LTT3218 - Spector J 171.7K
| 35 | 4:42 | Object | 100 | Normal/Medium |  |  |  |  | 1.5N | 1.5E |  | LTT3218 - Spector J
| 36 | 4:45 | Object | 100 | Normal/Medium | 31.2(1.17) |  |  |  |  | 1.5W |  | LTT3218 - Spector J
| 37 | 4:50 | Acquisition | 30 | Normal/Medium | 30.8(1.16) | [6 empty] | LTT9491 - AAOmega G, on edge, disabled
| 38 | 4:56 | Object | 150 | Normal/Medium |  |  |  |  | 2.5S |  |  | LTT3218 - AAOmega G
| 39 | 5:00 | Object | 150 | Normal/Medium | 28.6(1.14) |  |  |  | 1.5S |  |  | LTT3218 - AAOmega G 172.0K
| 40 | 5:05 | Object | 150 | Normal/Medium | 27.8(1.13) |  |  |  |  | 1.5E |  | LTT3218 - AAOmega G
| 41 | 5:12 | Arc | 80/80/80/20 | Normal/Medium | [7 empty] | at end of dithers field postion, focus
Building fire alarm activated, evacuate
| 43 | 5:51 | Offset sky | 150/150/120/80 | Normal/Medium | [7 empty] | AAOmega blue=30k red=30k Spec blue=30k red=30k
| 44 | 5:55 | Offset sky | 63/63/50/33 | Normal/Medium | [5 empty] | 60E |  | AAOmega blue=30k red=35k Spec blue=30k red=40k
| 45 | 5:59 | Offset sky | 29/29/24/14 | Normal/Medium | [7 empty] | AAOmega blue=25k red=30k Spec blue=27k red=40k
| 46 | 6:01 | Offset sky | 16/16/13/6 | Normal/Medium | [5 empty] | 60E |  | AAOmega blue=20k red=20k Spec blue=25k red=23k
| 47 | 6:12 | Flat | 60/60/50/25 | Normal/Medium | [7 empty] | zenith

## 1112024
| Date: | 2024-01-11 |  |  |  | Weather: | Clear
| Observers: | Sarah, Matt, Pratyush |  |  |  | Program: | Hector Survey
Field name & | Run range | Local time |  | Exp. Time | Read |  |  | Guide | Seeing | Offset (arcsec) |  |  | Notes | DR Notes
Robot file name |  |  | Obs. Type | (sec) | Speed | ZD (Airmass) | Rotator (mdeg) | Stars Used | (arcsec) | N-S | E-W | Rel or Abs.
|  | press "cmd+shift+:" to automatically add timestamp | [10 empty] | AAOmega Focus Values: Blue: Focus=115, Spectral=3415, Spatial=2289, Red: Focus=486, Spectral=2457, Spatial=1342, Spector Blue=2868, Spector Red=2315
Telescope Focus = 38.8
A0085_T038 | 1 | 18:49 | Arc | 80/80/80/20 | Normal/Medium | [7 empty] | ccd_1 167.9K, -0.1V
| 2 | 18:53 | Fibre Flat | 60/60/50/25 | Normal/Medium | [7 empty] | TLC ok, focus ok.
| 3 | 19:32 | Offset sky | 5/5/5/5 | Normal/Medium | [5 empty] | telescope tracking 1 hour east |  | AAOmega blue=15k red=15k Spec blue=30k red=20k
| 4 | 19:34 | Offset sky | 15/15/30/20 | Normal/Medium | [7 empty] | AAOmega blue=25k red=25k Spec blue=65k red=65k
| 5 | 19:38 | Offset sky | 32/32/31/20 | Normal/Medium | [7 empty] | AAOmega blue=30k red=35k Spec blue=65k red=65k
| 6 | 19:40 | Offset sky | 60/60/32/20 | Normal/Medium | [7 empty] | AAOmega blue=30k red=40k Spec blue=25k red=40k
| 7 | 19:44 | Offset sky | 118/118/75/36 | Normal/Medium | [5 empty] | 60E |  | AAOmega blue=25k red=30k Spec blue=30k red=40k
| 8 | 19:48 | Offset sky | 241/241/146/58 | Normal/Medium | [5 empty] | 60E |  | AAOmega blue=15k red=15k Spec blue=15k red=15k
| 9 | 20:17 | Acqusition | 30 | Normal/Medium |  |  |  | 4++ |  |  |  | LTT9491 in Spector P
| 10 | 20:20 | Object | 240 | Normal/Medium | [7 empty] | LTT9491 in Spector P
| 11 | 20:26 | Object | 240 | Normal/Medium | [5 empty] | 2E |  | LTT9491 in Spector P
| 12 | 20:32 | Object | 240 | Normal/Medium | [5 empty] | 1.5E |  | LTT9491 in Spector P
| 13 | 20:38 | Acqusition | 30 | Normal/Medium |  |  |  | 2.5 |  |  |  | LTT9491 in AAOmega D
| 14 | 20:43 | Object | 240 | Normal/Medium | [7 empty] | LTT9491 in AAOmega D
| 15 | 20:49 | Object | 240 | Normal/Medium |  |  |  |  | 1N | 2W |  | LTT9491 in AAOmega D
| 16 | 20:55 | Object | 240 | Normal/Medium |  |  |  |  | 2N | 2W |  | LTT9491 in AAOmega D
| 17 | 21:03 | Acqusition | 300 | Normal/Medium | 35 (1.23) | 1080 | G1-6 | 2.3
| 18 | 21:11 | Arc | 80/80/80/20 | Normal/Medium | [7 empty] | ccd_1 167.9K -0.1V
| 19 | 21:15 | Fibre Flat | 60/60/50/25 | Normal/Medium
| 20 | 21:18 | Object | 1800 | Normal/Medium | 33 (1.19) | 1090 | G1-6 | 2.8 |  |  |  | Dither E
| 21 | 21:49 | Object | 1800 | Normal/Medium | 26 (1.11) | 1090 |  | 2.5 |  |  |  | Dither F
| 22 | 22:22 | Object | 1800 | Normal/Medium | 24 (1.09) | 1090 |  | 2.5 |  |  |  | Dither G
A0119_T064 | 23 | 23:33 | Arc | 80/80/80/20 | Normal/Medium | [7 empty] | ccd_1 168.5K -0.1V
| 24 | 23:37 | Fibre Flat | 60/60/50/25 | Normal/Medium | [7 empty] | TLC ok, focus ok.
| 25 | 23:42 | Acquisition | 300 | Normal/Medium | 30 (1.15) | 1080 | G1-6 |  |  |  |  | Telecsope focus 39.0
| 26 | 23:50 | Object | 1800 | Normal/Medium |  | 1080 |  | 2.5 |  |  |  | Dither A
| 27 | 0:12 | Object | 1800 | Normal/Medium | 34 (1.20) | 1080 |  | 2.1 |  |  |  | Dither B
| 28 | 0:54 | Object | 1800 | Normal/Medium | 40 (1.31) | 1080 |  | 2.3 |  |  |  | Dither C
| 29 | 1:06 | Object | 1800 | Normal/Medium | 48 (1.48) | 1080 |  | 2.4 |  |  |  | Dither D
H03_T080 | 30 | 2:41 | Fibre Flat | 60/60/50/25 | Normal/Medium | [7 empty] | ccd_1 168.9K -0.1V
| 31 | 2:42 | Arc | 80/80/80/20 | Normal/Medium | [7 empty] | TLC ok, focus ok.
| 32 | 2:46 | Acquisition | 300 | Normal/Medium | 21 (1.07) | 1080 | G1-6 | 1.9
| 33 | 2:58 | Object | 1800 | Normal/Medium | 23 (1.09) | 1060 |  | 2 |  |  |  | Dither B
| 34 | 3:30 | Object | 1800 | Normal/Medium | 31 (1.16) | 1060 |  | 2.3 |  |  |  | Dither C
| 35 | 4:02 | Object | 1800 | Normal/Medium | 38 (1.27) | 1060 |  | 2.7 |  |  |  | Dither D
| 36 | 4:39 | Acqusition | 30 | Normal/Medium | 30 (1.15) | 1060 | [5 empty] | LTT3218 in Spector U
| 37 | 4:44 | Object | 150 | Normal/Medium | 29 (1.14) | 1060 |  |  | 0 | 1E |  | LTT3218 in Spector U
| 38 | 4:49 | Object | 150 | Normal/Medium | 28 (1.13) | 1060 |  |  | 1N | 0 |  | LTT3218 in Spector U
| 39 | 4:53 | Object | 150 | Normal/Medium | 27 (1.12) | 1060 |  |  | 0 | 1E |  | LTT3218 in Spector U
| 40 | 5:00 | Acqusition | 30 | Normal/Medium | 25 (1.10) | 1060 | [5 empty] | LTT3218 in AAOmega C
| 41 | 5:03 | Object | 150 | Normal/Medium | 25 (1.10) | 1060 | [5 empty] | LTT3218 in AAOmega C
| 42 | 5:06 | Object | 150 | Normal/Medium | 24 (1.09) | 1060 |  |  | 1N | 2E |  | LTT3218 in AAOmega C
| 43 | 5:10 | Object | 150 | Normal/Medium | 22 (1.08) | 1060 |  |  | 0 | 2E |  | LTT3218 in AAOmega C
| 44 | 5:16 | Arc | 80/80/80/20 | Normal/Medium
| 45 | 5:20 | Fibre Flat | 60/60/50/25 | Normal/Medium
| 46 | 5:49 | Offset sky | 150/150/120/80 | Normal/Medium | [7 empty] | AAOmega blue=30k red=30k Spec blue=30k red=40k
| 47 | 5:52 | Offset sky | 63/63/50/26 | Normal/Medium | [7 empty] | AAOmega blue=30k red=30k Spec blue=30k red=32k
| 48 | 5:55 | Offset sky | 30/30/24/12 | Normal/Medium | [7 empty] | AAOmega blue=30k red=30k Spec blue=30k red=30k
| 49 | 5:58 | Offset sky | 16/16/13/6 | Normal/Medium | [7 empty] | AAOmega blue=28k red=23k Spec blue=25k red=21k
| 50 | 6:01 | Offset sky | 9/9/7/4 | Normal/Medium | [7 empty] | AAOmega blue=20k red=18k Spec blue=20k red=20k

## 29102024
| Date: | 29/10/2024 |  |  |  | Weather: | Clear
| Observers: | Sarah, Matt, Pratyush |  |  |  | Program: | Hector Survey
Field name & | Run range | Local time |  | Exp. Time | Read |  |  | Guide | Seeing | Offset (arcsec) |  |  | Notes | DR Notes
Robot file name |  |  | Obs. Type | (sec) | Speed | ZD (Airmass) | Rotator (mdeg) | Stars Used | (arcsec) | N-S | E-W | Rel or Abs.
|  | press "cmd+shift+:" to automatically add timestamp | [10 empty] | AAOmega Focus Values: Blue: Focus=132.6, Spectral=3382.3, Spatial=2305.9, Red: Focus=504, Spectral=2428.8, Spatial=1404.2, Spector Blue=2837.29, Spector Red=2311.48
Telescope Focus = 39.0
A0085_T036 | 1 | 18:42 | Fibre Flat | 60/60/50/25 | Normal/Medium | [7 empty] | Spector red not moved -200, +200
| 2 | 18:50 | Arc | 80/80/80/20 | Normal/Medium
| 3 | 18:55 | Arc | 80/80/80/20 | Normal/Medium | [7 empty] | After moving Spector red -200, +200
| 4 | 19:00 | Fibre Flat | 60/60/50/25 | Normal/Medium | [7 empty] | TLC ok, focus ok
| 5 | 19:15 | Bias | 0/0/0/0 | Normal/Medium | [7 empty] | Checking for any stray light from LEDs or thermal signature from pump. ccd_2 shows bright feature in red end. Dark slides up.
| 6 | 19:31 | Offset sky | 5/5/5/5 | Normal/Medium | [5 empty] | telescope parked 1 hour east |  | AAOmega blue=10k red=12k Spec blue=15k red=30k
| 7 | 19:34 | Offset sky | 14/14/13/10 | Normal/Medium | [7 empty] | AAOmega blue=20k red=20k Spec blue=15k red=40k
| 8 | 19:36 | Offset sky | 33/33/33/16 | Normal/Medium | [7 empty] | AAOmega blue=20k red=30k Spec blue=20k red=40k
| 9 | 19:39 | Offset sky | 71/71/77/26 | Normal/Medium | [7 empty] | AAOmega blue=30k red=40k **Spec blue=65k** red=40k
| 10 | 19:42 | Offset sky | 139/139/87/46 | Normal/Medium | [7 empty] | AAOmega blue=25k red=30k Spec blue=20k red=35k
| 11 | 19:52 | Bias | 0/0/0/0 | Normal/Medium | [7 empty] | Dark slides down. ccd_2 looks normal
| 12 | 19:52 | Bias | 0/0/0/0 | Normal/Medium | [7 empty] | Dark slides up. ccd_2 looks normal.
AAOmega room doors closed. ccd_1 ~166K, 2V
| 13 | 20:32 | Acquisition | 30 | Normal/Medium |  |  |  | 2 |  |  |  | LTT9491 - AAOmega H
| 14 | 20:35 | Object | 240 | Normal/Medium | [7 empty] | LTT9491 - AAOmega H
| 15 | 20:41 | Object | 240 | Normal/Medium |  |  |  |  | 2S | 1E |  | LTT9491 - AAOmega H
| 16 | 20:47 | Object | 240 | Normal/Medium |  |  |  |  | 1.5S | 1.5E |  | LTT9491 - AAOmega H
| 17 | 20:53 | Acquisition | 30 | Normal/Medium | [7 empty] | LTT9491 - Spector U
| 18 | 20:56 | Object | 240 | Normal/Medium | [7 empty] | LTT9491 - Spector U
| 19 | 21:02 | Object | 240 | Normal/Medium |  |  |  |  | 2N | 2E |  | LTT9491 - Spector U
| 20 | 21:08 | Object | 240 | Normal/Medium |  |  |  |  | 1.5N | 1.5E |  | LTT9491 - Spector U
| 21 | 21:16 | Acqusition | 300 | Normal/Medium |  | 1090 | G1-G6 | 2.1
| 22 | 21:23 | Object | 1800 | Normal/Medium |  | 1090 | G1-G6 |  |  |  |  | Dither A
| 23 | 21:55 | Object | 1800 | Normal/Medium |  | 1090 | G1-G6 |  |  |  |  | Dither B
| 24 | 22:27 | Object | 1800 | Normal/Medium |  | 1090 | G1-G6 |  |  |  |  | Dither C
| 25 | 23:00 | Object | 1800 | Normal/Medium | 22 (1.08) | 1090 | G1-G6 |  |  |  |  | Dither D. ccd_1 165.8K, 1.6V
| 26 | 23:32 | Arc | 80/80/80/20 | Normal/Medium
| 27 | 23:36 | Fibre Flat | 60/60/50/25 | Normal/Medium | [7 empty] | Paused to check_focus: looks stable so no Hartmann focus required.
| 28 | 23:46 | Object | 1800 | Normal/Medium | 23 (1.08) | 1090 | G1-G6 | 1.9 |  |  |  | Dither E
| 29 | 0:18 | Object | 1800 | Normal/Medium |  | 1090 | G1-G6 |  |  |  |  | Dither F
| 30 | 0:51 | Object | 1800 | Normal/Medium |  | 1090 | G1-G6 |  |  |  |  | Dither G
H03_T079 | 31 | 2:05 | Arc | 80/80/80/20 | Normal/Medium | [7 empty] | ccd_1 165.8K, -0.1V
| 32 | 2:09 | Fibre Flat | 60/60/50/25 | Normal/Medium | [7 empty] | TLC failed (sky fibre H1-6 at 0.5 instead of 0)
| 33 | 2:14 | Acqusition | 300 | Normal/Medium | 12 (1.04) | 1050 | G1-G6 | 1.7
| 34 | 2:35 | Arc | 80/80/80/20 | Normal/Medium | [7 empty] | ccd_1 165.8K, -0.1V
| 35 | 2:36 | Fibre Flat | 60/60/50/25 | Normal/Medium | [7 empty] | check_focus shows very slight increase in ccd_1 from earlier, now FWHM = 2.67. Still in spec so we opted not to do a Hartmann focus routine.
| 36 | 2:43 | Acquisition | 300 | Normal/Medium | 18 (1.05) | 1050 | G1-G6 | 1.9
| 37 | 2:52 | Object | 1800 | Normal/Medium | 20 (1.06) | 1050 | G1-G6 | 1.7 |  |  |  | Dither E
| 38 | 3:33 | Object | 1800 | Normal/Medium |  | 1050 | G1-G6 | 1.8 |  |  |  | Dither F
| 39 | 3:55 | Object | 1800 | Normal/Medium | 40 (1.3) | 1050 | G1-G6 | 2.2 |  |  |  | Dither G. ccd_1 166.1K, -0.1V
| 40 | 4:33 | Acquisition | 30 | Normal/Medium |  | 1050 | [5 empty] | LTT3218 - Spector K - missed bundle
| 41 | 4:37 | Acquisition | 30 | Normal/Medium |  | 1050 | [5 empty] | LTT3218 - Spector M. Not 100% sure it is the right star (other, brighter stars in other hexabundles), but offsets are correct.
| 42 | 4:43 | Object | 150 | Normal/Medium | 32 (1.18) | 1050 | [5 empty] | LTT3218 - Spector M
| 43 | 4:50 | Object | 150 | Normal/Medium |  | 1050 |  |  | 1S | 1W |  | LTT3218 - Spector M
| 44 | 4:52 | Object | 150 | Normal/Medium |  | 1050 |  |  | 1S | 0 |  | LTT3218 - Spector M
| 45 | 4:56 | Acquisition | 30 | Normal/Medium |  | 1050 | [5 empty] | LTT3218 - AAOmega B - missed bundle (wrong offsets)
| 46 | 5:00 | Acquisition | 30 | Normal/Medium |  | 1050 | [5 empty] | LTT3218 - AAOmega B
| 47 | 5:02 | Object | 150 | Normal/Medium | 27 (1.12) | 1050 | [5 empty] | LTT3218 - AAOmega B
| 48 | 5:07 | Object | 150 | Normal/Medium | 26 (1.11) | 1050 |  |  | 3N | 3E |  | LTT3218 - AAOmega B
| 49 | 5:11 | Object | 150 | Normal/Medium | 25 (1.10) | 1050 |  |  | 3N | 3E |  | LTT3218 - AAOmega B
| 50 | 5:18 | Acquisition | 30 | Normal/Medium |  | 1050 | [5 empty] | LTT3218 - Spector S - in case M did not have the right star.
| 51 | 5:20 | Object | 150 | Normal/Medium |  | 1050 | [5 empty] | LTT3218 - Spector S
| 52 | 5:25 | Object | 150 | Normal/Medium |  | 1050 |  |  | 1N | 1E |  | LTT3218 - Spector S. Sky is getting bright!
| 53 | 5:30 | Object | 150 | Normal/Medium |  | 1050 |  |  | 1N | 0 |  | LTT3218 - Spector S
| 54 | 5:50 | Offset sky | 150/150/120/80 | Normal/Medium | at LTT3218 still | [6 empty] | AAOmega blue=30k red=40k Spec blue=35k red=50k
| 55 | 5:55 | Offset sky | 56/56/45/20 | Normal/Medium | [7 empty] | AAOmega blue=25k red=35k Spec blue=35k red=35k
| 56 | 5:59 | Offset sky | 27/27/20/9 | Normal/Medium | telescope 1h E | [6 empty] | AAOmega blue=25k red=25k Spec blue=30k red=30k
| 57 | 6:02 | Offset sky | 15/15/11/5 | Normal/Medium | [7 empty] | AAOmega blue=20k red=20k Spec blue=25k red=20k
| 58 | 6:04 | Offset sky | 9/9/6/3 | Normal/Medium | [7 empty] | AAOmega blue=20k red=20k Spec blue=20k red=15k
| 59 | 6:08 | Arc | 80/80/80/20 | Normal/Medium
| 60 | 6:12 | Fibre Flat | 60/60/50/25 | Normal/Medium
| 61-90 | 6:18 | Bias | 0 | Normal/Medium | [7 empty] | Taking these additional biases for calibrating AAOmega when continuously pumped (29/10/24 - 5/11/24)

## 30102024
| Date: | 30/10/2024 |  |  |  | Weather: | Clear
| Observers: | Sarah, Matt, Pratyush |  |  |  | Program: | Hector Survey
Field name & | Run range | Local time |  | Exp. Time | Read |  |  | Guide | Seeing | Offset (arcsec) |  |  | Notes | DR Notes
Robot file name |  |  | Obs. Type | (sec) | Speed | ZD (Airmass) | Rotator (mdeg) | Stars Used | (arcsec) | N-S | E-W | Rel or Abs.
|  | press "cmd+shift+:" to automatically add timestamp | [10 empty] | AAOmega Focus Values: Blue: Focus=121.7, Spectral=3214.7, Spatial=2278.6, Red: Focus=496.3, Spectral=2427.5, Spatial=1290.5, Spector Blue=2861, Spector Red=2312
Telescope Focus = 38.8
A0085_T037
ccd_1 166.0K, 3.2V. AAOmega piston out by 10.9 / 9.11 units at initial Hartmann focus routine; blue in spec on second go & red on third go.
| 1 | 18:30 | Arc | 80/80/80/20 | Normal/Medium
| 2 | 18:34 | Fibre Flat | 60/60/50/25 | Normal/Medium | [7 empty] | TLC ok. FWHM ccd_1 = 2.64, ccd_2 = 1.58. ccd_3 is elevated (still within spec) and Spector blue = 2831. Since we have time we will redo Spector focus.
| 3 | 18:58 | Arc | 80/80/80/20 | Normal/Medium
| 4 | 19:02 | Fibre Flat | 60/60/50/25 | Normal/Medium | [7 empty] | Take 2: Spector blue = 2825, further away from median, so set Spector blue = 2837 consistent with last night and will redo focus after twilights.
| 5 | 19:32 | Offset sky | 5/5/5/5 | Normal/Medium | [5 empty] | telescope parked 1 hour east |  | AAOmega blue=10k red=15k Spec blue=15k red=30k
| 6 | 19:34 | Offset sky | 13/13/13/10 | Normal/Medium | [7 empty] | AAOmega blue=20k red=20k Spec blue=25k red=45k
| 7 | 19:36 | Offset sky | 30/30/28/15 | Normal/Medium | [7 empty] | AAOmega blue=30k red=35k Spec blue=25k red=45k
| 8 | 19:39 | Offset sky | 56/56/60/22 | Normal/Medium | [7 empty] | AAOmega blue=30k red=40k Spec blue=40k red=40k
| 9 | 19:42 | Offset sky | 110/110/107/39 | Normal/Medium | [7 empty] | AAOmega blue=25k red=30k Spec blue=30k red=30k
| 10 | 19:47 | Arc | 80/80/80/20 | Normal/Medium
| 11 | 19:50 | Fibre Flat | 60/60/50/25 | Normal/Medium | [7 empty] | ccd_3 improved FWHM but still elevated, so doing one more focus routine.
| 12 | 20:23 | Arc | 80/80/80/20 | Normal/Medium
| 13 | 20:27 | Fibre Flat | 60/60/50/25 | Normal/Medium | [7 empty] | Spector blue = 2830, focus out of spec
| 14 | 20:31 | Acquisition | 30 | Normal/Medium | [7 empty] | LTT9491 - Spector N - missed bundle
| 15 | 20:35 | Acquisition | 30 | Normal/Medium | [7 empty] | LTT9491 - AAOmega A
| 16 | 20:39 | Object | 240 | Normal/Medium |  |  |  |  | 0 | 0 |  | LTT9491 - AAOmega A
| 17 | 20:44 | Object | 240 | Normal/Medium |  |  |  |  | -2 | 0 |  | LTT9491 - AAOmega A
| 18 | 21:18 | Arc | 80/80/80/20 | Normal/Medium | [7 empty] | Refocussed Spector - blue 2861, in spec. | Note for Susie's plots: Spector blue focus tonight before this did not have the values applied after the focus run. From here the focus should be correct.
| 19 | 21:22 | Arc | 80/80/80/20 | Normal/Medium
| 20 | 21:27 | Fibre Flat | 60/60/50/25 | Normal/Medium
| 21 | 21:38 | Acquisition | 300 | Normal/Medium | 31 (1.16) | 1080 | G1,4,5,6 (G2 is a binary; G3 is missing because it had been unseated by a neighbouring hexabundle) | 2.1
| 22 | 21:45 | Object | 1800 | Normal/Medium |  | 1080 | G1,4,5,6 (G2 is a binary; G3 is missing because it had been unseated by a neighbouring hexabundle) |  |  |  |  | Dither A
| 23 | 22:16 | Object | 1800 | Normal/Medium | 24 (1.10) | 1100 | G1,4,5,6 (G2 is a binary; G3 is missing because it had been unseated by a neighbouring hexabundle) |  |  |  |  | Dither B
| 24 | 22:48 | Object | 1800 | Normal/Medium |  | 1100 | G1,4,5,6 (G2 is a binary; G3 is missing because it had been unseated by a neighbouring hexabundle) |  |  |  |  | Dither C
| 25 | 23:21 | Object | 1800 | Normal/Medium | 23 (1.08) | 1100 | G1,4,5,6 (G2 is a binary; G3 is missing because it had been unseated by a neighbouring hexabundle) | 2.5 |  |  |  | Dither D
| 26 | 23:53 | Arc | 80/80/80/20 | Normal/Medium
| 27 | 23:57 | Flat | 60/60/50/25 | Normal/Medium
| 28 | 24:00 | Object | 1800 | Normal/Medium | 26 (1.11) | 1100 | G1,4,5,6 (G2 is a binary; G3 is missing) | 2.3 |  |  |  | Dither E. ccd_1 165.8K, -0.1V
| 29 | 0:31 | Object | 1800 | Normal/Medium | 30 (1.15) | 1100 | G1,4,5,6 (G2 is a binary; G3 is missing) |  |  |  |  | Dither F
| 30 | 1:03 | Object | 1800 | Normal/Medium | 36 (1.24) | 1100 | G1,4,5,6 (G2 is a binary; G3 is missing) | 2 |  |  |  | Dither G
H03_T080 | 31 | 2:33 | Arc | 80/80/80/20 | Normal/Medium
| 32 | 2:27 | Fibre Flat | 60/60/50/25 | Normal/Medium
| 33 | 2:44 | Acqusition | 300 | Normal/Medium |  | 1080 | G1,4,5,6 (G2 is another binary; G3 is donutty) | 2
| 34 | 2:47 | Object | 1800 | Normal/Medium |  | 1080 | G1,4,5,6 (G2 is another binary; G3 is donutty) |  |  |  |  | Dither A. ccd_1 166.4K, -0.1V
| 35 | 3:19 | Object | 1800 | Normal/Medium |  | 1080 | G1,4,5,6 (G2 is another binary; G3 is donutty) |  |  |  |  | Dither B
| 36 | 3:56 | Object | 1800 | Normal/Medium |  | 1080 | G1,4,5,6 (G2 is another binary; G3 is donutty) |  |  |  |  | Dither C **not well centred (H on the edge)**
| 37 | 4:28 | Object | 1800 | Normal/Medium | 41 (1.33) | 1080 | G1,4,5,6 (G2 is another binary; G3 is donutty) | 2 |  |  |  | Dither D **not well centred (H not centroidable, U on the edge)**
| 38 | 5:02 | Arc | 80/80/80/20 | Normal/Medium
| 39 | 5:04 | Fibre Flat | 60/60/50/25 | Normal/Medium
| 40 | 5:18 | Acquisition | 30 | Normal/Medium |  | 1080 | [5 empty] | LTT3218 - Spector L
| 41 | 5:23 | Object | 150 | Normal/Medium | 22 (1.08) | 1080 |  |  | 2S | 2E |  | LTT3218 - Spector L - moved wrong way
| 42 | 5:28 | Object | 150 | Normal/Medium |  | 1080 |  |  | 1.5S | 1.5E |  | LTT3218 - Spector L - moved wrong way
| 43 | 5:33 | Object | 150 | Normal/Medium |  | 1080 |  |  | 2N | 2W |  | LTT3218 - Spector L
| 44 | 5:38 | Object | 150 | Normal/Medium |  | 1080 |  |  | 1.5N | 1.5W |  | LTT3218 - Spector L
| 45 | 5:42 | Arc | 80/80/80/20 | Normal/Medium | 18 (1.05)
| 46 | 5:46 | Fibre Flat | 60/60/50/25 | Normal/Medium
| 47 | 5:52 | Offset sky | 120/120/100/60 | Normal/Medium | [7 empty] | AAOmega blue=40k red=45k Spec blue=40k red=55k
| 48 | 5:56 | Offset sky | 37/37/33/12 | Normal/Medium | [5 empty] | 60E |  | AAOmega blue=25k red=30k Spec blue=40k red=30k
| 49 | 5:58 | Offset sky | 18/18/14/6 | Normal/Medium | [5 empty] | 60E |  | AAOmega blue=20k red=20k Spec blue=20k red=20k
| 50 | 6:01 | Offset sky | 11/11/8/4 | Normal/Medium | [5 empty] | 60E |  | AAOmega blue=20k red=20k Spec blue=20k red=20k
| 51 | 6:03 | Offset sky | 6/6/5/2 | Normal/Medium | [5 empty] | 60E |  | AAOmega blue=15k red=15k Spec blue=20k red=15k
| 52-56 | 6:08 | Dark | 1800 | Normal/Medium | [7 empty] | ccd_1 166.7K, -0.1V, Taking these additional darks for calibrating AAOmega when continuously pumped (29/10/24 - 5/11/24)

## 31102024
| Date: | 31/10/2024 |  |  |  | Weather: | Cloudy/rainy/windy, then clear but fuzzy
| Observers: | Sarah, Matt, Pratyush |  |  |  | Program: | Hector Survey
Field name & | Run range | Local time |  | Exp. Time | Read |  |  | Guide | Seeing | Offset (arcsec) |  |  | Notes | DR Notes
Robot file name |  |  | Obs. Type | (sec) | Speed | ZD (Airmass) | Rotator (mdeg) | Stars Used | (arcsec) | N-S | E-W | Rel or Abs.
|  | press "cmd+shift+:" to automatically add timestamp | [10 empty] | AAOmega Focus Values: Blue: Focus=118, Spectral=3389, Spatial=2267, Red: Focus=491, Spectral=2379, Spatial=1349, Spector Blue=2864, Spector Red=2313
Telescope Focus = 38.8
H03_T080 | 1 | 17:34 | Arc | 80/80/80/20 | Normal/Medium | 0 | [6 empty] | ccd_1 166.9K, -0.1V
| 2 | 17:38 | Fibre Flat | 60/60/50/25 | Normal/Medium | 0 | [6 empty] | TLC ok, focus ok.
A0085_T038 | 3 | 18:45 | Arc | 80/80/80/20 | Normal/Medium | 74
| 4 | 18:55 | Fibre Flat | 60/60/50/25 | Normal/Medium | 54
| 5-12 | 19:12 | Dark | 1800 | Normal/Medium | [7 empty] | Taking additional darks for calibrating AAOmega when continuously pumped (29/10/24 - 5/11/24)
|  | 23:38 | [10 empty] | opened dome; attempted to focus
| 13 | 23:52 | Arc | 80/80/80/20 | Normal/Medium | 24.5 (1.10) | [6 empty] | ccd_1 167.4K, -0.1V
| 14 | 23:56 | Fibre Flat | 60/60/50/25 | Normal/Medium | [7 empty] | TLC ok, focus ok.
| 15 | 0:01 | Acquisition | 300 | Normal/Medium | 25 (1.11) | 1050 | G1 (forgot to reselect others after focusing on snafu)
| 16 | 0:08 | Object | 1800 | Normal/Medium | 26 (1.12) | 1050 | G1 (forgot to reselect others after focusing on snafu) | 2.3 |  |  |  | Dither A
| 17 | 0:40 | Object | 1800 | Normal/Medium |  | 1060 | G1 (forgot to reselect others after focusing on snafu) | 2.5 |  |  |  | Dither B
| 18 | 1:12 | Object | 1800 | Normal/Medium | 37 (1.25) | 1060 | G1 (forgot to reselect others after focusing on snafu) | 2.9-3.5 |  |  |  | Dither C
| 19 | 1:45 | Object | 1800 | Normal/Medium | 43 (1.37) | 1060 | G1 (forgot to reselect others after focusing on snafu) | 4+ |  |  |  | Dither D
H03_T080 | 20 | 3:01 | Arc | 80/80/80/20 | Normal/Medium
| 21 | 3:05 | Fibre Flat | 60/60/50/25 | Normal/Medium
| 22 | 3:09 | Acqusition | 300 | Normal/Medium | 26 (1.11) | 1060 | G1-6 | 4
| 23 | 3:18 | Object | 1800 | Normal/Medium | 27 (1.18) | 1060 |  | 5 |  |  |  | Dither E
| 24 | 3:51 | Object | 1800 | Normal/Medium | 34 (1.21) | 1060 |  | 2.7 |  |  |  | Dither F
| 25 | 4:22 | Object | 1800 | Normal/Medium | 41 (1.32) | 1060 |  | 4 |  |  |  | Dither G. ccd_1 167.9K, -0.1V
| 26 | 4:56 | Acquisition | 30 | Normal/Medium | 27 (1.12) | 1060 | [5 empty] | LTT3218 in AAOmega G
| 27 | 4:59 | Object | 150 | Normal/Medium |  | 1060 | [5 empty] | LTT3218 in AAOmega G
| 28 | 5:03 | Object | 150 | Normal/Medium |  | 1060 |  |  | 2N | 2E |  | LTT3218 in AAOmega G
| 29 | 5:08 | Object | 150 | Normal/Medium |  | 1060 |  |  | 1.5N | 1.5E |  | LTT3218 in AAOmega G
| 30 | 5:13 | Acquisition | 30 | Normal/Medium |  | 1060 |  | 2.7 |  |  |  | LTT3218 in Spector S
| 31 | 5:15 | Object | 150 | Normal/Medium |  | 1060 | [5 empty] | LTT3218 in Spector S
| 32 | 5:20 | Object | 150 | Normal/Medium | 22 (1.08) | 1060 |  |  | 1.5S | 1.5W |  | LTT3218 in Spector S
| 33 | 5:25 | Object | 150 | Normal/Medium |  | 1060 |  |  | 0 | 1.5W |  | LTT3218 in Spector S
| 34 | 5:30 | Arc | 80/80/80/20 | Normal/Medium
| 35 | 5:33 | Fibre Flat | 60/60/50/25 | Normal/Medium
| 36 | 5:48 | Offset sky | 150/150/120/80 | Normal/Medium | [7 empty] | AAOmega blue=30k red=15k Spec blue=30k red=20k
| 37 | 5:53 | Offset sky | 72/72/50/40 | Normal/Medium | [7 empty] | AAOmega blue=30k red=20k Spec blue=30k red=35k
| 38 | 5:56 | Offset sky | 37/37/24/18 | Normal/Medium | [7 empty] | AAOmega blue=30k red=20k Spec blue=25k red=30k
| 39 | 5:59 | Offset sky | 21/21/13/9 | Normal/Medium | [7 empty] | AAOmega blue=25k red=20k Spec blue=25k red=25k
| 40 | 6:02 | Offset sky | 12/12/7/5 | Normal/Medium | [7 empty] | AAOmega blue=25k red=20k Spec blue=20k red=20k

## 2112024
| Date: | 2024-02-11 |  |  |  | Weather: | Patchy clouds clearing to light cirrus, then more clouds
| Observers: | Sarah, Matt, Pratyush |  |  |  | Program: | Hector Survey
Field name & | Run range | Local time |  | Exp. Time | Read |  |  | Guide | Seeing | Offset (arcsec) |  |  | Notes | DR Notes
Robot file name |  |  | Obs. Type | (sec) | Speed | ZD (Airmass) | Rotator (mdeg) | Stars Used | (arcsec) | N-S | E-W | Rel or Abs.
|  | press "cmd+shift+:" to automatically add timestamp | [10 empty] | AAOmega Focus Values: Blue: Focus=114, Spectral=3501, Spatial=2253, Red: Focus=482, Spectral=2424, Spatial=1302, Spector Blue=2868, Spector Red=2315
Telescope Focus = 38.8
A0119_T064 | 1 | 18:24 | Arc | 80/80/80/20 | Normal/Medium | [7 empty] | ccd_1 168.2K, -0.1V
| 2 | 18:31 | Fibre Flat | 60/60/50/25 | Normal/Medium | [7 empty] | TLC ok, focus ok.
maybe a few too many clouds for twilights but taking them in case they are still useful
| 3 | 19:34 | Offset sky | 5/5/5/5 | Normal/Medium | [5 empty] | telescope tracking 1 hour east |  | AAOmega blue=15k red=6k Spec blue=15k red=15k
| 4 | 19:36 | Offset sky | 14/14/13/13 | Normal/Medium | [5 empty] | 60 |  | AAOmega blue=35k red=35k Spec blue=65k red=65k
| 5 | 19:38 | Offset sky | 25/25/10/10 | Normal/Medium | [5 empty] | 60 |  | AAOmega blue=20k red=10k Spec blue=10k red=10k
| 6 | 19:41 | Offset sky | 64/64/28/28 | Normal/Medium | [5 empty] | 60 |  | AAOmega blue=35k red=15k Spec blue=20k red=15k
| 7 | 19:44 | Offset sky | 153/153/72/79 | Normal/Medium | [5 empty] | 60 |  | AAOmega blue=35k red=15k Spec blue=25k red=20k
| 8 | 20:14 | Acqusition | 30 | Normal/Medium | 23 (1.09) | 1060 | [5 empty] | LTT9491 in AAOmega G
| 9 | 20:17 | Object | 240 | Normal/Medium | [7 empty] | LTT9491 in AAOmega G
| 10 | 20:23 | Object | 240 | Normal/Medium |  |  |  |  | 3N | 0 |  | LTT9491 in AAOmega G
| 11 | 20:29 | Object | 240 | Normal/Medium |  |  |  |  | 1.5N |  |  | LTT9491 in AAOmega G
| 12 | 20:36 | Object | 240 | Normal/Medium | 19 (1.06) | 1060 | [5 empty] | LTT9491 in Spector K
| 13 | 20:45 | Object | 240 | Normal/Medium |  |  |  |  | 3S | 2E |  | LTT9491 in Spector K
| 14 | 20:50 | Object | 240 | Normal/Medium |  |  |  |  | 1.5S | 1.5E |  | LTT9491 in Spector K
| 15 | 21:01 | Acquisition | 300 | Normal/Medium | 43 (1.36) | 1080 | G1-6 | 2.7
| 16 | 21:10 | Arc | 80/80/80/20 | Normal/Medium
| 17 | 21:14 | Fibre Flat | 60/60/50/25 | Normal/Medium
| 18 | 21:17 | Object | 1800 | Normal/Medium | 40 (1.31) | 1080 | G1-6 | 2.5 |  |  |  | Dither E - some brief passing cloud
| 19 | 21:48 | Object | 1800 | Normal/Medium |  | 1080 | G1-6 | 2.3 |  |  |  | Dither F
| 20 | 22:22 | Object | 1800 | Normal/Medium |  | 1080 | G1-6 | 2.2 |  |  |  | Dither G
H03_T081 | 21 | 23:31 | Arc | 80/80/80/20 | Normal/Medium
| 22 | 23:35 | Fibre Flat | 60/60/50/25 | Normal/Medium
| 23 | 23:48 | Acqusition | 300 | Normal/Medium | 16 (1.04) | 1090 | G1-6 | 2.3
| 24 | 23:57 | Object | 1800 | Normal/Medium | 14 (1.03) | 1090 | G1-6 | 2.6 |  |  |  | Dither A
| 25 | 0:28 | Object | 1800 | Normal/Medium | 7 (1.01) | 1090 | G1-6 | 2.6 |  |  |  | Dither B
| 26 | 1:00 | Object | 1800 | Normal/Medium | 0 | 1090 | G1-6 | 2 |  |  |  | Dither C
| 27 | 1:33 | Object | 1800 | Normal/Medium | 7 (1.01) | 1090 | G1-6 | 1.7 |  |  |  | Dither D - some brief guiding loss due to cloud
| 28 | 2:05 | Arc | 80/80/80/20 | Normal/Medium
| 29 | 2:08 | Fibre Flat | 60/60/50/25 | Normal/Medium
| 30 | 2:12 | Object | 1800 | Normal/Medium | 15 (1.03) | 1090 | G1-6 | 2.3 |  |  |  | Dither E
| 31 | 2:44 | Object | 1800 | Normal/Medium |  | 1090 | G1-6 |  |  |  |  | Dither F
| 32 | 3:16 | Object | 1800 | Normal/Medium | 28 (1.14) | 1090 | G1-6 | 2024-03-04 |  |  |  | Dither G - more cloud
| 33-40 | 3:59 | Dark | 1800 | Normal/Medium | [7 empty] | These darks for 29/10/24 - 5/11/24

## 3112024
| Date: | 2024-03-11 |  |  |  | Weather: | Surprisingly clear at first...
| Observers: | Sarah, Matt, Pratyush |  |  |  | Program: | Hector Survey
Field name & | Run range | Local time |  | Exp. Time | Read |  |  | Guide | Seeing | Offset (arcsec) |  |  | Notes | DR Notes
Robot file name |  |  | Obs. Type | (sec) | Speed | ZD (Airmass) | Rotator (mdeg) | Stars Used | (arcsec) | N-S | E-W | Rel or Abs.
|  | press "cmd+shift+:" to automatically add timestamp | [10 empty] | AAOmega Focus Values: Blue: Focus=113, Spectral=3536, Spatial=2269, Red: Focus=479, Spectral=2478, Spatial=1289, Spector Blue=2868, Spector Red=2316
Telescope Focus = 38.8
A0119_T065 | 1 | 18:20 | Arc | 80/80/80/20 | Normal/Medium | 0 | [6 empty] | ccd_1 169.4K, -0.1V
| 2 | 18:24 | Fibre Flat | 60/60/50/25 | Normal/Medium | 0 | [6 empty] | TLC ok, focus ok.
| 3 | 20:12 | Acquisition | 30 | Normal/Medium |  |  |  | 3 |  |  |  | LTT9491 in AAOmega D - through thin clouds
| 4 | 20:14 | Object | 240 | Normal/Medium | [7 empty] | LTT9491 in AAOmega D - through thin clouds
| 5 | 20:21 | Object | 240 | Normal/Medium |  |  |  |  | 0 | 1.5E |  | LTT9491 in AAOmega D - through thinner clouds
| 6 | 20:26 | Object | 240 | Normal/Medium |  |  |  |  | 0 | 1.5E |  | LTT9491 in AAOmega D - through thinner clouds
| 7 | 20:34 | Acquisition | 30 | Normal/Medium |  |  |  | 3 |  |  |  | LTT9491 in Spector U
| 8 | 20:36 | Object | 240 | Normal/Medium | [7 empty] | LTT9491 in Spector U - offset during exposure
| 9 | 20:43 | Object | 240 | Normal/Medium |  |  |  |  | 1.5N | 1.5E |  | LTT9491 in Spector U
| 10 | 20:49 | Object | 240 | Normal/Medium | 17 (1.04) |  |  |  | 1.5N | 1.5E |  | LTT9491 in Spector U
| 11 | 20:55 | Object | 240 | Normal/Medium |  |  |  |  | 1N | 1E |  | LTT9491 in Spector U
| 12 | 21:01 | Arc | 80/80/80/20 | Normal/Medium | 16 (1.04)
| 13 | 21:05 | Fibre Flat | 60/60/50/25 | Normal/Medium | [7 empty] | did not read out ccd_1 and ccd_2 (restarted control task to fix hanging ccd control window). ccd_3 and ccd_4 ok.
| 14 | 21:14 | Acquisition | 30 | Normal/Medium | 40 (1.30) |  | G1-6
| 15 | 21:17 | Acquisition | 300 | Normal/Medium |  |  | G1-6 | 2.4
| 16 | 21:28 | Object | 1800 | Normal/Medium |  |  | G1-6 | 2.4 |  |  |  | Dither A
| 17 | 22:00 | Object | 1800 | Normal/Medium | 31 (1.17) |  | G1-6 |  |  |  |  | Dither B - cloud came across for a few min after 1300s
| 18 | 22:32 | Object | 1800 | Normal/Medium | 30 (1.16) |  | G1-6 | 2.1 |  |  |  | Dither C
| 19 | 23:04 | Object | 1800 | Normal/Medium | 29 (1.15) |  | G1-6 | 2 |  |  |  | Dither D
| 20 | 23:36 | Arc | 80/80/80/20 | Normal/Medium
| 21 | 23:40 | Fibre Flat | 60/60/50/25 | Normal/Medium
| 22 | 23:43 | Object | 1800 | Normal/Medium | 30 (1.16) |  | G1-6 | 2.5 |  |  |  | Dither E - clouded out for about 600s, but passes qc
| 23 | 0:14 | Object | 1800 | Normal/Medium | 34 (1.20) |  | G1-6 |  |  |  |  | Dither F - clouded out for about 600s; did not pass qc
| 24 | 0:51 | Object | 1800 | Normal/Medium | 38 (1.27) |  | G1-6 | 2.1 |  |  |  | Dither G
attempted Dither F again but hydraulic oil low alarm interrupted tracking; exposure aborted
H03_T004 | 25-34 | 2:48 | Dark | 1800 | Normal/Medium | [7 empty] | hydraulic oil leak stopped observing

## 4112024
| Date: | 2024-04-11 |  |  |  | Weather: | Cloudy at first, then thin, patchy cirrus
| Observers: | Sarah, Matt, Pratyush |  |  |  | Program: | Hector Survey
Field name & | Run range | Local time |  | Exp. Time | Read |  |  | Guide | Seeing | Offset (arcsec) |  |  | Notes | DR Notes
Robot file name |  |  | Obs. Type | (sec) | Speed | ZD (Airmass) | Rotator (mdeg) | Stars Used | (arcsec) | N-S | E-W | Rel or Abs.
|  | press "cmd+shift+:" to automatically add timestamp | [10 empty] | AAOmega Focus Values: Blue: Focus=110, Spectral=3611, Spatial=2281, Red: Focus=477, Spectral=2446, Spatial=1384, Spector Blue=2872, Spector Red=2317
Telescope Focus = 38.8 at 12:42am
A0119_T067 | 1 | 18:39 | Arc | 80/80/80/20 | Normal/Medium | 0 | [6 empty] | ccd_1 170.3K, -0.1V
| 2 | 18:44 | Fibre Flat | 60/60/50/25 | Normal/Medium | 0
|  | 0:43 | [10 empty] | Finally clear enough to focus the telescope. Offset from base -45 -10!
ran out of elevation for cluster field
H03_T004 | 3 | 1:37 | Arc | 80/80/80/20 | Normal/Medium
| 4 | 1:44 | Fibre Flat | 60/60/50/25 | Normal/Medium | [7 empty] | incorrect windscreen
| 5 | 1:48 | Fibre Flat | 60/60/50/25 | Normal/Medium | [7 empty] | ccd_1 170.3K -0.1V. TLC ok, focus ok.
| 6 | 2:01 | Acqusition | 300 | Normal/Medium | [7 empty] | mostly clouds & lost tracking. But offset from base back to normal for this plate (~5"). Problem with A0119_T067??
| 7 | 2:06 | Acqusition | 300 | Normal/Medium
| 8 | 2:13 | Object | 1800 | Normal/Medium | 16 (1.04) | 1080 | G1-6 | 2.2 |  |  |  | Dither A
| 9 | 2:45 | Object | 1800 | Normal/Medium | 23 (1.09) | 1080 | G1-6 | 2.1 |  |  |  | Dither B
| 10 | 3:20 ish | Object | 1800 | Normal/Medium |  | 1080 | G1-6 | 2 |  |  |  | Dither C
| 11 | 3:50 | Object | 1800 |  |  | 1080 | G1-6 | 2 |  |  |  | Dither D
| 12 | 4:22 | Arc | 80/80/80/20
| 13 | 4:26 | Fibre Flat | 60/60/50/25 | [8 empty] | CCD control task failed. File - exit -> failed to initialise, even after reset-aatvme6. Had to reset TCS.
| 14 | 5:04 | Acqusition | 30 | Normal/Medium
| 15 | 5:07 | Object | 150 | Normal/Medium | 21 (1.07) | 1080 | [5 empty] | LTT3218 in AAOmega H
| 16 | 5:14 | Object | 150 | Normal/Medium | 19 (1.06) | 1080 |  |  | -1.5 | 1.5 |  | LTT3218 in AAOmega H
| 17 | 5:19 | Object | 150 | Normal/Medium |  |  |  |  | -1.5 | 1.5 |  | LTT3218 in AAOmega H
| 18 | 5:24 | Object | 150 | Normal/Medium | [7 empty] | LTT3218 in Spector T
| 19 | 5:28 | Object | 150 | Normal/Medium |  |  |  |  | -1.5 | 1.5 |  | LTT3218 in Spector T
| 20 | 5:31 | Object | 150 | Normal/Medium |  |  |  |  | -1.5 | 1.5 |  | LTT3218 in Spector T
| 21 | 5:38 | Arc | 80/80/80/20 | Normal/Medium
| 22 | 5:42 | Fibre Flat | 60/60/50/25 | Normal/Medium

## 05112024
| Date: | 2024-05-11 |  |  |  | Weather:
| Observers: | Tom W., Scott |  |  |  | Program: | Hector Survey
Field name & | Run range | Local time |  | Exp. Time | Read |  |  | Guide | Seeing | Offset (arcsec) |  |  | Notes | DR Notes
Robot file name |  |  | Obs. Type | (sec) | Speed | ZD (Airmass) | Rotator (mdeg) | Stars Used | (arcsec) | N-S | E-W | Rel or Abs.
|  | press "cmd+shift+:" to automatically add timestamp | [10 empty] | AAOmega Focus Values: Blue: Focus=109, Spectral=3629, Spatial=2278, Red: Focus=477, Spectral=2439, Spatial=1339, Spector Blue=2875, Spector Red=2320
Telescope Focus =
A0119_T067
| 1 | 18:34 | Arc | 80/80/80/20 | Normal/Medium | [7 empty] | at zenith, need to move Spector red, -200 +200
| 2 | 18:39 | Fibre Flat | 60/60/50/25 | Normal/Medium | [7 empty] | TLC ok
| 3 | 19:02 | Arc | 80/80/80/20 | Normal/Medium | [7 empty] | focus ok
| 4 | 19:08 | Arc | 800 | Normal/Medium | [7 empty] | long exposure arc. Red disabled in manager
|  | 19:39 | High level cloud, no twilights | [8 empty] | 19:20 | CCD1 170.1K
|  | 20:27 | Cloud still around, not suitable for standards
|  | 20:35 | Tried for a standard but windscreen froze, 20 mins lost while sorting out
| 5 | 20:59 | Acquisition | 300 | Normal/Medium |  | 1050 | G1-G6
| 6 | 21:11 | Object | 1800 | Normal/Medium | 39.3(1.29) | 1080 | G1-G6 | 2.5 |  |  |  | Dither A
| 7 | 21:44 | Object | 1800 | Normal/Medium |  | 1080 | G1-G6 | 2.3 |  |  |  | Dither B
| 8 | 22:16 | Object | 1800 | Normal/Medium | 31.3(1.17) | 1080 | G1-G6 | 2 |  |  |  | Dither C
| 9 | 22:47 | Object | 1800 | Normal/Medium | 29.8(1.15) | 1080 | G1-G6 | 2.1 |  |  |  | Dither D
| 10 | 23:20 | Arc | 80/80/80/20 | Normal/Medium | [7 empty] | focus ok
| 11 | 23:23 | Fibre Flat | 60/60/50/25 | Normal/Medium | [7 empty] | TLC ok
| 12 | 23:26 | Object | 1800 | Normal/Medium | 30.5(1.16) | 1080 | G1-G6 | 2 |  |  |  | Dither E, CCD1 170.3K
| 13 | 23:59 | Object | 1800 | Normal/Medium | 32.7(1.19) | 1080 | G1-G6 | 2.2 - 6.0 |  |  |  | Dither F, wind shift, poor seeing
| 14 | 0:31 | Object | 1800 | Normal/Medium | 36.9(1.25) | 1080 | G1-G6 | 2.5 - 6.0 |  |  |  | Dither G
H03_T004
| 15 | 2:06 | Arc | 80/80/80/20 | Normal/Medium | [7 empty] | at field postion, focus ok
| 16 | 2:11 | Fibre Flat | 60/60/50/25 | Normal/Medium | [7 empty] | TLC ok
| 17 | 2:15 | Object | 1800 | Normal/Medium | 17.5(1.05) | 1080 | G1-G6 | 1.9 |  |  |  | Dither E, CCD1 170.6 | hexa Q is magnet is not correctly postioned and will not acquire galaxy. modified fibre table on fits files.
| 18 | 2:47 | Object | 1800 | Normal/Medium | 25.3(1.11) | 1080 | G1-G6 | 1.8 |  |  |  | Dither F | also, on taking plate off telescope noted hexa K was not properly seated, confirmed on plateView, modified fibre table on fits files.
| 19 | 3:19 | Object | 1800 | Normal/Medium | 31.2(1.17) | 1080 | G1-G6 | 1.9 |  |  |  | Dither G
| 20 | 3:52 | Object | 1800 | Normal/Medium |  | 1050 | G1-G6 | 1.8 |  |  |  | Dither B
| 21 | 4:30 | Acqusition | 30 | Normal/Medium | [7 empty] | LTT3218 in Spector O, disabled
| 22 | 4:35 | Acqusition | 30 | Normal/Medium |  |  |  |  | 2N | 4E |  | LTT3218 in Spector O, disabled
| 23 | 4:41 | Object | 120 | Normal/Medium |  |  |  |  | 1.5N | 1,5E |  | LTT3218 in Spector O
| 24 | 4:45 | Object | 120 | Normal/Medium |  |  |  |  | 1.5N | 1.5E |  | LTT3218 in Spector O
| 25 | 4:49 | Object | 120 | Normal/Medium | 23.9(1.09) |  |  |  | 1.5N | 1.5E |  | LTT3218 in Spector O
| 26 | 4:55 | Acqusition | 30 | Normal/Medium | 22.8(1.08) | [6 empty] | LTT3218 in AAOmega G
| 27 | 4:57 | Object | 120 | Normal/Medium | 22.2(1.08) | [6 empty] | LTT3218 in AAOmega G
| 28 | 5:01 | Object | 120 | Normal/Medium | 21.4(1.07) |  |  |  |  | 2E |  | LTT3218 in AAOmega G
| 29 | 5:06 | Object | 120 | Normal/Medium | 20.5(1.07) |  |  |  | 2N |  |  | LTT3218 in AAOmega G
| 30 | 5:12 | Fibre Flat | 60/60/50/25 | Normal/Medium | [7 empty] | at end of dithers field postion,
| 31 | 5:16 | Arc | 80/80/80/20 | Normal/Medium
| 32 | 5:44 | Offset sky | 150/150/120/80 | Normal/Medium | [7 empty] | AAOmega blue=36k red=40k Spec blue=37k red=48k
| 33 | 5:49 | Offset sky | 52/52/43/21 | Normal/Medium | [6 empty] | 60E | AAOmega blue=30k red=39k Spec blue=34k red=31k
| 34 | 5:52 | Offset sky | 24/24/20/10 | Normal/Medium | [6 empty] | 60E | AAOmega blue=26k red=24k Spec blue=30k red=26k
| 35 | 5:55 | Offset sky | 13/13/11/6 | Normal/Medium | [6 empty] | 60E | AAOmega blue=24k red=20k Spec blue=27k red=25k