## Robot
Main folder path: Z:\Robot_tile_files\{folder} Labview writes the robot shift file to: C:\Robot\robot_shift_abs_{DATETIME}.csv
Currently on telescope |  |  |  |  | Currently on robot
Date | Time | Field | Filename | Directory | Metrology Timestamp | U | Magnet rotation | Timeouts | Comments (dome temp)
241114 | 0.54831 | H03_T088 | Robot_H03_T088.csv | 20241114 | 241114125211 | C |  |  | 14.5 | Test with new z value 25.660, stopped at seq 85 as it is going to 2.70 at holding postions
241114 | 14:;00 | H03_T088 | Robot_H03_T088.csv | 20241114 | 241114125211 | C |  |  | 14.5 | set parking postion files to 25.66 from 25.7, restart from seq 86
241114 | 0.61185 | H03_T088 | Robot_H03_T088.csv | 20241114 | 241114125211 | U |  |  | 14.5 | parking postion file amended to 25.66
241118 | 0.57095 | A0119_T104 | Robot_A0119_T104.csv | 20241118 | 241118131837 | C |  |  | 12.7 | new z = 25.630, parking postion file amended.
241119 | 0.60765 | A3391_A3395_T083 | Robot_A3391_A3395_T083.csv | 20241119 | 241119142357 | C |  |  | 14.2
241121 | 0.048314 | A0119_T104 | Robot_A0119_T104.csv | 20241118 | 241121005821 | U |  |  | 14.5
241121 | 0.086391 | A0085_T044 | Robot_A0085_T044.csv | 20241121 | 241121005821 | C |  |  | 14.1 | stop at seq 6 , going to 25.7 at parking posns. Adjusted pp file.
241121 | 0.099675 | A0085_T044 | Robot_A0085_T044.csv | 20241121 | 241121005821 | C |  |  | 14.1 | restrt fm seq 6
241122 | 0.14904 | A0085_T044 | Robot_A0085_T044.csv | 20241121 | 241122032552 | U |  |  | 13.5
241122 | 4:36 | A0085_T046 | Robot_A0085_T046.csv | 20241122 | 241122032552 | C |  |  | 12.9
241123 | 0.091165 | A0085_T046 | Robot_A0085_T046.csv | 20241122 | 241123020439 | U |  |  | 15.3
241123 | 3:20:00ish | A0119_T104 | Robot_A0119_T104.csv | 20241123 | 241123020439 | C |  |  | 15.5
241125 | 17:54 | A3391_A3395_T083 | Robot_A3391_A3395_T083.csv | 20241119 | 241125174112 | U |  |  | 19.7
241125 | 0.7998 | A3376_T038 | Robot_A3376_T038.csv | 20241125 | 241125174112 | C |  |  | 20.3
241202 | 0.125 | A0119_T104 | Robot_A0119_T104.csv | 20241123 | 241203015531 | U
241202 | ~3:30 | A0085_T046 | Robot_A0085_T046.csv | 20241202 | 241203015531 | C
241205 | 0.7924 | A3376_T038 | Robot_A3376_T038.csv | 20241125 | 241205185321 | U |  |  | 19.8
241205 | 20:18 | A3376_T039 | Robot_A3376_T039.csv | 20241205 | 241205185321 | C |  |  | 20
241207 | 0.033119 | A0085_T046 | Robot_A0085_T046.csv | 20241202 | 241207003238 | U |  |  | 18.8
241207 | 0.081629 | H03_T083 | Robot_H03_T083.csv | 20241206 | 241207003238 | C |  |  | 18.6
241207 | 0.77591 | A3376_T039 | Robot_A3376_T039.csv | 20241205 | 241207183105 | U |  |  | 20.4
241207 | 0.8277 | A3391_A3395_T083 | A3391_A3395_T083 | 20241207 | 241207183105 | C |  |  | 20.8
241208 | 0.12891 | H03_T083 | Robot_H03_T083.csv | 20241206 | 241207183105 | U |  |  | 20.4
241208 | 0.17237 | A3391_A3395_T080 | Robot_A3391_A3395_T080.csv | 20241208 | 241207183105 | C |  |  | 20.1
241209 | 0.12985 | A3391_A3395_T080 | Robot_A3391_A3395_T080.csv | 20241208 | 241209025757 | U |  |  | 18.8
241217 | 12:13 | A3391_A3395_T083 | A3391_A3395_T083 | 20241207 | 241217120040 | U |  |  | 21.6

## Run Summary
Field | Completed? | Intial QC check FWHM < 3" Trans > 0.33 Repeat if both spectrographs fail either of above checks | Comment
A0119_T104 | Y | OK | ABC 20nov unconfiguared after first night due to guidestars located at funny locations and the rotation not as well centred as it should have been, But reconfigured for 24Nov. DE 24nov but of not great quality, and the rotation was better centred.. all fields this run require large negative rotation correction. REDONE on 26Nov dithers ABCD. Did E,F,G on 2 Dec.
A0085_T044 | Y | FWHM ok, no transmission data | ABCDEFG, all dithers completed 21 Nov (night 2)
A0085_T046 | Y | OK | Nov 22 completed all dithers ABCDEFG, **** ADC not functiong correctly for 22nov frames, frames disabled**** , ABC done 04dec., D 05dec, EFG 06dec
A3391_A3395_T083 | N | OK | ABCD on 22nov, through increasing cloud patches, **** ADC not funtioning correctly for 22nov frames, disabled **** , CDEFG on 24Nov and ADC works correctly for these starting night of 24Nov. AB 08dec
A3376_T038 | Y | OK | AB on 26 Nov. Wrong PLATEID keyword in tile file on 26 Nov. AB redone on 1st Dec with correct file. On 2nd Dec did dither C (D had very poor transmission).. DEFG done 04dec
A3376_T039 | Y | OK | AB on 05dec, DEFG on 06dec
H03_T083 | N |  | nil dithers on 07dec, moon too close for any further observation.
A3391_A3395_T080 | N |  | not observed

## LOCKED
| Date: |  |  |  |  | Weather:
| Observers: |  |  |  |  | Program: | Hector Survey
Field name & | Run range | Local time |  | Exp. Time | Read |  |  | Guide | Seeing | Offset (arcsec) |  |  | Notes | DR Notes
Robot file name |  |  | Obs. Type | (sec) | Speed | ZD (Airmass) | Rotator (mdeg) | Stars Used | (arcsec) | N-S | E-W | Rel or Abs.
|  | press "cmd+shift+:" to automatically add timestamp | [10 empty] | AAOmega Focus Values: Blue: Focus=, Spectral=, Spatial=, Red: Focus=, Spectral=, Spatial=, Spector Blue=, Spector Red=
Telescope Focus =

## Twilights
Place count values in the shaded area and the exposure times for next frame will be calculated. Make sure to hit enter or tab when entering the last value for the row, for the times to be calculated correctly. Exposure time will aim to trend counts towards 30k, allowing for the fact that AAOmega Blue and Red must have same exposure times. Suggested first run exposure times are for 30 seconds after sunset and 15 minutes before sunrise.
Evening Twilights
Suggested Exposure times | If you don't like suggested times, amend here | AAOmega Blue | AAOmega Red | Spector Blue | Spector Red |  |  |  | Suggested first times | Previous
5/5/5/5 |  | 10 | 4 | 23 | 20 |  |  |  | 5/5/5/5 | 5 | 5 | 5 | 5
15/15/11/12 |  | 20 | 8 | 15 | 20 |  |  |  |  | 15 | 15 | 11 | 12
39/39/28/28 |  | 35 | 12 | 20 | 26 |  |  |  |  | 39 | 39 | 28 | 28
87/87/66/59 |  | 40 | 20 | 30 | 40 |  |  |  |  | 87 | 87 | 66 | 59
189/189/141/105 |  | 38 | 19 | 34 | 45 |  |  |  |  | 189 | 189 | 141 | 105
384/384/255/155
Copy data below and paste to relevant sheet, when pasting, right click and use 'Paste special' > 'Values only' or Ctrl+Shift+V
| 20:04 | Offset sky | 5/5/5/5 | Normal/Medium |  |  |  | AAOmega blue=10k red=4k Spec blue=23k red=20k | [5 empty] | exposure time formuals
| 20:06 | Offset sky | 15/15/11/12 | Normal/Medium |  | 60E |  | AAOmega blue=20k red=8k Spec blue=15k red=20k | [5 empty] | AA Blue | AA Red | Spec Blue | Spec Red
| 20:08 | Offset sky | 39/39/28/28 | Normal/Medium |  | 60E |  | AAOmega blue=35k red=12k Spec blue=20k red=26k | [5 empty] | 14.06 | 15.7 | 11.07 | 11.7
| 20:12 | Offset sky | 87/87/66/59 | Normal/Medium |  | 60E |  | AAOmega blue=40k red=20k Spec blue=30k red=40k | [5 empty] | 35.09 | 43.76 | 28.21 | 28.07
| 20:14 | Offset sky | 189/189/141/105 | Normal/Medium |  | 60E |  | AAOmega blue=38k red=19k Spec blue=34k red=45k | [5 empty] | 69.23 | 105.7 | 65.5 | 58.66
|  | Offset sky | 384/384/255/155 | Normal/Medium |  |  |  | AAOmega blue=k red=k Spec blue=k red=k | [5 empty] | 154.946 | 223.872 | 141.295 | 105.083
[14 empty] | 317.48 | 450.35 | 254.94 | 155.06
Morning Twilights
Suggested Expoure times | If you don't like suggested times, amend here | AAOmega Blue | AAOmega Red | Spector Blue | Spector Red |  |  |  | Suggested first times | Previous
150/150/120/80 |  | 45 | 56 | 39 | 65 |  |  |  | 150/150/120/80 | 150 | 150 | 120 | 80
36/36/41/9 |  | 25 | 31 | 37 | 20 |  |  |  |  | 36 | 36 | 41 | 9
18/18/18/5 |  |  | 25 | 28 | 18 |  |  |  |  | 18 | 18 | 18 | 5
#VALUE!
#VALUE!
Copy data below and paste to relevant sheet, when pasting, right click and use 'Paste special' > 'Values only' or Ctrl+Shift+V
| 5:32 | Offset sky | 150/150/120/80 | Normal/Medium |  |  |  | AAOmega blue=45k red=56k Spec blue=39k red=65k | [5 empty] | exposure time formulas
| 5:37 | Offset sky | 36/36/41/9 | Normal/Medium |  |  | 60E | AAOmega blue=25k red=31k Spec blue=37k red=20k | [5 empty] | AA Blue | AA Red | Spec Blue | Spec Red
| 5:40 | Offset sky | 18/18/18/5 | Normal/Medium |  |  | 60E | AAOmega blue=k red=25k Spec blue=28k red=18k | [5 empty] | 43.15 | 28.91 | 40.73 | 9.2 | cloudy
|  | Offset sky |  | Normal/Medium |  |  | 60E | AAOmega blue=k red=k Spec blue=k red=k | [5 empty] | 18.43 | 17.08 | 17.92 | 4.89
|  | Offset sky |  | Normal/Medium |  |  | 60E | AAOmega blue=k red=k Spec blue=k red=k | [5 empty] | 12.96 | 10.03 | 9.68 | 3.01
|  | Offset sky |  | Normal/Medium |  |  | 60E | AAOmega blue=k red=k Spec blue=k red=k | [5 empty] | #VALUE! | 0 | 0 | 0
[14 empty] | #VALUE! | 0 | 0 | 0
[19 empty] | 2.5 | 3.3
[19 empty] | 10 | 2.7
[19 empty] | 20 | 2.3
[19 empty] | 30 | 2
[19 empty] | 40 | 1.7
[19 empty] | 50 | 1.3
[19 empty] | 60 | 1.1

## 20112024
| Date: | 20/11/2024 |  |  |  | Weather: | cloudy, high humidity for second half of night.
| Observers: | Tom W., Katie G. |  |  |  | Program: | Hector Survey
Field name & | Run range | Local time |  | Exp. Time | Read |  |  | Guide | Seeing | Offset (arcsec) |  |  | Notes | DR Notes
Robot file name |  |  | Obs. Type | (sec) | Speed | ZD (Airmass) | Rotator (mdeg) | Stars Used | (arcsec) | N-S | E-W | Rel or Abs.
|  | press "cmd+shift+:" to automatically add timestamp | [10 empty] | AAOmega Focus Values: Blue: Focus=88, Spectral=3360, Spatial=2047, Red: Focus=483.8, Spectral=2438, Spatial=1067, Spector Blue=2867, Spector Red=2320
Telescope Focus = 38.6
A0119_T104 |  | tonight is whittakers peanutbutter chocolate to help with good luck
| 1 | 18:37 | Fibre Flat | 60/60/50/25 | Normal/Medium | [7 empty] | CCD2 disabled, wrong grating in ccd2. 1,3 4 ok
| 2 | 18:42 | Arc | 80/80/80/20 | Normal/Medium | [7 empty] | CCD2 disabled, 1,3,4 ok
|  | 19:51 |  | issue with checking tramlines kicking out ccd 2, red grating is 1000I. switching out to 1000R and redo focus on aaomega
|  | 20:25 |  | doing snafu
| 3 | 20:39 | Arc | 80/80/80/20 | Normal/Medium | [7 empty] | Focus ok
| 4 | 20:43 | Fibre Flat | 60/60/50/25 | Normal/Medium | [7 empty] | TLC ok
|  | 20:48 | Too cloudy for standards
| 5 | 21:12 | Acquistion | 500/500/500/500 | Normal/Medium | 32.2 (1.18) | 1050 | [5 empty] | object acquisition. Doing 500 sec exposure beacuse guide stars are all off centre and want galaxies well defined for comparsion
| 6 | 21:29 | Object | 1800 | Normal/Medium | 31.0 (1.17) | 980 | G1-G6 | 2.3 |  |  |  | Dither A, could probably use some more negative rotaion but in danger of losing H.
| 7 | 22:00 | Object | 1800 | Normal/Medium | 30.1 (1.16) | 980 | G1-G6 | 2.5-3 |  |  |  | Dither B, some cloud patches
| 8 | 22:34 | Object | 1800 | Normal/Medium | 31.2 (1.17) | 980 | G1-G6 | 3 |  |  |  | Dither C, some cloud patches
|  | 23:04 | Pausing due cloud
|  | 23:18 | Object | 1800 | Normal/Medium | 35.3 (1.22) | 980 | G1-G6 | 2.4 |  |  |  | Dither D, aborted due cloud
| 9 | 23:36 | Arc | 80/80/80/20 | Normal/Medium | [7 empty] | at field postion, focus ok
| 10 | 23:40 | Fibre Flat | 60/60/50/25 | Normal/Medium | [7 empty] | TLC ok
|  | 23:40 | Changing plate early in hope weather improves
A3391_A3395_T083
| 11 | 0:36 | Arc | 80/80/80/20 | Normal/Medium | [7 empty] | at zenith, focus ok
| 12 | 0:39 | Fibre Flat | 60/60/50/25 | Normal/Medium | [7 empty] | TLC ok
|  | 0:45 | 94% humidity, some cloud, dome closed
| 13-17 | 1:27 | Dark | 1800
|  | 2:34 | lots of cloud now
| 18-25 | 4:16 | Dark | 1800
|  | 4:57 | sky clear but dome wet with 92% humidity, NA advises he will not be able to open for twilights

## 21112024
| Date: | 21/11/2024 |  |  |  | Weather: | great!
| Observers: | Tom W., Katie G. |  |  |  | Program: | Hector Survey
Field name & | Run range | Local time |  | Exp. Time | Read |  |  | Guide | Seeing | Offset (arcsec) |  |  | Notes | DR Notes
Robot file name |  |  | Obs. Type | (sec) | Speed | ZD (Airmass) | Rotator (mdeg) | Stars Used | (arcsec) | N-S | E-W | Rel or Abs.
|  | press "cmd+shift+:" to automatically add timestamp | [10 empty] | AAOmega Focus Values: Blue: Focus=95.1, Spectral=2967, Spatial=2017, Red: Focus=493, Spectral=2351, Spatial=1117, Spector Blue=2866, Spector Red=2299
|  |  | sour rainbow stipe candies for good luck -seems to be working | [9 empty] | Telescope Focus = 38.6
A0085_T044
| 1 | 18:40 | Arc | 80/80/80/20 | Normal/Medium | [7 empty] | Focus ok
| 2 | 18:44 | Fibre Flat | 60/60/50/25 | Normal/Medium | [7 empty] | TLC ok
| 2024-03-17 | 18:57 | Bias | 0 | Normal/Medium
| 18 | 19:51 | Offset sky | 5/5/5/5 | Normal/Medium | [5 empty] | telescope parked1 hour east |  | AAOmega blue=17k red=14k Spec blue=23k red=36k
| 19 | 19:53 | Offset sky | 13/13/11/9 | Normal/Medium | [7 empty] | AAOmega blue=28k red=25k Spec blue=32k red=46k
| 20 | 19:56 | Offset sky | 27/27/21/13 | Normal/Medium | [7 empty] | AAOmega blue=37k red=31k Spec blue=39k red=42k
| 21 | 19:58 | Offset sky | 49/49/35/20 | Normal/Medium | [7 empty] | AAOmega blue=39k red=26k Spec blue=37k red=31k
| 22 | 20:01 | Offset sky | 101/101/66/42 | Normal/Medium | [7 empty] | AAOmega blue=38k red=20k Spec blue=35k red=25k
| 23 | 20:05 | Offset sky | 203/203/117/90 | Normal/Medium | [7 empty] | AAOmega blue=28k red=15k Spec blue=25k red=20k
| 24 | 20:36 | Acquisition | 30 | Normal/Medium | [7 empty] | LTT9491 in Spector O - on edge, disabled
| 25 | 20:42 | Acquisition | 30 | Normal/Medium | 14.8(1.03) |  |  |  |  | 6W |  | LTT9491 in Spector O, centred, disabled
| 26 | 20:45 | Object | 240 | Normal/Medium | 14.9 (1.03) | [6 empty] | LTT9491 in Spector O
| 27 | 20:51 | Object | 240 | Normal/Medium | [5 empty] | 2N |  | LTT9491 in Spector O
| 28 | 20:57 | Object | 240 | Normal/Medium | 16.1 (1.04) |  |  |  |  | 4S |  | LTT9491 in Spector O
| 29 | 21:08 | Acquisition | 300 | Normal/Medium | 24.0(1.09) | 980 | G1-G6 | 1.9
| 30 | 21:19 | Object | 1800 | Normal/Medium | 23.3 (1.09) | 950 | G1-G6 | 2 |  |  |  | Dither A
| 31 | 21:52 | Object | 1800 | Normal/Medium | 22.8 (1.08) | 950 | G1-G6 | 2 |  |  |  | Dither B
| 32 | 22:24 | Object | 1800 | Normal/Medium | 24.7 (1.10) | 950 | G1-G6 | 2 |  |  |  | Dither C
| 33 | 22:56 | Object | 1800 | Normal/Medium | 28.6 (1.14) | 950 | G1-G6 | 2.3 |  |  |  | Dither D
| 34 | 23:28 | Arc | 80/80/80/20 | Normal/Medium
| 35 | 23:32 | Fibre Flat | 60/60/50/25 | Normal/Medium
| 36 | 23:35 | Object | 1800 | Normal/Medium | 34.9 (1.22) | 950 | G1-G6 | 2.5 |  |  |  | Dither E
| 37 | 0:07 | Object | 1800 | Normal/Medium | 40.6 (1.32) | 950 | G1-G6 | 2.4 |  |  |  | Dither F
| 38 | 0:39 | Object | 1800 | Normal/Medium | 47.1 (1.47) | 950 | G1-G6 | 3 |  |  |  | Dither G
A3391_A3395_T083 |  | 1:56 |  | plate changed
|  | 2:12 |  | ADC failure, restarting. restarting twice.
|  | 2:20 |  | ADC restart, try three. no luck
|  | 2:28 |  | will try rebooting computer. no joy
|  | 2:40 |  | tried to expose to see what would happen, but unable to take images with the ADC not working
|  | 3:45 |  | ...still at the problem
|  | 4:45 |  | telescope has been put alseep

## 22112024
| Date: | 2024-11-22 |  |  |  | Weather: | some intermittent clouds
| Observers: | Katie G, Tom W |  |  |  | Program: | Hector Survey
Field name & | Run range | Local time |  | Exp. Time | Read |  |  | Guide | Seeing | Offset (arcsec) |  |  | Notes | DR Notes
Robot file name |  |  | Obs. Type | (sec) | Speed | ZD (Airmass) | Rotator (mdeg) | Stars Used | (arcsec) | N-S | E-W | Rel or Abs.
|  | press "cmd+shift+:" to automatically add timestamp | [10 empty] | AAOmega Focus Values: Blue: Focus=96.4, Spectral=3178, Spatial=2029, Red: Focus=492.5, Spectral=2409, Spatial=1067, Spector Blue=2866, Spector Red=2299 | Using spector focus values from last night, as didn't have time due to software/telescope issues to focus spector
|  |  | old gold dark mint chocolate for good luck tonight | [9 empty] | Telescope Focus = 38.6
*************** ALL FRAMES ON THIS SHEET ARE AFFECTED BY A FAULT WITH THE ADC WHICH MEANT THE LENSES WERE NOT ORIENTED CORRECTLY ************
*********** all flats, arcs, and object frames on this sheet disabled due to ADC issue **********
dome windscreen not moving, when fixed will go straight into twilights, Arc/flat afterwards.
A0085_T046 | 1 |  | flat? | 20/20/20/20 | Normal/Medium |  | disable | [6 empty] | disabled
| 2 | 19:52 | Offset sky | 5/5/5/5 | Normal/Medium | [8 empty] | AAOmega blue=13k red=7k Spec blue=20k red=19k
| 3 | 19:54 | Offset sky | 14/14/12/12 | Normal/Medium | [5 empty] | 60E |  |  | AAOmega blue=26k red=14k Spec blue=30k red=31k
| 4 | 19:57 | Offset sky | 33/33/23/23 | Normal/Medium | [8 empty] | AAOmega blue=36k red=21k Spec blue=35k red=38k
| 5 | 20:00 | Offset sky | 67/67/41/39 | Normal/Medium | [5 empty] | 60E |  |  | AAOmega blue=39k red=25k Spec blue=35k red=39k
| 6 | 20:03 | Offset sky | 139/139/80/71 | Normal/Medium | [5 empty] | 60E |  |  | AAOmega blue=36k red=19k Spec blue=31k red=29k
near zenith, focus ok
| 7 | 20:12 | Arc | 80/80/80/20 | Normal/Medium | [7 empty] | TLC ok
| 8 | 20:15 | Fibre Flat | 60/60/50/25 | Normal/Medium
| 9 | 20:41 | Acquisition | 30 | Normal/Medium | [7 empty] | LTT9491 in AAOmega E, centred, disabled
| 10 | 20:44 | Object | 240 | Normal/Medium | [7 empty] | LTT9491 in AAOmega E
| 11 | 20:50 | Object | 240 | Normal/Medium | [5 empty] | 2E |  | LTT9491 in AAOmega E
| 12 | 20:59 | Object | 240 | Normal/Medium |  |  |  |  | 2N | 1.5W |  | LTT9491 in AAOmega E
| 13 | 21:06 | Acquisition | 300 | Normal/Medium |  | 950 | G1-G6
| 14 | 21:13 | Object | 1800 | Normal/Medium | 23.4(1.09) | 950 | G1-G6 | 2.2 |  |  |  | Dither A
| 15 | 21:45 | Object | 1800 | Normal/Medium | 22.8 (1.08) | 935 | G1-G6 | 2 |  |  |  | Dither B
| 16 | 22:17 | Object | 1800 | Normal/Medium | 24.4 (1.10) | 935 | G1-G6 | 2 |  |  |  | Dither C
| 17 | 22:49 | Object | 1800 | Normal/Medium | 26.1 (1.13) | 935 | G1-G6 | 2 |  |  |  | Dither D
| 18 | 23:22 | Arc | 80/80/80/20 | Normal/Medium
| 19 | 23:25 | Fibre Flat | 60/60/50/25 | Normal/Medium | [7 empty] | TLC ok
| 20 | 23:28 | Object | 1800 | Normal/Medium | 34.4 (1.21) | 935 | G1-G6 | 2.5 |  |  |  | Dither E
| 21 | 0:09 | Object | 1800 | Normal/Medium | 42.2(1.35) | 935 | G1-G6 | 2.5 |  |  |  | Dither F,some light cloud
| 22 | 0:42 | Object | 1800 | Normal/Medium | 49.0(1.52) | 935 | G1-G6 | 2.5 |  |  |  | Dither G
testing ADC to see if lens motor that was connected to spare controller is moving in correct direction; inconclusive
|  | 1:19 | going to switch plate now
A3391_A3395_T083
| 23 | 2:02 | Arc | 80/80/80/20 | Normal/Medium | [7 empty] | at field position, focus ok
| 24 | 2:06 | Fibre Flat | 60/60/50/25 | Normal/Medium | [7 empty] | TLC ok
skipping acquisition
| 25 | 2:10 | Object | 1800 | Normal/Medium | 26.2 (1.11) | 950 | G1-G6 | 2.2 |  |  |  | Dither A, light cloud passing through for all dithers
| 26 | 2:41 | Object | 1800 | Normal/Medium | 24.4 (1.10) | 950 | G1-G6 | 2.7 |  |  |  | Dither B
| 27 | 3:14 | Object | 1800 | Normal/Medium | 23.5 (1.09) | 950 | G1-G6 | 3.5 |  |  |  | Dither C
| 28 | 3:45 | Object | 1800 | Normal/Medium | 23.8 (1.09) | 950 | G1-G6 | 3.5 |  |  |  | Dither D
| 29 | 4:19 | Arc | 80/80/80/20 | Normal/Medium | [7 empty] | at field position, focus ok
| 30 | 4:25 | Fibre Flat | 60/60/50/25 | Normal/Medium | [7 empty] | TLC ok
|  | 4:29 | stream of cloud from the south, no standards or twilights.
| 31-36 | 4:30 | Dark | 1800 | Normal/Medium

## 24112024
| Date: | 24/11/2024 |  |  |  | Weather: | looking quite cloudy, but the clouds held out for most of the night!
| Observers: | Katie G, Tom W |  |  |  | Program: | Hector Survey
Field name & | Run range | Local time |  | Exp. Time | Read |  |  | Guide | Seeing | Offset (arcsec) |  |  | Notes | DR Notes
Robot file name |  |  | Obs. Type | (sec) | Speed | ZD (Airmass) | Rotator (mdeg) | Stars Used | (arcsec) | N-S | E-W | Rel or Abs.
|  | press "cmd+shift+:" to automatically add timestamp | [10 empty] | AAOmega Focus Values: Blue: Focus=96.7, Spectral=3425, Spatial=1986, Red: Focus=493.5, Spectral=2477, Spatial=1109, Spector Blue=2864, Spector Red=2297 | same values as last night
Telescope Focus = 38.8
A0119_T104
|  | 17:23 | Windscren was working but now stuck again.
|  | 18:59 | Windscreen is working again, not sure how reliable it will be. Now an issue where an E-stop has been activated and cannot be cleared to allow tellesciope to move.
|  | 19:21 | E-Stop issue resolved
too cloudy for twilights
| 2024-01-10 | 19:27 | Defocussed flat | 40/40/40/25 | Normal/Medium | [7 empty] | lamp: 75W AAOmega; AAOmega blue=12k red=41k, Spec blue=13k, red=45k
|  | 19:50 | Windscreen failed again, motor will be replaced shortly
| 11 | 19:59 | Defocussed flat | 38/38/38/18 | Normal/Medium | [7 empty] | AAOmega blue=12k, red=41k, Spec blue=13k, red=34k
|  | 20:21 | Replacing windscreen motor
|  | 21:28 | Motor could not be rpelaced now, windscreen functionong again.
Clearing up, will start observing
| 12 | 21:40 | Arc | 80/80/80/20 | Normal/Medium | [7 empty] | Focus ok
| 13 | 21:43 | Fibre Flat | 60/60/50/25 | Normal/Medium | [7 empty] | TLC ok
| 14 | 21:55 | Object | 1800 | Normal/Medium | 30.2(1.16) | 950 | G1-G6 | 2.3 |  |  |  | Dither D
delay due weather and control task restart
| 15 | 23:04 | Object | 1800 | Normal/Medium | 35.5 (1.23) | 920 | G1-G6 | 2.5-3.5 |  |  |  | Dither E, some clouds through most of it, difficult guiding
pausing due weather. changing plate early, gap coming up in an hour
A3391_A3395_T083
| 16 | 0:57 | Arc | 80/80/80/20 | Normal/Medium | [7 empty] | disable - Hexa obscured
| 17 | 1:00 | Fibre Flat | 60/60/50/25 | Normal/Medium | [7 empty] | TLC failed. disable - Hexa obscured
| 18 | 1:26 | Fibre Flat | 60/60/50/25 | Normal/Medium | [7 empty] | TLC ok
| 19 | 1:29 | Object | 1800 | Normal/Medium | 29.6 (1.15) | 940 | G1-G6 | 1.9 |  |  |  | Dither E
| 20 | 2:02 | Object | 1800 | Normal/Medium | 26.5 (1.12) | 940 | G1-G6 | 1.9 |  |  |  | Dither F
| 21 | 2:34 | Object | 1800 | Normal/Medium | 24.4 (1.10) | 940 | G1-G6 | 2 |  |  |  | Dither G
| 22 | 3:07 | Arc | 80/80/80/20 | Normal/Medium | [7 empty] | at field postion, focus ok,
| 23 | 3:10 | Fibre Flat | 60/60/50/25 | Normal/Medium | [7 empty] | TLC ok.
| 24 | 3:14 | Object | 1800 | Normal/Medium | 23.5 (1.09) | 955 | G1-G6 | 1.9 |  |  |  | Dither C, repeating due ADC and poor conditions
| 25 | 3:46 | Object | 1800 | Normal/Medium | 24.2 (1.10) | 955 | G1-G6 | 1.9 |  |  |  | Dither D, repeating due ADC and poor conditions
| 26 | 4:19 | Arc | 80/80/80/20 | Normal/Medium
| 27 | 4:25 | Fibre Flat | 60/60/50/25 | Normal/Medium
|  | 4:29 | not photometric conditions so no standards and cloud increasing so no twilights.
| 28-33 | 4:30 | Dark | 1800

## 25112024
| Date: | 25/11/2024 |  |  |  | Weather: | Better than forecast, mainly clear but dome shutter would not open!
| Observers: | Katie G, Tom W |  |  |  | Program: | Hector Survey
Field name & | Run range | Local time |  | Exp. Time | Read |  |  | Guide | Seeing | Offset (arcsec) |  |  | Notes | DR Notes
Robot file name |  |  | Obs. Type | (sec) | Speed | ZD (Airmass) | Rotator (mdeg) | Stars Used | (arcsec) | N-S | E-W | Rel or Abs.
|  | press "cmd+shift+:" to automatically add timestamp | [10 empty] | AAOmega Focus Values: Blue: Focus=117, Spectral=3352, Spatial=2156, Red: Focus=489, Spectral=2476, Spatial=1067, Spector Blue=2870, Spector Red=2302
Telescope Focus =
A0119_T104
| 2024-01-10 | 17:37 | Defocussed flat | 38/38/38/18 | Normal/Medium | [7 empty] | AAOmega blue=12k, red=39k, Spec blue=32k, red=13k
| 2024-11-20 | 18:07 | Defocussed flat | 35/35/35/15 | Normal/Medium
| 21 | 19:27 | Arc | 80/80/80/20 | Normal/Medium
| 22 | 19:33 | Fibre Flat | 60/60/50/25 | Normal/Medium
|  | 19:46 | setting up for twilights but now Dome shutter will not open
|  | 20:39 | Dome shutter still closed. Packing down for the night
| 23-38 | 21:45 | Bias x 15 | 0
| 38-55 | 22:14 | Dark x 18 | 1800

## 26112024
| Date: | 26/11/2024 |  |  |  | Weather: | Looking good
| Observers: | Katie G, Tom W | (and Caro, Julia, Lachlan, Ellen and Finn) |  |  | Program: | Hector Survey
Field name & | Run range | Local time |  | Exp. Time | Read |  |  | Guide | Seeing | Offset (arcsec) |  |  | Notes | DR Notes
Robot file name |  |  | Obs. Type | (sec) | Speed | ZD (Airmass) | Rotator (mdeg) | Stars Used | (arcsec) | N-S | E-W | Rel or Abs.
|  | press "cmd+shift+:" to automatically add timestamp | [10 empty] | AAOmega Focus Values: Blue: Focus=96, Spectral=3354, Spatial=1999, Red: Focus=487, Spectral=2949, Spatial=1077, Spector Blue=2875, Spector Red=2303
Telescope Focus = 38.7
A0119_T104
| 1 | 18:11 | Arc | 80/80/80/20 | Normal/Medium
| 2 | 18:17 | Fibre Flat | 60/60/50/25 | Normal/Medium
| 3 | 19:55 | Offset sky | 5/5/5/5 | Normal/Medium | [7 empty] | AAOmega blue=15k red=8k Spec blue=20k red=20k |  | exposure time formuals
| 4 | 19:57 | Offset sky | 14/14/12/12 | Normal/Medium |  |  |  |  | 60E |  |  | AAOmega blue=25k red=15k Spec blue=32k red=31k |  | AA Blue | AA Red | Spec Blue | Spec Red
| 5 | 20:00 | Offset sky | 33/33/23/23 | Normal/Medium |  |  |  |  | 60N |  |  | AAOmega blue=40k red=20k Spec blue=40k red=40k |  | 12.82 | 14.59 | 11.7 | 11.7
| 6 | 20:03 | Offset sky | 65/65/38/38 | Normal/Medium |  |  |  |  | 60E |  |  | AAOmega blue=40k red=20k Spec blue=37k red=32k |  | 29.87 | 35.91 | 22.51 | 22.93
| 7 | 20:06 | Offset sky | 130/130/80/80 | Normal/Medium | [7 empty] | AAOmega blue=40k red=17k Spec blue=35k red=30k |  | 53.43 | 77.2 | 37.24 | 37.24
| 8 | 21:04 | Acquisition | 30 | Normal/Medium |  | 910 | [5 empty] | LTT9491 in AAOmega G
| 9 | 21:04 | Acquisition | 30 | Normal/Medium |  | 910 |  |  |  | 2E |  | LTT9491 in AAOmega G
| 10 | 21:04 | Object | 240 | Normal/Medium |  | 910 | [5 empty] | LTT9491 in AAOmega G
| 11 | 21:12 | Object | 240 | Normal/Medium |  | 910 |  |  | 2S | 4W |  | LTT9491 in AAOmega G
| 12 | 21:19 | Object | 240 | Normal/Medium |  | 910 |  |  |  | 2E |  | LTT9491 in AAOmega G
| 13 | 21:27 | Acquisition | 300 | Normal/Medium |  | 910 | G1-G6
| 14 | 21:43 | Acquisition | 200 | Normal/Medium |  | 930 | G1-G6
| 15 | 21:54 | Object | 1800 | Normal/Medium | 30.4 (1.16) | 950 | G1-G6 | 2.2 |  |  |  | Dither A
| 16 | 22:26 | Object | 1800 | Normal/Medium | 32.3 (1.18) | 950 | G1-G6 | 2.2 |  |  |  | Dither B
| 17 | 22:58 | Object | 1800 | Normal/Medium | 35.7 (1.23) | 950 | G1-G6 | 2.1 |  |  |  | Dither C
| 18 | 23:30 | Object | 1800 | Normal/Medium | 40.3 (1.31) | 950 | G1-G6 | 2.4 |  |  |  | Dither D
| 19 | 0:02 | Arc | 80/80/80/20 | Normal/Medium |  | 950
| 20 | 0:05 | Fibre Flat | 60/60/50/25 | Normal/Medium |  | 950
A3376_T038 |  | 0:51 | plate changed
| 21 | 0:58 | Acquisition | 300 | Normal/Medium |  | 910 | All except G3 |  |  |  | disable | GS3 is located very far from center, deselected this as a guider
| 22 | 1:05 | Arc | 80/80/80/20 | Normal/Medium |  | 910 |  |  |  |  | disable | focus ok, CCD 1,2 disabled
| 23 | 1:10 | Fibre Flat | 60/60/50/25 | Normal/Medium |  | 910 |  |  |  |  | disable | TLC failure, sky fibre incorrect postion, CCD 1,2, disabled
|  | 1:19 | Tramline failure for CCD 1 and 2 -- skyfiber in wrong position
| 24 | 1:32 | Arc | 80/80/80/20 | Normal/Medium |  | 910 |  |  |  |  | disabled
| 25 | 1:35 | Fibre Flat | 60/60/50/25 | Normal/Medium |  | 910 |  |  |  |  | disabled
| 26 | 1:43 | Acquisition | 300 | Normal/Medium |  | 850 | GS3 and GS2 disabled |  |  |  |  | Guidestars not centred, no rotation value will do it , the entire plate requires an Eastward translation
| 27 | 1:51 | Acquisition | 60 | Normal/Medium |  | 910 + an offset of 8E
Quicklook failing, it cannot find the reduced fibre flat, it is looking for the reduced/241126/A3376_T037 directory which is not this field, but the pipeline has created this diretory.
The tile file has PLATEID = A3376_T037, which is the wrong field
Possibly we are centred on the T037 field which is why the east translation is required, dosen't seem like a big enough shift?
|  |  | Overwriting the PLATEID in "Tile_A3376_T038.csv" from A3376_T037 ---> A3376_T038. Reloaded tile file in CCD window. | [9 empty] | W1.5 N1.5
| 28 | 2:10 | Acquisition | 300 | Normal/Medium |  | 950 |  |  | total shift of 6.5E 1.5N relative to center of field, required to get the guide stars centered
Deleted all the T037 frames from the filelist.txt and restarted manager. Deleted imported frames that were created when tile T037 was PlateID
Hmm. Doesn't seem to work -- didn't make a T038 directory for the new tilef ile and quick look still fails
When the manager loads, it is still creating the incorrect A3376_T037 directory, but unclear where it is coming from
The .fits headers say A3376_T038.
Will try deleting all the reduced files and re-reduce
|  | 3:00 | Has created the wrong directory again, A3376_T037 but it keeps looking for the reduced fits in the A3376_T038 directory
Will try manually creating folder A3376_T038 in the /data/hector/reduction/241120_241208/reduced/A3378_T038/A3376_T038_F0_..... and moving the reduced files to there
|  | 3:11 | Seems to work!
| 29 | 3:15 | Object | 1800 | Normal/Medium | 11.2 (1.02) | 950 | no G3 | 2.5 |  |  |  | Dither A, E6.5 N1.5 from plate center
| 30 | 3:47 | Object | 1800 | Normal/Medium | 16.1 (1.04) | 950 | no G3 | 2024-03-04 |  |  |  | Dither B, E6.5 N1.5 from plate center, very wispy light clouds going in and out
|  | 4:18 | No standards as the seeing is averaging about 4" and over 6, losing guiding, cloud nearby on satelitte view.
| 31 | 4:23 | Arc | 80/80/80/20 | Normal/Medium |  | 950
| 32 | 4:27 | Fibre Flat | 60/60/50/25 | Normal/Medium |  | 950
|  | 5:08 | Can see the cloud now it is lighter, no twilights
Note from Caro: I have used the method described in the manual to change frames 24-32 tile name to A3376_T038 based on Sree's advise on email.

## 23112024
| Date: | 23/11/2024 |  |  |  | Weather:
| Observers: | Katie G, Tom W |  |  |  | Program: | Hector Survey
Field name & | Run range | Local time |  | Exp. Time | Read |  |  | Guide | Seeing | Offset (arcsec) |  |  | Notes | DR Notes
Robot file name |  |  | Obs. Type | (sec) | Speed | ZD (Airmass) | Rotator (mdeg) | Stars Used | (arcsec) | N-S | E-W | Rel or Abs.
|  | press "cmd+shift+:" to automatically add timestamp | [10 empty] | AAOmega Focus Values: Blue: Focus=96.7, Spectral=3425, Spatial=1986, Red: Focus=493.5, Spectral=2477, Spatial=1109, Spector Blue=2864, Spector Red=2297
Telescope Focus =
A0119_T104
| 1 | 18:34 | Arc | 80/80/80/20 | Normal/Medium | [7 empty] | near zenith, focus ok, disabled
| 2 | 18:40 | Fibre Flat | 60/60/50/25 | Normal/Medium | [7 empty] | TLC ok, disabled
redoing spector focus as the suggested changes for the first focius run were larger than normal, focus check was ok though
new suggested values similar to previous night, not sure why the difference, possible flat screen did not fully move into postion fo first run.
| 3 | 18:56 | Arc | 80/80/80/20 | Normal/Medium | [7 empty] | disabled
| 4 | 18:59 | Fibre Flat | 60/60/50/25 | Normal/Medium | [7 empty] | disabled
|  | 19:56 | Windscreen drive has failed, not able to observe.

## 27112024
| Date: | 27/11/2024 |  |  |  | Weather: | Cloudy
| Observers: | Julia, Caro, Matthew, Lachlan, Ellen and Finn |  |  |  | Program: | Hector Survey
Field name & | Run range | Local time |  | Exp. Time | Read |  |  | Guide | Seeing | Offset (arcsec) |  |  | Notes | DR Notes
Robot file name |  |  | Obs. Type | (sec) | Speed | ZD (Airmass) | Rotator (mdeg) | Stars Used | (arcsec) | N-S | E-W | Rel or Abs.
|  | press "cmd+shift+:" to automatically add timestamp | [10 empty] | AAOmega Focus Values: Blue: Focus=96, Spectral=3554, Spatial=1999, Red: Focus=487, Spectral=2494, Spatial=1077, Spector Blue=2878, Spector Red=2302
Telescope Focus =
A119_T104
| 1 | 12:19 | Arc | 50/50/50/15 | Normal/Medium | [7 empty] | Test exposure with corrected PlateID for Tile file for A3376_T038., disabled
Imported and processed OK, created correct date and field directory in reduction directory
| 2-36 | 22:00 | bias x 35 | 0 | Normal/Medium

## 28112024
| Date: | 28/11/2024 |  |  |  | Weather: | Fog and rain all night
| Observers: | Julia, Caro, Lachlan, Ellen, Matthew and Finn |  |  |  | Program: | Hector Survey
Field name & | Run range | Local time |  | Exp. Time | Read |  |  | Guide | Seeing | Offset (arcsec) |  |  | Notes | DR Notes
Robot file name |  |  | Obs. Type | (sec) | Speed | ZD (Airmass) | Rotator (mdeg) | Stars Used | (arcsec) | N-S | E-W | Rel or Abs.
|  | press "cmd+shift+:" to automatically add timestamp | [10 empty] | AAOmega Focus Values: Blue: Focus=, Spectral=, Spatial=, Red: Focus=, Spectral=, Spatial=, Spector Blue=, Spector Red=
Telescope Focus =
No data taken

## 29112024
| Date: |  |  |  |  | Weather: | Fog and rain
| Observers: | Julia, Caro, Lachlan, Ellen, Matthew and Finn |  |  |  | Program: | Hector Survey
Field name & | Run range | Local time |  | Exp. Time | Read |  |  | Guide | Seeing | Offset (arcsec) |  |  | Notes | DR Notes
Robot file name |  |  | Obs. Type | (sec) | Speed | ZD (Airmass) | Rotator (mdeg) | Stars Used | (arcsec) | N-S | E-W | Rel or Abs.
|  | press "cmd+shift+:" to automatically add timestamp | [10 empty] | AAOmega Focus Values: Blue: Focus=96, Spectral=3554, Spatial=1999, Red: Focus=487, Spectral=2494, Spatial=1077, Spector Blue=2878, Spector Red=2302
Telescope Focus =
No data taken

## 30112024
| Date: | 30/11/2024 |  |  |  | Weather: | Fog and rain....but with a chance of clearing!
| Observers: | Julia, Caro, Lachlan, Ellen, Matthew and Finn |  |  |  | Program: | Hector Survey
Field name & | Run range | Local time |  | Exp. Time | Read |  |  | Guide | Seeing | Offset (arcsec) |  |  | Notes | DR Notes
Robot file name |  |  | Obs. Type | (sec) | Speed | ZD (Airmass) | Rotator (mdeg) | Stars Used | (arcsec) | N-S | E-W | Rel or Abs.
|  | press "cmd+shift+:" to automatically add timestamp | [10 empty] | AAOmega Focus Values: Blue: Focus=94.4, Spectral=3575, Spatial=2001.7, Red: Focus=487.3, Spectral=2494, Spatial=1077.3, Spector Blue=2873, Spector Red=2299
Telescope Focus =
A119_T104 | 1 | 18:09 | Arc | 80/80/80/20 | Normal/Medium | 0
| 2 | 18:13 | Fibre Flat | 60/60/50/25 | Normal/Medium | 0
A3376_T038 | 3 | 2:21 | Fibre Flat | 60/60/50/25 | Normal/Medium | 0
| 4 | 2:27 | Arc | 80/80/80/20 | Normal/Medium | 0

## 01122024
| Date: | 2024-01-12 |  |  |  | Weather: | Looking good in the arvo, rain for most of the night, then some clear skies at the end.
| Observers: | Julia, Caro, Lachlan, Ellen, Matthew and Finn |  |  |  | Program: | Hector Survey
Field name & | Run range | Local time |  | Exp. Time | Read |  |  | Guide | Seeing | Offset (arcsec) |  |  | Notes | DR Notes
Robot file name |  |  | Obs. Type | (sec) | Speed | ZD (Airmass) | Rotator (mdeg) | Stars Used | (arcsec) | N-S | E-W | Rel or Abs.
|  | press "cmd+shift+:" to automatically add timestamp | [10 empty] | AAOmega Focus Values: Blue: Focus=94.8, Spectral=3500.1, Spatial=2017.2, Red: Focus=487.3, Spectral=2494, Spatial=1077.3, Spector Blue=2871.03, Spector Red=2298.94
Telescope Focus = 38.7
A119_T104 | 1 | 18:26 | Fibre Flat | 60/60/50/25 | Normal/Medium | 0
| 2 | 18:30 | Arc | 80/80/80/20 | Normal/Medium | 0
| 3 | 20:00 | Offset sky | 5/5/5/5 | Normal/Medium | [7 empty] | AAOmega blue=13k red=11k Spec blue=20k red=25k
| 4 |  | Offset sky | 14/14/12/11 | Normal/Medium | [5 empty] | 60 | rel | AAOmega blue=26k red=22k Spec blue=30k red=45k
Cloud came in during twilights.
A3376_T038 | 5 | 1:39 | Fibre Flat | 60/60/50/25 | Normal/Medium | 11 (1.02) | [6 empty] | At field position
| 6 | 1:45 | Arc | 80/80/80/20 | Normal/Medium | 11 (1.02) | [6 empty] | At field position
| 7 | 1:48 | Acquisition | 300 | Normal/Medium |  | 950
| 8 | 3:09 | Object | 1800 | Normal/Medium | 1.05 | 950 | G1-6 | 1.8ish |  |  |  | Dither A - some thin cloud
| 9 | 3:43 | Object | 1800 | Normal/Medium | 1.1 | 950 | G1-6 | 1.8ish |  |  |  | Dither B - some thin cloud
| 10 | 4:42 | Fibre Flat | 60/60/50/25 | Normal/Medium | 0 | [6 empty] | At zenith
| 11 | 4:46 | Arc | 80/80/80/20 | Normal/Medium | 0 | [6 empty] | At zenith
| 12 | 5:30 | Offset sky | 150/150/120/80 | Normal/Medium | [7 empty] | AAOmega blue=27k red=30k Spec blue=27k red=32k |  | exposure time formulas
| 13 |  | Offset sky | 65/65/53/32 | Normal/Medium | [7 empty] | AAOmega blue=29k red=33k Spec blue=30k red=40k |  | AA Blue | AA Red | Spec Blue | Spec Red
| 14 | 5:39 | Offset sky | 31/31/25/13 | Normal/Medium | [6 empty] | 60E | AAOmega blue=25k red=27k Spec blue=26k red=30k |  | 66.45 | 62.57 | 53.16 | 31.99
| 15 |  | Offset sky | 17/17/14/7 | Normal/Medium | [6 empty] | 60E | AAOmega blue=21k red=24k Spec blue=25k red=25k |  | 31.66 | 30.04 | 25.48 | 13.39
| 16 | 5:44 | Offset sky | 10/10/8/4 | Normal/Medium | [6 empty] | 60E | AAOmega blue=21k red=20k Spec blue=23k red=21k |  | 17.28 | 16.88 | 13.77 | 6.82
| 17 | 5:46 | Offset sky | 6/6/5/2 | Normal/Medium | [6 empty] | 60E | AAOmega blue=17k red=18k Spec blue=20k red=15k |  | 9.92 | 9.59 | 7.8 | 3.9

## 02122024
| Date: | 2024-02-12 |  |  |  | Weather: | Some thin cirrus at start of the night
| Observers: | Julia, Caro, Lachlan, Ellen, Matthew and Finn |  |  |  | Program: | Hector Survey
Field name & | Run range | Local time |  | Exp. Time | Read |  |  | Guide | Seeing | Offset (arcsec) |  |  | Notes | DR Notes
Robot file name |  |  | Obs. Type | (sec) | Speed | ZD (Airmass) | Rotator (mdeg) | Stars Used | (arcsec) | N-S | E-W | Rel or Abs.
|  | press "cmd+shift+:" to automatically add timestamp | [10 empty] | AAOmega Focus Values: Blue: Focus=95, Spectral=3494, Spatial=2011, Red: Focus=487, Spectral=2494, Spatial=1077.3, Spector Blue=2871.08, Spector Red=2299.95
Telescope focus: 38.6
A119_T104 | 1 | 16:17 | Bias | 0/0/0/0 | Normal/Medium | 0
| 2 | 18:28 | Fibre Flat | 60/60/50/25 | Normal/Medium | 0
| 3 | 18:30 | Arc | 80/80/80/20 | Normal/Medium | 0
| 4 |  | Offset sky | 5/5/5/5 | Normal/Medium | [7 empty] | AAOmega blue=11k red=6k Spec blue=15k red=13k
| 5 |  | Offset sky | 14/14/13/13 | Normal/Medium | [7 empty] | AAOmega blue=20k red=9k Spec blue=23k red=28k
| 6 | 20:06 | Offset sky | 36/36/29/26 | Normal/Medium | [7 empty] | AAOmega blue=22k red=16k Spec blue=32k red=25k
| 7 |  | Offset sky | 86/86/54/55 | Normal/Medium | [7 empty] | AAOmega blue=37k red=15k Spec blue=34k red=25k
| 8 | 20:13 | Offset sky | 202/202/107/129 | Normal/Medium | [7 empty] | AAOmega blue=35k red=15k Spec blue=30k red=23k
| 9 | 21:00 | Acquisition | 30 | Normal/Medium | 24 (1.10) | 950 | [5 empty] | LTT9491 in Spector L - not acquired | Disabled
| 10 | 21:03 | Acquisition | 30 | Normal/Medium |  | 950 | [5 empty] | LTT9491 in Spector P
| 11 | 21:12 | Object | 240 | Normal/Medium |  | 950 |  |  | 2N | 4E |  | LTT9491 in Spector P
| 12 | 21:18 | Object | 240 | Normal/Medium |  | 950 |  |  |  | 2E |  | LTT9491 in Spector P
| 13 | 21:25 | Object | 240 | Normal/Medium |  | 950 |  |  | 2N | 0 |  | LTT9491 in Spector P
| 14 |  | Acquisition | 240 | Normal/Medium | 30 (1.16) | 950 | G1-6 |  |  |  |  | Disabled
| 15 | 21:42 | Acquisition | 240 | Normal/Medium | 30 (1.16) | 910 | G1-6 |  |  |  |  | Disabled
| 16 | 21:50 | Object | 1800 | Normal/Medium | 31 (1.17) | 930 | G1-6 | 2.3-ish |  |  |  | Dither E
| 17 |  | Object | 1800 | Normal/Medium |  | 930 | G1-6 | 2-2.2ish |  |  |  | Dither F - thick cloud came in during last 2 minutes of exposure.
| 18 | 22:55 | Fibre Flat | 60/60/50/25 | Normal/Medium
| 19 | 23:00 | Arc | 80/80/80/20 | Normal/Medium
| 20 | 23:05 | Object | 1800 | Normal/Medium |  | 930 | G1-6 | 2.5ish |  |  |  | Dither G - lost guiding for 5 mins in the middle - so probably won't pass QC. - then again for 12mins, so disable it.
| 21 | 0:01 | Object | 1800 | Normal/Medium | 50 (1.57) | 930 | G1-6 | 3-ish |  |  |  | Dither G repeat
A3376_T038 | 22 | 1:19 | Fibre Flat | 60/60/50/25 | Normal/Medium
| 23 |  | Arc | 80/80/80/20 | Normal/Medium
| 24 | 1:28 | Acquisition | 260 | Normal/Medium | 13 (1.09) | 950 | G1-6
| 25 | 1:37 | Object | 1800 | Normal/Medium | 11.2 (1.02) | 950 | G1-G6 |  |  |  |  | Dither C
| 26 | 2:10 | Object | 1800 | Normal/Medium |  | 950 | G1-G6 |  |  |  |  | Dither D, clouds passing. got thicker but didn't lose guiding. Transmission is only 0.17, disable.
| 27 |  | Arc | 80/80/80/20 | Normal/Medium
| 28 | 2:43 | Fibre Flat | 60/60/50/25 | Normal/Medium | [7 empty] | Thick clouds rolled in

## 03122024
| Date: | 2024-03-12 |  |  |  | Weather: | Rain, rain go away! (or we will, and then make it Tom's problem)
| Observers: | Julia, Caro, Lachlan, Ellen, Matthew and Finn |  |  |  | Program: | Hector Survey
Field name & | Run range | Local time |  | Exp. Time | Read |  |  | Guide | Seeing | Offset (arcsec) |  |  | Notes | DR Notes
Robot file name |  |  | Obs. Type | (sec) | Speed | ZD (Airmass) | Rotator (mdeg) | Stars Used | (arcsec) | N-S | E-W | Rel or Abs.
|  | press "cmd+shift+:" to automatically add timestamp | [10 empty] | AAOmega Focus Values: Blue: Focus=, Spectral=, Spatial=, Red: Focus=, Spectral=, Spatial=, Spector Blue=, Spector Red=
Telescope focus:
A0085_T046
| 1 |  | Fibre Flat | 60/60/50/25 | Normal/Medium | 0 | [6 empty] | At zenith
| 2 | 20:42 | Arc | 80/80/80/20 | Normal/Medium | 0 | [6 empty] | At zenith
A3376_T038 | [12 empty] | 100% humidity, dome to wet to open - but cloudy too.

## 04122024
| Date: | 2024-04-12 |  |  |  | Weather: | Rain to start, cleared at 9.30pm, fog, humidity patches later
| Observers: | Tom W., Gabby |  |  |  | Program: | Hector Survey
Field name & | Run range | Local time |  | Exp. Time | Read |  |  | Guide | Seeing | Offset (arcsec) |  |  | Notes | DR Notes
Robot file name |  |  | Obs. Type | (sec) | Speed | ZD (Airmass) | Rotator (mdeg) | Stars Used | (arcsec) | N-S | E-W | Rel or Abs.
|  | press "cmd+shift+:" to automatically add timestamp | [10 empty] | AAOmega Focus Values: Blue: Focus=93, Spectral=3421.1, Spatial=1990, Red: Focus=486.1, Spectral=2353.5, Spatial=1060.3, Spector Blue=2876.15, Spector Red=2300.93
A0085_T046 | [12 empty] | Telescope Focus = 38.6
| 1 | 18:55 | Arc | 80/80/80/20 | Normal/Medium | [7 empty] | at Zenith, Focus check ok
| 2 | 19:01 | Fibre Flat | 60/60/50/25 | Normal/Medium | [7 empty] | TLC ok.
| 3 | 21:39 | Acquisition | 300 | Normal/Medium | 26.0(1.11) | 950 | G1-G6 | 2
| 4 | 21:51 | Object | 1800 | Normal/Medium | 26.8(1.12) | 920 | G1-G6 | 2 |  |  |  | Dither A
| 5 | 22:24 | Object | 1800 | Normal/Medium | 31.92(1.18) | 920 | G1-G6 | 2 |  |  |  | Dither B
| 6 | 22:55 | Object | 1800 | Normal/Medium | 36.90(1.25) | 920 | G1-G6 | 2.7 |  |  |  | Dither C
fog arrived during dither D, dome closed, will change plate
| 7 | 23:39 | Arc | 80/80/80/20 | Normal/Medium | [7 empty] | at field postion, focus ok
| 8 | 23:43 | Fibre Flat | 60/60/50/25 | Normal/Medium | [7 empty] | TLC ok
| 9 |  | woops | [9 empty] | left script running accidentally whilst plugging disabled in manager
A3376_T038
| 10 | 0:38 | Arc | 80/80/80/20 | Normal/Medium | [7 empty] | at Zenith, Focus ok
| 11 | 0:42 | Fibre Flat | 60/60/50/25 | Normal/Medium | [7 empty] | TLC ok
|  | 1:14 | dome closed due humidity/fog
| 12 | 2:00 | Acquisition | 300 | Normal/Medium | 8.4(1.01) | 950 | G1-G6
| 13 | 2:12 | Object | 1800 | Normal/Medium | 8.3(1.01) | 925 | G1-G6 | 2.6 |  |  |  | Dither D
| 14 | 2:45 | Object | 1800 | Normal/Medium | 11.33(1.02) | 925 | G1-G6 | 2 |  |  |  | Dither E
| 15 | 3:19 | Object | 1800 | Normal/Medium | 16.8(1.04) | 925 | G1-G6 | 2.5 |  |  |  | Dither F
| 16 | 3:48 | Object | 1800 | Normal/Medium | 27.6(1.13) | 925 | G1-G6 | 2.5 |  |  |  | Dither G
| 17 | 4:25 | Acquisition | 30 | Normal/Medium | 5.1(1.00) | 925 | [5 empty] | LTT3218 in AAOmega A, on edge disabled
| 18 | 4:30 | Acquisition | 30 | Normal/Medium | 3.92(1.00) | 925 | [5 empty] | LTT3218 in AAOmega A, in bundle, disabled
| 19 | 4:33 | Object | 120 | Normal/Medium | 3.47(1.00) | 925 | [5 empty] | LTT3218 in AAOmega A
| 20 | 4:37 | Object | 120 | Normal/Medium | 2.66 (1.00) | 925 |  |  | 2 | 0 |  | LTT3218 in AAOmega A
| 21 | 4:41 | Object | 120 | Normal/Medium | 1.99 (1.00) | 925 |  |  | 2 | 0 |  | LTT3218 in AAOmega A
| 22 | 4:45 | Acquisition | 30 | Normal/Medium | 5.1(1.00) | 925 | [5 empty] | LTT3218 in Spector R, in bundle, disabled
| 23 | 4:48 | Object | 120 | Normal/Medium | 1.58 (1.00) | 925 | [5 empty] | LTT3218 in Spector R, end of nautical twilight
| 24 | 4:53 | Arc | 80/80/80/20 | Normal/Medium | 27.77 (1.13) | 925 | [5 empty] | at end of dithers field postion, focus ok
| 25 | 4:58 | Fibre Flat | 60/60/50/25 | Normal/Medium | 27.77 (1.13) | 925 | [5 empty] | TLC ok
| 26 | 5:32 | Offset sky | 150/150/120/80 | Normal/Medium | [7 empty] | AAOmega blue=45k red=56k Spec blue=39k red=65k |  | saturated ccd4 disabled
| 27 | 5:37 | Offset sky | 36/36/41/9 | Normal/Medium | [6 empty] | 60E | AAOmega blue=25k red=31k Spec blue=37k red=20k
| 28 | 5:40 | Offset sky | 18/18/18/5 | Normal/Medium | [6 empty] | 60E | AAOmega blue=k red=25k Spec blue=28k red=18k |  | cloudy (disabled)

## 05122024
| Date: | 2024-05-12 |  |  |  | Weather: | Cloud
| Observers: | Tom W., Gabby |  |  |  | Program: | Hector Survey
Field name & | Run range | Local time |  | Exp. Time | Read |  |  | Guide | Seeing | Offset (arcsec) |  |  | Notes | DR Notes
Robot file name |  |  | Obs. Type | (sec) | Speed | ZD (Airmass) | Rotator (mdeg) | Stars Used | (arcsec) | N-S | E-W | Rel or Abs.
|  | press "cmd+shift+:" to automatically add timestamp | [10 empty] | AAOmega Focus Values: Blue: Focus=93, Spectral=3421, Spatial=1990, Red: Focus=1060, Spectral=2379, Spatial=484, Spector Blue=2876.5, Spector Red=2301.9
Telescope Focus = 38.6
A0085_T046
| 1 | 19:20 | Arc | 80/80/80/20 | Normal/Medium | [7 empty] | at zenit, focus ok
| 2 | 19:24 | Fibre Flat | 60/60/50/25 | Normal/Medium | [7 empty] | TLC ok
|  | 20:41 | Waiting for break in clouds
| 3 | 21:23 | Object | 1800 | Normal/Medium | 24.23(1.10) | 920 | G1-G6 | 2.3 |  |  |  | Dither D, some thin cloud around
| 4 | 21:55 | Object | 1800 | Normal/Medium | 27.78(1.13) | 920 | G1-G6 | 2.3 |  |  |  | Dither E, aborted due cloud
| 4 | 22:18 | Arc | 80/80/80/20 | Normal/Medium | [7 empty] | at field postion, focus ok
| 5 | 22:21 | Fibre Flat | 60/60/50/25 | Normal/Medium | [7 empty] | TLC ok
A3376_T039
| 6 | 0:03 | Arc | 80/80/80/20 | Normal/Medium | [7 empty] | at field postion, focus ok
| 7 | 0:08 | Fibre Flat | 60/60/50/25 | Normal/Medium | [7 empty] | TLC ok
| 8 | 0:16 | Acquisition | 300 | Normal/Medium | 23.18(1.09) | 950 | G1-G6 | 2.2
| 9 | 0:28 | Object | 1800 | Normal/Medium | 21.10(1.07) | 935 | G1-G6 | 2 |  |  |  | Dither A, cloud patches around
|  | 1:02 | Pausing due cloud
| 10 | 1:08 | Object | 1800 | Normal/Medium | 13.7(1.03) | 935 | G1-G6 | 2.0 -3.5 |  |  |  | Dither B, aborted due cloud
| 10 | 2:13 | Object | 1800 | Normal/Medium | 8.3(1,01) | 935 | G1-G6 | 2 |  |  |  | Dither B
| 11 | 2:44 | Object | 1800 | Normal/Medium | 11.52(1.02) | 935 | G1-G6 | 2.5 - 4 |  |  |  | Dither C aborted due to cloud
|  | 3:28 | Dome closed due cloud/humidity
|  | 4:42 | Mist, dome still closed due humidity, no twilights,
| 2024-11-15 | 4:52 | Dark | 1800

## 06122024
| Date: | 2024-06-12 |  |  |  | Weather: | Cloudy initially
| Observers: | Tom W., Gabby |  |  |  | Program: | Hector Survey
Field name & | Run range | Local time |  | Exp. Time | Read |  |  | Guide | Seeing | Offset (arcsec) |  |  | Notes | DR Notes
Robot file name |  |  | Obs. Type | (sec) | Speed | ZD (Airmass) | Rotator (mdeg) | Stars Used | (arcsec) | N-S | E-W | Rel or Abs.
|  | press "cmd+shift+:" to automatically add timestamp | [10 empty] | AAOmega Focus Values: Blue: Focus=90.9, Spectral=3430.4, Spatial=1965.6, Red: Focus=482.9, Spectral=2395.5, Spatial=1088.5, Spector Blue=2879.77, Spector Red=2302.96
Telescope Focus = 38.6
A0085_T046
| 1 | 19:36 | Arc | 80/80/80/20 | Normal/Medium | [7 empty] | at zenith, focus ok
| 2 | 19:40 | Fibre Flat | 60/60/50/25 | Normal/Medium | [7 empty] | TLC ok
|  | 21:01 | cloud clearing
| 3 | 21:25 | Object | 1800 | Normal/Medium | 24.8(1.10) | 920 | G1-G6 | 1.9 |  |  |  | Dither E
| 4 | 21:59 | Object | 1800 | Normal/Medium | 29.07(1.14) | 920 | G1-G6 | 1.9 |  |  |  | Dither F, some thin cloud moving in
| 5 | 22:30 | Object | 1800 | Normal/Medium | 33.8(1.20) | 920 | G1-G6 | 2.3 |  |  |  | Dither G
A3376_T039
| 6 | 0:01 | Arc | 80/80/80/20 | Normal/Medium | [7 empty] | at field position, focus ok
| 7 | 0:15 | Fibre Flat | 60/60/50/25 | Normal/Medium | [7 empty] | TLC ok
| 8 | 0:18 | Object | 1800 | Normal/Medium | 20.8(1.07) | 935 | G2-G6 | 2.1 |  |  |  | Dither C, star in GS1 is on edge of bundle, was ok last night. Looks ok on plate photo. WIll remove msgnet before unconfiguring.
| 9 | 0:51 | Object | 1800 | Normal/Medium |  | 935 | G2-G6 |  |  |  |  | Dither D
| 10 | 1:23 | Arc | 80/80/80/20 | Normal/Medium | [7 empty] | at field position, focus ok
| 11 | 1:27 | Fibre Flat | 60/60/50/25 | Normal/Medium | [7 empty] | TLC ok
| 12 | 1:30 | Object | 1800 | Normal/Medium | 10.13(1.02) | 935 | G2-G6 | 1.8 |  |  |  | Dither E bits of cloud around
| 13 | 2:03 | Object | 1800 | Normal/Medium | 8.3(1.01) | 935 | G2-G6 | 2 |  |  |  | Dither F bits of cloud around
| 14 | 2:34 | Object | 1800 | Normal/Medium | 10.67(1.02) | 935 | G2-G6 | 2.3 |  |  |  | Dither G aborted due to strong cloud
| 14 | 3:19 | Object | 1800 | Normal/Medium | 18.1(1.05) | 935 | G2-G6 | 2.3 |  |  |  | Dither G
|  | 3:50 | cloud moving in
|  | 4:56 | clouds stll here

## 07122024
| Date: | 2024-07-12 |  |  |  | Weather: | Clouds clouds clouds
| Observers: | Tom W., Gabby |  |  |  | Program: | Hector Survey
Field name & | Run range | Local time |  | Exp. Time | Read |  |  | Guide | Seeing | Offset (arcsec) |  |  | Notes | DR Notes
Robot file name |  |  | Obs. Type | (sec) | Speed | ZD (Airmass) | Rotator (mdeg) | Stars Used | (arcsec) | N-S | E-W | Rel or Abs.
|  | press "cmd+shift+:" to automatically add timestamp | [10 empty] | AAOmega Focus Values: Blue: Focus=89, Spectral=3429, Spatial=1990, Red: Focus=482.9, Spectral=2395.5, Spatial=482.9, Spector Blue=2882, Spector Red=2301.95
Telescope Focus =
H03_T083
| 1 | 19:04 | Arc | 80/80/80/20 | Normal/Medium | [7 empty] | at zenith, focus ok
| 2 | 19:09 | Fibre Flat | 60/60/50/25 | Normal/Medium | [7 empty] | TLC ok
| 3 | 20:04 | Offset sky | 5/5/5/5 | Normal/Medium | [7 empty] | AAOmega blue=10k red=4k Spec blue=23k red=20k
| 4 | 20:06 | Offset sky | 15/15/11/12 | Normal/Medium | [5 empty] | 60E |  | AAOmega blue=20k red=8k Spec blue=15k red=20k
| 5 | 20:08 | Offset sky | 39/39/28/28 | Normal/Medium | [5 empty] | 60E |  | AAOmega blue=35k red=12k Spec blue=20k red=26k
| 6 | 20:12 | Offset sky | 87/87/66/59 | Normal/Medium | [5 empty] | 60E |  | AAOmega blue=40k red=20k Spec blue=30k red=40k
| 7 | 20:14 | Offset sky | 189/189/141/105 | Normal/Medium | [5 empty] | 60E |  | AAOmega blue=38k red=19k Spec blue=34k red=45k
|  | 21:04 | Solid cloud cover
A3391_A3395_T083
| 8 | 2:48 | Arc | 80/80/80/20 | Normal/Medium | [7 empty] | at zenith, focus ok
| 9 | 2:53 | Fibre Flat | 60/60/50/25 | Normal/Medium | [7 empty] | TLC ok
|  | 5:30 | No luck, cloud all night

## 08122024
| Date: | 2024-08-12 |  |  |  | Weather: | Cloudy
| Observers: | Tom W., Gabby |  |  |  | Program: | Hector Survey
Field name & | Run range | Local time |  | Exp. Time | Read |  |  | Guide | Seeing | Offset (arcsec) |  |  | Notes | DR Notes
Robot file name |  |  | Obs. Type | (sec) | Speed | ZD (Airmass) | Rotator (mdeg) | Stars Used | (arcsec) | N-S | E-W | Rel or Abs.
|  | press "cmd+shift+:" to automatically add timestamp | [10 empty] | AAOmega Focus Values: Blue: Focus=87, Spectral=3372.3, Spatial=1987.2, Red: Focus=478.2, Spectral=2383.2, Spatial=1055.5, Spector Blue=2885.16, Spector Red=2302.94
|  |  |  | due moon being too close for first half fields, plan is too finish two dithers on A3391_A3395_T083 when it gets above 1.5 airmass | [8 empty] | Telescope Focus = 38.6
A3391_A3395_T083 |  |  |  | and then switch to T080 and try to get 6 dithers. Will require perfect weather(forecast was ok this arvo), a quick change and no telescope faults etc. Bound to work!
| 1 | 19:00 | Arc | 80/80/80/20 | Normal/Medium | [7 empty] | at zenith, focus ok
| 2 | 19:05 | Fibre Flat | 60/60/50/25 | Normal/Medium | [7 empty] | TLC ok
| 2024-03-22 | 19:23 | Bias | 0 | Normal/Medium
|  | 21:45 | Guess what?, it's cloudy, plan goes out the window., try to get the two dithers done to complete T083
| 23 | 21:46 | Dark | 1800 | Normal/Medium
| 24 | 22:19 | Dark | 1800 | Normal/Medium
| 25 | 22:51 | Dark | 1800 | Normal/Medium
| 26 | 23:23 | Dark | 1800 | Normal/Medium
| 27 | 23:57 | Object | 1800 | Normal/Medium | 33.97(1.21) | 955 | G1-6 | 2.5 - 5 |  |  |  | Dither A, ahh -left dark slides down, it was pretty cloudy anyway, CCD 1,2 disabled
| 28 | 0:50 | Object | 1800 | Normal/Medium | 27.9(1.13) | 950 | G1-G6 |  |  |  |  | Dither A, aborted due cloud
| 28 | 1:36 | Object | 1800 | Normal/Medium | 24.6(1.11) | 955 | G1-G6 | 2.5 - 5 |  |  |  | Dither A, aborted due cloud
| 28 | 2:21 | Object | 1800 | Normal/Medium | 23.6(1.09) | 955 | G1-G6 | 2.5 - 5 |  |  |  | Dither A
| 29 | 2:53 | Object | 1800 | Normal/Medium | 23.5(1.11) | 955 | G1-G6 | 2.5 - 5 |  |  |  | Dither B
| 30 | 3:34 | Arc | 80/80/80/20 | Normal/Medium | [7 empty] | at field postion, focus ok
| 31 | 3:38 | Fibre Flat | 60/60/50/25 | Normal/Medium | [7 empty] | TLC ok
| 32 | 3:41 | Object | 1800 | Normal/Medium | 28.3(1.14) | 955 | G1-G6 | 2.5 - 5 |  |  |  | Dither B, repeating as previous run was cloud affected
| 33 | 4:14 | Arc | 80/80/80/20 | Normal/Medium | [7 empty] | at field postion, focus ok
| 34 | 4:17 | Fibre Flat | 60/60/50/25 | Normal/Medium | [7 empty] | TLC ok
|  | 4:58 | no standards or twilights, good night!